## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-28 00:00:00 | 2.836 | 162.49 | 2.938 | 151.502 | 3.304 | 158.914 | 3.364 | 152.278 | 15.48 | 886 | 100 | 7.032
2020-09-28 00:15:00 | 2.716 | 156.12 | 2.771 | 148.206 | 3.171 | 152.685 | 3.142 | 148.964 | 15.4 | 886 | 100 | 5.78
2020-09-28 00:30:00 | 2.532 | 160.37 | 2.621 | 151.07 | 2.767 | 156.841 | 2.872 | 151.844 | 15.42 | 886 | 100 | 4.536
2020-09-28 00:45:00 | 2.56 | 157.84 | 2.587 | 145.477 | 2.91 | 154.366 | 2.862 | 146.222 | 15.46 | 886 | 100 | 4.956
2020-09-28 01:00:00 | 2.629 | 169.25 | 2.69 | 138.867 | 2.925 | 165.526 | 2.959 | 139.576 | 15.41 | 886 | 100 | 4.216
2020-09-28 01:15:00 | 2.5913 | 177.9933 | 2.734 | 163.2873 | 2.78 | 174.926 | 3.0333 | 164.1207 | 15.36 | 886 | 100 | 4.7173
2020-09-28 01:30:00 | 2.921 | 173.26 | 3.027 | 156.109 | 3.264 | 169.448 | 3.367 | 156.906 | 15.33 | 886 | 100 | 6.628
2020-09-28 01:45:00 | 3.0233 | 169.02 | 3.1047 | 158.168 | 3.3147 | 165.4773 | 3.3873 | 158.9767 | 15.3467 | 886 | 100 | 7.5427
2020-09-28 02:00:00 | 2.86 | 166.64 | 2.912 | 146.446 | 3.072 | 162.973 | 3.113 | 147.195 | 15.37 | 885.3 | 100 | 5.595
2020-09-28 02:15:00 | 2.786 | 149.84 | 2.905 | 148.391 | 2.998 | 146.545 | 3.163 | 149.15 | 15.4 | 885 | 100 | 4.414
2020-09-28 02:30:00 | 2.458 | 144.61 | 2.526 | 146.426 | 2.668 | 141.429 | 2.739 | 147.174 | 15.4 | 885 | 100 | 3.041
2020-09-28 02:45:00 | 2.208 | 134.56 | 2.278 | 134.828 | 2.286 | 131.6 | 2.406 | 135.516 | 15.4 | 885 | 100 | 1.632
2020-09-28 03:00:00 | 2.126 | 155.68 | 2.186 | 133.006 | 2.305 | 152.254 | 2.364 | 133.689 | 15.4 | 885 | 100 | 1.488
2020-09-28 03:15:00 | 1.7973 | 154.82 | 1.8393 | 133.418 | 1.8913 | 151.414 | 1.942 | 134.1027 | 15.4067 | 885 | 100 | 0.062667
2020-09-28 03:30:00 | 1.795 | 154.99 | 1.868 | 150.173 | 1.942 | 151.58 | 2.043 | 150.939 | 15.41 | 885 | 100 | 0
2020-09-28 03:45:00 | 1.341 | 147.37 | 1.375 | 143.698 | 1.362 | 144.128 | 1.419 | 144.432 | 15.44 | 885 | 100 | 0.012
2020-09-28 04:00:00 | 0.949 | 125.13 | 0.997 | 135.962 | 0.985 | 122.74 | 1.055 | 136.657 | 15.49 | 885 | 100 | 0
2020-09-28 04:15:00 | 0.99867 | 117.76 | 1.0373 | 116.3113 | 1.1013 | 115.1693 | 1.1467 | 116.9053 | 15.5 | 885 | 100 | 0
2020-09-28 04:30:00 | 1.747 | 106.74 | 1.847 | 119.374 | 1.925 | 104.392 | 2.063 | 119.984 | 15.49 | 885 | 100 | 0.009
2020-09-28 04:45:00 | 1.955 | 123.52 | 2.046 | 119.531 | 2.205 | 120.802 | 2.307 | 120.143 | 15.38 | 884.8 | 100 | 0.109
2020-09-28 05:00:00 | 1.8853 | 128.8667 | 1.964 | 133.2147 | 2.152 | 126.032 | 2.2247 | 133.8967 | 15.3333 | 884 | 100 | 0.122
2020-09-28 05:15:00 | 2.583 | 146.9 | 2.628 | 129.222 | 2.961 | 143.667 | 2.937 | 129.884 | 15.31 | 884 | 100 | 2.705
2020-09-28 05:30:00 | 2.706 | 144.98 | 2.756 | 139.0193 | 3.2473 | 141.7907 | 3.1867 | 139.7307 | 15.34 | 884 | 100 | 5.7087
2020-09-28 05:45:00 | 2.687 | 152.07 | 2.761 | 141.312 | 3.278 | 148.725 | 3.247 | 142.033 | 15.31 | 884 | 100 | 6.363
2020-09-28 06:00:00 | 2.954 | 158.69 | 3.002 | 142.68 | 3.48 | 155.197 | 3.421 | 143.41 | 15.3 | 884 | 100 | 6.415
2020-09-28 06:15:00 | 2.7353 | 153.18 | 2.7493 | 140.4213 | 3.176 | 149.5307 | 3.0747 | 141.14 | 15.3067 | 884 | 100 | 5.1653
2020-09-28 06:30:00 | 2.608 | 158.83 | 2.629 | 141.615 | 2.923 | 155.338 | 2.87 | 142.338 | 15.35 | 884 | 100 | 4.587
2020-09-28 06:45:00 | 2.3407 | 157.5733 | 2.3587 | 144.6793 | 2.562 | 154.1067 | 2.5347 | 145.418 | 15.3933 | 884 | 100 | 3.7247
2020-09-28 07:00:00 | 2.269 | 138.66 | 2.248 | 138.906 | 2.493 | 135.61 | 2.389 | 139.613 | 15.4 | 884 | 100 | 2.498
2020-09-28 07:15:00 | 1.6014 | 133.0429 | 1.5721 | 152.4836 | 1.7293 | 130.1164 | 1.6429 | 153.2636 | 15.4 | 885 | 100 | 1.464
2020-09-28 07:30:00 | 0.96467 | 110.68 | 0.92 | 152.0907 | 1.1347 | 108.2447 | 0.99933 | 152.87 | 15.3933 | 885 | 100 | 1.2993
2020-09-28 07:45:00 | 1.085 | 135.46 | 1.036 | 129.213 | 1.065 | 131.894 | 0.976 | 129.874 | 15.36 | 885 | 100 | 1.438
2020-09-28 08:00:00 | 0.91 | 158.42 | 0.895 | 139.278 | 0.9 | 154.934 | 0.871 | 139.99 | 15.4 | 885 | 100 | 1.01
2020-09-28 08:15:00 | 0.949 | 133.95 | 0.926 | 130.024 | 0.914 | 131.004 | 0.884 | 130.689 | 15.4 | 885.2 | 100 | 0.926
2020-09-28 08:30:00 | 1.118 | 107.66 | 1.09 | 114.885 | 1.154 | 105.291 | 1.091 | 115.473 | 15.38 | 886 | 100 | 1.353
2020-09-28 08:45:00 | 1.462 | 122.28 | 1.504 | 119.599 | 1.62 | 119.591 | 1.656 | 120.212 | 15.39 | 885.8 | 100 | 1.863
2020-09-28 09:00:00 | 1.3457 | 140.6357 | 1.3807 | 142.6114 | 1.42 | 137.5414 | 1.465 | 143.3421 | 15.5 | 885.7857 | 100 | 2.582
2020-09-28 09:15:00 | 1.944 | 150.6 | 1.9753 | 146.3673 | 2.126 | 147.2873 | 2.1387 | 147.1153 | 15.58 | 886 | 100 | 3.0973
2020-09-28 09:30:00 | 2.555 | 153.75 | 2.561 | 138.397 | 2.621 | 150.368 | 2.615 | 139.105 | 15.69 | 886 | 100 | 3.332
2020-09-28 09:45:00 | 1.792 | 177.47 | 1.892 | 173.48 | 1.955 | 173.565 | 2.1 | 174.365 | 15.76 | 886 | 100 | 2.737
2020-09-28 10:00:00 | 1.281 | 176.64 | 1.259 | 153.409 | 1.108 | 173.507 | 1.122 | 154.194 | 15.71 | 886 | 100 | 1.521
2020-09-28 10:15:00 | 1.302 | 155.61 | 1.334 | 136.159 | 1.624 | 152.186 | 1.59 | 136.854 | 16.05 | 886 | 100 | 0.982
2020-09-28 10:30:00 | 1.374 | 169.63 | 1.459 | 127.219 | 1.748 | 166.143 | 1.782 | 127.869 | 15.89 | 886 | 100 | 1.393
2020-09-28 10:45:00 | 1.45 | 189.43 | 1.474 | 176.764 | 1.641 | 185.261 | 1.629 | 177.667 | 16.08 | 886.2 | 100 | 0.84
2020-09-28 11:00:00 | 0.88786 | 158.0214 | 0.88643 | 177.8336 | 1.0064 | 154.5443 | 0.97 | 178.7457 | 16.5643 | 887 | 100 | 1.2933
2020-09-28 11:15:00 | 0.584 | 196.39 | 0.582 | 161.781 | 0.606 | 192.067 | 0.595 | 162.608 | 16.63 | 887 | 100 | 0.479
2020-09-28 11:30:00 | 0.664 | 206.53 | 0.671 | 183.746 | 0.517 | 201.986 | 0.572 | 184.685 | 16.69 | 887 | 100 | 0
2020-09-28 11:45:00 | 0.334 | 125.7 | 0.355 | 155.307 | 0.455 | 122.935 | 0.462 | 156.101 | 17.12 | 887 | 100 | 0
2020-09-28 12:00:00 | 0.482 | 74.81 | 0.488 | 137.702 | 0.602 | 73.165 | 0.579 | 138.405 | 17.01 | 887 | 100 | 0
2020-09-28 12:15:00 | 0.646 | 176.09 | 0.599 | 140.363 | 0.608 | 172.216 | 0.531 | 141.079 | 16.94 | 886.8 | 100 | 0.062
2020-09-28 12:30:00 | 0.58533 | 172.2667 | 0.59667 | 166.5793 | 0.62667 | 168.4767 | 0.636 | 167.4313 | 17.2267 | 886 | 100 | 0
2020-09-28 12:45:00 | 0.589 | 188.81 | 0.581 | 186.915 | 0.649 | 184.655 | 0.612 | 187.873 | 17.38 | 886 | 100 | 0
2020-09-28 13:00:00 | 0.456 | 216.57 | 0.493 | 187.845 | 0.51 | 211.805 | 0.564 | 188.806 | 17.29 | 886 | 100 | 0
2020-09-28 13:15:00 | 0.707 | 183.92 | 0.713 | 183.395 | 0.739 | 179.875 | 0.743 | 184.332 | 17.34 | 886 | 100 | 0
2020-09-28 13:30:00 | 0.903 | 178.01 | 0.903 | 138.847 | 0.898 | 174.094 | 0.898 | 139.557 | 17.23 | 886 | 100 | 0
2020-09-28 13:45:00 | 0.865 | 180.89 | 0.868 | 139.364 | 1.009 | 177.762 | 0.971 | 140.078 | 17.41 | 886 | 100 | 0
2020-09-28 14:00:00 | 0.769 | 179.28 | 0.797 | 152.471 | 0.931 | 174.849 | 0.956 | 153.25 | 17.55 | 886 | 100 | 0
2020-09-28 14:15:00 | 0.833 | 208.09 | 0.864 | 154.779 | 1.148 | 202.172 | 1.127 | 155.569 | 17.47 | 885 | 100 | 0
2020-09-28 14:30:00 | 0.945 | 175.66 | 0.953 | 135.853 | 0.918 | 171.795 | 0.941 | 136.546 | 17.44 | 885 | 100 | 0
2020-09-28 14:45:00 | 0.845 | 156.18 | 0.885 | 143.012 | 0.868 | 152.743 | 0.942 | 143.743 | 17.53 | 885 | 100 | 0
2020-09-28 15:00:00 | 1.303 | 162.7 | 1.279 | 142.522 | 1.283 | 159.12 | 1.244 | 143.252 | 17.59 | 885 | 99.88 | 0
2020-09-28 15:15:00 | 1.14 | 175.3733 | 1.128 | 138.3547 | 1.2753 | 171.514 | 1.216 | 139.0633 | 17.42 | 885 | 99.5733 | 0
2020-09-28 15:30:00 | 1.1207 | 158.62 | 1.0987 | 138.6667 | 1.2407 | 155.13 | 1.168 | 139.376 | 17.1533 | 884.8667 | 99.98 | 0
2020-09-28 15:45:00 | 1.352 | 172.29 | 1.38 | 134.904 | 1.405 | 168.501 | 1.444 | 135.596 | 17.03 | 884 | 100 | 0
2020-09-28 16:00:00 | 1.355 | 183.89 | 1.449 | 156 | 1.485 | 179.845 | 1.627 | 156.8 | 16.96 | 884 | 100 | 0
2020-09-28 16:15:00 | 1.419 | 190.32 | 1.485 | 171.005 | 1.505 | 186.398 | 1.601 | 171.878 | 17.19 | 884 | 100 | 0
2020-09-28 16:30:00 | 1.621 | 196.17 | 1.704 | 190.494 | 1.709 | 191.853 | 1.838 | 191.47 | 17.23 | 884 | 99.79 | 0
2020-09-28 16:45:00 | 1.094 | 215.6267 | 1.13 | 197.2493 | 1.2367 | 210.8833 | 1.2673 | 198.2593 | 17.3533 | 884 | 98.3933 | 0
2020-09-28 17:00:00 | 0.76 | 231.37 | 0.86 | 213.272 | 0.825 | 226.279 | 0.993 | 214.362 | 17.42 | 884 | 99.32 | 0
2020-09-28 17:15:00 | 0.806 | 231.56 | 0.82 | 230.184 | 0.886 | 229.79 | 0.86 | 231.358 | 17.32 | 884 | 99.04 | 0
2020-09-28 17:30:00 | 0.734 | 294.45 | 0.772 | 274.778 | 0.777 | 288.099 | 0.842 | 276.183 | 17.43 | 884 | 99.75 | 0
2020-09-28 17:45:00 | 1.337 | 280.2 | 1.316 | 288.569 | 1.613 | 274.036 | 1.497 | 290.043 | 17.15 | 884 | 100 | 0
2020-09-28 18:00:00 | 1.246 | 294.58 | 1.27 | 306.574 | 1.459 | 288.099 | 1.439 | 308.143 | 17.14 | 884.7 | 100 | 0
2020-09-28 18:15:00 | 1.5847 | 293.58 | 1.652 | 300.6833 | 1.9013 | 287.1207 | 1.9367 | 302.2207 | 17.1067 | 885 | 100 | 0
2020-09-28 18:30:00 | 1.538 | 325.8133 | 1.594 | 300.3507 | 1.7793 | 318.6453 | 1.8193 | 301.8853 | 17.2333 | 885 | 100 | 0
2020-09-28 18:45:00 | 1.202 | 271.52 | 1.264 | 312.998 | 1.392 | 265.546 | 1.455 | 314.6 | 17.29 | 885 | 100 | 0
2020-09-28 19:00:00 | 1.082 | 206.32 | 1.082 | 316.303 | 1.357 | 201.78 | 1.273 | 317.922 | 17.31 | 884.3 | 100 | 0
2020-09-28 19:15:00 | 1.851 | 246.47 | 1.915 | 318.876 | 2.167 | 242.076 | 2.198 | 320.509 | 16.77 | 884 | 100 | 0
2020-09-28 19:30:00 | 2.319 | 347.18 | 2.477 | 322.69 | 2.731 | 339.543 | 2.912 | 324.341 | 16.67 | 884.7 | 100 | 0.328
2020-09-28 19:45:00 | 2.088 | 345.67 | 2.166 | 326.318 | 2.565 | 338.065 | 2.577 | 327.988 | 16.5 | 884.2 | 100 | 0.48
2020-09-28 20:00:00 | 2.402 | 321.5467 | 2.508 | 314.8587 | 2.9227 | 314.4727 | 2.9747 | 316.466 | 16.6133 | 885 | 100 | 1.4633
2020-09-28 20:15:00 | 3.178 | 345.52 | 3.417 | 319.435 | 3.798 | 337.918 | 4.073 | 321.068 | 16.53 | 885 | 100 | 4.039
2020-09-28 20:30:00 | 3.9927 | 343.68 | 4.264 | 324.238 | 4.582 | 336.12 | 4.926 | 325.8973 | 16.5 | 885.1333 | 100 | 8.924
2020-09-28 20:45:00 | 3.722 | 338.4333 | 4.03 | 320.8813 | 4.3253 | 330.988 | 4.736 | 322.5233 | 16.4933 | 886 | 100 | 7.5113
2020-09-28 21:00:00 | 3.838 | 342.74 | 4.138 | 324.56 | 4.523 | 335.2 | 4.896 | 326.221 | 16.69 | 886 | 100 | 7.388
2020-09-28 21:15:00 | 3.81 | 340.36 | 4.081 | 324.012 | 4.512 | 332.872 | 4.825 | 325.666 | 16.73 | 886 | 100 | 7.746
2020-09-28 21:30:00 | 4.049 | 329.7 | 4.311 | 307.57 | 4.662 | 322.448 | 4.983 | 309.143 | 16.66 | 886 | 100 | 8.341
2020-09-28 21:45:00 | 4.0887 | 328.94 | 4.3753 | 314.1273 | 4.6 | 321.0833 | 4.9953 | 315.7327 | 16.8133 | 887 | 100 | 9.762
2020-09-28 22:00:00 | 4.016 | 336.2133 | 4.2593 | 320.0273 | 4.7067 | 329.4627 | 4.9693 | 321.6633 | 16.8267 | 887 | 100 | 8.88
2020-09-28 22:15:00 | 4.343 | 339.1 | 4.612 | 327.161 | 5.013 | 331.64 | 5.331 | 328.833 | 16.84 | 887 | 100 | 10.401
2020-09-28 22:30:00 | 3.793 | 353.6 | 4.029 | 336.335 | 4.451 | 345.819 | 4.707 | 338.051 | 16.77 | 887 | 100 | 8.693
2020-09-28 22:45:00 | 3.8873 | 341.0867 | 4.0687 | 334.9913 | 4.522 | 333.2967 | 4.678 | 336.702 | 16.62 | 887 | 100 | 8.854
2020-09-28 23:00:00 | 4.052 | 346.72 | 4.2593 | 332.9113 | 4.3833 | 339.09 | 4.6847 | 334.6127 | 16.5 | 887 | 100 | 10.5353
2020-09-28 23:15:00 | 4.437 | 338.55 | 4.66 | 326.065 | 4.927 | 331.102 | 5.214 | 327.734 | 16.55 | 887 | 100 | 12.215
2020-09-28 23:30:00 | 4.866 | 319.7067 | 5.1347 | 328.5947 | 5.5033 | 312.674 | 5.832 | 330.2753 | 16.5133 | 887 | 100 | 18.0687
2020-09-28 23:45:00 | 5.073 | 340.61 | 5.446 | 325.987 | 5.653 | 331.727 | 6.188 | 327.655 | 16.51 | 887 | 100 | 20.238