## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-29 00:00:00 | 5.248 | 315.0733 | 5.4813 | 324.6753 | 5.6887 | 308.1427 | 6.0033 | 326.3353 | 16.4733 | 887 | 100 | 21.56
2020-09-29 00:15:00 | 5.157 | 298.56 | 5.338 | 320.716 | 5.684 | 291.993 | 5.88 | 322.356 | 16.45 | 887 | 100 | 20.234
2020-09-29 00:30:00 | 5.0753 | 318.0733 | 5.2613 | 324.566 | 5.3947 | 311.0753 | 5.6593 | 326.2253 | 16.5267 | 887 | 100 | 19.7073
2020-09-29 00:45:00 | 5.023 | 305.8 | 5.158 | 323.883 | 5.306 | 299.073 | 5.483 | 325.542 | 16.5 | 887 | 100 | 21.546
2020-09-29 01:00:00 | 4.9447 | 294.1267 | 5.0393 | 326.0853 | 5.2953 | 287.6573 | 5.378 | 327.752 | 16.4733 | 886.8667 | 100 | 22.5307
2020-09-29 01:15:00 | 5.324 | 333.96 | 5.468 | 329.869 | 5.701 | 326.611 | 5.871 | 331.557 | 16.32 | 886.2 | 100 | 25.816
2020-09-29 01:30:00 | 5.462 | 245.15 | 5.66 | 333.793 | 5.914 | 240.412 | 6.166 | 335.497 | 16.45 | 886.3 | 100 | 27.218
2020-09-29 01:45:00 | 4.908 | 345.38 | 5.129 | 333.235 | 5.099 | 337.782 | 5.462 | 334.938 | 16.35 | 886 | 100 | 22.163
2020-09-29 02:00:00 | 5.81 | 345.19 | 6.055 | 329.488 | 6.2 | 337.596 | 6.553 | 331.173 | 16.34 | 886 | 100 | 31.631
2020-09-29 02:15:00 | 5.966 | 335.98 | 6.256 | 328.119 | 5.975 | 328.589 | 6.531 | 329.796 | 16.27 | 886 | 100 | 34.06
2020-09-29 02:30:00 | 6.064 | 343.4333 | 6.39 | 328.7007 | 6.2653 | 335.878 | 6.8267 | 330.3787 | 16.2067 | 886 | 100 | 35.5527
2020-09-29 02:45:00 | 6.024 | 344.1333 | 6.3393 | 328.6227 | 6.2247 | 336.564 | 6.7653 | 330.3013 | 16.3 | 885.5333 | 100 | 34.0193
2020-09-29 03:00:00 | 5.88 | 347.18 | 6.213 | 326.279 | 6.015 | 339.54 | 6.61 | 327.949 | 16.3 | 885.7 | 100 | 29.963
2020-09-29 03:15:00 | 5.786 | 344.2 | 6.12 | 326.387 | 5.828 | 336.627 | 6.451 | 328.056 | 16.11 | 886 | 100 | 31.504
2020-09-29 03:30:00 | 5.625 | 339.14 | 6.007 | 327.473 | 6.264 | 331.679 | 6.803 | 329.148 | 16.05 | 886 | 100 | 29.484
2020-09-29 03:45:00 | 5.7307 | 341.4333 | 6.002 | 328.8567 | 5.94 | 333.9227 | 6.396 | 330.5367 | 15.9667 | 886 | 100 | 33.1993
2020-09-29 04:00:00 | 5.432 | 337.1533 | 5.73 | 328.3207 | 5.69 | 329.4607 | 6.1873 | 329.9993 | 16.0133 | 885.3333 | 100 | 26.6767
2020-09-29 04:15:00 | 5.474 | 334.04 | 5.849 | 322.954 | 6.147 | 326.692 | 6.658 | 324.607 | 16.15 | 886 | 100 | 29.925
2020-09-29 04:30:00 | 5.2313 | 337.3267 | 5.706 | 325.6867 | 5.944 | 329.9047 | 6.6407 | 327.3527 | 15.9867 | 886 | 100 | 28.038
2020-09-29 04:45:00 | 5.033 | 342.22 | 5.433 | 331.015 | 5.611 | 334.691 | 6.201 | 332.706 | 16.06 | 885.8 | 100 | 25.319
2020-09-29 05:00:00 | 4.865 | 346.85 | 5.201 | 328.089 | 5.314 | 339.221 | 5.826 | 329.767 | 16.21 | 885 | 100 | 20.024
2020-09-29 05:15:00 | 4.467 | 346.88 | 4.707 | 331.248 | 5.032 | 339.25 | 5.329 | 332.942 | 16.17 | 885 | 100 | 16.145
2020-09-29 05:30:00 | 4.1447 | 260.46 | 4.4153 | 327.038 | 4.6227 | 254.228 | 4.996 | 328.708 | 16.0333 | 885 | 100 | 14.852
2020-09-29 05:45:00 | 3.6613 | 165.7 | 3.8773 | 315.914 | 4.254 | 162.0553 | 4.4927 | 317.528 | 15.96 | 885 | 100 | 10.276
2020-09-29 06:00:00 | 3.8 | 242.3 | 4.021 | 314.465 | 4.303 | 236.97 | 4.58 | 316.076 | 16.1 | 885.7 | 100 | 9.966
2020-09-29 06:15:00 | 3.6673 | 315.1533 | 3.884 | 318.9307 | 4.154 | 308.22 | 4.4187 | 320.564 | 16.1067 | 886 | 100 | 10.4133
2020-09-29 06:30:00 | 4.4033 | 333.4444 | 4.6344 | 315.9489 | 4.8078 | 326.1078 | 5.1333 | 317.5633 | 16.2 | 886 | 100 | 13.945
2020-09-29 06:45:00 | 3.598 | 334.95 | 3.837 | 322.045 | 4.103 | 325.382 | 4.409 | 323.691 | 16.36 | 886 | 100 | 8.609
2020-09-29 07:00:00 | 4.08 | 303.82 | 4.345 | 317.175 | 4.593 | 297.136 | 4.95 | 318.797 | 16.45 | 886 | 100 | 12.824
2020-09-29 07:15:00 | 4.157 | 304.12 | 4.263 | 322.377 | 4.839 | 297.428 | 4.85 | 324.026 | 16.67 | 886 | 100 | 13.63
2020-09-29 07:30:00 | 3.805 | 342.05 | 3.983 | 323.26 | 4.529 | 334.527 | 4.66 | 324.911 | 16.63 | 886 | 100 | 11.716
2020-09-29 07:45:00 | 3.719 | 334.7 | 3.963 | 313.234 | 4.206 | 327.336 | 4.524 | 314.836 | 16.62 | 886 | 100 | 7.877
2020-09-29 08:00:00 | 4.045 | 342.59 | 4.292 | 319.766 | 4.597 | 334.926 | 4.908 | 321.402 | 17.18 | 886 | 100 | 9.763
2020-09-29 08:15:00 | 4.0367 | 338.8467 | 4.3173 | 314.87 | 4.5513 | 331.3933 | 4.934 | 316.4793 | 17.86 | 886.4667 | 100 | 10.4747
2020-09-29 08:30:00 | 3.486 | 299.17 | 3.676 | 314.525 | 3.891 | 294.416 | 4.134 | 316.133 | 17.55 | 887 | 100 | 8.299
2020-09-29 08:45:00 | 3.133 | 344.63 | 3.234 | 327.66 | 3.571 | 337.048 | 3.643 | 329.334 | 17.33 | 887 | 100 | 7.46
2020-09-29 09:00:00 | 3.146 | 307.51 | 3.332 | 321 | 3.823 | 300.745 | 3.985 | 322.639 | 17.73 | 887 | 100 | 6.426
2020-09-29 09:15:00 | 2.602 | 304.12 | 2.807 | 291.817 | 2.959 | 297.429 | 3.246 | 293.308 | 18.19 | 887 | 100 | 2.584
2020-09-29 09:30:00 | 2.3587 | 334.8133 | 2.572 | 318.7767 | 2.5447 | 327.448 | 2.896 | 320.4067 | 18.5133 | 887.8 | 100 | 0.83333
2020-09-29 09:45:00 | 2.478 | 309.34 | 2.599 | 316.178 | 2.889 | 302.534 | 3 | 317.794 | 18.91 | 888 | 99.98 | 0.575
2020-09-29 10:00:00 | 2.471 | 307.54 | 2.619 | 301.107 | 2.983 | 300.775 | 3.118 | 302.646 | 19.01 | 888 | 95.88 | 1.123
2020-09-29 10:15:00 | 1.802 | 181.09 | 1.796 | 334.476 | 2.238 | 177.106 | 2.103 | 336.186 | 19.3 | 889 | 92.25 | 0
2020-09-29 10:30:00 | 1.597 | 300.66 | 1.577 | 326.358 | 1.952 | 294.045 | 1.812 | 328.028 | 19.97 | 889 | 90.68 | 0
2020-09-29 10:45:00 | 1.283 | 210.91 | 1.259 | 270.222 | 1.5 | 206.27 | 1.394 | 271.602 | 20.66 | 889 | 91.31 | 0
2020-09-29 11:00:00 | 1.4864 | 179.2571 | 1.5371 | 241.95 | 1.5321 | 176.3407 | 1.5971 | 243.1864 | 21.0643 | 889 | 90.45 | 0
2020-09-29 11:15:00 | 1.333 | 192.47 | 1.327 | 305.41 | 1.338 | 188.237 | 1.324 | 306.971 | 21.25 | 888.8 | 88.9 | 0
2020-09-29 11:30:00 | 1.282 | 222.6 | 1.286 | 112.362 | 1.299 | 217.703 | 1.302 | 112.937 | 21.46 | 888 | 86.61 | 0
2020-09-29 11:45:00 | 1.448 | 200.23 | 1.432 | 211.923 | 1.347 | 195.825 | 1.348 | 213.007 | 21.68 | 888 | 84.28 | 0
2020-09-29 12:00:00 | 1.537 | 159.68 | 1.485 | 332.343 | 1.49 | 156.451 | 1.411 | 334.043 | 21.97 | 888 | 81.73 | 0
2020-09-29 12:15:00 | 1.306 | 150.7267 | 1.252 | 249.174 | 1.2453 | 147.4113 | 1.1647 | 250.4487 | 22.2533 | 888 | 80.656 | 0
2020-09-29 12:30:00 | 1.664 | 240.51 | 1.597 | 323.914 | 1.572 | 235.219 | 1.475 | 325.57 | 22.39 | 888 | 78.642 | 0
2020-09-29 12:45:00 | 1.597 | 144.42 | 1.567 | 263.758 | 1.794 | 141.243 | 1.679 | 265.106 | 22.41 | 888 | 77.136 | 0
2020-09-29 13:00:00 | 2.304 | 133.05 | 2.23 | 322.564 | 2.484 | 130.122 | 2.292 | 324.212 | 22.28 | 888 | 77.417 | 0.219
2020-09-29 13:15:00 | 2.475 | 228.02 | 2.373 | 329.703 | 2.494 | 223.003 | 2.302 | 331.388 | 22.37 | 888 | 75.297 | 0.966
2020-09-29 13:30:00 | 2.679 | 294.31 | 2.688 | 334.887 | 2.917 | 287.835 | 2.868 | 336.599 | 22.77 | 888 | 73.65 | 1.6
2020-09-29 13:45:00 | 2.092 | 263.2 | 2.123 | 265.273 | 2.021 | 257.41 | 2.104 | 266.629 | 23.16 | 888 | 71.666 | 0.98
2020-09-29 14:00:00 | 1.598 | 248.26 | 1.634 | 163.892 | 1.991 | 243.874 | 1.974 | 164.731 | 23.62 | 888 | 68.14 | 0.023
2020-09-29 14:15:00 | 1.267 | 166.49 | 1.28 | 286.281 | 1.595 | 162.828 | 1.523 | 287.743 | 24.06 | 888 | 65.708 | 0
2020-09-29 14:30:00 | 1.304 | 250.24 | 1.326 | 300.646 | 1.215 | 244.734 | 1.283 | 302.183 | 24.48 | 887.3 | 64.448 | 0
2020-09-29 14:45:00 | 1.433 | 146.01 | 1.504 | 304.842 | 1.593 | 142.798 | 1.68 | 306.402 | 24.59 | 887.8 | 64.121 | 0
2020-09-29 15:00:00 | 0.852 | 219.08 | 0.9 | 218.838 | 0.828 | 214.26 | 0.929 | 219.957 | 24.75 | 887 | 60.663 | 0
2020-09-29 15:15:00 | 0.825 | 115.54 | 0.823 | 137.743 | 0.992 | 84.254 | 0.944 | 138.445 | 24.9 | 887 | 55.213 | 0
2020-09-29 15:30:00 | 1.2507 | 220.4133 | 1.3733 | 199.8507 | 1.342 | 215.564 | 1.5487 | 200.872 | 25.2933 | 887 | 54.4533 | 0
2020-09-29 15:45:00 | 0.91733 | 211.56 | 1.0213 | 225.696 | 1.094 | 206.9067 | 1.2413 | 226.8513 | 25.2933 | 887 | 54.582 | 0
2020-09-29 16:00:00 | 1.472 | 192.32 | 1.499 | 140.665 | 1.502 | 188.089 | 1.545 | 141.384 | 25.1 | 887 | 60.803 | 0
2020-09-29 16:15:00 | 1.72 | 156.35 | 1.78 | 144.636 | 1.936 | 161.517 | 1.995 | 145.374 | 24.76 | 887 | 64.254 | 0
2020-09-29 16:30:00 | 1.391 | 195.97 | 1.465 | 153.147 | 1.515 | 191.658 | 1.618 | 153.928 | 24.87 | 887 | 57.665 | 0
2020-09-29 16:45:00 | 1.893 | 157.46 | 1.966 | 157.77 | 2.106 | 155.218 | 2.197 | 158.576 | 24.7 | 887 | 64.023 | 0
2020-09-29 17:00:00 | 2.059 | 152.73 | 2.169 | 142.681 | 2.245 | 149.37 | 2.403 | 143.411 | 24.37 | 887 | 66.349 | 0
2020-09-29 17:15:00 | 2.0327 | 172.98 | 2.074 | 140.8453 | 2.198 | 169.1747 | 2.234 | 141.5647 | 24.1 | 887 | 68.986 | 0.60933
2020-09-29 17:30:00 | 1.942 | 153.03 | 2.047 | 146.728 | 2.261 | 149.664 | 2.37 | 147.478 | 23.95 | 886.3 | 69.43 | 0.915
2020-09-29 17:45:00 | 2.112 | 157.22 | 2.166 | 144.958 | 2.5107 | 153.644 | 2.4887 | 145.7 | 23.8067 | 886 | 72.3753 | 1.49
2020-09-29 18:00:00 | 2.2007 | 147.74 | 2.2913 | 144.094 | 2.56 | 144.4893 | 2.6273 | 144.828 | 23.5667 | 886 | 72.4933 | 1.038
2020-09-29 18:15:00 | 2.393 | 147.9 | 2.542 | 140.255 | 2.754 | 144.647 | 2.932 | 140.972 | 23.38 | 886 | 71.686 | 1.174
2020-09-29 18:30:00 | 2.398 | 127.6333 | 2.5593 | 150.0653 | 2.8667 | 124.826 | 3.0373 | 150.8313 | 23.22 | 885.2 | 72.674 | 2.3127
2020-09-29 18:45:00 | 2.35 | 134.24 | 2.47 | 140.803 | 2.915 | 131.286 | 2.984 | 141.522 | 22.95 | 885 | 75.788 | 3.137
2020-09-29 19:00:00 | 2.633 | 138.37 | 2.734 | 130.515 | 3.076 | 135.326 | 3.142 | 131.182 | 22.41 | 885 | 79.789 | 3.319
2020-09-29 19:15:00 | 2.488 | 135.12 | 2.546 | 119.277 | 2.938 | 132.147 | 2.919 | 119.887 | 21.97 | 885 | 82.53 | 4.791
2020-09-29 19:30:00 | 2.7767 | 112.4 | 2.7611 | 117.5656 | 2.9667 | 109.9267 | 2.8844 | 118.1667 | 21.8111 | 885 | 84.6667 | 7.414
2020-09-29 19:45:00 | 2.9047 | 126.28 | 3.0047 | 120.3727 | 3.0607 | 123.5013 | 3.2047 | 120.988 | 21.7 | 885 | 85.8467 | 6.0927
2020-09-29 20:00:00 | 3.1887 | 127.1467 | 3.2573 | 125.9267 | 3.544 | 124.3493 | 3.5747 | 126.5713 | 21.5067 | 885 | 86.3 | 6.44
2020-09-29 20:15:00 | 3.2427 | 124.98 | 3.3113 | 123.5807 | 3.6947 | 121.944 | 3.6993 | 124.2113 | 21.28 | 885 | 86.6467 | 7.3807
2020-09-29 20:30:00 | 3.228 | 125.18 | 3.361 | 122.71 | 3.662 | 122.426 | 3.794 | 123.337 | 21.05 | 885 | 86.65 | 7.206
2020-09-29 20:45:00 | 2.866 | 136.4 | 2.925 | 129.075 | 3.359 | 133.399 | 3.328 | 129.736 | 21 | 885.2 | 86.66 | 5.773
2020-09-29 21:00:00 | 2.934 | 136.15 | 2.995 | 129.008 | 3.391 | 133.153 | 3.376 | 129.666 | 20.83 | 886 | 87.43 | 5.689
2020-09-29 21:15:00 | 2.7907 | 132.7467 | 2.9107 | 127.4267 | 3.2373 | 129.826 | 3.3387 | 128.078 | 20.82 | 886 | 87.8933 | 5.0407
2020-09-29 21:30:00 | 2.6453 | 150.4067 | 2.738 | 137.0493 | 3.0493 | 147.1627 | 3.108 | 137.75 | 20.6733 | 886 | 87.7067 | 5.3793
2020-09-29 21:45:00 | 2.356 | 159.63 | 2.447 | 153.016 | 2.665 | 156.117 | 2.745 | 153.8 | 20.62 | 886 | 88.5 | 4.661
2020-09-29 22:00:00 | 2.12 | 173.1267 | 2.1947 | 167.446 | 2.2573 | 169.318 | 2.3647 | 168.3033 | 20.3867 | 886 | 87.3 | 7.168
2020-09-29 22:15:00 | 2.625 | 191.17 | 2.728 | 176.371 | 3.033 | 186.965 | 3.116 | 177.274 | 20.29 | 886.2 | 88.96 | 8.576
2020-09-29 22:30:00 | 3.2 | 191.5133 | 3.2987 | 175.7727 | 3.59 | 187.3007 | 3.668 | 176.672 | 20.1267 | 887 | 91.1 | 14.8187
2020-09-29 22:45:00 | 2.724 | 192.5933 | 2.758 | 174.2713 | 3.0313 | 188.3553 | 3.0107 | 175.1633 | 20.0133 | 887 | 91.4867 | 11.926
2020-09-29 23:00:00 | 2.492 | 179.06 | 2.518 | 164.705 | 2.67 | 176.217 | 2.664 | 165.547 | 19.74 | 887 | 91.15 | 10.94
2020-09-29 23:15:00 | 1.991 | 135.74 | 1.975 | 160.605 | 2.236 | 132.753 | 2.141 | 161.429 | 19.57 | 887 | 93.16 | 7.504
2020-09-29 23:30:00 | 2.128 | 149.19 | 2.198 | 132.069 | 2.389 | 145.909 | 2.447 | 132.746 | 19.33 | 887 | 94.73 | 5.176
2020-09-29 23:45:00 | 2.1373 | 126.0333 | 2.168 | 136.282 | 2.454 | 123.2607 | 2.4207 | 136.9787 | 19.0267 | 886.5333 | 98.1467 | 4.0867