## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-30 00:00:00 | 1.95 | 130.1643 | 2.0086 | 136.1436 | 2.2071 | 127.7693 | 2.2414 | 136.8407 | 18.9429 | 886 | 99.8 | 3.9214
2020-09-30 00:15:00 | 2.0607 | 110.54 | 2.216 | 127.596 | 2.3793 | 108.108 | 2.582 | 128.248 | 18.88 | 886 | 100 | 4.2327
2020-09-30 00:30:00 | 2.238 | 124.2 | 2.376 | 127.924 | 2.423 | 121.467 | 2.632 | 128.576 | 18.78 | 886 | 100 | 6.562
2020-09-30 00:45:00 | 2.38 | 129.68 | 2.4947 | 124.0627 | 2.5867 | 126.8273 | 2.746 | 124.6973 | 18.4733 | 886 | 100 | 4.8607
2020-09-30 01:00:00 | 2.7367 | 131.0467 | 2.926 | 125.7727 | 2.99 | 127.786 | 3.2787 | 126.4127 | 18.4533 | 886 | 100 | 5.3567
2020-09-30 01:15:00 | 2.856 | 119.33 | 3.012 | 129.858 | 3.174 | 117.193 | 3.381 | 130.523 | 18.46 | 886 | 100 | 4.95
2020-09-30 01:30:00 | 2.8747 | 121.7267 | 3.0247 | 119.1787 | 3.236 | 119.0487 | 3.416 | 119.788 | 18.3 | 886 | 100 | 5.0407
2020-09-30 01:45:00 | 2.614 | 133.0533 | 2.7193 | 129.128 | 2.988 | 130.126 | 3.0793 | 129.7887 | 18.06 | 886 | 100 | 4.12
2020-09-30 02:00:00 | 2.69 | 139.27 | 2.832 | 142.778 | 3.007 | 136.205 | 3.184 | 143.509 | 18.14 | 886 | 100 | 4.914
2020-09-30 02:15:00 | 2.655 | 127.26 | 2.802 | 135.462 | 3.025 | 124.462 | 3.195 | 136.155 | 18.09 | 886 | 100 | 5.761
2020-09-30 02:30:00 | 2.758 | 129.16 | 2.894 | 121.526 | 2.993 | 126.317 | 3.186 | 122.147 | 18.11 | 886 | 100 | 5.305
2020-09-30 02:45:00 | 2.7587 | 131.3133 | 2.9267 | 130.602 | 3.1327 | 128.424 | 3.3433 | 131.2707 | 18.1933 | 886 | 100 | 4.8767
2020-09-30 03:00:00 | 2.479 | 135.32 | 2.566 | 130.183 | 2.842 | 132.345 | 2.905 | 130.847 | 18.2 | 886 | 100 | 3.807
2020-09-30 03:15:00 | 2.813 | 138.71 | 2.897 | 128.107 | 3.228 | 135.12 | 3.277 | 128.764 | 18.14 | 886 | 100 | 4.969
2020-09-30 03:30:00 | 2.991 | 138.15 | 3.109 | 127.649 | 3.437 | 135.11 | 3.532 | 128.302 | 18.19 | 886 | 100 | 6.255
2020-09-30 03:45:00 | 3.21 | 134.16 | 3.3453 | 135.3347 | 3.716 | 131.2087 | 3.826 | 136.0273 | 18.1867 | 885 | 100 | 7.4107
2020-09-30 04:00:00 | 3.104 | 133.37 | 3.196 | 133.379 | 3.684 | 130.436 | 3.693 | 134.062 | 18.1 | 885 | 100 | 5.597
2020-09-30 04:15:00 | 3.057 | 134.84 | 3.17 | 132.881 | 3.664 | 131.874 | 3.703 | 133.559 | 18.06 | 885 | 100 | 6.718
2020-09-30 04:30:00 | 3.152 | 142.63 | 3.284 | 138.123 | 3.684 | 139.492 | 3.785 | 138.83 | 18.07 | 885 | 100 | 8.31
2020-09-30 04:45:00 | 3.0213 | 144.42 | 3.1567 | 137.4293 | 3.4787 | 141.2427 | 3.606 | 138.1313 | 18.0067 | 885 | 100 | 7.5407
2020-09-30 05:00:00 | 2.719 | 148.1 | 2.864 | 140.263 | 3.175 | 144.842 | 3.317 | 140.982 | 18.02 | 885 | 100 | 7.539
2020-09-30 05:15:00 | 2.961 | 140.12 | 3.064 | 145.262 | 3.413 | 137.039 | 3.477 | 146.003 | 17.9 | 885 | 100 | 7.46
2020-09-30 05:30:00 | 3.074 | 135.66 | 3.174 | 135.756 | 3.534 | 132.677 | 3.591 | 136.45 | 17.88 | 885 | 100 | 8.416
2020-09-30 05:45:00 | 3.305 | 144.07 | 3.44 | 137.244 | 3.823 | 140.901 | 3.929 | 137.945 | 17.82 | 885 | 100 | 8.418
2020-09-30 06:00:00 | 2.959 | 156.5 | 3.05 | 145.517 | 3.298 | 153.057 | 3.373 | 146.26 | 17.82 | 885 | 100 | 7.73
2020-09-30 06:15:00 | 2.965 | 154.29 | 3.033 | 146.415 | 3.237 | 150.895 | 3.294 | 147.164 | 17.88 | 885 | 100 | 7.053
2020-09-30 06:30:00 | 3.2233 | 160.5933 | 3.2833 | 144.7633 | 3.5447 | 157.0607 | 3.5687 | 145.504 | 17.8333 | 885 | 100 | 10.7913
2020-09-30 06:45:00 | 3.5853 | 160.88 | 3.6787 | 145.0387 | 3.9153 | 157.3407 | 4.0013 | 145.778 | 17.8667 | 885 | 100 | 16.846
2020-09-30 07:00:00 | 3.96 | 149.66 | 4.099 | 145.215 | 4.404 | 146.093 | 4.541 | 145.955 | 17.82 | 885 | 100 | 18.413
2020-09-30 07:15:00 | 3.656 | 142.4 | 3.7887 | 138.3073 | 4.218 | 139.2687 | 4.3087 | 139.0153 | 17.8 | 885 | 100 | 14.8793
2020-09-30 07:30:00 | 3.698 | 143.7667 | 3.8153 | 137.878 | 4.2747 | 140.6033 | 4.3347 | 138.5827 | 17.8067 | 885 | 100 | 14.884
2020-09-30 07:45:00 | 3.761 | 137.31 | 3.94 | 139.347 | 4.439 | 134.288 | 4.583 | 140.058 | 17.8 | 885 | 100 | 14.332
2020-09-30 08:00:00 | 4.0453 | 139.46 | 4.2107 | 136.698 | 4.712 | 137.16 | 4.836 | 137.396 | 17.86 | 885 | 100 | 14.6773
2020-09-30 08:15:00 | 3.808 | 145.42 | 3.936 | 137.252 | 4.406 | 142.22 | 4.468 | 137.954 | 17.86 | 885 | 100 | 13.204
2020-09-30 08:30:00 | 3.474 | 152.43 | 3.543 | 142.396 | 3.84 | 149.076 | 3.865 | 143.124 | 17.86 | 885 | 100 | 9.819
2020-09-30 08:45:00 | 3.589 | 152.02 | 3.643 | 144.667 | 3.895 | 148.676 | 3.917 | 145.407 | 17.83 | 886 | 100 | 12.887
2020-09-30 09:00:00 | 4.0633 | 148.86 | 4.194 | 143.6153 | 4.444 | 145.584 | 4.5887 | 144.3507 | 17.8 | 886 | 100 | 16.4973
2020-09-30 09:15:00 | 3.871 | 152.42 | 4.021 | 139.041 | 4.378 | 149.068 | 4.522 | 139.755 | 17.93 | 886 | 100 | 13.862
2020-09-30 09:30:00 | 3.7013 | 153.6867 | 3.8593 | 141.4907 | 4.154 | 150.7167 | 4.328 | 142.214 | 17.88 | 886 | 100 | 11.9293
2020-09-30 09:45:00 | 3.833 | 146.57 | 3.988 | 140.852 | 4.371 | 143.345 | 4.51 | 141.571 | 17.87 | 886 | 100 | 11.785
2020-09-30 10:00:00 | 3.842 | 149.16 | 3.95 | 138.944 | 4.337 | 145.878 | 4.401 | 139.656 | 17.94 | 886 | 100 | 11.672
2020-09-30 10:15:00 | 3.659 | 150.77 | 3.698 | 137.788 | 3.949 | 147.454 | 3.942 | 138.495 | 17.86 | 886 | 100 | 10.095
2020-09-30 10:30:00 | 3.657 | 143.7 | 3.734 | 135.845 | 4.022 | 140.587 | 4.069 | 136.539 | 17.86 | 886 | 100 | 11.782
2020-09-30 10:45:00 | 3.2013 | 152.4067 | 3.2673 | 140.5 | 3.6287 | 148.8133 | 3.6313 | 141.218 | 18.0133 | 886 | 100 | 9.964
2020-09-30 11:00:00 | 2.709 | 187.28 | 2.74 | 156.733 | 3.104 | 183.16 | 3.048 | 157.537 | 18.11 | 886 | 100 | 9.822
2020-09-30 11:15:00 | 3.9053 | 176.9933 | 4.1527 | 164.454 | 4.298 | 173.1 | 4.6547 | 165.2953 | 18.1067 | 886 | 100 | 14.9227
2020-09-30 11:30:00 | 3.3573 | 172.3533 | 3.558 | 161.4807 | 3.778 | 168.5613 | 4.04 | 162.3067 | 18.4 | 886 | 100 | 12.6953
2020-09-30 11:45:00 | 3.135 | 180.97 | 3.292 | 172.158 | 3.522 | 176.989 | 3.71 | 173.037 | 18.65 | 886 | 100 | 10.435
2020-09-30 12:00:00 | 2.8336 | 169.3786 | 2.9236 | 168.5093 | 3.1671 | 166.1764 | 3.2457 | 169.37 | 18.9714 | 886 | 100 | 7.9564
2020-09-30 12:15:00 | 2.478 | 138.35 | 2.526 | 138.817 | 2.695 | 135.306 | 2.728 | 139.525 | 18.89 | 886 | 100 | 2.839
2020-09-30 12:30:00 | 2.674 | 152.12 | 2.869 | 150.475 | 3.226 | 148.773 | 3.435 | 151.244 | 18.74 | 886 | 100 | 4.845
2020-09-30 12:45:00 | 3.571 | 146.22 | 3.729 | 144.597 | 4.202 | 144.186 | 4.322 | 145.337 | 18.66 | 885.8 | 99.84 | 9.482
2020-09-30 13:00:00 | 3.021 | 145.76 | 3.163 | 158.641 | 3.494 | 142.553 | 3.624 | 159.454 | 18.71 | 885 | 99.97 | 7.741
2020-09-30 13:15:00 | 3.3053 | 161.94 | 3.3807 | 141.5633 | 3.652 | 157.9533 | 3.6987 | 142.2867 | 18.7333 | 885 | 99.9067 | 7.2707
2020-09-30 13:30:00 | 2.866 | 157.16 | 2.988 | 145.439 | 3.269 | 153.506 | 3.379 | 146.182 | 18.98 | 885 | 99.73 | 6.289
2020-09-30 13:45:00 | 2.607 | 155.69 | 2.669 | 139.589 | 2.986 | 152.265 | 3 | 140.303 | 18.92 | 885 | 97.77 | 4.15
2020-09-30 14:00:00 | 2.3093 | 156.6933 | 2.386 | 153.6173 | 2.5627 | 152.698 | 2.6293 | 154.404 | 19.0067 | 884.2 | 97.64 | 2.8247
2020-09-30 14:15:00 | 1.934 | 167.8533 | 1.982 | 144.038 | 2.158 | 164.1607 | 2.1867 | 144.776 | 19.12 | 884 | 98.4267 | 1.196
2020-09-30 14:30:00 | 1.858 | 195.38 | 2.023 | 165.008 | 2.083 | 191.082 | 2.331 | 165.851 | 18.95 | 884 | 98.01 | 1.458
2020-09-30 14:45:00 | 1.721 | 202.15 | 1.837 | 200.324 | 1.897 | 197.702 | 2.067 | 201.349 | 19.12 | 884 | 98.01 | 0.726
2020-09-30 15:00:00 | 1.244 | 210.86 | 1.248 | 217.768 | 1.216 | 206.2213 | 1.2327 | 218.8813 | 19.1533 | 883.2 | 99.0933 | 0.29467
2020-09-30 15:15:00 | 1.48 | 231.1 | 1.477 | 209.399 | 1.519 | 226.015 | 1.502 | 210.471 | 19.13 | 883 | 99.06 | 0.084
2020-09-30 15:30:00 | 1.553 | 218.58 | 1.64 | 205.78 | 1.556 | 213.771 | 1.724 | 206.831 | 19.42 | 883 | 99.16 | 0
2020-09-30 15:45:00 | 1.1153 | 181.4133 | 1.1627 | 196.546 | 1.1793 | 176.764 | 1.252 | 197.5507 | 19.2733 | 883 | 99.76 | 0.064667
2020-09-30 16:00:00 | 1.528 | 179.23 | 1.7 | 133.918 | 2.066 | 175.287 | 2.233 | 134.602 | 18.92 | 883 | 99.84 | 0
2020-09-30 16:15:00 | 1.484 | 173.68 | 1.508 | 178.494 | 1.497 | 169.859 | 1.541 | 179.408 | 19.42 | 883 | 99.98 | 0.2
2020-09-30 16:30:00 | 1.5267 | 179.16 | 1.5553 | 190.54 | 1.534 | 175.218 | 1.5893 | 191.514 | 19.2733 | 883 | 99.98 | 0.93067
2020-09-30 16:45:00 | 1.102 | 191.73 | 1.105 | 201.927 | 1.093 | 187.512 | 1.102 | 202.96 | 19.11 | 883 | 100 | 0.874
2020-09-30 17:00:00 | 1.8273 | 190.1867 | 1.958 | 172.414 | 2.058 | 186.002 | 2.2393 | 173.296 | 18.9667 | 883 | 100 | 1.2053
2020-09-30 17:15:00 | 2.382 | 188.9333 | 2.4987 | 186.4207 | 2.7 | 184.776 | 2.8327 | 187.3733 | 18.58 | 883 | 100 | 2.464
2020-09-30 17:30:00 | 1.95 | 173.35 | 2.05 | 168.598 | 2.191 | 169.536 | 2.31 | 169.458 | 18.28 | 883 | 100 | 2.124
2020-09-30 17:45:00 | 1.542 | 131.4533 | 1.5653 | 126.5713 | 1.708 | 128.4967 | 1.718 | 127.2193 | 18.6533 | 883 | 100 | 1.4173
2020-09-30 18:00:00 | 1.739 | 144.62 | 1.825 | 132.705 | 2.013 | 141.438 | 2.096 | 133.384 | 18.51 | 883 | 100 | 1.027
2020-09-30 18:15:00 | 2.072 | 194.24 | 2.107 | 177.272 | 2.174 | 189.751 | 2.23 | 178.179 | 18.04 | 883 | 100 | 2.848
2020-09-30 18:30:00 | 2.075 | 168.98 | 2.199 | 163.239 | 2.294 | 164.579 | 2.455 | 164.072 | 17.98 | 883 | 100 | 3.881
2020-09-30 18:45:00 | 1.82 | 157.81 | 1.888 | 145.038 | 1.807 | 154.338 | 1.944 | 145.779 | 18.43 | 883 | 100 | 2.187
2020-09-30 19:00:00 | 1.5 | 169.5 | 1.584 | 173.44 | 1.392 | 165.772 | 1.578 | 174.326 | 18.33 | 883 | 100 | 1.135
2020-09-30 19:15:00 | 1.517 | 192.96 | 1.555 | 195.317 | 1.622 | 188.714 | 1.664 | 196.314 | 18.61 | 883 | 100 | 1.807
2020-09-30 19:30:00 | 1.716 | 202.37 | 1.746 | 207.298 | 1.753 | 197.916 | 1.804 | 208.358 | 18.67 | 883 | 100 | 1.595
2020-09-30 19:45:00 | 2.197 | 194.61 | 2.298 | 173.703 | 2.509 | 190.329 | 2.611 | 174.591 | 18.53 | 883 | 100 | 1.448
2020-09-30 20:00:00 | 1.709 | 184.62 | 1.722 | 163.735 | 1.83 | 180.56 | 1.817 | 164.574 | 18.53 | 883.7 | 100 | 2.33
2020-09-30 20:15:00 | 1.162 | 159.69 | 1.213 | 153.225 | 1.228 | 156.177 | 1.306 | 154.007 | 18.48 | 884 | 100 | 2.075
2020-09-30 20:30:00 | 1.332 | 160.29 | 1.365 | 176.07 | 1.375 | 156.763 | 1.434 | 176.97 | 18.6 | 884 | 100 | 1.847
2020-09-30 20:45:00 | 1.852 | 174.17 | 1.973 | 165.321 | 2.107 | 170.338 | 2.262 | 166.167 | 18.68 | 884 | 100 | 2.006
2020-09-30 21:00:00 | 1.65 | 199 | 1.655 | 172.803 | 1.643 | 194.976 | 1.681 | 173.685 | 18.6 | 884.7 | 100 | 1.24
2020-09-30 21:15:00 | 1.571 | 192.17 | 1.588 | 168.029 | 1.576 | 187.943 | 1.608 | 168.887 | 18.42 | 885 | 100 | 1.125
2020-09-30 21:30:00 | 1.787 | 167.9 | 1.857 | 154.974 | 1.826 | 164.206 | 1.948 | 155.766 | 18.27 | 885 | 100 | 0.495
2020-09-30 21:45:00 | 1.3413 | 154.6 | 1.3887 | 151.022 | 1.392 | 151.1993 | 1.4687 | 151.794 | 18.3867 | 885 | 100 | 0
2020-09-30 22:00:00 | 1.144 | 143.54 | 1.209 | 142.916 | 1.083 | 140.382 | 1.223 | 143.647 | 18.29 | 885 | 100 | 0
2020-09-30 22:15:00 | 0.973 | 159.23 | 1.013 | 154.75 | 1.02 | 155.854 | 1.08 | 155.542 | 18.31 | 885 | 100 | 0.041
2020-09-30 22:30:00 | 0.626 | 133.67 | 0.667 | 148.305 | 0.657 | 131.101 | 0.726 | 148.079 | 18.44 | 885 | 100 | 0.509
2020-09-30 22:45:00 | 0.469 | 143.1 | 0.5 | 127.6 | 0.555 | 139.953 | 0.586 | 128.251 | 18.46 | 885 | 100 | 0.825
2020-09-30 23:00:00 | 0.474 | 71.62 | 0.51 | 47.541 | 0.452 | 70.045 | 0.53 | 47.783 | 18.45 | 885 | 100 | 0.355
2020-09-30 23:15:00 | 0.723 | 116.66 | 0.751 | 102.886 | 0.635 | 114.093 | 0.712 | 103.41 | 18.3 | 885 | 100 | 0.472
2020-09-30 23:30:00 | 0.38733 | 61.6933 | 0.40133 | 87.166 | 0.34533 | 60.3353 | 0.38933 | 87.612 | 18.4 | 885 | 100 | 0.348
2020-09-30 23:45:00 | 0.84 | 113.4533 | 0.828 | 97.526 | 0.73533 | 111.0753 | 0.75533 | 98.0253 | 18.6133 | 885 | 100 | 0.44067