## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-01 00:00:00 | 1.154 | 109.3 | 1.169 | 101.966 | 1.051 | 106.895 | 1.112 | 102.487 | 18.4 | 885 | 100 | 0.961
2020-10-01 00:15:00 | 0.53867 | 115.2933 | 0.55467 | 98.8493 | 0.542 | 112.7567 | 0.57133 | 99.3553 | 18.4933 | 885 | 100 | 0.30067
2020-10-01 00:30:00 | 0.459 | 83.86 | 0.472 | 101.104 | 0.434 | 82.014 | 0.469 | 101.623 | 18.57 | 885 | 100 | 0.35
2020-10-01 00:45:00 | 0.47467 | 215.7467 | 0.50533 | 176.1573 | 0.56133 | 211 | 0.59733 | 177.058 | 18.5133 | 885 | 100 | 0
2020-10-01 01:00:00 | 0.56333 | 172.28 | 0.57933 | 223.7907 | 0.83667 | 168.4893 | 0.786 | 224.9373 | 18.5067 | 885 | 100 | 0
2020-10-01 01:15:00 | 0.902 | 144.88 | 0.936 | 124.048 | 0.988 | 141.596 | 1.021 | 122.856 | 18.32 | 885 | 100 | 1.23
2020-10-01 01:30:00 | 1.5907 | 107.3533 | 1.6693 | 107.3513 | 1.6193 | 104.992 | 1.7653 | 107.9007 | 18.0133 | 885 | 100 | 0.83267
2020-10-01 01:45:00 | 1.36 | 69.83 | 1.427 | 86.289 | 1.367 | 68.295 | 1.492 | 86.731 | 18.13 | 885 | 100 | 0.299
2020-10-01 02:00:00 | 1.855 | 84.26 | 1.927 | 99.99 | 2.144 | 82.405 | 2.201 | 100.5 | 18.02 | 885 | 100 | 0.954
2020-10-01 02:15:00 | 1.748 | 107.79 | 1.851 | 122.034 | 1.996 | 105.417 | 2.12 | 122.658 | 17.84 | 884 | 100 | 0.278
2020-10-01 02:30:00 | 1.256 | 107.78 | 1.334 | 117.037 | 1.337 | 105.409 | 1.462 | 117.635 | 17.69 | 884 | 100 | 0
2020-10-01 02:45:00 | 1.3507 | 118.18 | 1.4067 | 125.576 | 1.5067 | 115.5813 | 1.566 | 126.218 | 17.6933 | 884 | 100 | 0.81
2020-10-01 03:00:00 | 1.077 | 127.58 | 1.117 | 138.014 | 1.221 | 124.773 | 1.256 | 138.72 | 17.69 | 884 | 100 | 0.577
2020-10-01 03:15:00 | 0.532 | 34.72 | 0.587 | 113.819 | 0.803 | 33.955 | 0.829 | 114.401 | 18.01 | 884 | 100 | 0.609
2020-10-01 03:30:00 | 0.53067 | 114.12 | 0.61267 | 99.496 | 0.62667 | 111.6093 | 0.75733 | 100.002 | 18.0133 | 884 | 100 | 0.95067
2020-10-01 03:45:00 | 0.692 | 131.2 | 0.723 | 121.486 | 0.674 | 128.314 | 0.74 | 122.107 | 17.97 | 884 | 100 | 0.232
2020-10-01 04:00:00 | 0.626 | 196.2733 | 0.62267 | 159.1273 | 0.66133 | 191.9553 | 0.64533 | 159.9407 | 17.8467 | 884 | 100 | 0
2020-10-01 04:15:00 | 0.57 | 144.0333 | 0.60467 | 125.002 | 0.644 | 140.8647 | 0.68733 | 125.6407 | 17.86 | 884 | 100 | 0.090667
2020-10-01 04:30:00 | 0.96 | 31.11 | 1.028 | 25.037 | 1.089 | 30.427 | 1.184 | 25.165 | 17.76 | 884 | 100 | 0
2020-10-01 04:45:00 | 0.366 | 305.53 | 0.36 | 148.714 | 0.513 | 298.807 | 0.452 | 149.474 | 17.87 | 884 | 100 | 0
2020-10-01 05:00:00 | 0.456 | 314.5333 | 0.48067 | 186.928 | 0.57267 | 307.6133 | 0.58467 | 187.884 | 17.8533 | 884 | 100 | 0
2020-10-01 05:15:00 | 0.928 | 333.38 | 0.969 | 278.602 | 1.194 | 326.046 | 1.194 | 280.028 | 17.67 | 884 | 100 | 0
2020-10-01 05:30:00 | 2.436 | 304.04 | 2.58 | 325.518 | 3.092 | 297.352 | 3.181 | 327.181 | 17.32 | 884 | 100 | 0
2020-10-01 05:45:00 | 1.324 | 170.01 | 1.289 | 312.658 | 1.681 | 166.093 | 1.504 | 314.256 | 17.56 | 884 | 100 | 0
2020-10-01 06:00:00 | 1.321 | 270.83 | 1.282 | 338.251 | 1.8 | 297.643 | 1.579 | 339.98 | 17.78 | 884 | 100 | 0
2020-10-01 06:15:00 | 1.436 | 329.73 | 1.487 | 344.05 | 1.789 | 322.476 | 1.777 | 345.809 | 17.54 | 884 | 100 | 0
2020-10-01 06:30:00 | 2.392 | 43.14 | 2.5 | 107.463 | 2.692 | 42.192 | 2.817 | 108.012 | 17.4 | 884 | 100 | 0
2020-10-01 06:45:00 | 2.418 | 82.43 | 2.54 | 240.235 | 2.785 | 80.618 | 2.907 | 241.464 | 17.23 | 884 | 100 | 1.506
2020-10-01 07:00:00 | 2.487 | 281.41 | 2.624 | 341.038 | 2.922 | 274.584 | 3.054 | 342.781 | 17.13 | 884 | 100 | 1.695
2020-10-01 07:15:00 | 1.8113 | 311.1667 | 1.8433 | 329.8993 | 2.1373 | 293.7847 | 2.1053 | 331.586 | 17.16 | 884 | 100 | 0
2020-10-01 07:30:00 | 1.5047 | 304.4933 | 1.5213 | 322.7387 | 1.8467 | 297.7953 | 1.782 | 324.3907 | 17.22 | 884 | 100 | 0
2020-10-01 07:45:00 | 0.77667 | 225.94 | 0.78 | 220.5787 | 0.95733 | 220.9687 | 0.91467 | 221.7047 | 17.5 | 884 | 100 | 0
2020-10-01 08:00:00 | 0.343 | 225.28 | 0.342 | 234.543 | 0.352 | 220.324 | 0.349 | 235.743 | 17.62 | 884.7 | 100 | 0
2020-10-01 08:15:00 | 0.34 | 238.16 | 0.357 | 287.926 | 0.452 | 232.921 | 0.45 | 289.396 | 17.8 | 885 | 100 | 0
2020-10-01 08:30:00 | 0.18267 | 206.9267 | 0.17467 | 232.1827 | 0.19733 | 202.3753 | 0.176 | 233.3707 | 17.9533 | 885 | 100 | 0
2020-10-01 08:45:00 | 0.316 | 215.85 | 0.315 | 189.134 | 0.396 | 211.1 | 0.366 | 190.104 | 17.8 | 885 | 100 | 0
2020-10-01 09:00:00 | 0.244 | 173.44 | 0.246 | 149.4433 | 0.26133 | 169.624 | 0.26133 | 150.208 | 18.02 | 885 | 100 | 0
2020-10-01 09:15:00 | 0.27 | 53.8533 | 0.29467 | 139.6127 | 0.29067 | 52.668 | 0.33467 | 140.3253 | 18.32 | 885 | 100 | 0
2020-10-01 09:30:00 | 0.333 | 42.58 | 0.396 | 50.563 | 0.403 | 41.643 | 0.504 | 50.821 | 18.49 | 885 | 100 | 0
2020-10-01 09:45:00 | 0.588 | 14.9533 | 0.65133 | 98.9147 | 0.71533 | 14.624 | 0.79933 | 99.42 | 18.5133 | 885 | 100 | 0
2020-10-01 10:00:00 | 1.026 | 301.96 | 1.1147 | 75.2407 | 1.1627 | 295.318 | 1.29 | 75.6253 | 18.4467 | 885.8 | 100 | 0
2020-10-01 10:15:00 | 1.048 | 276.49 | 1.052 | 336.676 | 1.118 | 270.408 | 1.108 | 338.399 | 18.43 | 886 | 100 | 0
2020-10-01 10:30:00 | 1.126 | 231.5 | 1.1513 | 312.354 | 1.2747 | 226.408 | 1.2727 | 313.9527 | 18.68 | 886 | 100 | 0
2020-10-01 10:45:00 | 1.171 | 215.6 | 1.202 | 275.629 | 1.596 | 210.858 | 1.534 | 277.04 | 18.74 | 886 | 100 | 0
2020-10-01 11:00:00 | 0.91267 | 272.4333 | 0.882 | 166.65 | 1.1413 | 267.4313 | 1.0273 | 167.5047 | 18.9867 | 886 | 100 | 0
2020-10-01 11:15:00 | 0.85667 | 109.5933 | 0.85467 | 204.2967 | 1.1007 | 107.182 | 1.0273 | 205.342 | 18.98 | 886 | 100 | 0
2020-10-01 11:30:00 | 0.751 | 237.3 | 0.73 | 234.554 | 0.915 | 232.079 | 0.829 | 235.753 | 18.72 | 886 | 100 | 0
2020-10-01 11:45:00 | 0.878 | 180.32 | 0.854 | 320.5813 | 0.90467 | 176.3527 | 0.85533 | 322.2193 | 18.5133 | 886 | 100 | 0
2020-10-01 12:00:00 | 0.77867 | 221.2667 | 0.75067 | 271.3693 | 0.94067 | 216.314 | 0.83133 | 272.7573 | 18.2467 | 886 | 100 | 0
2020-10-01 12:15:00 | 1.201 | 227 | 1.149 | 267.876 | 1.355 | 221.82 | 1.21 | 269.243 | 17.89 | 886 | 100 | 0
2020-10-01 12:30:00 | 1.2207 | 281.9667 | 1.2233 | 323.0587 | 1.5633 | 275.7627 | 1.4673 | 324.7113 | 18.08 | 885.2 | 100 | 0
2020-10-01 12:45:00 | 1.1507 | 228 | 1.1387 | 205.498 | 1.49 | 222.9847 | 1.3687 | 206.548 | 18.6733 | 885 | 100 | 0
2020-10-01 13:00:00 | 0.98 | 205.37 | 1.049 | 259.97 | 1.31 | 200.853 | 1.344 | 261.301 | 18.69 | 885 | 100 | 0
2020-10-01 13:15:00 | 1.369 | 267.04 | 1.359 | 142.27 | 1.584 | 261.163 | 1.503 | 142.996 | 18.56 | 885 | 100 | 0
2020-10-01 13:30:00 | 0.911 | 277.21 | 0.964 | 323.963 | 1.289 | 271.11 | 1.279 | 325.62 | 18.66 | 885 | 100 | 0
2020-10-01 13:45:00 | 0.918 | 274.05 | 0.992 | 225.039 | 1.223 | 268.019 | 1.276 | 226.189 | 19.31 | 884.8 | 100 | 0
2020-10-01 14:00:00 | 1.256 | 269.94 | 1.352 | 255.68 | 1.656 | 264.002 | 1.728 | 256.987 | 19.44 | 884 | 100 | 0
2020-10-01 14:15:00 | 1.607 | 288.93 | 1.721 | 265.282 | 2.153 | 282.573 | 2.209 | 266.639 | 19.57 | 884 | 100 | 0
2020-10-01 14:30:00 | 2.069 | 307.15 | 2.163 | 267.757 | 2.77 | 301.469 | 2.739 | 269.126 | 18.83 | 884 | 100 | 1.087
2020-10-01 14:45:00 | 2.495 | 320.95 | 2.529 | 269.978 | 3.141 | 313.888 | 3.025 | 271.358 | 18.07 | 884 | 100 | 2.203
2020-10-01 15:00:00 | 2.99 | 300.67 | 3.079 | 304.285 | 3.718 | 294.055 | 3.68 | 305.84 | 17.54 | 884 | 100 | 5.345
2020-10-01 15:15:00 | 3.435 | 330.47 | 3.605 | 268.098 | 4.347 | 323.199 | 4.405 | 269.468 | 17.42 | 884 | 100 | 7.788
2020-10-01 15:30:00 | 3.735 | 304.67 | 3.94 | 331.552 | 4.644 | 297.966 | 4.771 | 333.247 | 17.03 | 884 | 100 | 10.274
2020-10-01 15:45:00 | 4.2033 | 342.4733 | 4.4967 | 332.318 | 5.0147 | 334.9373 | 5.3353 | 334.0167 | 16.8467 | 884 | 100 | 11.974
2020-10-01 16:00:00 | 4.5423 | 342.7462 | 4.8262 | 333.3323 | 5.1577 | 335.2054 | 5.5215 | 335.0362 | 16.8462 | 884 | 100 | 14.9623
2020-10-01 16:15:00 | 4.813 | 343.68 | 5.189 | 330.086 | 5.639 | 336.118 | 6.107 | 331.772 | 16.85 | 884 | 100 | 18.689
2020-10-01 16:30:00 | 5.263 | 346.53 | 5.666 | 332.53 | 6.055 | 338.906 | 6.591 | 334.229 | 16.81 | 884 | 100 | 24.18
2020-10-01 16:45:00 | 5.491 | 346.5 | 5.941 | 329.761 | 6.192 | 338.875 | 6.842 | 331.448 | 16.76 | 883 | 100 | 26.868
2020-10-01 17:00:00 | 5.1927 | 341.7067 | 5.65 | 327.2133 | 5.9307 | 334.1893 | 6.5833 | 328.8847 | 16.7533 | 883 | 100 | 25.808
2020-10-01 17:15:00 | 5.3593 | 341.12 | 5.8147 | 332.136 | 6.1927 | 333.616 | 6.8127 | 333.8327 | 16.7267 | 883 | 100 | 28.9547
2020-10-01 17:30:00 | 5.604 | 341.86 | 6.063 | 296.979 | 6.587 | 334.337 | 7.176 | 298.498 | 16.49 | 883 | 100 | 32.635
2020-10-01 17:45:00 | 5.3643 | 347.1071 | 5.79 | 328.3143 | 6.2471 | 339.4714 | 6.7993 | 329.9936 | 16.4571 | 883 | 100 | 28.5653
2020-10-01 18:00:00 | 5.0986 | 349.8286 | 5.5014 | 334.0021 | 5.97 | 342.13 | 6.4771 | 335.7093 | 16.4071 | 883 | 100 | 25.0864
2020-10-01 18:15:00 | 5.188 | 351.16 | 5.556 | 327.611 | 5.789 | 343.767 | 6.312 | 329.285 | 16.41 | 883 | 100 | 26.37
2020-10-01 18:30:00 | 5.2913 | 350.6867 | 5.7133 | 324.6887 | 6.0593 | 343.154 | 6.6427 | 326.3493 | 16.4533 | 883 | 100 | 27.1813
2020-10-01 18:45:00 | 5.384 | 325.4267 | 5.798 | 331.112 | 6.1567 | 317.772 | 6.722 | 332.8053 | 16.3933 | 883 | 100 | 28.1693
2020-10-01 19:00:00 | 5.356 | 347.89 | 5.787 | 329.841 | 6.17 | 338.945 | 6.764 | 331.526 | 16.32 | 883 | 100 | 28.236
2020-10-01 19:15:00 | 5.533 | 346.58 | 6.022 | 325.478 | 6.437 | 338.955 | 7.105 | 327.143 | 16.24 | 883 | 100 | 30.365
2020-10-01 19:30:00 | 5.903 | 345.05 | 6.417 | 325.988 | 6.813 | 337.457 | 7.525 | 327.654 | 16.28 | 883 | 100 | 34.458
2020-10-01 19:45:00 | 5.7433 | 346.92 | 6.2407 | 324.7227 | 6.5053 | 339.2873 | 7.226 | 326.3833 | 16.3067 | 883 | 100 | 31.6307
2020-10-01 20:00:00 | 5.866 | 344.78 | 6.366 | 326.678 | 6.4247 | 337.1947 | 7.2147 | 328.348 | 16.46 | 883.1333 | 100 | 32.9633
2020-10-01 20:15:00 | 5.826 | 341.48 | 6.31 | 330.212 | 6.434 | 333.968 | 7.178 | 331.899 | 16.63 | 884 | 100 | 31.829
2020-10-01 20:30:00 | 5.82 | 343.34 | 6.2987 | 327.642 | 6.6213 | 335.786 | 7.298 | 329.318 | 16.6733 | 884 | 100 | 32.6847
2020-10-01 20:45:00 | 5.992 | 344.7467 | 6.4927 | 328.1247 | 6.7427 | 337.1627 | 7.4747 | 329.804 | 16.6133 | 884 | 100 | 33.3287
2020-10-01 21:00:00 | 5.92 | 348.74 | 6.419 | 327.25 | 6.635 | 341.067 | 7.371 | 328.923 | 16.61 | 884 | 100 | 30.649
2020-10-01 21:15:00 | 5.446 | 346.7267 | 5.952 | 326.972 | 6.2527 | 339.268 | 6.9573 | 328.642 | 16.44 | 884 | 100 | 25.1707
2020-10-01 21:30:00 | 5.294 | 340.3467 | 5.7633 | 322.8107 | 6.008 | 332.8593 | 6.6907 | 324.4613 | 16.4267 | 884.8 | 100 | 23.2693
2020-10-01 21:45:00 | 5.126 | 338.54 | 5.631 | 323.542 | 5.978 | 331.092 | 6.688 | 325.196 | 16.4 | 885 | 100 | 22.126
2020-10-01 22:00:00 | 5.432 | 342.5 | 5.917 | 317.008 | 6.138 | 334.965 | 6.855 | 318.63 | 16.38 | 885 | 100 | 23.542
2020-10-01 22:15:00 | 5.729 | 343.87 | 6.207 | 326.201 | 6.238 | 336.628 | 7.037 | 327.869 | 16.23 | 885 | 100 | 26.48
2020-10-01 22:30:00 | 6.2013 | 345.5133 | 6.7053 | 330.316 | 6.63 | 337.912 | 7.4613 | 332.004 | 16.1 | 885 | 100 | 29.9847
2020-10-01 22:45:00 | 5.9487 | 345.7467 | 6.4893 | 328.9147 | 6.748 | 338.14 | 7.5407 | 330.596 | 15.9867 | 885 | 100 | 28.0333
2020-10-01 23:00:00 | 6.191 | 349.33 | 6.72 | 328.618 | 7.172 | 341.644 | 7.888 | 330.297 | 15.76 | 885 | 100 | 30.066
2020-10-01 23:15:00 | 6.5053 | 345.4067 | 7.024 | 329.1113 | 7.274 | 337.8067 | 8.032 | 330.7933 | 15.8067 | 885 | 100 | 34.8973
2020-10-01 23:30:00 | 6.301 | 347.19 | 6.826 | 329.85 | 7.029 | 339.552 | 7.812 | 331.536 | 15.87 | 885 | 100 | 33.718
2020-10-01 23:45:00 | 5.982 | 342.7867 | 6.496 | 327.786 | 6.748 | 334.9713 | 7.5047 | 329.4613 | 15.66 | 885 | 100 | 35.06