## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-02 00:00:00 | 6.15 | 343.12 | 6.66 | 322.105 | 6.892 | 335.57 | 7.647 | 323.75 | 15.71 | 884.3 | 100 | 36.158
2020-10-02 00:15:00 | 6.2313 | 346.5867 | 6.6947 | 325.2247 | 7.126 | 338.96 | 7.7447 | 326.8867 | 15.5933 | 884 | 100 | 37.662
2020-10-02 00:30:00 | 5.9333 | 324.5533 | 6.3727 | 329.494 | 6.804 | 317.4133 | 7.3867 | 331.178 | 15.48 | 884 | 100 | 36.374
2020-10-02 00:45:00 | 5.958 | 338.37 | 6.374 | 326.524 | 6.861 | 330.925 | 7.392 | 328.195 | 15.49 | 884 | 100 | 34.992
2020-10-02 01:00:00 | 5.9647 | 343.04 | 6.3773 | 323.952 | 6.6073 | 335.494 | 7.2047 | 325.6087 | 15.4467 | 884 | 100 | 33.6813
2020-10-02 01:15:00 | 6.162 | 342.96 | 6.611 | 329.497 | 6.944 | 335.416 | 7.57 | 331.179 | 15.56 | 884 | 100 | 32.677
2020-10-02 01:30:00 | 6.152 | 345.53 | 6.644 | 322.691 | 7.08 | 336.697 | 7.759 | 324.341 | 15.6 | 884 | 100 | 34.467
2020-10-02 01:45:00 | 6.3107 | 345.3533 | 6.8453 | 326.9453 | 7.2813 | 337.7567 | 8.0087 | 328.6167 | 15.4867 | 884 | 100 | 35.4593
2020-10-02 02:00:00 | 6.093 | 338.59 | 6.605 | 319.767 | 6.97 | 331.14 | 7.687 | 321.402 | 15.53 | 884 | 100 | 30.688
2020-10-02 02:15:00 | 5.965 | 335.49 | 6.48 | 319.542 | 6.649 | 328.108 | 7.424 | 321.176 | 15.49 | 884 | 100 | 29.916
2020-10-02 02:30:00 | 5.805 | 339.5 | 6.282 | 322.563 | 6.486 | 332.031 | 7.195 | 324.213 | 15.53 | 884 | 100 | 28.169
2020-10-02 02:45:00 | 5.69 | 340.33 | 6.151 | 327.122 | 6.517 | 332.843 | 7.151 | 328.794 | 15.51 | 884 | 100 | 26.489
2020-10-02 03:00:00 | 5.729 | 343.55 | 6.225 | 323.414 | 6.462 | 335.991 | 7.19 | 325.068 | 15.51 | 884 | 100 | 28.589
2020-10-02 03:15:00 | 5.517 | 343.01 | 5.976 | 334.173 | 6.303 | 335.463 | 6.944 | 335.881 | 15.5 | 884 | 100 | 29.434
2020-10-02 03:30:00 | 5.436 | 345.9733 | 5.9047 | 327.8253 | 6.204 | 338.3613 | 6.8713 | 329.5 | 15.4333 | 884 | 100 | 26.7807
2020-10-02 03:45:00 | 6.138 | 340.44 | 6.63 | 326.273 | 6.891 | 332.951 | 7.603 | 327.938 | 15.4 | 884 | 100 | 32.087
2020-10-02 04:00:00 | 6.292 | 347.4267 | 6.8893 | 332.5527 | 7.006 | 339.7833 | 7.9347 | 334.2527 | 15.3467 | 883.8667 | 100 | 37.508
2020-10-02 04:15:00 | 6.533 | 312.16 | 7.091 | 335.904 | 7.347 | 305.292 | 8.168 | 337.621 | 15.34 | 883 | 100 | 38.319
2020-10-02 04:30:00 | 6.7547 | 341.4 | 7.342 | 325.89 | 7.4867 | 333.9933 | 8.3633 | 327.5553 | 15.3067 | 883 | 100 | 41.5627
2020-10-02 04:45:00 | 7.144 | 343.68 | 7.749 | 327.199 | 7.914 | 335.699 | 8.837 | 328.352 | 15.19 | 883 | 100 | 39.993
2020-10-02 05:00:00 | 6.932 | 341.52 | 7.408 | 323.148 | 7.85 | 334.006 | 8.516 | 324.802 | 15.14 | 883 | 100 | 37.798
2020-10-02 05:15:00 | 6.884 | 345.3933 | 7.4053 | 326.6267 | 7.6673 | 336.9527 | 8.4267 | 328.296 | 15.0933 | 883 | 100 | 40.0893
2020-10-02 05:30:00 | 7.042 | 342 | 7.575 | 330.545 | 8.126 | 334.476 | 8.822 | 332.235 | 15.1 | 883 | 100 | 41.868
2020-10-02 05:45:00 | 7.35 | 324.9667 | 7.9427 | 313.8207 | 8.0773 | 317.8173 | 8.9927 | 315.426 | 15.0267 | 883 | 100 | 42.8773
2020-10-02 06:00:00 | 7.27 | 341.82 | 7.81 | 332.148 | 7.821 | 334.055 | 8.668 | 333.846 | 15.03 | 883 | 100 | 44.514
2020-10-02 06:15:00 | 7.204 | 343.77 | 7.742 | 327.866 | 7.933 | 335.816 | 8.735 | 329.541 | 14.95 | 883 | 100 | 46.985
2020-10-02 06:30:00 | 7.551 | 339.54 | 8.161 | 325.41 | 8.032 | 332.069 | 9.048 | 327.074 | 14.9 | 883 | 100 | 46.148
2020-10-02 06:45:00 | 7.3713 | 338.7333 | 7.9487 | 326.8793 | 8.0367 | 331.2827 | 8.938 | 328.5507 | 14.98 | 883 | 100 | 46.6127
2020-10-02 07:00:00 | 7.39 | 343.22 | 8 | 328.334 | 8.242 | 335.67 | 9.16 | 330.014 | 14.92 | 883 | 100 | 46.496
2020-10-02 07:15:00 | 7.564 | 343.48 | 8.088 | 330.847 | 8.309 | 335.923 | 9.092 | 332.539 | 14.78 | 883 | 100 | 49.537
2020-10-02 07:30:00 | 7.462 | 350.2 | 8.038 | 307.043 | 8.14 | 342.024 | 9.06 | 307.314 | 14.64 | 883 | 100 | 48.294
2020-10-02 07:45:00 | 8.2327 | 343.7733 | 8.9453 | 332.956 | 8.9613 | 336.21 | 10.1027 | 334.6587 | 14.64 | 883 | 100 | 53.518
2020-10-02 08:00:00 | 8.116 | 342.92 | 8.824 | 330.368 | 8.808 | 335.374 | 9.956 | 332.056 | 14.54 | 883 | 100 | 55.398
2020-10-02 08:15:00 | 8.519 | 343.99 | 9.22 | 327.709 | 9.412 | 336.421 | 10.485 | 329.382 | 14.47 | 883 | 100 | 54.282
2020-10-02 08:30:00 | 8.686 | 344.89 | 9.397 | 324.637 | 9.424 | 337.304 | 10.559 | 326.296 | 14.41 | 883 | 100 | 54.27
2020-10-02 08:45:00 | 9.178 | 338.4533 | 9.9153 | 324.6567 | 10.2727 | 331.006 | 11.354 | 326.3167 | 14.4467 | 884 | 100 | 53.2607
2020-10-02 09:00:00 | 8.871 | 343.5 | 9.585 | 324.676 | 10.023 | 336.307 | 11.045 | 326.338 | 14.69 | 884 | 100 | 55.802
2020-10-02 09:15:00 | 8.381 | 345.34 | 9.085 | 331.816 | 9.505 | 337.74 | 10.508 | 333.514 | 14.59 | 884 | 100 | 51.235
2020-10-02 09:30:00 | 8.487 | 343.33 | 9.206 | 330.807 | 9.129 | 335.777 | 10.308 | 332.499 | 14.37 | 884 | 100 | 53.172
2020-10-02 09:45:00 | 8.914 | 343.79 | 9.766 | 297.811 | 10.081 | 336.229 | 11.305 | 299.334 | 14.28 | 884 | 100 | 56.562
2020-10-02 10:00:00 | 8.99 | 341.95 | 9.678 | 330.545 | 9.566 | 333.879 | 10.735 | 332.235 | 14.37 | 884 | 100 | 57.331
2020-10-02 10:15:00 | 8.972 | 342.36 | 9.746 | 329.499 | 10.066 | 334.828 | 11.218 | 331.183 | 14.46 | 885 | 100 | 57.908
2020-10-02 10:30:00 | 8.453 | 338.74 | 9.161 | 296.421 | 9.285 | 331.818 | 10.352 | 297.937 | 14.36 | 885 | 100 | 58.489
2020-10-02 10:45:00 | 7.986 | 299.6467 | 8.5247 | 332.6887 | 9.1133 | 271.0107 | 9.822 | 334.3893 | 14.1333 | 885 | 100 | 57.1133
2020-10-02 11:00:00 | 8.246 | 274.4 | 8.762 | 334.18 | 9.134 | 268.362 | 9.858 | 335.888 | 14.26 | 885 | 100 | 57.05
2020-10-02 11:15:00 | 8.301 | 278.75 | 8.932 | 337.38 | 9.317 | 272.617 | 10.226 | 339.104 | 14.15 | 885 | 100 | 57.884
2020-10-02 11:30:00 | 8.238 | 209.7 | 8.89 | 333.4 | 9.31 | 205.086 | 10.242 | 335.104 | 14.3 | 885 | 100 | 55.784
2020-10-02 11:45:00 | 8.413 | 273.16 | 8.936 | 330.437 | 9.309 | 267.15 | 10.048 | 332.126 | 14.58 | 885.2 | 100 | 56.804
2020-10-02 12:00:00 | 8.549 | 341.27 | 9.212 | 326.232 | 9.45 | 333.762 | 10.447 | 327.899 | 14.84 | 885.3 | 100 | 56.437
2020-10-02 12:15:00 | 8.597 | 311.32 | 9.165 | 334.006 | 9.821 | 303.953 | 10.54 | 335.715 | 15.06 | 885 | 100 | 56.959
2020-10-02 12:30:00 | 8.318 | 342.48 | 8.846 | 327.795 | 9.22 | 334.945 | 9.963 | 329.473 | 15.13 | 885 | 100 | 55.785
2020-10-02 12:45:00 | 7.9621 | 298.2643 | 8.4 | 330.7886 | 9.1171 | 291.7021 | 9.605 | 332.48 | 15.2857 | 885 | 99.625 | 55.7964
2020-10-02 13:00:00 | 8.238 | 338.75 | 8.748 | 329.135 | 9.461 | 330.71 | 10.026 | 330.817 | 15.45 | 885 | 97.03 | 55.762
2020-10-02 13:15:00 | 7.834 | 318.4133 | 8.338 | 326.0313 | 8.6507 | 311.4067 | 9.37 | 327.7 | 15.7267 | 885 | 94.6 | 55.8433
2020-10-02 13:30:00 | 7.708 | 342.9 | 8.23 | 329.388 | 8.602 | 337.234 | 9.22 | 331.072 | 15.82 | 885 | 93.24 | 54.282
2020-10-02 13:45:00 | 8.0933 | 315.94 | 8.7067 | 308.096 | 9.2767 | 308.9887 | 10.094 | 309.6713 | 15.8333 | 885 | 93.3 | 55.1707
2020-10-02 14:00:00 | 8.12 | 310.7333 | 8.7822 | 330.5422 | 9.4156 | 303.8967 | 10.3011 | 332.2322 | 15.8889 | 885 | 93.2889 | 54.681
2020-10-02 14:15:00 | 8.05 | 345.75 | 8.642 | 297.87 | 9.34 | 338.145 | 10.088 | 299.393 | 16.1 | 884 | 93 | 55.559
2020-10-02 14:30:00 | 8.407 | 347.67 | 9.089 | 303.337 | 9.823 | 340.021 | 10.707 | 304.887 | 16.06 | 884 | 92.1 | 54.243
2020-10-02 14:45:00 | 8.094 | 345.04 | 8.64 | 332.97 | 9.278 | 337.45 | 9.97 | 334.67 | 16.2 | 884 | 92.5 | 54.766
2020-10-02 15:00:00 | 8.6287 | 297.5067 | 9.25 | 335.5193 | 9.8047 | 290.962 | 10.644 | 337.2353 | 16.3067 | 884 | 91.36 | 59.816
2020-10-02 15:15:00 | 8.87 | 278.61 | 9.533 | 332.51 | 10.352 | 272.481 | 11.177 | 334.208 | 16.35 | 884 | 89.78 | 59.99
2020-10-02 15:30:00 | 8.6027 | 346.8133 | 9.2693 | 286 | 9.786 | 339.1833 | 10.702 | 287.4627 | 16.5333 | 884 | 89.7133 | 58.2927
2020-10-02 15:45:00 | 8.175 | 312.14 | 8.657 | 329.273 | 9.335 | 305.273 | 9.915 | 330.956 | 16.5 | 884 | 88.08 | 57.944
2020-10-02 16:00:00 | 8.492 | 282 | 8.952 | 324.168 | 9.614 | 275.798 | 10.154 | 325.824 | 16.5 | 884 | 86.58 | 59.544
2020-10-02 16:15:00 | 8.253 | 307.45 | 8.746 | 327.561 | 9.379 | 300.685 | 9.988 | 329.235 | 16.52 | 884 | 88.05 | 58.957
2020-10-02 16:30:00 | 8.672 | 345.08 | 9.375 | 334.674 | 9.998 | 337.488 | 10.946 | 336.382 | 16.45 | 884 | 90.11 | 59.633
2020-10-02 16:45:00 | 8.5133 | 345.82 | 9.1713 | 312.6013 | 9.77 | 338.2113 | 10.652 | 314.2 | 16.4 | 884 | 90.1333 | 60.7953
2020-10-02 17:00:00 | 8.3973 | 281.4 | 8.9493 | 329.11 | 9.5153 | 275.208 | 10.2407 | 330.7933 | 16.4 | 883.8667 | 89.4133 | 60.6627
2020-10-02 17:15:00 | 7.858 | 274.83 | 8.306 | 329.978 | 8.916 | 267.777 | 9.487 | 331.665 | 16.3 | 883.2 | 89.55 | 60.36
2020-10-02 17:30:00 | 8.3413 | 324.1933 | 8.8407 | 330.7007 | 9.6087 | 339.4373 | 10.1793 | 332.3907 | 16.26 | 884 | 89.0333 | 62.12
2020-10-02 17:45:00 | 8.641 | 315.52 | 9.304 | 337.616 | 9.949 | 308.579 | 10.826 | 339.341 | 16.24 | 884 | 89.54 | 63.111
2020-10-02 18:00:00 | 8.81 | 281.8867 | 9.306 | 332.5527 | 10.1113 | 275.6867 | 10.6793 | 334.2527 | 16.22 | 884 | 89.38 | 62.656
2020-10-02 18:15:00 | 8.944 | 347.77 | 9.558 | 333.947 | 10.056 | 340.118 | 10.897 | 335.656 | 16.16 | 884 | 89.93 | 61.873
2020-10-02 18:30:00 | 7.768 | 346.12 | 8.196 | 272.528 | 9.07 | 338.504 | 9.51 | 273.922 | 16.18 | 884 | 90.32 | 59.574
2020-10-02 18:45:00 | 7.668 | 278.8 | 8.119 | 330.858 | 9.018 | 273.156 | 9.488 | 332.548 | 16.08 | 884 | 90.16 | 58.027
2020-10-02 19:00:00 | 7.732 | 281.7 | 8.242 | 322.642 | 9.182 | 275.912 | 9.642 | 324.292 | 15.94 | 884 | 90.28 | 61.086
2020-10-02 19:15:00 | 7.376 | 301.0533 | 7.8013 | 329.8933 | 8.566 | 294.4307 | 9.0247 | 331.5807 | 16.0333 | 884 | 89.4133 | 59.506
2020-10-02 19:30:00 | 7.173 | 215.13 | 7.601 | 329.586 | 8.307 | 210.399 | 8.796 | 331.271 | 15.94 | 884 | 88.23 | 58.488
2020-10-02 19:45:00 | 7.44 | 255.6267 | 7.798 | 330.1267 | 8.6553 | 229.4007 | 8.974 | 331.8147 | 15.92 | 884 | 88.2867 | 59.626
2020-10-02 20:00:00 | 7.407 | 174.84 | 7.75 | 314.964 | 8.357 | 170.994 | 8.737 | 316.575 | 15.92 | 884 | 87.7 | 56.546
2020-10-02 20:15:00 | 7.362 | 278.04 | 7.704 | 321.802 | 8.156 | 271.922 | 8.58 | 323.446 | 15.94 | 885 | 86.68 | 56.542
2020-10-02 20:30:00 | 7.866 | 318.43 | 8.254 | 321.995 | 8.8 | 310.642 | 9.29 | 323.642 | 15.98 | 885 | 87.3 | 58.046
2020-10-02 20:45:00 | 7.44 | 314.24 | 7.733 | 324.755 | 8.326 | 306.349 | 8.618 | 326.415 | 15.94 | 885 | 87.1 | 57.648
2020-10-02 21:00:00 | 7.872 | 351.4933 | 8.3533 | 328.49 | 8.7673 | 343.76 | 9.4227 | 330.1713 | 15.8333 | 885 | 87.86 | 58.6967
2020-10-02 21:15:00 | 7.944 | 215.72 | 8.316 | 326.536 | 8.729 | 210.975 | 9.21 | 328.204 | 15.86 | 885.2 | 88.24 | 58.187
2020-10-02 21:30:00 | 7.112 | 282.2 | 7.412 | 327.276 | 7.684 | 275.992 | 8.094 | 328.952 | 15.72 | 886 | 88.62 | 56.84
2020-10-02 21:45:00 | 8.2353 | 258.6333 | 8.7867 | 330.9747 | 9.2433 | 252.944 | 9.9947 | 332.666 | 15.7467 | 886 | 87.32 | 58.8327
2020-10-02 22:00:00 | 8.27 | 212.85 | 8.738 | 330.994 | 9.365 | 208.168 | 9.935 | 332.686 | 15.63 | 886 | 88.62 | 59.125
2020-10-02 22:15:00 | 8.4287 | 257.3533 | 9.0333 | 304.0213 | 9.9127 | 251.692 | 10.6273 | 305.5747 | 15.5533 | 886 | 89.7667 | 59.8567
2020-10-02 22:30:00 | 8.683 | 315.53 | 9.186 | 331.687 | 9.692 | 308.589 | 10.354 | 333.384 | 15.63 | 886 | 88.8 | 60.504
2020-10-02 22:45:00 | 8.7833 | 282.4467 | 9.4127 | 329.0387 | 10.0793 | 276.1353 | 10.8767 | 330.7213 | 15.5133 | 886 | 88.6533 | 60
2020-10-02 23:00:00 | 8.677 | 212.01 | 9.22 | 330.309 | 9.851 | 207.345 | 10.545 | 331.997 | 15.32 | 886 | 90.22 | 60.922
2020-10-02 23:15:00 | 8.38 | 290.5 | 8.95 | 330.778 | 9.788 | 284.11 | 10.452 | 332.468 | 14.82 | 886 | 94.28 | 60.868
2020-10-02 23:30:00 | 8.326 | 323.6467 | 8.8407 | 328.8227 | 9.408 | 315.9393 | 10.07 | 330.504 | 14.64 | 886 | 98.6333 | 60.176
2020-10-02 23:45:00 | 8.844 | 343.44 | 9.476 | 324.922 | 9.823 | 335.884 | 10.737 | 326.582 | 14.79 | 886 | 99.57 | 60.028