## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-03 00:00:00 | 9.1207 | 319.3267 | 9.7253 | 327.4667 | 10.0987 | 312.9727 | 10.9407 | 329.1407 | 14.9467 | 885.8667 | 99.98 | 60.334
2020-10-03 00:15:00 | 8.737 | 343.97 | 9.383 | 323.905 | 9.506 | 336.403 | 10.507 | 325.559 | 14.93 | 885.2 | 99.94 | 58.113
2020-10-03 00:30:00 | 9.448 | 338.17 | 10.047 | 330.3 | 9.947 | 330.731 | 10.939 | 331.988 | 15.08 | 885.3 | 99.02 | 60.703
2020-10-03 00:45:00 | 8.9993 | 325.4467 | 9.844 | 326.0073 | 9.968 | 317.9293 | 11.2807 | 327.9827 | 15.0533 | 885 | 99.24 | 59.8793
2020-10-03 01:00:00 | 8.595 | 312.93 | 9.242 | 330.906 | 9.814 | 306.046 | 10.689 | 332.598 | 15.01 | 885 | 99.3 | 59.754
2020-10-03 01:15:00 | 8.8873 | 343.3467 | 9.5267 | 328.1313 | 9.7293 | 335.7927 | 10.6993 | 329.8087 | 15.0667 | 885 | 99.3467 | 61.316
2020-10-03 01:30:00 | 8.76 | 277.53 | 9.327 | 326.066 | 9.848 | 305.126 | 10.596 | 327.733 | 15.15 | 885 | 99.2 | 61.205
2020-10-03 01:45:00 | 8.722 | 300.2667 | 9.274 | 329.1433 | 10.1107 | 293.0667 | 10.6747 | 331.3093 | 15.04 | 884 | 98.3267 | 61.8507
2020-10-03 02:00:00 | 8.818 | 346.57 | 9.488 | 328.959 | 9.757 | 338.944 | 10.756 | 330.64 | 15.11 | 884 | 96.92 | 60.829
2020-10-03 02:15:00 | 8.362 | 273.96 | 8.804 | 331.366 | 9.274 | 267.932 | 9.842 | 333.058 | 15.38 | 884 | 95.6 | 59.3
2020-10-03 02:30:00 | 8.332 | 274.1333 | 8.7387 | 328.3327 | 9.344 | 268.0433 | 9.8207 | 330.0133 | 15.3533 | 884.8 | 94.84 | 60.99
2020-10-03 02:45:00 | 8.161 | 311.09 | 8.615 | 330.525 | 9.289 | 304.246 | 9.823 | 332.215 | 15.39 | 885 | 93.86 | 60.496
2020-10-03 03:00:00 | 8.358 | 351.2 | 8.844 | 336.53 | 9.53 | 343.474 | 10.118 | 338.446 | 15.14 | 885 | 94.82 | 60.534
2020-10-03 03:15:00 | 7.9827 | 188.96 | 8.3753 | 312.6593 | 9.3327 | 184.8033 | 9.69 | 314.2587 | 14.96 | 885 | 96.6667 | 58.976
2020-10-03 03:30:00 | 7.413 | 314.79 | 7.741 | 332.02 | 8.573 | 307.718 | 8.851 | 333.719 | 14.79 | 885 | 97.06 | 59.249
2020-10-03 03:45:00 | 7.712 | 343.7 | 8.098 | 322.134 | 8.542 | 336.138 | 9.042 | 323.778 | 14.82 | 885 | 96.3 | 56.292
2020-10-03 04:00:00 | 7.63 | 347.04 | 7.981 | 333.937 | 8.377 | 339.406 | 8.837 | 335.646 | 14.57 | 885 | 94.55 | 57.384
2020-10-03 04:15:00 | 8.481 | 344.3 | 8.911 | 328.949 | 9.385 | 336.726 | 9.948 | 330.632 | 13.63 | 885 | 96.38 | 61.089
2020-10-03 04:30:00 | 8.0887 | 301.0533 | 8.4527 | 327.382 | 9.154 | 294.4307 | 9.542 | 329.0553 | 12.72 | 884.8667 | 99.4 | 60.594
2020-10-03 04:45:00 | 7.379 | 338.28 | 7.563 | 326.212 | 7.899 | 330.838 | 8.105 | 327.879 | 12.72 | 884.2 | 99.92 | 59.053
2020-10-03 05:00:00 | 7.816 | 338.8 | 8.174 | 321.802 | 8.194 | 331.348 | 8.766 | 323.446 | 13.14 | 885 | 100 | 58.842
2020-10-03 05:15:00 | 9.15 | 310.13 | 9.636 | 328.49 | 9.914 | 303.307 | 10.616 | 330.169 | 13.01 | 885 | 100 | 60.821
2020-10-03 05:30:00 | 9.791 | 307.82 | 10.379 | 324.344 | 10.591 | 301.049 | 11.488 | 326 | 12.72 | 885 | 100 | 60.486
2020-10-03 05:45:00 | 10.2253 | 338.6 | 10.922 | 322.082 | 10.9467 | 330.3687 | 12.104 | 323.7273 | 12.7933 | 884 | 100 | 60.9567
2020-10-03 06:00:00 | 10.591 | 334.86 | 11.308 | 316.998 | 11.849 | 327.493 | 12.85 | 318.62 | 12.75 | 884 | 100 | 63.013
2020-10-03 06:15:00 | 10.772 | 338.68 | 11.487 | 324.059 | 11.326 | 331.227 | 12.522 | 325.718 | 13.2 | 884.2 | 100 | 62.189
2020-10-03 06:30:00 | 10.684 | 334.04 | 11.424 | 328.646 | 11.65 | 326.69 | 12.786 | 330.328 | 12.72 | 885 | 100 | 62.184
2020-10-03 06:45:00 | 9.8853 | 345.7067 | 10.6627 | 330.1327 | 10.7327 | 338.1 | 11.9673 | 331.8213 | 12.34 | 885 | 100 | 62.024
2020-10-03 07:00:00 | 9.345 | 344.65 | 9.956 | 329.84 | 10.15 | 337.067 | 11.081 | 331.525 | 12.1 | 885 | 100 | 61.448
2020-10-03 07:15:00 | 9.571 | 312.09 | 10.203 | 331.581 | 10.539 | 305.224 | 11.466 | 333.277 | 12.06 | 885 | 100 | 61.713
2020-10-03 07:30:00 | 10.572 | 337.09 | 11.211 | 325.555 | 11.469 | 329.674 | 12.421 | 327.22 | 12.11 | 885 | 100 | 61.58
2020-10-03 07:45:00 | 10.218 | 347.02 | 10.8987 | 319.4733 | 11.0593 | 339.3847 | 12.1127 | 321.1067 | 12.2733 | 885 | 100 | 61.8713
2020-10-03 08:00:00 | 9.851 | 342.34 | 10.467 | 328.538 | 10.712 | 334.808 | 11.638 | 330.219 | 12.84 | 885 | 100 | 61.28
2020-10-03 08:15:00 | 9.7867 | 323.1467 | 10.474 | 323.896 | 10.9953 | 316.0373 | 11.9507 | 325.55 | 12.58 | 885 | 100 | 62.3493
2020-10-03 08:30:00 | 9.764 | 273.75 | 10.439 | 330.631 | 10.916 | 267.73 | 11.867 | 332.323 | 12.72 | 885 | 100 | 62.139
2020-10-03 08:45:00 | 10.984 | 309.86 | 11.627 | 329.478 | 11.938 | 303.042 | 12.888 | 331.162 | 13 | 885 | 100 | 62.716
2020-10-03 09:00:00 | 10.535 | 338.1 | 11.149 | 327.18 | 11.573 | 330.661 | 12.437 | 328.852 | 13.36 | 885 | 100 | 61.941
2020-10-03 09:15:00 | 10.096 | 338.34 | 10.695 | 326.731 | 10.566 | 330.896 | 11.571 | 328.401 | 13.41 | 886 | 100 | 62.241
2020-10-03 09:30:00 | 10.034 | 336.84 | 10.672 | 324.93 | 10.488 | 329.43 | 11.574 | 326.594 | 13.5 | 886 | 100 | 62.546
2020-10-03 09:45:00 | 9.389 | 307.76 | 9.95 | 325.664 | 10.198 | 300.99 | 11.032 | 327.331 | 13.53 | 886 | 100 | 62.552
2020-10-03 10:00:00 | 9 | 338.66 | 9.566 | 331.642 | 9.704 | 331.21 | 10.568 | 333.334 | 13.58 | 886 | 100 | 60.968
2020-10-03 10:15:00 | 8.602 | 346.83 | 8.954 | 326.683 | 9.727 | 339.201 | 10.069 | 328.352 | 13.48 | 886 | 99.88 | 61.742
2020-10-03 10:30:00 | 8.196 | 280.66 | 8.516 | 334.436 | 9.384 | 274.486 | 9.648 | 336.144 | 13.64 | 886.4 | 97.78 | 61.096
2020-10-03 10:45:00 | 8.853 | 305 | 9.295 | 328.823 | 9.642 | 298.292 | 10.255 | 330.504 | 13.98 | 887 | 95.61 | 61.078
2020-10-03 11:00:00 | 8.3573 | 342.7267 | 8.7807 | 330.65 | 9.2013 | 335.1873 | 9.7653 | 332.3393 | 14.08 | 887 | 95.7867 | 61.022
2020-10-03 11:15:00 | 8.185 | 343.11 | 8.558 | 322.074 | 9.291 | 301.477 | 9.675 | 323.721 | 14.1 | 887 | 95.48 | 59.594
2020-10-03 11:30:00 | 8.346 | 275.35 | 8.728 | 324.061 | 9.497 | 269.291 | 9.89 | 325.717 | 14.19 | 887 | 94.99 | 60.847
2020-10-03 11:45:00 | 7.866 | 277.01 | 8.266 | 332.003 | 9.003 | 270.916 | 9.432 | 333.698 | 14.25 | 887 | 95.3 | 61.545
2020-10-03 12:00:00 | 8.3653 | 299.6 | 8.7867 | 331.1513 | 9.6313 | 293.008 | 10.064 | 332.844 | 14.5267 | 887 | 94 | 60.954
2020-10-03 12:15:00 | 8.443 | 243.15 | 8.897 | 330.222 | 9.681 | 237.8 | 10.184 | 331.91 | 14.79 | 887 | 92 | 61.293
2020-10-03 12:30:00 | 7.981 | 279.59 | 8.453 | 296.559 | 9.356 | 273.438 | 9.854 | 298.075 | 15.05 | 887 | 89.38 | 60.646
2020-10-03 12:45:00 | 8.2113 | 256.6067 | 8.6947 | 332.5447 | 9.5353 | 250.9613 | 10.0627 | 334.2453 | 15.1333 | 887 | 87.6867 | 61.7613
2020-10-03 13:00:00 | 7.974 | 175.29 | 8.487 | 297.714 | 9.165 | 171.433 | 9.797 | 300.002 | 15.32 | 887 | 87.68 | 62.064
2020-10-03 13:15:00 | 8.1893 | 236.3 | 8.572 | 310.3393 | 9.332 | 231.1007 | 9.7293 | 311.9253 | 15.4133 | 887 | 88.5333 | 61.2653
2020-10-03 13:30:00 | 8.963 | 241.42 | 9.532 | 299.991 | 10.252 | 236.11 | 10.957 | 301.525 | 15.68 | 887 | 87.31 | 61.199
2020-10-03 13:45:00 | 8.9 | 144.1 | 9.422 | 264.784 | 10.302 | 140.928 | 10.888 | 266.138 | 15.94 | 887 | 85.98 | 59.352
2020-10-03 14:00:00 | 7.729 | 178.87 | 8.12 | 298.476 | 8.857 | 174.935 | 9.275 | 300 | 15.94 | 887 | 83.78 | 61.089
2020-10-03 14:15:00 | 8.268 | 279.02 | 8.788 | 330.348 | 9.374 | 272.882 | 10.046 | 332.036 | 16 | 887 | 86.18 | 61.058
2020-10-03 14:30:00 | 7.923 | 247.6 | 8.368 | 270.965 | 8.937 | 242.153 | 9.492 | 272.351 | 16.21 | 886.3 | 81.3 | 60.913
2020-10-03 14:45:00 | 7.718 | 13.34 | 8.13 | 342.106 | 8.452 | 13.048 | 9.02 | 343.854 | 16.3 | 887 | 80.8 | 60.03
2020-10-03 15:00:00 | 6.874 | 216.5 | 7.263 | 265.664 | 8.096 | 211.736 | 8.483 | 267.023 | 16.32 | 887 | 81.62 | 57.553
2020-10-03 15:15:00 | 7.598 | 281.28 | 8.03 | 337.898 | 8.788 | 275.092 | 9.264 | 339.628 | 16.4 | 887 | 82.46 | 59.686
2020-10-03 15:30:00 | 7.615 | 249.55 | 7.973 | 338.301 | 8.55 | 244.061 | 8.963 | 340.03 | 16.52 | 886.3 | 82.28 | 59.703
2020-10-03 15:45:00 | 7.02 | 125.3 | 7.36 | 228.5013 | 7.956 | 121.1873 | 8.354 | 229.6687 | 16.6533 | 886 | 83.3933 | 59.772
2020-10-03 16:00:00 | 7.5353 | 127.5733 | 8.0007 | 319.0173 | 8.766 | 124.2713 | 9.284 | 320.6473 | 16.6467 | 886 | 82.2267 | 58.65
2020-10-03 16:15:00 | 7.706 | 146.42 | 8.138 | 333.636 | 8.782 | 143.198 | 9.298 | 335.34 | 16.74 | 886 | 82.28 | 59.066
2020-10-03 16:30:00 | 6.66 | 213.72 | 7.094 | 265.684 | 7.88 | 209.014 | 8.352 | 267.042 | 16.7 | 886 | 85.12 | 58.074
2020-10-03 16:45:00 | 7.4447 | 236.9133 | 7.9667 | 316.33 | 8.634 | 231.702 | 9.2827 | 317.9487 | 16.7 | 886 | 86.3933 | 58.9807
2020-10-03 17:00:00 | 7.488 | 75.46 | 7.986 | 337.587 | 8.59 | 73.798 | 9.216 | 339.31 | 16.69 | 886 | 85.57 | 59.184
2020-10-03 17:15:00 | 7.61 | 174.82 | 7.997 | 339.209 | 8.545 | 170.975 | 9.008 | 340.945 | 16.66 | 886 | 87.07 | 59.466
2020-10-03 17:30:00 | 7.411 | 245.15 | 7.776 | 307.19 | 8.564 | 239.756 | 8.923 | 308.761 | 16.66 | 886 | 87.9 | 60.436
2020-10-03 17:45:00 | 7.9 | 215.04 | 8.42 | 268.87 | 9.104 | 210.31 | 9.746 | 270.246 | 16.64 | 886 | 87.2 | 61.266
2020-10-03 18:00:00 | 7.12 | 130.2857 | 7.5971 | 315.845 | 8.2736 | 127.4179 | 8.8414 | 317.46 | 16.4714 | 886 | 87.1 | 56.6307
2020-10-03 18:15:00 | 6.6867 | 238.5667 | 7.25 | 300.3444 | 8.0656 | 233.3178 | 8.7344 | 301.88 | 16.4444 | 886 | 87.2667 | 55.516
2020-10-03 18:30:00 | 6.1993 | 240 | 6.64 | 296.0467 | 7.178 | 234.7207 | 7.7307 | 297.56 | 16.4867 | 886.1333 | 88.24 | 50.686
2020-10-03 18:45:00 | 5.869 | 251.26 | 6.3 | 333.938 | 6.918 | 245.732 | 7.433 | 335.645 | 16.41 | 887 | 88.38 | 49.897
2020-10-03 19:00:00 | 5.8127 | 188 | 6.102 | 326.5087 | 6.5347 | 183.864 | 6.8773 | 328.178 | 16.4333 | 887 | 89.5933 | 46.9127
2020-10-03 19:15:00 | 5.618 | 279.84 | 5.788 | 327.218 | 6.12 | 273.118 | 6.306 | 328.89 | 16.42 | 887 | 89.22 | 43.426
2020-10-03 19:30:00 | 6.0593 | 256.1933 | 6.5253 | 328.89 | 7.1893 | 250.558 | 7.7427 | 330.57 | 16.32 | 887 | 89.0733 | 52.5727
2020-10-03 19:45:00 | 6.004 | 279.96 | 6.342 | 327.805 | 6.837 | 273.801 | 7.237 | 329.482 | 16.27 | 887 | 87.57 | 53.108
2020-10-03 20:00:00 | 6.088 | 347.08 | 6.524 | 334.124 | 7.03 | 339.444 | 7.58 | 335.832 | 16.34 | 887.4 | 88.28 | 49.188
2020-10-03 20:15:00 | 5.759 | 281.49 | 6.195 | 331.914 | 6.651 | 275.297 | 7.219 | 333.613 | 16.25 | 888 | 88.12 | 50.074
2020-10-03 20:30:00 | 6.182 | 280.29 | 6.593 | 302.592 | 6.995 | 274.122 | 7.541 | 304.141 | 16.47 | 888 | 87.68 | 50.186
2020-10-03 20:45:00 | 6.102 | 277.6667 | 6.496 | 328.3987 | 6.8913 | 271.5573 | 7.4093 | 330.0787 | 16.46 | 888 | 88.22 | 47.0853
2020-10-03 21:00:00 | 6.737 | 310.28 | 7.188 | 331.533 | 7.526 | 303.455 | 8.15 | 333.227 | 16.5 | 888.7 | 87.07 | 51.994
2020-10-03 21:15:00 | 6.01 | 204.86 | 6.5 | 325.928 | 6.872 | 200.352 | 7.55 | 327.594 | 16.44 | 889 | 87.32 | 48.744
2020-10-03 21:30:00 | 6.3373 | 234.9133 | 6.844 | 334.8347 | 7.0573 | 253.094 | 7.8213 | 336.5467 | 16.42 | 889 | 86.64 | 50.5613
2020-10-03 21:45:00 | 6.893 | 350.34 | 7.409 | 330.71 | 7.758 | 342.632 | 8.485 | 332.403 | 16.39 | 889 | 87.83 | 53.773
2020-10-03 22:00:00 | 7.6413 | 189.7867 | 8.206 | 330.3027 | 8.5873 | 185.6107 | 9.386 | 331.9907 | 16.34 | 889 | 89.2467 | 54.258
2020-10-03 22:15:00 | 7.801 | 317.89 | 8.363 | 330.613 | 8.641 | 310.896 | 9.461 | 332.303 | 16.3 | 889 | 89.04 | 55.012
2020-10-03 22:30:00 | 7.9927 | 326.4533 | 8.4953 | 306.89 | 8.864 | 318.972 | 9.5653 | 307.614 | 16.2467 | 889 | 89.72 | 56.438
2020-10-03 22:45:00 | 8.24 | 313.08 | 8.728 | 330.155 | 9.29 | 305.194 | 9.915 | 331.842 | 16.19 | 889 | 89.44 | 58.033
2020-10-03 23:00:00 | 7.8327 | 347.4 | 8.3053 | 327.174 | 8.9867 | 338.3353 | 9.5627 | 328.8467 | 15.9 | 889 | 90.7067 | 58.4667
2020-10-03 23:15:00 | 8.797 | 343.34 | 9.407 | 323.325 | 9.728 | 335.416 | 10.614 | 324.979 | 15.77 | 889 | 92.85 | 58.888
2020-10-03 23:30:00 | 9.324 | 347.01 | 10.058 | 331.062 | 10.332 | 339.376 | 11.437 | 332.756 | 15.67 | 889 | 95.82 | 60.024
2020-10-03 23:45:00 | 8.617 | 277.35 | 9.241 | 324.5 | 9.602 | 304.892 | 10.506 | 326.16 | 15.34 | 889 | 96.32 | 57.684