## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-04 00:00:00 | 8.456 | 345.8867 | 8.9887 | 329.638 | 9.4207 | 338.278 | 10.162 | 331.3233 | 15.0667 | 889 | 96.8 | 57.9827
2020-10-04 00:15:00 | 8.776 | 344.93 | 9.259 | 333.42 | 9.796 | 337.34 | 10.424 | 335.125 | 15.04 | 889 | 96.74 | 59.893
2020-10-04 00:30:00 | 8.705 | 313.38 | 9.234 | 332.834 | 9.809 | 306.485 | 10.499 | 334.534 | 14.96 | 888.3 | 96.87 | 57.959
2020-10-04 00:45:00 | 8.708 | 342.15 | 9.151 | 327.647 | 9.223 | 334.624 | 9.915 | 329.326 | 14.92 | 888.2 | 97.02 | 57.016
2020-10-04 01:00:00 | 8.329 | 309.69 | 8.792 | 333.011 | 9.095 | 302.877 | 9.754 | 334.712 | 14.68 | 889 | 97.83 | 59.295
2020-10-04 01:15:00 | 8.23 | 338.52 | 8.796 | 325.108 | 9.002 | 331.074 | 9.852 | 326.77 | 14.48 | 888 | 98.22 | 59.898
2020-10-04 01:30:00 | 8.202 | 295.3133 | 8.734 | 331.5687 | 9.1767 | 266.3953 | 9.9387 | 333.2627 | 14.3933 | 888 | 97 | 61.066
2020-10-04 01:45:00 | 8.775 | 339.8 | 9.283 | 325.627 | 9.432 | 330.789 | 10.242 | 327.289 | 14.52 | 888 | 96.36 | 60.63
2020-10-04 02:00:00 | 9.219 | 341.78 | 9.842 | 323.541 | 9.914 | 334.259 | 10.898 | 325.197 | 14.41 | 888 | 96.31 | 61.536
2020-10-04 02:15:00 | 9.056 | 339.49 | 9.663 | 333.596 | 9.765 | 332.021 | 10.71 | 335.3 | 14.01 | 888 | 98.44 | 61.869
2020-10-04 02:30:00 | 8.733 | 308.94 | 9.261 | 330.024 | 9.813 | 302.142 | 10.506 | 331.713 | 13.88 | 888 | 99.78 | 61.474
2020-10-04 02:45:00 | 8.3933 | 313.4733 | 8.934 | 326.0647 | 9.2653 | 307.3447 | 10.0313 | 327.7333 | 13.9933 | 888 | 100 | 61.9647
2020-10-04 03:00:00 | 9.079 | 340.44 | 9.634 | 324.247 | 9.867 | 332.95 | 10.701 | 325.904 | 14 | 888 | 100 | 62.403
2020-10-04 03:15:00 | 8.906 | 341.91 | 9.402 | 324.617 | 9.618 | 334.387 | 10.354 | 326.276 | 13.68 | 888 | 100 | 62.24
2020-10-04 03:30:00 | 8.3113 | 340.9 | 8.796 | 330.4133 | 8.9253 | 333.4007 | 9.67 | 332.1027 | 13.14 | 888.8 | 100 | 61.7407
2020-10-04 03:45:00 | 7.887 | 274.06 | 8.301 | 332.873 | 8.682 | 268.03 | 9.244 | 334.573 | 12.93 | 889 | 100 | 61.28
2020-10-04 04:00:00 | 7.72 | 342.46 | 8.142 | 330.268 | 8.646 | 334.924 | 9.178 | 331.958 | 12.94 | 888.25 | 100 | 59.83
2020-10-04 04:15:00 | 7.6 | 306.98 | 7.933 | 324.862 | 8.217 | 300.226 | 8.669 | 326.523 | 12.89 | 888 | 100 | 59.11
2020-10-04 04:30:00 | 7.987 | 306.57 | 8.338 | 325.194 | 8.501 | 299.826 | 9.024 | 326.858 | 12.72 | 888 | 100 | 59.234
2020-10-04 04:45:00 | 8.7547 | 346.6333 | 9.2367 | 328.1387 | 9.4593 | 338.1787 | 10.1693 | 329.8153 | 12.6267 | 888 | 100 | 62.0827
2020-10-04 05:00:00 | 8.631 | 271.52 | 9.138 | 326.309 | 9.711 | 265.546 | 10.365 | 327.977 | 12.62 | 888 | 100 | 62.755
2020-10-04 05:15:00 | 9.422 | 346.4 | 10.004 | 327.142 | 10.214 | 338.778 | 11.082 | 328.814 | 12.54 | 888 | 100 | 62.998
2020-10-04 05:30:00 | 9.28 | 334.69 | 9.826 | 320.921 | 9.851 | 327.327 | 10.724 | 322.561 | 12.46 | 888 | 100 | 61.751
2020-10-04 05:45:00 | 8.853 | 338.78 | 9.411 | 328.022 | 9.462 | 331.325 | 10.343 | 329.698 | 12.5 | 889 | 100 | 62.231
2020-10-04 06:00:00 | 8.4627 | 316.5733 | 8.9613 | 304.0413 | 9.542 | 309.6087 | 10.1767 | 305.594 | 12.54 | 888.8667 | 100 | 63.2193
2020-10-04 06:15:00 | 8.639 | 305.05 | 9.137 | 323.493 | 9.196 | 298.339 | 9.982 | 325.147 | 12.53 | 888.2 | 100 | 63.366
2020-10-04 06:30:00 | 8.727 | 336.42 | 9.235 | 325.067 | 9.175 | 329.018 | 10.016 | 326.731 | 12.58 | 889 | 100 | 62.552
2020-10-04 06:45:00 | 8.2887 | 335.7133 | 8.8833 | 324.6573 | 8.8373 | 328.3267 | 9.806 | 326.3173 | 12.58 | 889 | 100 | 61.1953
2020-10-04 07:00:00 | 8.1047 | 341.0067 | 8.6767 | 330.0033 | 8.6133 | 333.504 | 9.5573 | 331.6893 | 12.52 | 889 | 100 | 62.28
2020-10-04 07:15:00 | 8.211 | 309.01 | 8.664 | 321.46 | 8.664 | 301.478 | 9.409 | 323.102 | 12.44 | 889 | 100 | 62.062
2020-10-04 07:30:00 | 8.236 | 344.52 | 8.794 | 326.32 | 9.162 | 336.94 | 9.956 | 327.99 | 12.48 | 889 | 100 | 63.196
2020-10-04 07:45:00 | 8.106 | 342.7 | 8.391 | 329.253 | 9.057 | 335.161 | 9.331 | 330.937 | 12.47 | 889 | 100 | 61.994
2020-10-04 08:00:00 | 8.531 | 277.74 | 8.998 | 329.78 | 9.359 | 271.629 | 10.008 | 331.468 | 12.47 | 889 | 100 | 60.009
2020-10-04 08:15:00 | 8.74 | 266.68 | 9.096 | 324.99 | 9.332 | 260.814 | 9.848 | 326.652 | 12.56 | 889 | 100 | 60.716
2020-10-04 08:30:00 | 7.4407 | 312.94 | 7.816 | 326.4433 | 7.63 | 306.054 | 8.2947 | 328.1107 | 12.5533 | 889.1333 | 100 | 58.7833
2020-10-04 08:45:00 | 7.409 | 339.72 | 7.845 | 318.242 | 7.843 | 332.247 | 8.547 | 319.869 | 12.6 | 890 | 100 | 56.939
2020-10-04 09:00:00 | 7.082 | 340.3 | 7.53 | 320.55 | 7.798 | 332.812 | 8.446 | 322.188 | 12.6 | 890 | 100 | 54.668
2020-10-04 09:15:00 | 7.742 | 335.1 | 8.223 | 321.46 | 8.48 | 327.728 | 9.184 | 323.102 | 12.63 | 890 | 100 | 58.394
2020-10-04 09:30:00 | 7.939 | 336.47 | 8.525 | 321.88 | 8.358 | 328.978 | 9.337 | 323.525 | 12.72 | 890 | 100 | 58.412
2020-10-04 09:45:00 | 8.062 | 338.3133 | 8.6613 | 322.7793 | 8.686 | 330.87 | 9.642 | 324.4293 | 12.84 | 890 | 100 | 58.6933
2020-10-04 10:00:00 | 7.987 | 345.06 | 8.498 | 325.302 | 8.445 | 337.47 | 9.282 | 326.966 | 12.87 | 890.7 | 100 | 58.78
2020-10-04 10:15:00 | 8.268 | 344.6667 | 8.864 | 323.5867 | 9.1773 | 337.0827 | 10.0473 | 325.242 | 12.9 | 891 | 100 | 58.216
2020-10-04 10:30:00 | 8.15 | 349.65 | 8.693 | 326.087 | 9.159 | 341.959 | 9.898 | 327.752 | 12.95 | 891 | 100 | 57.103
2020-10-04 10:45:00 | 8.3147 | 297.14 | 8.89 | 302.496 | 9.2727 | 290.602 | 10.0907 | 304.0427 | 13.02 | 891 | 100 | 59.3993
2020-10-04 11:00:00 | 8.564 | 336.29 | 9.049 | 327.865 | 9.26 | 328.892 | 9.981 | 329.542 | 13.07 | 891 | 99.87 | 60.496
2020-10-04 11:15:00 | 8.2213 | 299.7267 | 8.7273 | 330.4667 | 9.07 | 293.134 | 9.7847 | 332.156 | 13.2667 | 891 | 98.9667 | 59.0933
2020-10-04 11:30:00 | 7.812 | 312.2 | 8.394 | 328.94 | 8.923 | 272.06 | 9.705 | 330.622 | 13.34 | 891 | 99.44 | 58.405
2020-10-04 11:45:00 | 7.569 | 243.08 | 8.062 | 332.832 | 8.758 | 237.732 | 9.35 | 334.535 | 13.4 | 891 | 99.2 | 57.874
2020-10-04 12:00:00 | 8.3933 | 343.9667 | 9.0467 | 312.7587 | 9.5513 | 336.3993 | 10.45 | 314.3573 | 13.4867 | 891 | 98.4267 | 57.1853
2020-10-04 12:15:00 | 7.952 | 279.47 | 8.627 | 332.246 | 9.249 | 273.322 | 10.152 | 333.944 | 14.14 | 891 | 98.64 | 57.682
2020-10-04 12:30:00 | 7.508 | 302.7667 | 8.0407 | 324.2653 | 8.5347 | 296.1053 | 9.252 | 325.924 | 14.3933 | 891 | 96.5467 | 55.846
2020-10-04 12:45:00 | 7.567 | 334.73 | 8.125 | 318.653 | 8.061 | 327.364 | 8.975 | 320.281 | 14.34 | 891 | 93.87 | 54.694
2020-10-04 13:00:00 | 7.51 | 341.6 | 8.134 | 324.05 | 8.376 | 334.086 | 9.306 | 325.706 | 14.4 | 891 | 93.96 | 56.94
2020-10-04 13:15:00 | 7.23 | 275.01 | 7.707 | 232.46 | 8.343 | 268.958 | 8.928 | 233.649 | 14.51 | 891 | 96.16 | 57.96
2020-10-04 13:30:00 | 7.837 | 305.53 | 8.316 | 325.067 | 8.924 | 298.808 | 9.524 | 326.73 | 14.16 | 891 | 96.55 | 59.474
2020-10-04 13:45:00 | 7.766 | 306.6 | 8.229 | 322.642 | 8.589 | 299.855 | 9.229 | 324.291 | 13.9 | 891 | 97.44 | 57.511
2020-10-04 14:00:00 | 7.701 | 335.07 | 8.251 | 323.367 | 8.309 | 327.698 | 9.173 | 325.019 | 13.78 | 891 | 98.44 | 55.741
2020-10-04 14:15:00 | 7.26 | 343.39 | 7.727 | 320.207 | 7.939 | 335.835 | 8.629 | 321.845 | 13.55 | 891 | 99.22 | 55.309
2020-10-04 14:30:00 | 6.826 | 345.12 | 7.278 | 319.398 | 7.688 | 337.526 | 8.298 | 321.03 | 13.38 | 890.6 | 99.9 | 51.576
2020-10-04 14:45:00 | 7.004 | 335.46 | 7.488 | 323.053 | 7.72 | 328.08 | 8.432 | 324.705 | 13.22 | 890 | 100 | 52.248
2020-10-04 15:00:00 | 6.818 | 270.58 | 7.3 | 331.832 | 7.328 | 264.628 | 8.098 | 333.532 | 13.18 | 890 | 100 | 50.652
2020-10-04 15:15:00 | 7.415 | 338.55 | 7.939 | 324.657 | 7.75 | 331.102 | 8.66 | 326.318 | 13.16 | 890 | 100 | 52.609
2020-10-04 15:30:00 | 7.641 | 336.22 | 8.187 | 322.584 | 8.391 | 328.823 | 9.21 | 324.231 | 13.15 | 890 | 100 | 54.524
2020-10-04 15:45:00 | 7.8593 | 319.22 | 8.3927 | 320.856 | 8.754 | 311.6627 | 9.4947 | 322.496 | 13.2667 | 889 | 100 | 53.7973
2020-10-04 16:00:00 | 8.161 | 342.58 | 8.751 | 319.503 | 9.319 | 335.042 | 10.102 | 321.136 | 13.26 | 889 | 100 | 54.184
2020-10-04 16:15:00 | 7.748 | 343.14 | 8.3 | 317.554 | 8.746 | 335.59 | 9.502 | 319.178 | 13.34 | 889 | 100 | 53.224
2020-10-04 16:30:00 | 7.55 | 336.72 | 8.0873 | 318.7227 | 8.3087 | 328.6027 | 9.0913 | 320.354 | 13.3133 | 889 | 100 | 51.768
2020-10-04 16:45:00 | 7.0464 | 332.7643 | 7.6029 | 314.9371 | 7.8171 | 325.4429 | 8.65 | 316.5471 | 13.3929 | 889 | 100 | 49.1727
2020-10-04 17:00:00 | 7.471 | 332.33 | 8.063 | 318.446 | 8.268 | 325.019 | 9.165 | 320.075 | 13.48 | 889 | 100 | 49.942
2020-10-04 17:15:00 | 6.784 | 331.02 | 7.3187 | 316.2913 | 7.5767 | 323.738 | 8.3627 | 317.9087 | 13.4067 | 888.5333 | 100 | 46.6093
2020-10-04 17:30:00 | 6.656 | 333.98 | 7.144 | 312.023 | 7.39 | 327.239 | 8.087 | 313.616 | 13.46 | 888 | 100 | 45.883
2020-10-04 17:45:00 | 6.226 | 340.95 | 6.727 | 318.467 | 6.717 | 333.449 | 7.527 | 320.094 | 13.53 | 888.8 | 100 | 39.851
2020-10-04 18:00:00 | 5.9278 | 332.6889 | 6.3478 | 313.2211 | 6.4867 | 325.3689 | 7.1167 | 314.8211 | 13.4556 | 888 | 100 | 37.329
2020-10-04 18:15:00 | 5.67 | 338.07 | 6.063 | 318.759 | 6.136 | 330.631 | 6.749 | 320.388 | 13.56 | 888.2 | 100 | 32.645
2020-10-04 18:30:00 | 5.9687 | 337.2133 | 6.3713 | 318.958 | 6.4553 | 329.364 | 7.0767 | 320.5893 | 13.5867 | 889 | 100 | 34.4353
2020-10-04 18:45:00 | 5.767 | 333.26 | 6.192 | 318.945 | 6.451 | 325.928 | 7.06 | 320.577 | 13.38 | 889 | 100 | 33.244
2020-10-04 19:00:00 | 6.074 | 331.0667 | 6.4973 | 315.0193 | 6.5833 | 323.784 | 7.2413 | 316.6307 | 13.42 | 889 | 100 | 34.294
2020-10-04 19:15:00 | 6.246 | 335.9133 | 6.692 | 315.1367 | 6.9253 | 328.524 | 7.5753 | 316.748 | 13.52 | 889 | 100 | 34.72
2020-10-04 19:30:00 | 6.242 | 335.32 | 6.675 | 321.234 | 6.62 | 327.942 | 7.336 | 322.877 | 13.54 | 888.3 | 99.93 | 36.797
2020-10-04 19:45:00 | 6.436 | 333.59 | 6.872 | 320.726 | 6.923 | 326.252 | 7.606 | 322.365 | 13.62 | 888.2 | 99.72 | 37.024
2020-10-04 20:00:00 | 6.4887 | 333.5 | 6.978 | 322.1013 | 7.0067 | 326.1627 | 7.786 | 323.7493 | 13.66 | 889 | 98.8867 | 40.662
2020-10-04 20:15:00 | 6.373 | 333.21 | 6.863 | 324.725 | 6.933 | 325.88 | 7.702 | 326.385 | 13.73 | 889 | 99.16 | 39.383
2020-10-04 20:30:00 | 6.25 | 337.3 | 6.724 | 325.321 | 6.856 | 329.879 | 7.579 | 326.984 | 13.75 | 889 | 99.64 | 35.644
2020-10-04 20:45:00 | 6.678 | 337.64 | 7.1353 | 319.6553 | 7.2533 | 330.212 | 7.9593 | 321.29 | 13.6067 | 889 | 99.4733 | 41.1027
2020-10-04 21:00:00 | 6.442 | 332.4 | 6.856 | 318.152 | 6.907 | 325.089 | 7.558 | 319.779 | 13.57 | 889 | 98.66 | 39.286
2020-10-04 21:15:00 | 6.472 | 337.72 | 6.842 | 321.606 | 7.152 | 330.29 | 7.656 | 323.25 | 13.54 | 890 | 97.7 | 41.128
2020-10-04 21:30:00 | 6.486 | 342.2867 | 6.8773 | 323.698 | 7.146 | 334.7553 | 7.6953 | 325.352 | 13.1867 | 890 | 97.74 | 41.4547
2020-10-04 21:45:00 | 6.379 | 335.15 | 6.837 | 317.869 | 7.055 | 328.04 | 7.717 | 319.494 | 12.89 | 890 | 99.29 | 41.178
2020-10-04 22:00:00 | 6.663 | 328.98 | 7.088 | 314.494 | 7.309 | 321.742 | 7.931 | 316.102 | 12.65 | 890 | 99.66 | 43.659
2020-10-04 22:15:00 | 6.74 | 339.18 | 7.284 | 321.862 | 7.156 | 331.718 | 8.07 | 323.506 | 12.28 | 890 | 99.9 | 45.558
2020-10-04 22:30:00 | 7.03 | 333.7533 | 7.504 | 320.51 | 7.552 | 325.7067 | 8.2987 | 322.1473 | 11.9867 | 890 | 100 | 46.6773
2020-10-04 22:45:00 | 7.216 | 337.54 | 7.736 | 319.289 | 7.871 | 330.113 | 8.672 | 320.919 | 11.79 | 890 | 100 | 48.311
2020-10-04 23:00:00 | 7.459 | 336.02 | 8.074 | 318.837 | 8.211 | 328.629 | 9.157 | 320.468 | 11.74 | 890 | 100 | 48.644
2020-10-04 23:15:00 | 7.504 | 344.08 | 8.172 | 316.384 | 8.406 | 336.512 | 9.412 | 318 | 11.72 | 890 | 100 | 47.818
2020-10-04 23:30:00 | 7.298 | 344.64 | 7.944 | 315.758 | 8.138 | 337.06 | 9.124 | 317.372 | 11.82 | 890 | 100 | 50.312
2020-10-04 23:45:00 | 7.553 | 342.8 | 8.234 | 322.73 | 8.316 | 335.259 | 9.383 | 324.381 | 12.07 | 890 | 100 | 49.38