## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-05 00:00:00 | 7.544 | 344.12 | 8.2 | 323.912 | 8.242 | 336.548 | 9.286 | 325.57 | 12.06 | 890 | 100 | 50.638
2020-10-05 00:15:00 | 7.185 | 336.16 | 7.801 | 312.813 | 7.965 | 328.765 | 8.905 | 314.411 | 12.07 | 890 | 100 | 46.946
2020-10-05 00:30:00 | 6.8293 | 332.6933 | 7.366 | 310.612 | 7.6313 | 325.374 | 8.4167 | 312.2013 | 11.6933 | 890 | 100 | 47.2373
2020-10-05 00:45:00 | 6.995 | 333.37 | 7.507 | 313.362 | 7.899 | 326.036 | 8.611 | 314.964 | 11.21 | 890 | 100 | 47.582
2020-10-05 01:00:00 | 7.1193 | 340.16 | 7.6933 | 319.67 | 7.6753 | 332.8393 | 8.602 | 321.3027 | 11 | 890 | 100 | 46.9773
2020-10-05 01:15:00 | 7.143 | 339.75 | 7.698 | 325.705 | 7.664 | 332.276 | 8.565 | 327.369 | 10.92 | 890 | 100 | 48.086
2020-10-05 01:30:00 | 7.334 | 339.86 | 7.834 | 327.354 | 7.802 | 332.382 | 8.612 | 329.03 | 10.86 | 890 | 100 | 48.81
2020-10-05 01:45:00 | 7.5193 | 340.7867 | 8.0767 | 323.4527 | 8.134 | 333.29 | 9.0133 | 325.1053 | 10.9333 | 889.4667 | 100 | 51.3153
2020-10-05 02:00:00 | 7.616 | 342.2 | 8.231 | 319.415 | 8.261 | 334.669 | 9.235 | 321.048 | 10.96 | 889.3 | 100 | 51.566
2020-10-05 02:15:00 | 7.59 | 338.22 | 8.146 | 328.862 | 8.5 | 330.778 | 9.296 | 330.542 | 10.88 | 889 | 100 | 50.198
2020-10-05 02:30:00 | 7.9287 | 342.38 | 8.5147 | 325.8767 | 8.604 | 334.846 | 9.524 | 327.5427 | 10.86 | 889 | 100 | 50.9833
2020-10-05 02:45:00 | 8.3153 | 319.6267 | 8.894 | 328.1973 | 9.0273 | 311.8587 | 9.936 | 329.8753 | 10.82 | 889 | 100 | 51.0227
2020-10-05 03:00:00 | 8.279 | 342.21 | 8.919 | 330.096 | 9.129 | 334.682 | 10.098 | 331.782 | 10.81 | 889 | 100 | 51.679
2020-10-05 03:15:00 | 8.318 | 345.08 | 8.89 | 327.568 | 9.166 | 337.49 | 10.006 | 329.248 | 10.74 | 889 | 100 | 52.288
2020-10-05 03:30:00 | 7.966 | 344.3333 | 8.6093 | 327.9687 | 8.884 | 336.758 | 9.842 | 329.646 | 10.78 | 889 | 100 | 52.074
2020-10-05 03:45:00 | 8.046 | 341.83 | 8.676 | 322.457 | 9.121 | 334.31 | 10 | 324.104 | 10.74 | 889 | 100 | 51.811
2020-10-05 04:00:00 | 8.112 | 339.58 | 8.694 | 322.956 | 8.926 | 332.11 | 9.806 | 324.608 | 10.7 | 889 | 100 | 52.356
2020-10-05 04:15:00 | 7.137 | 344.47 | 7.663 | 325.34 | 7.774 | 337.586 | 8.575 | 327.005 | 10.75 | 889 | 100 | 49.572
2020-10-05 04:30:00 | 6.89 | 339.11 | 7.422 | 325.223 | 7.514 | 331.648 | 8.341 | 326.887 | 10.7 | 889 | 100 | 48.78
2020-10-05 04:45:00 | 7.06 | 338.88 | 7.626 | 323.286 | 7.74 | 331.424 | 8.556 | 324.942 | 10.7 | 889 | 100 | 47.316
2020-10-05 05:00:00 | 7.2867 | 340.1533 | 7.8433 | 322.0613 | 7.922 | 332.9307 | 8.792 | 323.7087 | 10.6333 | 889 | 100 | 49.4627
2020-10-05 05:15:00 | 6.991 | 341.01 | 7.495 | 324.423 | 7.574 | 333.508 | 8.363 | 326.082 | 10.51 | 889 | 100 | 49.091
2020-10-05 05:30:00 | 7.2973 | 333.6133 | 7.81 | 321.11 | 7.9127 | 326.274 | 8.706 | 322.7527 | 10.4533 | 889 | 100 | 51.2087
2020-10-05 05:45:00 | 7.2367 | 341.2733 | 7.732 | 323.306 | 7.8513 | 333.7653 | 8.61 | 324.9593 | 10.42 | 889 | 100 | 51.498
2020-10-05 06:00:00 | 7.379 | 343.41 | 7.937 | 327.826 | 8.033 | 335.298 | 8.898 | 329.501 | 10.39 | 889 | 100 | 52.274
2020-10-05 06:15:00 | 7.414 | 345.12 | 7.942 | 323.014 | 8.316 | 337.528 | 9.048 | 324.668 | 10.36 | 889 | 100 | 51.862
2020-10-05 06:30:00 | 7.356 | 345.72 | 7.918 | 327.532 | 8.158 | 338.116 | 8.988 | 329.21 | 10.38 | 890 | 100 | 52.94
2020-10-05 06:45:00 | 7.258 | 340.84 | 7.831 | 327.933 | 7.756 | 333.342 | 8.702 | 329.61 | 10.36 | 890 | 100 | 53.266
2020-10-05 07:00:00 | 7.633 | 344.65 | 8.226 | 324.5 | 8.17 | 337.322 | 9.192 | 326.159 | 10.26 | 890 | 100 | 51.944
2020-10-05 07:15:00 | 7.298 | 276.24 | 7.89 | 331.622 | 7.86 | 270.162 | 8.824 | 333.316 | 10.32 | 890 | 100 | 52.172
2020-10-05 07:30:00 | 7.5853 | 319.5667 | 8.1247 | 326.9327 | 8.134 | 312.536 | 9.002 | 328.604 | 10.24 | 890 | 100 | 52.062
2020-10-05 07:45:00 | 7.682 | 341.16 | 8.216 | 324.942 | 8.377 | 333.654 | 9.181 | 326.603 | 10.27 | 890 | 100 | 51.773
2020-10-05 08:00:00 | 7.776 | 340.16 | 8.38 | 326.28 | 8.308 | 332.676 | 9.3 | 327.948 | 10.28 | 890 | 100 | 51.44
2020-10-05 08:15:00 | 7.933 | 346.33 | 8.494 | 328.715 | 8.801 | 338.709 | 9.616 | 330.396 | 10.23 | 890 | 100 | 51.665
2020-10-05 08:30:00 | 7.871 | 342.2 | 8.425 | 326.182 | 8.668 | 334.671 | 9.487 | 327.849 | 10.27 | 890.7 | 100 | 50.55
2020-10-05 08:45:00 | 7.736 | 341.88 | 8.292 | 329.408 | 8.542 | 334.358 | 9.372 | 331.094 | 10.3 | 891 | 100 | 50.36
2020-10-05 09:00:00 | 7.59 | 342.76 | 8.116 | 327.816 | 8.191 | 335.217 | 9.015 | 329.492 | 10.38 | 891 | 100 | 48.272
2020-10-05 09:15:00 | 7.368 | 343.48 | 7.952 | 321.664 | 7.792 | 335.922 | 8.784 | 323.308 | 10.3 | 891 | 100 | 50.24
2020-10-05 09:30:00 | 7.6467 | 317.1133 | 8.1873 | 327.46 | 8.0233 | 310.1373 | 8.9447 | 329.1367 | 10.3667 | 891 | 100 | 50.746
2020-10-05 09:45:00 | 7.643 | 336.07 | 8.137 | 327.033 | 8.095 | 329.177 | 8.902 | 328.705 | 10.51 | 891 | 100 | 50.706
2020-10-05 10:00:00 | 7.6127 | 342.5133 | 8.1133 | 326.2533 | 8.2893 | 334.9787 | 9.042 | 327.9227 | 10.6333 | 891.1333 | 100 | 49.9933
2020-10-05 10:15:00 | 7.308 | 341.01 | 7.78 | 325.937 | 7.938 | 333.508 | 8.653 | 327.604 | 10.74 | 892 | 100 | 46.94
2020-10-05 10:30:00 | 6.998 | 348.44 | 7.48 | 333.322 | 7.444 | 340.772 | 8.236 | 335.026 | 11.14 | 892 | 100 | 44.494
2020-10-05 10:45:00 | 7.449 | 341.39 | 7.938 | 324.97 | 8.033 | 333.741 | 8.779 | 326.631 | 11.05 | 892 | 100 | 47.921
2020-10-05 11:00:00 | 7.374 | 340.54 | 8 | 319.316 | 7.914 | 333.048 | 8.934 | 320.948 | 11.06 | 892 | 100 | 47.856
2020-10-05 11:15:00 | 6.974 | 341.64 | 7.476 | 324.774 | 7.72 | 334.124 | 8.456 | 326.434 | 11.24 | 892 | 100 | 45.946
2020-10-05 11:30:00 | 6.66 | 339.76 | 7.142 | 323.756 | 7.272 | 332.288 | 8.006 | 325.412 | 10.94 | 892 | 100 | 45.03
2020-10-05 11:45:00 | 6.838 | 341.18 | 7.332 | 325.986 | 7.348 | 333.674 | 8.132 | 327.654 | 11 | 892 | 100 | 44.962
2020-10-05 12:00:00 | 6.407 | 340.7 | 6.926 | 330.231 | 7.006 | 333.205 | 7.815 | 331.921 | 11.21 | 892 | 100 | 44.313
2020-10-05 12:15:00 | 6.874 | 346.86 | 7.412 | 301.214 | 7.567 | 339.229 | 8.383 | 302.754 | 11.51 | 892 | 100 | 47.251
2020-10-05 12:30:00 | 6.495 | 318.17 | 6.936 | 336.842 | 6.934 | 311.171 | 7.645 | 338.565 | 11.88 | 892 | 100 | 42.75
2020-10-05 12:45:00 | 6.18 | 214.2 | 6.6 | 337.236 | 6.926 | 209.486 | 7.512 | 338.962 | 12.04 | 892 | 100 | 42.842
2020-10-05 13:00:00 | 6.0447 | 325.0933 | 6.456 | 333.8233 | 6.8487 | 317.9407 | 7.396 | 335.5307 | 12.4533 | 892 | 100 | 38.3667
2020-10-05 13:15:00 | 6.197 | 341.4 | 6.551 | 292.793 | 6.95 | 334.162 | 7.408 | 294.29 | 12.7 | 892 | 100 | 37.071
2020-10-05 13:30:00 | 6.117 | 307.77 | 6.486 | 325.468 | 6.842 | 300.999 | 7.332 | 327.133 | 13.12 | 892 | 97.54 | 38.4
2020-10-05 13:45:00 | 6.218 | 274.82 | 6.646 | 328.042 | 7.128 | 268.774 | 7.68 | 329.718 | 13.22 | 892 | 91.16 | 37.69
2020-10-05 14:00:00 | 5.7247 | 322.3267 | 6.0453 | 324.5527 | 6.5807 | 315.236 | 6.9433 | 326.2127 | 13.1133 | 892 | 88.7067 | 36.2793
2020-10-05 14:15:00 | 5.695 | 342.22 | 6.102 | 327.562 | 6.331 | 334.691 | 6.921 | 329.236 | 13.18 | 892 | 88.99 | 34.646
2020-10-05 14:30:00 | 6.018 | 343 | 6.436 | 328.022 | 6.74 | 335.454 | 7.326 | 329.696 | 13.12 | 892 | 87.4 | 37.74
2020-10-05 14:45:00 | 5.914 | 307.66 | 6.341 | 329.262 | 6.824 | 300.891 | 7.368 | 330.947 | 13.37 | 892 | 87.9 | 38.819
2020-10-05 15:00:00 | 6.039 | 338.19 | 6.546 | 326.36 | 6.876 | 330.748 | 7.591 | 328.027 | 13.44 | 892 | 85.6 | 37.931
2020-10-05 15:15:00 | 5.394 | 271.74 | 5.944 | 323.034 | 6.164 | 265.764 | 6.984 | 324.684 | 13.6 | 891 | 83.5 | 34.534
2020-10-05 15:30:00 | 5.3127 | 320.5 | 5.7473 | 264.4053 | 6.1407 | 313.4487 | 6.726 | 265.7567 | 13.4933 | 891 | 85.4667 | 32.724
2020-10-05 15:45:00 | 5.19 | 317.5733 | 5.5453 | 325.726 | 5.7987 | 310.5853 | 6.2947 | 327.3913 | 13.4533 | 891 | 85.92 | 26.6413
2020-10-05 16:00:00 | 5.139 | 338.27 | 5.473 | 328.04 | 5.729 | 330.827 | 6.191 | 329.717 | 13.35 | 891 | 86.23 | 26.609
2020-10-05 16:15:00 | 5.236 | 342.18 | 5.63 | 327.14 | 5.818 | 334.65 | 6.4 | 328.812 | 13.24 | 891 | 88.54 | 29.004
2020-10-05 16:30:00 | 5.2447 | 340.9667 | 5.6447 | 325.76 | 5.9327 | 333.4653 | 6.4947 | 327.426 | 13.24 | 890.8667 | 88.7933 | 27.3473
2020-10-05 16:45:00 | 5.489 | 333.42 | 5.913 | 324.981 | 6.014 | 326.085 | 6.669 | 326.64 | 13.24 | 890 | 88.69 | 27.828
2020-10-05 17:00:00 | 5.731 | 333.28 | 6.139 | 323.709 | 6.336 | 325.948 | 6.936 | 325.363 | 13.2 | 890 | 90.55 | 30.78
2020-10-05 17:15:00 | 5.628 | 340.9 | 6.04 | 319.728 | 6.224 | 333.398 | 6.834 | 321.364 | 13.06 | 891 | 90.78 | 30.982
2020-10-05 17:30:00 | 5.048 | 339.2733 | 5.4413 | 307.9927 | 5.6393 | 331.8093 | 6.2073 | 309.5673 | 12.78 | 890.2 | 93.2933 | 27.6067
2020-10-05 17:45:00 | 5.462 | 341.08 | 5.888 | 329.137 | 5.982 | 333.576 | 6.646 | 330.819 | 12.68 | 890 | 93.7 | 31.121
2020-10-05 18:00:00 | 5.56 | 340.14 | 5.936 | 328.18 | 6.008 | 332.654 | 6.588 | 329.856 | 12.6 | 890 | 93.34 | 33.842
2020-10-05 18:15:00 | 5.688 | 343.52 | 6.123 | 329.498 | 6.123 | 335.963 | 6.824 | 331.181 | 12.59 | 890 | 94.42 | 35.841
2020-10-05 18:30:00 | 5.984 | 308.37 | 6.398 | 327.863 | 6.294 | 301.586 | 6.992 | 329.539 | 12.55 | 890 | 94.63 | 34.338
2020-10-05 18:45:00 | 5.664 | 345.56 | 6.12 | 331.054 | 6.084 | 339.424 | 6.82 | 332.744 | 12.42 | 890 | 92.98 | 33.362
2020-10-05 19:00:00 | 6.019 | 340.94 | 6.49 | 328.833 | 6.53 | 333.438 | 7.274 | 330.513 | 12.39 | 890 | 93.92 | 37.705
2020-10-05 19:15:00 | 6.171 | 342.26 | 6.59 | 326.642 | 6.664 | 334.729 | 7.313 | 328.313 | 12.41 | 890 | 93.46 | 37.175
2020-10-05 19:30:00 | 6.496 | 345.72 | 6.936 | 331.58 | 7.16 | 338.112 | 7.8 | 333.276 | 12.44 | 890 | 92.68 | 40.446
2020-10-05 19:45:00 | 6.4567 | 340.2067 | 6.9627 | 326.8473 | 7.1707 | 332.7227 | 7.9247 | 328.518 | 12.3133 | 890 | 93.0067 | 41.9247
2020-10-05 20:00:00 | 6.298 | 338.79 | 6.765 | 327.573 | 6.891 | 331.336 | 7.609 | 329.246 | 12.31 | 890 | 92.39 | 37.718
2020-10-05 20:15:00 | 6.074 | 337.9 | 6.556 | 325.4 | 6.502 | 330.466 | 7.292 | 327.062 | 12.34 | 890 | 92.04 | 35.31
2020-10-05 20:30:00 | 6.1147 | 336.3067 | 6.5767 | 323.816 | 6.7413 | 328.9067 | 7.4353 | 325.4707 | 12.28 | 891 | 93.3533 | 36.9633
2020-10-05 20:45:00 | 6.275 | 343.07 | 6.764 | 329.194 | 6.908 | 335.52 | 7.652 | 330.878 | 12.2 | 891 | 92.16 | 38.28
2020-10-05 21:00:00 | 6.1907 | 343.5867 | 6.6427 | 328.9207 | 6.7867 | 336.0267 | 7.47 | 330.602 | 12.1467 | 891 | 93.3933 | 37.4213
2020-10-05 21:15:00 | 5.949 | 343.75 | 6.294 | 329.333 | 6.524 | 336.187 | 7.013 | 331.017 | 12.23 | 891 | 93.79 | 34.017
2020-10-05 21:30:00 | 5.555 | 343.34 | 5.833 | 331.639 | 5.903 | 335.786 | 6.323 | 333.336 | 12.2 | 891 | 93.75 | 28.937
2020-10-05 21:45:00 | 5.34 | 342.86 | 5.688 | 326.77 | 5.74 | 335.318 | 6.284 | 328.442 | 12.12 | 891 | 92.92 | 26.356
2020-10-05 22:00:00 | 5.2079 | 340.0929 | 5.5436 | 319.8679 | 5.8614 | 332.61 | 6.3136 | 321.5036 | 12.1214 | 891 | 93.8714 | 25.534
2020-10-05 22:15:00 | 5.396 | 338.06 | 5.796 | 317.557 | 5.812 | 331.541 | 6.464 | 319.179 | 12.14 | 891 | 94.75 | 27.402
2020-10-05 22:30:00 | 5.632 | 338.2 | 5.964 | 323.7 | 6.294 | 330.76 | 6.742 | 325.356 | 12.12 | 891 | 94.54 | 29.966
2020-10-05 22:45:00 | 5.5313 | 341.9733 | 5.902 | 305.682 | 6.0513 | 334.448 | 6.6027 | 307.2453 | 12.0133 | 891 | 94.9867 | 33.7813
2020-10-05 23:00:00 | 5.964 | 337.52 | 6.403 | 329.057 | 6.697 | 330.093 | 7.315 | 330.74 | 12.05 | 891 | 95.76 | 36.484
2020-10-05 23:15:00 | 5.7773 | 344.9867 | 6.182 | 326.9847 | 6.4613 | 337.5727 | 7.0413 | 328.6567 | 12.0533 | 891 | 96.32 | 33.968
2020-10-05 23:30:00 | 5.7773 | 344.9867 | 6.182 | 326.9847 | 6.4613 | 337.5727 | 7.0413 | 328.6567 | 12.0533 | 891 | 96.32 | 33.968
2020-10-05 23:45:00 | 5.88 | 336.5429 | 6.3693 | 322.74 | 6.5621 | 329.1386 | 7.2943 | 324.39 | 11.9214 | 891 | 96.4571 | 33.434