## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-06 00:00:00 | 5.787 | 342.2 | 6.304 | 326.446 | 6.585 | 334.67 | 7.333 | 328.115 | 11.86 | 891 | 96.67 | 33.648
2020-10-06 00:15:00 | 5.686 | 335.32 | 6.066 | 323.228 | 6.37 | 327.944 | 6.896 | 324.882 | 11.64 | 891 | 97.74 | 33.292
2020-10-06 00:30:00 | 5.638 | 339.2 | 6.066 | 321.802 | 6.162 | 331.738 | 6.82 | 323.448 | 11.3 | 891 | 98.96 | 29.95
2020-10-06 00:45:00 | 5.5907 | 342.8071 | 6.0371 | 327.8114 | 5.9764 | 335.265 | 6.7107 | 329.4886 | 11.0214 | 891 | 100 | 34.8471
2020-10-06 01:00:00 | 6.01 | 348.33 | 6.465 | 333.078 | 6.617 | 340.666 | 7.306 | 334.78 | 10.81 | 891 | 100 | 36.695
2020-10-06 01:15:00 | 5.628 | 345.04 | 6.21 | 321.546 | 6.294 | 337.45 | 7.208 | 323.192 | 10.84 | 891 | 100 | 37.088
2020-10-06 01:30:00 | 5.756 | 344.72 | 6.412 | 327.082 | 6.616 | 337.136 | 7.604 | 328.756 | 10.81 | 891 | 100 | 38.587
2020-10-06 01:45:00 | 5.751 | 349.27 | 6.236 | 325.362 | 6.613 | 341.588 | 7.284 | 327.026 | 10.71 | 891 | 100 | 37.546
2020-10-06 02:00:00 | 5.608 | 343.58 | 6.088 | 265.7 | 6.392 | 336.022 | 7.076 | 267.06 | 10.66 | 891 | 100 | 34.33
2020-10-06 02:15:00 | 5.608 | 345.8867 | 6.1227 | 312.8493 | 6.37 | 338.2767 | 7.1273 | 314.448 | 10.5533 | 891 | 100 | 34.8187
2020-10-06 02:30:00 | 5.8313 | 344.9067 | 6.2873 | 288.9993 | 6.584 | 336.8747 | 7.232 | 290.4767 | 10.4267 | 891 | 100 | 36.8193
2020-10-06 02:45:00 | 5.622 | 340.51 | 6.078 | 329.409 | 6.505 | 333.018 | 7.112 | 331.093 | 10.27 | 891 | 100 | 37.771
2020-10-06 03:00:00 | 6.491 | 342.62 | 6.976 | 329.342 | 7.216 | 335.082 | 7.935 | 331.026 | 10.04 | 890.3 | 100 | 41.179
2020-10-06 03:15:00 | 6.6047 | 346.8333 | 7.0607 | 335.1673 | 7.204 | 339.2027 | 7.894 | 336.88 | 9.9533 | 890 | 100 | 42.06
2020-10-06 03:30:00 | 7.023 | 342.97 | 7.496 | 333.373 | 7.358 | 335.424 | 8.159 | 335.076 | 9.92 | 890 | 100 | 45.678
2020-10-06 03:45:00 | 7.205 | 337.53 | 7.752 | 325.449 | 7.888 | 330.105 | 8.72 | 327.113 | 9.86 | 890 | 100 | 46.926
2020-10-06 04:00:00 | 7.128 | 344.58 | 7.612 | 331.688 | 7.633 | 336.999 | 8.405 | 333.384 | 9.72 | 890 | 100 | 44.536
2020-10-06 04:15:00 | 7.483 | 341.64 | 7.925 | 328.02 | 7.971 | 332.755 | 8.681 | 329.698 | 9.61 | 890 | 100 | 45.22
2020-10-06 04:30:00 | 7.272 | 337.69 | 7.741 | 331.044 | 8.035 | 330.261 | 8.705 | 332.735 | 9.58 | 890 | 100 | 44.251
2020-10-06 04:45:00 | 6.3513 | 342.9533 | 6.7373 | 327.1273 | 6.7233 | 334.7427 | 7.3507 | 328.8 | 9.5933 | 890 | 100 | 40.228
2020-10-06 05:00:00 | 6.631 | 339.07 | 7.026 | 325.155 | 7.022 | 331.611 | 7.661 | 326.818 | 9.56 | 890 | 100 | 42.386
2020-10-06 05:15:00 | 6.358 | 322.74 | 6.7093 | 326.502 | 6.8473 | 315.6407 | 7.3727 | 328.1727 | 9.56 | 889.5333 | 100 | 41.4873
2020-10-06 05:30:00 | 6.87 | 334.37 | 7.364 | 319.581 | 7.327 | 327.013 | 8.129 | 321.216 | 9.51 | 889 | 100 | 42.67
2020-10-06 05:45:00 | 7.2489 | 342.2889 | 7.6667 | 323.4467 | 7.7133 | 334.76 | 8.3733 | 325.1 | 9.4333 | 889.1111 | 100 | 47.201
2020-10-06 06:00:00 | 6.76 | 317.0333 | 7.2347 | 330.192 | 7.51 | 310.0587 | 8.1913 | 331.8813 | 9.34 | 889.8667 | 100 | 40.4893
2020-10-06 06:15:00 | 6.844 | 345.59 | 7.358 | 327.807 | 7.502 | 337.987 | 8.286 | 329.481 | 9.29 | 889.2 | 100 | 41.926
2020-10-06 06:30:00 | 7.446 | 340.1 | 7.864 | 326.652 | 7.63 | 332.618 | 8.368 | 328.322 | 9.34 | 890 | 100 | 45.972
2020-10-06 06:45:00 | 7.674 | 343.5067 | 8.1847 | 331.45 | 8.5687 | 335.9493 | 9.276 | 333.1447 | 9.2467 | 889.5333 | 100 | 51.096
2020-10-06 07:00:00 | 7.501 | 341.1 | 7.984 | 326.779 | 8.302 | 333.595 | 8.988 | 328.451 | 9.26 | 889 | 100 | 48.067
2020-10-06 07:15:00 | 7.946 | 341.58 | 8.492 | 326.124 | 8.858 | 334.066 | 9.634 | 327.792 | 9.26 | 890 | 100 | 49.768
2020-10-06 07:30:00 | 7.8247 | 342.48 | 8.3067 | 328.0727 | 8.6467 | 334.9453 | 9.3253 | 329.7513 | 9.2933 | 890 | 100 | 48.668
2020-10-06 07:45:00 | 7.312 | 343.71 | 7.867 | 330.886 | 8.08 | 336.149 | 8.92 | 332.58 | 9.26 | 890 | 100 | 48.869
2020-10-06 08:00:00 | 6.898 | 340.14 | 7.446 | 330.152 | 7.628 | 332.658 | 8.464 | 331.842 | 9.2 | 890 | 100 | 48.686
2020-10-06 08:15:00 | 7.337 | 345.69 | 7.823 | 327.66 | 8.127 | 338.085 | 8.822 | 329.335 | 9.42 | 890 | 100 | 46.595
2020-10-06 08:30:00 | 7.498 | 309.16 | 7.969 | 324.891 | 8.24 | 302.359 | 8.915 | 326.553 | 9.4 | 890 | 100 | 47.441
2020-10-06 08:45:00 | 7.712 | 339.06 | 8.202 | 327.982 | 8.49 | 331.6 | 9.2 | 329.658 | 9.44 | 890 | 100 | 48.236
2020-10-06 09:00:00 | 7.543 | 344.55 | 8.027 | 329.39 | 8.2 | 336.969 | 8.931 | 331.073 | 9.55 | 890.7 | 100 | 48.195
2020-10-06 09:15:00 | 7.168 | 275.44 | 7.618 | 328.002 | 8.036 | 269.382 | 8.642 | 329.68 | 9.48 | 891 | 100 | 47.874
2020-10-06 09:30:00 | 6.964 | 345.46 | 7.521 | 333.694 | 7.898 | 337.332 | 8.685 | 335.401 | 9.6 | 891 | 100 | 47.492
2020-10-06 09:45:00 | 6.9727 | 345.3533 | 7.5207 | 310.5073 | 7.778 | 337.756 | 8.5773 | 312.0953 | 9.96 | 891 | 100 | 47.4787
2020-10-06 10:00:00 | 6.736 | 342.24 | 7.207 | 335.13 | 7.362 | 334.71 | 8.07 | 336.846 | 10 | 891 | 100 | 43.195
2020-10-06 10:15:00 | 6.474 | 319.4667 | 6.8393 | 330.4333 | 6.988 | 312.438 | 7.5327 | 332.1227 | 10.1067 | 891 | 98.02 | 38.4113
2020-10-06 10:30:00 | 6.145 | 343.69 | 6.471 | 325.596 | 6.535 | 336.129 | 7.04 | 327.26 | 10.28 | 891.7 | 96.83 | 35.26
2020-10-06 10:45:00 | 6.276 | 314.2333 | 6.5987 | 331.118 | 6.8387 | 307.32 | 7.2887 | 332.8113 | 10.4933 | 892 | 96.9067 | 35.762
2020-10-06 11:00:00 | 6.19 | 338.86 | 6.507 | 326.221 | 6.772 | 330.086 | 7.226 | 327.89 | 10.69 | 892 | 96.23 | 35.071
2020-10-06 11:15:00 | 6.03 | 334.92 | 6.306 | 328.198 | 6.518 | 327.554 | 6.902 | 329.876 | 10.8 | 892 | 94.2 | 30.824
2020-10-06 11:30:00 | 5.954 | 340.3267 | 6.342 | 326.7947 | 6.5593 | 332.8393 | 7.1213 | 328.4647 | 11.1533 | 892 | 94.4733 | 32.4273
2020-10-06 11:45:00 | 5.348 | 272.54 | 5.654 | 328.912 | 5.91 | 266.543 | 6.328 | 330.593 | 11.31 | 892 | 94.16 | 25.54
2020-10-06 12:00:00 | 5.4236 | 338.8643 | 5.7286 | 326.1914 | 6.0179 | 331.4086 | 6.4279 | 327.8586 | 11.4429 | 892 | 92.7571 | 23.4914
2020-10-06 12:15:00 | 5.241 | 339.53 | 5.627 | 330.536 | 5.944 | 332.061 | 6.476 | 332.224 | 11.72 | 892 | 93.1 | 24.196
2020-10-06 12:30:00 | 5.542 | 347.24 | 6.02 | 327.358 | 6.106 | 339.6 | 6.85 | 329.028 | 11.86 | 892 | 93.6 | 24.012
2020-10-06 12:45:00 | 5.182 | 343.79 | 5.59 | 301.37 | 5.879 | 336.227 | 6.451 | 302.913 | 12.16 | 892 | 91.47 | 22.841
2020-10-06 13:00:00 | 4.5533 | 338.5467 | 4.8947 | 334.4833 | 5.2153 | 331.098 | 5.6693 | 336.194 | 12.0133 | 892 | 88.3667 | 17.4873
2020-10-06 13:15:00 | 4.069 | 343.73 | 4.293 | 334.485 | 4.522 | 336.168 | 4.819 | 336.195 | 12.21 | 892 | 89.52 | 12.66
2020-10-06 13:30:00 | 4.1267 | 328.98 | 4.286 | 323.2227 | 4.306 | 321.7413 | 4.5587 | 324.8747 | 12.4467 | 892 | 88.62 | 11.1013
2020-10-06 13:45:00 | 4.452 | 299.76 | 4.625 | 327.767 | 4.756 | 293.165 | 5.001 | 329.443 | 12.61 | 892 | 86.91 | 14.756
2020-10-06 14:00:00 | 4.0527 | 337.6867 | 4.404 | 309.9547 | 4.4353 | 330.466 | 4.996 | 311.5393 | 12.8067 | 891.8667 | 88.4 | 13.1967
2020-10-06 14:15:00 | 4.221 | 340.95 | 4.517 | 330.594 | 4.424 | 333.449 | 4.926 | 332.283 | 12.65 | 891 | 89.86 | 14.735
2020-10-06 14:30:00 | 4.15 | 340.28 | 4.456 | 329.372 | 4.304 | 332.794 | 4.84 | 331.056 | 12.64 | 891 | 90.22 | 13.992
2020-10-06 14:45:00 | 4.2 | 316.9667 | 4.462 | 306.596 | 4.4147 | 309.994 | 4.8473 | 308.1647 | 12.6733 | 891 | 92.8133 | 13.146
2020-10-06 15:00:00 | 4.172 | 343.15 | 4.504 | 327.688 | 4.44 | 335.844 | 4.993 | 329.365 | 12.53 | 891 | 92.04 | 12.072
2020-10-06 15:15:00 | 4.202 | 342.5467 | 4.556 | 310.0253 | 4.6687 | 335.01 | 5.206 | 311.61 | 12.4 | 890.5333 | 94.28 | 14.1093
2020-10-06 15:30:00 | 4.851 | 338.97 | 5.188 | 323.425 | 5.249 | 331.511 | 5.767 | 325.08 | 12.3 | 890 | 94.63 | 21.233
2020-10-06 15:45:00 | 5.55 | 338.18 | 5.9 | 328.708 | 5.728 | 330.74 | 6.342 | 330.386 | 12.24 | 890 | 93.52 | 26.354
2020-10-06 16:00:00 | 4.569 | 343.97 | 4.943 | 304.364 | 4.983 | 336.403 | 5.568 | 305.919 | 12.29 | 890 | 94.6 | 19.201
2020-10-06 16:15:00 | 5.768 | 343.86 | 6.232 | 327.26 | 6.208 | 336.296 | 6.958 | 328.932 | 12.08 | 890 | 94.56 | 27.818
2020-10-06 16:30:00 | 5.4333 | 342.24 | 5.8247 | 331.4953 | 5.6993 | 334.7113 | 6.3627 | 333.1907 | 12.0933 | 890 | 92.1333 | 30.2507
2020-10-06 16:45:00 | 5.349 | 311.37 | 5.592 | 337.704 | 5.874 | 304.52 | 6.183 | 339.431 | 12.08 | 890 | 91.24 | 28.747
2020-10-06 17:00:00 | 5.1813 | 338.9467 | 5.6013 | 327.768 | 5.7413 | 331.4893 | 6.3787 | 329.4433 | 11.98 | 890 | 93.1067 | 25.1533
2020-10-06 17:15:00 | 5.465 | 334.63 | 5.903 | 318.485 | 6.138 | 327.267 | 6.77 | 320.114 | 11.96 | 890 | 93.13 | 27.05
2020-10-06 17:30:00 | 5.694 | 340.2 | 6.096 | 329.118 | 6.342 | 332.716 | 6.918 | 330.802 | 11.84 | 890 | 92.68 | 31.418
2020-10-06 17:45:00 | 5.316 | 279.55 | 5.772 | 202.26 | 5.876 | 273.401 | 6.581 | 203.294 | 11.73 | 890 | 93.36 | 33.923
2020-10-06 18:00:00 | 5.314 | 204.22 | 5.638 | 322.702 | 5.782 | 199.728 | 6.258 | 324.348 | 11.46 | 890 | 93.78 | 30.796
2020-10-06 18:15:00 | 4.904 | 245.57 | 5.155 | 301.323 | 5.428 | 240.168 | 5.754 | 302.863 | 11.41 | 890 | 94.8 | 29.143
2020-10-06 18:30:00 | 5.386 | 216.26 | 5.644 | 207.59 | 5.77 | 211.504 | 6.154 | 208.65 | 11.52 | 890 | 94.62 | 31.472
2020-10-06 18:45:00 | 4.857 | 247.66 | 5.153 | 303.628 | 5.357 | 243.102 | 5.767 | 305.181 | 11.4 | 890 | 94.8 | 21.424
2020-10-06 19:00:00 | 4.974 | 271.18 | 5.332 | 323.934 | 5.47 | 265.212 | 6 | 325.59 | 11.24 | 890 | 95.88 | 26.864
2020-10-06 19:15:00 | 5.258 | 311.55 | 5.608 | 334.778 | 5.819 | 304.696 | 6.324 | 336.49 | 11.07 | 890 | 95.23 | 36.928
2020-10-06 19:30:00 | 5.88 | 246.42 | 6.225 | 335.924 | 6.477 | 241.001 | 6.964 | 337.641 | 10.94 | 890 | 96.8 | 39.594
2020-10-06 19:45:00 | 6.412 | 281.02 | 6.704 | 330.936 | 6.978 | 274.838 | 7.37 | 332.628 | 11.16 | 890 | 97.32 | 45.194
2020-10-06 20:00:00 | 6.0527 | 305.3733 | 6.432 | 336.0593 | 6.7267 | 298.656 | 7.2513 | 337.7787 | 10.92 | 890.8 | 95.8133 | 42.8987
2020-10-06 20:15:00 | 6.432 | 243.89 | 6.758 | 332.412 | 7.127 | 238.523 | 7.544 | 334.112 | 10.9 | 891 | 97.35 | 45.108
2020-10-06 20:30:00 | 6.412 | 310.02 | 6.744 | 329.85 | 6.907 | 303.198 | 7.397 | 331.538 | 11.03 | 891 | 96.56 | 42.425
2020-10-06 20:45:00 | 5.392 | 211.22 | 5.622 | 333.99 | 5.926 | 206.572 | 6.212 | 335.696 | 10.96 | 891 | 95.42 | 39.3
2020-10-06 21:00:00 | 5.302 | 323.82 | 5.74 | 332.1213 | 5.6867 | 316.6947 | 6.4067 | 333.8207 | 10.86 | 891 | 96.6667 | 32.89
2020-10-06 21:15:00 | 5.467 | 312.21 | 5.837 | 317.712 | 5.975 | 305.342 | 6.525 | 319.336 | 10.9 | 891 | 97.3 | 28.466
2020-10-06 21:30:00 | 5.486 | 345.14 | 5.844 | 324.754 | 5.944 | 337.548 | 6.486 | 326.414 | 10.86 | 891 | 96.8 | 29.236
2020-10-06 21:45:00 | 5.2573 | 338.9133 | 5.6627 | 318.338 | 5.6707 | 331.4573 | 6.3187 | 319.9667 | 10.8333 | 891 | 97.26 | 30.7633
2020-10-06 22:00:00 | 6.044 | 338.9 | 6.418 | 321.35 | 6.61 | 331.689 | 7.158 | 322.994 | 11.01 | 891.7 | 96.98 | 35.306
2020-10-06 22:15:00 | 5.712 | 336.68 | 6.0667 | 326.456 | 6.2687 | 328.8627 | 6.7773 | 328.1253 | 11.1467 | 892 | 95.8667 | 32.9533
2020-10-06 22:30:00 | 5.41 | 344.53 | 5.757 | 329.996 | 5.903 | 336.95 | 6.42 | 331.684 | 11.21 | 892 | 95.96 | 31.659
2020-10-06 22:45:00 | 5.777 | 340.84 | 6.097 | 331.453 | 6.164 | 333.342 | 6.658 | 333.148 | 11.07 | 892 | 97.85 | 33.299
2020-10-06 23:00:00 | 6.0227 | 345.06 | 6.354 | 330.5373 | 6.3153 | 337.468 | 6.8633 | 332.2273 | 10.6467 | 892 | 97.7933 | 36.748
2020-10-06 23:15:00 | 5.974 | 344.97 | 6.342 | 330.944 | 6.417 | 337.38 | 6.99 | 332.637 | 10.56 | 892 | 96.61 | 37.263
2020-10-06 23:30:00 | 5.818 | 346.12 | 6.306 | 332.03 | 6.528 | 338.507 | 7.25 | 333.729 | 10.4 | 892 | 95.84 | 34.564
2020-10-06 23:45:00 | 6.15 | 275.66 | 6.546 | 335.22 | 6.962 | 269.596 | 7.478 | 336.934 | 10.46 | 892 | 97.2 | 36.59