## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-07 00:00:00 | 6.88 | 341.4867 | 7.386 | 334.338 | 7.6393 | 333.9727 | 8.3767 | 336.0487 | 10.3467 | 892 | 97.8667 | 39.36
2020-10-07 00:15:00 | 7.106 | 343.92 | 7.657 | 333.322 | 7.763 | 336.352 | 8.614 | 335.026 | 10.31 | 892 | 98.38 | 43.676
2020-10-07 00:30:00 | 7.159 | 347.99 | 7.734 | 325.126 | 8.008 | 340.334 | 8.859 | 326.788 | 10.42 | 892 | 97.98 | 42.556
2020-10-07 00:45:00 | 6.7513 | 348.4867 | 7.256 | 325.5113 | 7.386 | 340.69 | 8.166 | 327.1747 | 10.38 | 892 | 95.7733 | 41.5767
2020-10-07 01:00:00 | 6.016 | 347.23 | 6.462 | 324.579 | 6.593 | 339.592 | 7.273 | 326.238 | 10.3 | 892 | 96.35 | 32.748
2020-10-07 01:15:00 | 5.485 | 311.57 | 5.766 | 324.296 | 5.864 | 304.716 | 6.287 | 325.952 | 10.46 | 892 | 98.1 | 23.957
2020-10-07 01:30:00 | 5.718 | 344.76 | 6.088 | 328.294 | 6.17 | 337.176 | 6.746 | 329.974 | 10.28 | 892 | 98.38 | 31.298
2020-10-07 01:45:00 | 5.4807 | 345.9067 | 5.768 | 321.6833 | 6.1093 | 338.2967 | 6.472 | 323.3287 | 10.2267 | 892 | 98.9 | 29.1607
2020-10-07 02:00:00 | 4.95 | 341.95 | 5.222 | 315.11 | 5.318 | 334.428 | 5.727 | 316.723 | 10.11 | 892 | 99.08 | 24.543
2020-10-07 02:15:00 | 5.56 | 284.28 | 5.998 | 317.42 | 6.252 | 207.962 | 6.884 | 319.042 | 10.06 | 892 | 99.5 | 30.406
2020-10-07 02:30:00 | 5.908 | 255.5467 | 6.2753 | 325.8167 | 6.518 | 249.9247 | 7.0413 | 327.4833 | 10.2467 | 891.8667 | 99.5 | 35.8707
2020-10-07 02:45:00 | 5.891 | 347.43 | 6.282 | 320.335 | 6.527 | 339.787 | 7.084 | 321.972 | 10.13 | 891 | 99.82 | 35.542
2020-10-07 03:00:00 | 5.988 | 342 | 6.473 | 318.29 | 6.329 | 333.379 | 7.163 | 319.916 | 10.16 | 891 | 99.83 | 33.773
2020-10-07 03:15:00 | 6.718 | 343.5 | 7.192 | 326.142 | 7.43 | 335.942 | 8.118 | 327.81 | 10.36 | 891 | 99.78 | 38.462
2020-10-07 03:30:00 | 6.178 | 342.9933 | 6.5333 | 324.912 | 6.6913 | 335.448 | 7.2193 | 326.5733 | 10.26 | 891 | 99.3333 | 33.8567
2020-10-07 03:45:00 | 5.957 | 342.14 | 6.306 | 327.62 | 6.139 | 334.613 | 6.757 | 329.294 | 10.34 | 891 | 98.7 | 30.064
2020-10-07 04:00:00 | 5.877 | 343.15 | 6.21 | 328.608 | 6.55 | 335.599 | 6.993 | 330.288 | 10.2 | 891.7 | 98.63 | 29.696
2020-10-07 04:15:00 | 5.881 | 311.55 | 6.175 | 327.62 | 6.329 | 304.696 | 6.758 | 329.295 | 10.09 | 891 | 99.44 | 32.322
2020-10-07 04:30:00 | 5.782 | 332.44 | 5.984 | 326.438 | 6.05 | 325.126 | 6.354 | 328.106 | 10.1 | 891 | 99.54 | 30.548
2020-10-07 04:45:00 | 5.904 | 341.8267 | 6.1873 | 332.396 | 6.3687 | 334.2467 | 6.7787 | 334.096 | 10.06 | 891.4667 | 99.4933 | 30.542
2020-10-07 05:00:00 | 5.99 | 347.97 | 6.365 | 330.103 | 6.571 | 340.314 | 7.117 | 331.791 | 9.91 | 891.3 | 99.94 | 32.676
2020-10-07 05:15:00 | 5.7407 | 312.5 | 5.9907 | 323.8643 | 6.2693 | 305.6264 | 6.5964 | 325.5207 | 9.9071 | 891.4167 | 99.9417 | 30.4629
2020-10-07 05:30:00 | 5.53 | 338.59 | 5.756 | 325.489 | 6.146 | 331.14 | 6.403 | 327.153 | 9.92 | 891.3 | 100 | 27.82
2020-10-07 05:45:00 | 5.335 | 340.56 | 5.526 | 329.096 | 6.063 | 333.067 | 6.215 | 330.78 | 10.21 | 891.2 | 100 | 24.784
2020-10-07 06:00:00 | 5.34 | 340.3533 | 5.6393 | 320.3867 | 6.0933 | 332.866 | 6.444 | 322.024 | 9.72 | 892 | 100 | 25.894
2020-10-07 06:15:00 | 5.932 | 335.61 | 6.304 | 324.295 | 6.656 | 328.226 | 7.15 | 325.954 | 9.78 | 891.8 | 100 | 31.036
2020-10-07 06:30:00 | 6.082 | 327.26 | 6.476 | 318.594 | 6.882 | 320.06 | 7.398 | 320.224 | 10 | 891.4 | 100 | 33.126
2020-10-07 06:45:00 | 6.018 | 342.8467 | 6.4353 | 321.652 | 6.8173 | 335.304 | 7.378 | 323.294 | 9.72 | 892 | 100 | 32.8847
2020-10-07 07:00:00 | 5.969 | 345.04 | 6.342 | 326.506 | 6.874 | 337.449 | 7.318 | 328.174 | 9.59 | 892 | 100 | 34.14
2020-10-07 07:15:00 | 6.015 | 339.25 | 6.393 | 325.196 | 7.014 | 331.788 | 7.442 | 326.858 | 9.59 | 892 | 100 | 35.551
2020-10-07 07:30:00 | 5.9367 | 342.58 | 6.2653 | 329.346 | 6.6873 | 335.042 | 7.0967 | 331.0293 | 9.72 | 892 | 100 | 32.8253
2020-10-07 07:45:00 | 5.494 | 301.06 | 5.679 | 333.498 | 6.146 | 294.435 | 6.311 | 335.202 | 9.79 | 892 | 100 | 30.983
2020-10-07 08:00:00 | 5.326 | 272.48 | 5.506 | 330.642 | 5.936 | 266.486 | 6.104 | 332.332 | 9.9 | 892 | 100 | 31.136
2020-10-07 08:15:00 | 5.613 | 309.1 | 5.944 | 328.247 | 6.268 | 302.299 | 6.701 | 329.924 | 9.97 | 892 | 100 | 29.903
2020-10-07 08:30:00 | 5.637 | 338.58 | 6.03 | 325.439 | 6.6 | 331.132 | 7.062 | 327.102 | 10.24 | 892 | 99.86 | 31.295
2020-10-07 08:45:00 | 5.336 | 341.41 | 5.658 | 330.22 | 6.185 | 333.899 | 6.558 | 331.91 | 10.43 | 893 | 97.52 | 25.886
2020-10-07 09:00:00 | 4.436 | 341.23 | 4.584 | 328.275 | 5.33 | 333.722 | 5.355 | 329.954 | 10.78 | 893 | 93.68 | 16.555
2020-10-07 09:15:00 | 3.96 | 318.43 | 4.01 | 323.895 | 4.464 | 311.423 | 4.412 | 325.551 | 11.35 | 894 | 89.28 | 12.534
2020-10-07 09:30:00 | 3.584 | 324.6 | 3.676 | 324.248 | 3.63 | 317.46 | 3.794 | 325.904 | 11.62 | 894 | 87.26 | 7.97
2020-10-07 09:45:00 | 3.162 | 301.92 | 3.284 | 315.522 | 3.4773 | 295.2767 | 3.622 | 317.136 | 11.92 | 895 | 84.74 | 6.3233
2020-10-07 10:00:00 | 3.617 | 320.99 | 3.912 | 312.656 | 4.004 | 313.928 | 4.451 | 314.255 | 11.98 | 895 | 83.64 | 7.736
2020-10-07 10:15:00 | 3.106 | 332.32 | 3.325 | 305.556 | 3.553 | 325.009 | 3.842 | 307.12 | 12.28 | 895 | 84.95 | 4.408
2020-10-07 10:30:00 | 2.805 | 331.42 | 2.879 | 308.607 | 3.111 | 324.128 | 3.166 | 310.184 | 12.48 | 895 | 84.3 | 3.743
2020-10-07 10:45:00 | 2.274 | 258.86 | 2.246 | 318.612 | 2.544 | 253.166 | 2.414 | 320.24 | 12.66 | 895 | 83.6 | 1.652
2020-10-07 11:00:00 | 2.17 | 332.46 | 2.233 | 286.504 | 2.523 | 325.146 | 2.539 | 287.97 | 13.22 | 895 | 83.26 | 0.784
2020-10-07 11:15:00 | 1.598 | 246.3 | 1.623 | 294.75 | 1.928 | 240.881 | 1.882 | 296.256 | 13.69 | 895 | 81.72 | 0
2020-10-07 11:30:00 | 0.92 | 220.8933 | 0.94 | 326.2353 | 0.95133 | 216.0327 | 0.98267 | 327.904 | 14.9 | 895 | 80.6247 | 0
2020-10-07 11:45:00 | 0.591 | 164.01 | 0.678 | 208.941 | 0.69 | 160.402 | 0.824 | 210.008 | 15.95 | 895 | 79.621 | 0
2020-10-07 12:00:00 | 1.4833 | 159.7733 | 1.6093 | 120.712 | 1.704 | 158.0647 | 1.9073 | 121.3287 | 15.88 | 895 | 76.7127 | 0
2020-10-07 12:15:00 | 1.396 | 166.84 | 1.433 | 130.602 | 1.444 | 163.171 | 1.501 | 131.27 | 16.14 | 895 | 78.497 | 0
2020-10-07 12:30:00 | 2.101 | 175.8 | 2.203 | 130.406 | 2.462 | 171.933 | 2.549 | 131.075 | 15.38 | 894.3 | 76.893 | 0
2020-10-07 12:45:00 | 1.6987 | 200.7867 | 1.8293 | 141.5493 | 2.1407 | 198.6433 | 2.24 | 142.2727 | 15.24 | 894.5333 | 77.95 | 0
2020-10-07 13:00:00 | 1.891 | 181.41 | 1.967 | 144.187 | 2.141 | 175.531 | 2.209 | 144.924 | 15.45 | 894 | 77.902 | 0
2020-10-07 13:15:00 | 2.02 | 186.32 | 2.042 | 147.266 | 2.356 | 182.218 | 2.304 | 148.018 | 15.5 | 894 | 78.31 | 0
2020-10-07 13:30:00 | 1.9713 | 165.72 | 2.026 | 172.3107 | 2.1053 | 160.0653 | 2.2027 | 173.1927 | 15.6333 | 893.8667 | 77.6293 | 0.24533
2020-10-07 13:45:00 | 2.21 | 208.55 | 2.214 | 142.768 | 2.408 | 203.962 | 2.357 | 143.498 | 15.65 | 893 | 77.764 | 0.614
2020-10-07 14:00:00 | 2.024 | 189.7467 | 2.04 | 134.624 | 2.306 | 185.572 | 2.2587 | 135.3133 | 15.54 | 893 | 78.7207 | 0.66733
2020-10-07 14:15:00 | 2.348 | 155.9 | 2.418 | 137.438 | 2.679 | 152.469 | 2.719 | 138.142 | 15.33 | 893 | 79.945 | 1.176
2020-10-07 14:30:00 | 2.302 | 151.4 | 2.354 | 144.664 | 2.648 | 148.068 | 2.654 | 145.406 | 15.08 | 892.6 | 81.16 | 1.124
2020-10-07 14:45:00 | 2.415 | 160.56 | 2.488 | 139.12 | 2.635 | 157.026 | 2.713 | 139.832 | 14.91 | 892 | 82.78 | 1.598
2020-10-07 15:00:00 | 1.956 | 165.25 | 1.937 | 131.051 | 2.214 | 161.615 | 2.105 | 131.721 | 14.82 | 892 | 83.27 | 0.929
2020-10-07 15:15:00 | 1.786 | 154.9867 | 1.8253 | 134.768 | 2.0253 | 151.576 | 2.028 | 135.4567 | 14.7933 | 892 | 84.7133 | 0.54733
2020-10-07 15:30:00 | 1.549 | 151.1 | 1.597 | 133.635 | 1.843 | 147.778 | 1.846 | 134.317 | 14.86 | 892 | 85.56 | 0.141
2020-10-07 15:45:00 | 1.4611 | 145.3111 | 1.5233 | 134.4211 | 1.8022 | 142.1144 | 1.8189 | 135.1078 | 14.9111 | 891.8889 | 85.4444 | 0
2020-10-07 16:00:00 | 1.5493 | 115.9933 | 1.6687 | 134.468 | 1.7333 | 113.4147 | 1.916 | 135.1553 | 14.8467 | 891 | 86.1 | 0
2020-10-07 16:15:00 | 1.732 | 126.12 | 1.9 | 140.118 | 2.006 | 123.347 | 2.244 | 140.834 | 14.73 | 891 | 88.26 | 0
2020-10-07 16:30:00 | 1.636 | 131.04 | 1.788 | 126.572 | 1.89 | 128.158 | 2.102 | 127.22 | 14.6 | 891 | 90.02 | 0
2020-10-07 16:45:00 | 1.8293 | 138.5333 | 1.924 | 129.3853 | 2.0293 | 135.4847 | 2.152 | 130.0433 | 14.58 | 891 | 89.5867 | 0
2020-10-07 17:00:00 | 1.506 | 134.08 | 1.573 | 131.101 | 1.657 | 131.13 | 1.741 | 131.77 | 14.58 | 891 | 90 | 0.09
2020-10-07 17:15:00 | 1.506 | 124.88 | 1.582 | 150.318 | 1.58 | 122.134 | 1.702 | 151.088 | 14.6 | 891 | 91.28 | 0.608
2020-10-07 17:30:00 | 1.454 | 129.2 | 1.548 | 109.44 | 1.62 | 126.356 | 1.754 | 109.998 | 14.36 | 891 | 91.88 | 1.092
2020-10-07 17:45:00 | 1.9407 | 136.2 | 1.9667 | 137.2007 | 2.1053 | 133.2027 | 2.1093 | 137.9007 | 14.3533 | 891 | 92.5533 | 1.7593
2020-10-07 18:00:00 | 2.109 | 139.4 | 2.182 | 136.216 | 2.384 | 136.333 | 2.445 | 136.913 | 14.3 | 891 | 93.25 | 2.408
2020-10-07 18:15:00 | 2.4793 | 123.4933 | 2.6093 | 124.474 | 2.8067 | 120.7773 | 2.96 | 125.1093 | 14.2133 | 891 | 93.6933 | 3.6547
2020-10-07 18:30:00 | 2.1487 | 128.5 | 2.2353 | 117.844 | 2.378 | 125.0347 | 2.478 | 118.4453 | 14.0133 | 891 | 94.54 | 2.042
2020-10-07 18:45:00 | 2.011 | 123.31 | 2.119 | 117.349 | 2.177 | 120.598 | 2.336 | 117.95 | 13.98 | 891 | 95.46 | 2.004
2020-10-07 19:00:00 | 2.3113 | 117.7733 | 2.4253 | 117.8693 | 2.6707 | 115.184 | 2.782 | 118.472 | 13.96 | 891 | 94.6667 | 3.4987
2020-10-07 19:15:00 | 1.928 | 127.73 | 2.017 | 129.535 | 2.136 | 124.92 | 2.242 | 130.198 | 13.88 | 891 | 93.35 | 2.228
2020-10-07 19:30:00 | 1.934 | 143.64 | 2.03 | 148.09 | 2.068 | 140.48 | 2.21 | 148.846 | 13.9 | 891 | 92.76 | 1.992
2020-10-07 19:45:00 | 1.898 | 139.6333 | 1.998 | 139.9787 | 2.1087 | 136.5627 | 2.2373 | 140.6947 | 13.9467 | 891 | 92.0667 | 1.8913
2020-10-07 20:00:00 | 1.945 | 133.11 | 2.02 | 125.183 | 2.036 | 130.184 | 2.156 | 125.822 | 14.01 | 891 | 91.92 | 1.962
2020-10-07 20:15:00 | 2 | 132.34 | 2.056 | 114.152 | 2.152 | 129.428 | 2.218 | 114.736 | 14.06 | 891 | 91.1 | 2.088
2020-10-07 20:30:00 | 1.8287 | 123.72 | 1.902 | 122.4327 | 2.0667 | 120.9987 | 2.1367 | 123.0587 | 14 | 891 | 90.88 | 1.992
2020-10-07 20:45:00 | 2.089 | 137.05 | 2.176 | 134.954 | 2.333 | 134.032 | 2.432 | 135.644 | 13.98 | 891 | 91.61 | 2.748
2020-10-07 21:00:00 | 2.022 | 131.7 | 2.078 | 139.15 | 2.182 | 128.804 | 2.244 | 139.862 | 13.82 | 891 | 92.04 | 3.308
2020-10-07 21:15:00 | 2.249 | 142.61 | 2.372 | 131.992 | 2.43 | 139.131 | 2.619 | 132.666 | 13.79 | 891 | 92.08 | 3.68
2020-10-07 21:30:00 | 2.456 | 150.6 | 2.575 | 134.474 | 2.708 | 147.286 | 2.863 | 135.163 | 13.7 | 891 | 92.17 | 3.171
2020-10-07 21:45:00 | 2.558 | 131.86 | 2.584 | 130.99 | 2.974 | 128.958 | 2.908 | 131.662 | 13.66 | 891 | 92.54 | 4.632
2020-10-07 22:00:00 | 2.36 | 136.28 | 2.448 | 127.6953 | 2.696 | 133.2813 | 2.7707 | 128.3487 | 13.5933 | 891 | 94.02 | 2.7947
2020-10-07 22:15:00 | 2.412 | 146.0533 | 2.4933 | 129.272 | 2.694 | 142.8413 | 2.768 | 129.9313 | 13.4667 | 891 | 94.6467 | 1.9753
2020-10-07 22:30:00 | 2.756 | 139.63 | 2.945 | 130.22 | 3.11 | 136.559 | 3.369 | 130.887 | 13.29 | 891 | 94.9 | 3.176
2020-10-07 22:45:00 | 2.656 | 133.88 | 2.784 | 123.562 | 3.042 | 130.936 | 3.178 | 124.194 | 13.3 | 891 | 95.52 | 3.008
2020-10-07 23:00:00 | 2.5167 | 134.7533 | 2.6887 | 131.1687 | 2.9333 | 131.7873 | 3.1373 | 131.8407 | 13.1533 | 891 | 96.4067 | 2.314
2020-10-07 23:15:00 | 2.005 | 142.76 | 2.128 | 143.306 | 2.538 | 139.62 | 2.62 | 144.039 | 13.18 | 891 | 96.94 | 1.646
2020-10-07 23:30:00 | 1.942 | 124.34 | 2.109 | 136.108 | 2.161 | 121.76 | 2.384 | 136.803 | 13.28 | 891 | 97.64 | 0.593
2020-10-07 23:45:00 | 2.088 | 129.84 | 2.267 | 125.988 | 2.249 | 127.405 | 2.549 | 126.63 | 13.24 | 891 | 98.56 | 0.869