## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-08 00:00:00 | 1.862 | 127.9 | 1.956 | 126.222 | 2.042 | 125.084 | 2.168 | 126.866 | 13.24 | 891 | 99.18 | 1.28
2020-10-08 00:15:00 | 2.114 | 128.98 | 2.285 | 144.344 | 2.381 | 126.141 | 2.63 | 145.081 | 13.31 | 891 | 99.52 | 1.8767
2020-10-08 00:30:00 | 2.178 | 137.08 | 2.326 | 141.281 | 2.459 | 134.063 | 2.656 | 142.003 | 13.1 | 891 | 99.53 | 2.3033
2020-10-08 00:45:00 | 2.196 | 132.82 | 2.302 | 138.788 | 2.438 | 130.281 | 2.583 | 139.499 | 12.92 | 891 | 99.32 | 1.9207
2020-10-08 01:00:00 | 1.5427 | 154.6267 | 1.5633 | 135.518 | 1.686 | 151.2253 | 1.6867 | 136.2093 | 12.8867 | 891 | 99 | 1.9013
2020-10-08 01:15:00 | 1.611 | 165.89 | 1.637 | 140.812 | 1.582 | 162.241 | 1.642 | 141.533 | 13.18 | 891 | 99.06 | 1.138
2020-10-08 01:30:00 | 1.675 | 154.2 | 1.726 | 137.007 | 1.828 | 150.809 | 1.883 | 137.709 | 13.27 | 891 | 99.37 | 1.28
2020-10-08 01:45:00 | 1.782 | 135.28 | 1.828 | 129.154 | 1.918 | 132.304 | 1.972 | 129.816 | 13.4 | 891 | 99.02 | 0.796
2020-10-08 02:00:00 | 1.6473 | 131.9 | 1.69 | 138.9273 | 1.7653 | 128.9987 | 1.8133 | 139.6387 | 13.4533 | 891 | 98.4 | 0.786
2020-10-08 02:15:00 | 1.586 | 159.87 | 1.61 | 148.038 | 1.621 | 156.988 | 1.656 | 148.797 | 13.5 | 891 | 98.34 | 0.51067
2020-10-08 02:30:00 | 1.127 | 164.64 | 1.123 | 152.207 | 1.098 | 161.017 | 1.101 | 152.983 | 13.59 | 891 | 97.67 | 0.83467
2020-10-08 02:45:00 | 1.103 | 150.73 | 1.105 | 143.043 | 1.155 | 147.412 | 1.151 | 143.772 | 13.66 | 891 | 99.18 | 1.3747
2020-10-08 03:00:00 | 1.635 | 160.59 | 1.666 | 160.822 | 1.803 | 157.057 | 1.817 | 161.645 | 13.58 | 891 | 98.22 | 0.70933
2020-10-08 03:15:00 | 0.908 | 191.26 | 0.906 | 175.042 | 0.886 | 187.052 | 0.89 | 175.938 | 13.5 | 891 | 97.28 | 0.256
2020-10-08 03:30:00 | 0.908 | 191.26 | 0.906 | 175.042 | 0.886 | 187.052 | 0.89 | 175.938 | 13.5 | 891 | 97.28 | 0.256
2020-10-08 03:45:00 | 0.354 | 254.5467 | 0.37067 | 229.726 | 0.46533 | 248.9487 | 0.464 | 230.9013 | 13.6 | 891 | 99.4133 | 0.23467
2020-10-08 04:00:00 | 0.424 | 49 | 0.49 | 71.119 | 0.573 | 48.401 | 0.641 | 71.485 | 13.74 | 891 | 100 | 0.26267
2020-10-08 04:15:00 | 0.794 | 105.03 | 0.763 | 90.923 | 0.926 | 102.719 | 0.829 | 91.389 | 13.69 | 890 | 100 | 0
2020-10-08 04:30:00 | 0.476 | 77.62 | 0.518 | 129.212 | 0.408 | 75.912 | 0.508 | 129.874 | 13.52 | 890 | 100 | 0
2020-10-08 04:45:00 | 0.478 | 103.79 | 0.445 | 269.293 | 0.547 | 101.507 | 0.463 | 270.669 | 13.38 | 890 | 100 | 0
2020-10-08 05:00:00 | 1.239 | 315.36 | 1.218 | 340.402 | 1.558 | 307.102 | 1.432 | 342.143 | 12.8 | 890 | 100 | 0
2020-10-08 05:15:00 | 1.172 | 270.32 | 1.11 | 327.484 | 1.563 | 264.373 | 1.329 | 329.157 | 13.04 | 890.2 | 100 | 0
2020-10-08 05:30:00 | 1.696 | 269.86 | 1.638 | 323.856 | 2.224 | 263.924 | 1.966 | 325.51 | 13.06 | 891 | 100 | 0
2020-10-08 05:45:00 | 2.294 | 333.06 | 2.396 | 315.934 | 2.826 | 325.73 | 2.862 | 317.55 | 13.08 | 891 | 100 | 0.095333
2020-10-08 06:00:00 | 2.357 | 329.97 | 2.345 | 319.022 | 2.991 | 322.71 | 2.782 | 320.654 | 12.72 | 891 | 100 | 1.6113
2020-10-08 06:15:00 | 2.585 | 331.67 | 2.646 | 323.406 | 3.277 | 324.372 | 3.191 | 325.059 | 12.29 | 891 | 100 | 3.5833
2020-10-08 06:30:00 | 2.76 | 338.24 | 2.858 | 326.24 | 3.622 | 330.798 | 3.556 | 327.908 | 12.16 | 891 | 100 | 5.24
2020-10-08 06:45:00 | 3.284 | 342.26 | 3.434 | 324.99 | 4.068 | 334.728 | 4.128 | 326.65 | 12.06 | 891 | 100 | 6.214
2020-10-08 07:00:00 | 3.7253 | 334.9667 | 3.884 | 324.8193 | 4.3247 | 327.5973 | 4.454 | 326.4813 | 11.8867 | 891.1333 | 100 | 9.4193
2020-10-08 07:15:00 | 3.882 | 338.92 | 4.081 | 329.106 | 4.385 | 331.464 | 4.62 | 330.791 | 11.83 | 892 | 100 | 10.3907
2020-10-08 07:30:00 | 4.08 | 343.77 | 4.316 | 327.991 | 4.557 | 336.207 | 4.868 | 329.67 | 11.83 | 892 | 100 | 11.5773
2020-10-08 07:45:00 | 4.382 | 349.16 | 4.64 | 333.674 | 4.882 | 341.478 | 5.226 | 335.38 | 11.84 | 892 | 100 | 11.562
2020-10-08 08:00:00 | 4.0727 | 346.94 | 4.3607 | 327.1093 | 4.6473 | 339.3073 | 5.0253 | 328.7807 | 11.9 | 892 | 100 | 11.566
2020-10-08 08:15:00 | 3.699 | 279.73 | 3.987 | 325.127 | 4.311 | 273.577 | 4.68 | 326.788 | 11.91 | 892 | 100 | 8.992
2020-10-08 08:30:00 | 3.482 | 284.94 | 3.71 | 324.306 | 4.082 | 278.67 | 4.338 | 325.962 | 11.94 | 892 | 100 | 5.418
2020-10-08 08:45:00 | 3.482 | 284.94 | 3.71 | 324.306 | 4.082 | 278.67 | 4.338 | 325.962 | 11.94 | 892 | 100 | 5.418
2020-10-08 09:00:00 | 3.482 | 284.94 | 3.71 | 324.306 | 4.082 | 278.67 | 4.338 | 325.962 | 11.94 | 892 | 100 | 5.418
2020-10-08 09:15:00 | 3.511 | 340.41 | 3.739 | 319.551 | 4.224 | 332.919 | 4.447 | 321.185 | 12.33 | 893 | 100 | 9.3567
2020-10-08 09:30:00 | 3.511 | 340.41 | 3.739 | 319.551 | 4.224 | 332.919 | 4.447 | 321.185 | 12.33 | 893 | 100 | 9.3567
2020-10-08 09:45:00 | 3.511 | 340.41 | 3.739 | 319.551 | 4.224 | 332.919 | 4.447 | 321.185 | 12.33 | 893 | 100 | 9.3567
2020-10-08 10:00:00 | 4.524 | 338.02 | 4.88 | 329.996 | 5.352 | 330.584 | 5.786 | 331.684 | 12.12 | 893 | 100 | 16.7853
2020-10-08 10:15:00 | 4.828 | 340.45 | 5.193 | 328.023 | 5.427 | 332.96 | 5.948 | 329.699 | 12.17 | 894 | 100 | 15.3127
2020-10-08 10:30:00 | 4.338 | 336.2 | 4.682 | 320.882 | 4.844 | 328.802 | 5.342 | 322.524 | 12.28 | 894 | 100 | 11.7327
2020-10-08 10:45:00 | 4.312 | 341.78 | 4.665 | 329.147 | 4.9 | 334.262 | 5.396 | 330.828 | 12.33 | 894 | 100 | 11.9947
2020-10-08 11:00:00 | 4.462 | 341.16 | 4.794 | 328.354 | 5.014 | 333.656 | 5.486 | 330.034 | 12.3 | 894 | 100 | 13.3567
2020-10-08 11:15:00 | 4.3847 | 342.68 | 4.6727 | 325.8833 | 4.7593 | 335.1407 | 5.2007 | 327.5487 | 12.24 | 894 | 100 | 12.372
2020-10-08 11:30:00 | 3.918 | 341.3 | 4.177 | 315.677 | 4.409 | 333.792 | 4.759 | 317.292 | 12.36 | 894 | 100 | 8.346
2020-10-08 11:45:00 | 3.766 | 348.02 | 3.992 | 329.352 | 4.264 | 337.428 | 4.55 | 331.036 | 12.48 | 894 | 100 | 8.1047
2020-10-08 12:00:00 | 3.848 | 341.7 | 4.103 | 325.927 | 4.421 | 334.183 | 4.742 | 327.594 | 12.57 | 894 | 100 | 9.3407
2020-10-08 12:15:00 | 3.99 | 340.94 | 4.29 | 325.714 | 4.536 | 333.438 | 4.944 | 327.378 | 12.54 | 894 | 100 | 10.5413
2020-10-08 12:30:00 | 3.8473 | 338.32 | 4.078 | 326.4947 | 4.3947 | 330.8767 | 4.6733 | 328.164 | 12.6333 | 894 | 100 | 8.2173
2020-10-08 12:45:00 | 3.391 | 335.77 | 3.575 | 327.816 | 3.977 | 328.381 | 4.156 | 329.492 | 12.79 | 894 | 100 | 5.2047
2020-10-08 13:00:00 | 2.51 | 314.92 | 2.642 | 322.2967 | 2.864 | 307.992 | 3.012 | 323.944 | 13.1133 | 894 | 100 | 2.004
2020-10-08 13:15:00 | 2.332 | 330.71 | 2.398 | 326.633 | 2.688 | 322.017 | 2.714 | 328.301 | 13.35 | 894 | 100 | 0.98667
2020-10-08 13:30:00 | 2.662 | 336.06 | 2.826 | 316.014 | 3.144 | 330.702 | 3.322 | 317.626 | 13.44 | 894 | 100 | 2.2313
2020-10-08 13:45:00 | 3.009 | 333.69 | 3.22 | 312.157 | 3.477 | 325.968 | 3.748 | 313.755 | 13.64 | 893.8 | 100 | 3.7047
2020-10-08 14:00:00 | 2.992 | 265.24 | 3.152 | 318.358 | 3.238 | 259.402 | 3.476 | 319.986 | 13.82 | 893 | 100 | 3.1167
2020-10-08 14:15:00 | 2.963 | 334.31 | 3.17 | 322.868 | 3.492 | 326.956 | 3.735 | 324.519 | 14.03 | 893 | 98.37 | 3.2147
2020-10-08 14:30:00 | 2.915 | 298.05 | 3.153 | 325.966 | 3.335 | 291.492 | 3.666 | 327.636 | 14.41 | 893 | 97.71 | 2.942
2020-10-08 14:45:00 | 2.91 | 336.96 | 3.128 | 331.6 | 3.336 | 329.548 | 3.63 | 333.296 | 14.46 | 893 | 96.1 | 1.848
2020-10-08 15:00:00 | 2.859 | 305.8 | 3.044 | 327.914 | 3.241 | 299.18 | 3.485 | 329.59 | 14.72 | 893 | 93.51 | 2.146
2020-10-08 15:15:00 | 2.746 | 335.24 | 2.998 | 328.452 | 3.208 | 327.866 | 3.554 | 330.13 | 14.88 | 893 | 92.5 | 2.1213
2020-10-08 15:30:00 | 2.464 | 302.56 | 2.611 | 327.455 | 2.972 | 293.272 | 3.106 | 329.128 | 14.92 | 893 | 92.13 | 0.976
2020-10-08 15:45:00 | 2.078 | 341.68 | 2.344 | 204.46 | 2.51 | 334.164 | 2.888 | 205.506 | 15.3 | 893 | 90.5 | 0
2020-10-08 16:00:00 | 1.568 | 347.66 | 1.754 | 189.772 | 1.946 | 340.01 | 2.192 | 190.742 | 15.52 | 893 | 90.32 | 0
2020-10-08 16:15:00 | 1.568 | 347.66 | 1.754 | 189.772 | 1.946 | 340.01 | 2.192 | 190.742 | 15.52 | 893 | 90.32 | 0
2020-10-08 16:30:00 | 2.402 | 332.94 | 2.4993 | 284.958 | 2.788 | 325.6153 | 2.864 | 286.4147 | 14.9733 | 893 | 91.4467 | 0
2020-10-08 16:45:00 | 2.237 | 301.55 | 2.375 | 324.022 | 2.456 | 294.917 | 2.653 | 325.678 | 14.73 | 893 | 92.72 | 0.694
2020-10-08 17:00:00 | 2.146 | 337.56 | 2.266 | 330.566 | 2.598 | 330.134 | 2.69 | 332.254 | 14.58 | 893 | 94.88 | 0.96933
2020-10-08 17:15:00 | 2.839 | 329.29 | 3.011 | 306.163 | 3.265 | 322.044 | 3.463 | 307.728 | 14.38 | 893 | 96.55 | 2.7953
2020-10-08 17:30:00 | 3.035 | 338.39 | 3.242 | 336.001 | 3.376 | 330.946 | 3.671 | 337.719 | 14.26 | 893 | 96.21 | 3.0273
2020-10-08 17:45:00 | 3.1033 | 345.0333 | 3.3 | 334.0633 | 3.4489 | 337.4422 | 3.7222 | 335.7733 | 14.1556 | 893 | 96.0889 | 3.6447
2020-10-08 18:00:00 | 3.1 | 346.44 | 3.302 | 325.476 | 3.604 | 338.818 | 3.842 | 327.144 | 14 | 893 | 95.88 | 3.5853
2020-10-08 18:15:00 | 2.846 | 347.32 | 2.939 | 329.234 | 3.227 | 339.678 | 3.296 | 330.916 | 13.93 | 893 | 96.23 | 2.5367
2020-10-08 18:30:00 | 2.424 | 275.94 | 2.51 | 329.194 | 2.8 | 269.87 | 2.86 | 330.878 | 13.9 | 893 | 96.42 | 1.388
2020-10-08 18:45:00 | 1.94 | 162.24 | 1.9593 | 326.0987 | 2.1587 | 181.622 | 2.136 | 327.766 | 13.8067 | 893 | 97.3867 | 0.84467
2020-10-08 19:00:00 | 2.092 | 180.18 | 2.242 | 327.503 | 2.425 | 176.216 | 2.615 | 329.176 | 13.79 | 893 | 97.8 | 0.856
2020-10-08 19:15:00 | 2.502 | 279.48 | 2.65 | 324.03 | 2.852 | 273.332 | 3.036 | 325.686 | 13.7 | 893 | 98.4 | 2.782
2020-10-08 19:30:00 | 2.594 | 348.22 | 2.6987 | 319.6633 | 2.842 | 340.7487 | 2.9707 | 321.2967 | 13.7 | 893 | 98.7667 | 2.8947
2020-10-08 19:45:00 | 2.344 | 309.18 | 2.463 | 319.745 | 2.695 | 302.377 | 2.822 | 321.381 | 13.63 | 893 | 98.68 | 2.1193
2020-10-08 20:00:00 | 2.528 | 141.36 | 2.68 | 321.176 | 2.936 | 138.25 | 3.106 | 322.818 | 13.6 | 893 | 98.12 | 2.536
2020-10-08 20:15:00 | 2.566 | 214.28 | 2.628 | 317.084 | 3.014 | 209.564 | 3.006 | 318.708 | 13.6 | 893 | 97.8 | 2.7527
2020-10-08 20:30:00 | 2.596 | 209.06 | 2.654 | 321.058 | 3.012 | 204.46 | 3.004 | 322.7 | 13.58 | 893 | 98.74 | 1.6467
2020-10-08 20:45:00 | 1.926 | 341.28 | 1.94 | 329.118 | 2.298 | 333.772 | 2.224 | 330.798 | 13.58 | 893 | 99.08 | 1.0607
2020-10-08 21:00:00 | 2.328 | 274.24 | 2.446 | 317.968 | 2.622 | 268.206 | 2.754 | 319.594 | 13.5 | 893 | 99.26 | 2.172
2020-10-08 21:15:00 | 2.328 | 274.24 | 2.446 | 317.968 | 2.622 | 268.206 | 2.754 | 319.594 | 13.5 | 893 | 99.26 | 2.172
2020-10-08 21:30:00 | 3.066 | 340.22 | 3.24 | 314.778 | 3.456 | 332.736 | 3.678 | 316.388 | 13.28 | 894 | 98.78 | 4.596
2020-10-08 21:45:00 | 3.354 | 333.26 | 3.52 | 322.446 | 3.744 | 325.93 | 3.946 | 324.096 | 13.3 | 894 | 98.52 | 7.4587
2020-10-08 22:00:00 | 3.354 | 333.26 | 3.52 | 322.446 | 3.744 | 325.93 | 3.946 | 324.096 | 13.3 | 894 | 98.52 | 7.4587
2020-10-08 22:15:00 | 3.354 | 333.26 | 3.52 | 322.446 | 3.744 | 325.93 | 3.946 | 324.096 | 13.3 | 894 | 98.52 | 7.4587
2020-10-08 22:30:00 | 4.34 | 335.46 | 4.652 | 327.688 | 5.018 | 328.08 | 5.408 | 329.362 | 13.14 | 894 | 97.78 | 14.1847
2020-10-08 22:45:00 | 4.302 | 341.56 | 4.564 | 329.274 | 4.758 | 334.046 | 5.126 | 330.956 | 13.04 | 894 | 97.56 | 12.1193
2020-10-08 23:00:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318
2020-10-08 23:15:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318
2020-10-08 23:30:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318
2020-10-08 23:45:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318