## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-09 00:00:00 | 4.131 | 349.37 | 4.436 | 310.623 | 4.719 | 341.292 | 5.13 | 312.211 | 12.8 | 894 | 98.72 | 10.96
2020-10-09 00:15:00 | 3.665 | 342.15 | 3.865 | 315.669 | 4.08 | 334.624 | 4.342 | 317.284 | 12.76 | 894 | 98.46 | 7.282
2020-10-09 00:30:00 | 3.1367 | 320.1867 | 3.292 | 323.0667 | 3.556 | 313.1407 | 3.7293 | 324.7173 | 12.7867 | 894 | 98.7933 | 5.6933
2020-10-09 00:45:00 | 2.931 | 281.03 | 3.083 | 321.508 | 3.308 | 274.846 | 3.486 | 323.151 | 12.65 | 894 | 98.92 | 4.1847
2020-10-09 01:00:00 | 2.931 | 281.03 | 3.083 | 321.508 | 3.308 | 274.846 | 3.486 | 323.151 | 12.65 | 894 | 98.92 | 4.1847
2020-10-09 01:15:00 | 3.6687 | 337.8867 | 3.8533 | 321.6567 | 4.02 | 330.296 | 4.272 | 323.3027 | 12.5133 | 894 | 99.9467 | 8.364
2020-10-09 01:30:00 | 4.042 | 340.36 | 4.31 | 324.256 | 4.558 | 331.61 | 4.921 | 325.913 | 12.41 | 893.3 | 100 | 13.3213
2020-10-09 01:45:00 | 4.432 | 343.46 | 4.6987 | 327.1653 | 5.024 | 335.904 | 5.36 | 328.8393 | 12.32 | 893 | 100 | 16.0227
2020-10-09 02:00:00 | 4.6053 | 349.4267 | 4.8733 | 331.3213 | 5.0427 | 341.74 | 5.4287 | 333.0147 | 12.3533 | 893 | 99.9333 | 17.4827
2020-10-09 02:15:00 | 4.6053 | 349.4267 | 4.8733 | 331.3213 | 5.0427 | 341.74 | 5.4287 | 333.0147 | 12.3533 | 893 | 99.9333 | 17.4827
2020-10-09 02:30:00 | 4.6053 | 349.4267 | 4.8733 | 331.3213 | 5.0427 | 341.74 | 5.4287 | 333.0147 | 12.3533 | 893 | 99.9333 | 17.4827
2020-10-09 02:45:00 | 5.004 | 338.88 | 5.244 | 325.576 | 5.512 | 331.424 | 5.826 | 327.24 | 12.58 | 893 | 100 | 19.868
2020-10-09 03:00:00 | 4.912 | 344 | 5.133 | 327.972 | 5.474 | 335.189 | 5.723 | 329.65 | 12.48 | 893 | 99.53 | 20.2147
2020-10-09 03:15:00 | 5.124 | 280.84 | 5.434 | 326.38 | 5.62 | 274.662 | 6.06 | 328.046 | 12.36 | 893 | 99.58 | 20.6633
2020-10-09 03:30:00 | 4.68 | 345.28 | 5.057 | 322.133 | 5.168 | 337.684 | 5.745 | 323.779 | 12.36 | 893 | 99.97 | 18.3747
2020-10-09 03:45:00 | 4.512 | 337.13 | 4.76 | 316.832 | 4.989 | 329.714 | 5.327 | 318.453 | 12.47 | 893 | 100 | 16.602
2020-10-09 04:00:00 | 4.372 | 341.52 | 4.659 | 325.243 | 4.864 | 334.007 | 5.267 | 326.906 | 12.38 | 893 | 100 | 16.9393
2020-10-09 04:15:00 | 4.27 | 342.71 | 4.581 | 325.488 | 4.676 | 335.17 | 5.152 | 327.152 | 12.2 | 892.8 | 100 | 13.918
2020-10-09 04:30:00 | 4.117 | 279.56 | 4.396 | 322.623 | 4.61 | 273.409 | 4.997 | 324.27 | 12.15 | 892 | 100 | 13.2653
2020-10-09 04:45:00 | 4.324 | 246.71 | 4.648 | 322.428 | 5.027 | 241.28 | 5.44 | 324.074 | 12.25 | 892 | 100 | 15.56
2020-10-09 05:00:00 | 4.516 | 348.85 | 4.829 | 324.354 | 5.138 | 341.177 | 5.56 | 326.012 | 12.2 | 892 | 100 | 18.126
2020-10-09 05:15:00 | 4.516 | 348.85 | 4.829 | 324.354 | 5.138 | 341.177 | 5.56 | 326.012 | 12.2 | 892 | 100 | 18.126
2020-10-09 05:30:00 | 4.516 | 348.85 | 4.829 | 324.354 | 5.138 | 341.177 | 5.56 | 326.012 | 12.2 | 892 | 100 | 18.126
2020-10-09 05:45:00 | 4.856 | 341 | 5.316 | 324.226 | 5.43 | 333.498 | 6.134 | 325.884 | 12.14 | 893 | 100 | 22.5707
2020-10-09 06:00:00 | 4.822 | 348.92 | 5.264 | 332.988 | 5.46 | 341.244 | 6.11 | 334.692 | 12.16 | 893 | 100 | 23.1347
2020-10-09 06:15:00 | 4.822 | 348.92 | 5.264 | 332.988 | 5.46 | 341.244 | 6.11 | 334.692 | 12.16 | 893 | 100 | 23.1347
2020-10-09 06:30:00 | 4.822 | 348.92 | 5.264 | 332.988 | 5.46 | 341.244 | 6.11 | 334.692 | 12.16 | 893 | 100 | 23.1347
2020-10-09 06:45:00 | 4.552 | 335.18 | 4.922 | 319.022 | 5.252 | 327.808 | 5.754 | 320.654 | 12.22 | 893 | 100 | 18.034
2020-10-09 07:00:00 | 4.552 | 335.18 | 4.922 | 319.022 | 5.252 | 327.808 | 5.754 | 320.654 | 12.22 | 893 | 100 | 18.034
2020-10-09 07:15:00 | 4.688 | 343.56 | 5.05 | 260.676 | 5.344 | 336.004 | 5.84 | 262.008 | 12.22 | 893 | 100 | 18.79
2020-10-09 07:30:00 | 4.622 | 339.88 | 4.962 | 323.074 | 5.29 | 334.104 | 5.732 | 324.724 | 12.3 | 893 | 100 | 18.8047
2020-10-09 07:45:00 | 4.333 | 274.2 | 4.542 | 320.002 | 4.878 | 268.167 | 5.122 | 321.639 | 12.37 | 893 | 100 | 16.6073
2020-10-09 08:00:00 | 4.069 | 277.94 | 4.158 | 317.664 | 4.731 | 271.825 | 4.706 | 319.289 | 12.26 | 893.7 | 100 | 17.4887
2020-10-09 08:15:00 | 4.573 | 343.15 | 4.862 | 324.47 | 5.237 | 334.965 | 5.598 | 326.129 | 12.29 | 894 | 100 | 18.1253
2020-10-09 08:30:00 | 4.311 | 345.33 | 4.587 | 321.752 | 5.011 | 337.735 | 5.33 | 323.397 | 12.31 | 894 | 100 | 15.9947
2020-10-09 08:45:00 | 4.036 | 342.68 | 4.319 | 316.402 | 4.815 | 335.14 | 5.126 | 318.02 | 12.15 | 894 | 100 | 13.9253
2020-10-09 09:00:00 | 3.834 | 343.96 | 4.076 | 318.944 | 4.618 | 336.394 | 4.846 | 320.576 | 12.24 | 894 | 100 | 11.42
2020-10-09 09:15:00 | 3.932 | 347.96 | 4.218 | 313.9 | 4.534 | 340.304 | 4.896 | 315.504 | 12.36 | 894 | 100 | 11.9567
2020-10-09 09:30:00 | 3.806 | 333.58 | 4.088 | 311.708 | 4.402 | 326.242 | 4.768 | 313.3 | 12.32 | 894 | 99.84 | 10.0573
2020-10-09 09:45:00 | 3.914 | 345.18 | 4.17 | 326.044 | 4.546 | 337.586 | 4.85 | 327.712 | 12.46 | 894 | 99.3 | 10.3647
2020-10-09 10:00:00 | 4.148 | 343.72 | 4.438 | 326.026 | 4.554 | 336.158 | 4.988 | 327.692 | 12.56 | 894 | 98.68 | 11.4053
2020-10-09 10:15:00 | 3.892 | 356.52 | 4.14 | 334.066 | 4.552 | 348.678 | 4.828 | 335.774 | 12.62 | 894 | 98 | 9.2267
2020-10-09 10:30:00 | 3.682 | 350.32 | 3.92 | 327.336 | 4.41 | 342.612 | 4.648 | 329.012 | 12.68 | 894 | 98.08 | 6.5273
2020-10-09 10:45:00 | 3.682 | 350.32 | 3.92 | 327.336 | 4.41 | 342.612 | 4.648 | 329.012 | 12.68 | 894 | 98.08 | 6.5273
2020-10-09 11:00:00 | 3.682 | 350.32 | 3.92 | 327.336 | 4.41 | 342.612 | 4.648 | 329.012 | 12.68 | 894 | 98.08 | 6.5273
2020-10-09 11:15:00 | 2.018 | 195.58 | 1.986 | 321.0573 | 2.3213 | 191.2773 | 2.1733 | 322.698 | 13.48 | 894 | 93.54 | 0.81067
2020-10-09 11:30:00 | 2.018 | 195.58 | 1.986 | 321.0573 | 2.3213 | 191.2773 | 2.1733 | 322.698 | 13.48 | 894 | 93.54 | 0.81067
2020-10-09 11:45:00 | 2.018 | 195.58 | 1.986 | 321.0573 | 2.3213 | 191.2773 | 2.1733 | 322.698 | 13.48 | 894 | 93.54 | 0.81067
2020-10-09 12:00:00 | 1.1893 | 144.4067 | 1.3093 | 178.8507 | 1.3827 | 141.228 | 1.5533 | 179.766 | 15.6333 | 895 | 83.7733 | 0
2020-10-09 12:15:00 | 1.719 | 173.59 | 1.755 | 137.35 | 1.818 | 169.772 | 1.859 | 138.053 | 15.37 | 895 | 82.63 | 0
2020-10-09 12:30:00 | 1.719 | 173.59 | 1.755 | 137.35 | 1.818 | 169.772 | 1.859 | 138.053 | 15.37 | 895 | 82.63 | 0
2020-10-09 12:45:00 | 1.719 | 173.59 | 1.755 | 137.35 | 1.818 | 169.772 | 1.859 | 138.053 | 15.37 | 895 | 82.63 | 0
2020-10-09 13:00:00 | 0.667 | 214.24 | 0.666 | 148.088 | 0.806 | 209.526 | 0.764 | 148.844 | 15.23 | 894 | 91.32 | 0
2020-10-09 13:15:00 | 0.667 | 214.24 | 0.666 | 148.088 | 0.806 | 209.526 | 0.764 | 148.844 | 15.23 | 894 | 91.32 | 0
2020-10-09 13:30:00 | 0.667 | 214.24 | 0.666 | 148.088 | 0.806 | 209.526 | 0.764 | 148.844 | 15.23 | 894 | 91.32 | 0
2020-10-09 13:45:00 | 0.612 | 177.76 | 0.64133 | 157.8827 | 0.714 | 173.8487 | 0.74333 | 158.6887 | 15.52 | 893 | 90.54 | 0
2020-10-09 14:00:00 | 0.627 | 187.14 | 0.692 | 142.073 | 0.621 | 183.023 | 0.751 | 142.801 | 15.46 | 893 | 90.13 | 0
2020-10-09 14:15:00 | 0.674 | 169.28 | 0.7 | 166.504 | 0.847 | 165.556 | 0.842 | 167.356 | 15.6 | 893 | 90.62 | 0
2020-10-09 14:30:00 | 0.879 | 160.34 | 0.911 | 140.236 | 1.02 | 157.087 | 1.041 | 140.952 | 15.43 | 893 | 91.97 | 0
2020-10-09 14:45:00 | 0.956 | 157.27 | 0.969 | 130.866 | 1.09 | 151.971 | 1.092 | 131.535 | 15.38 | 892 | 91.31 | 0
2020-10-09 15:00:00 | 1.168 | 152.76 | 1.234 | 134.122 | 1.38 | 149.398 | 1.444 | 134.81 | 15.06 | 892 | 90.84 | 0
2020-10-09 15:15:00 | 1.232 | 138.98 | 1.3 | 127.57 | 1.484 | 135.922 | 1.544 | 128.222 | 15.14 | 892 | 89.66 | 0
2020-10-09 15:30:00 | 1.074 | 153.9 | 1.146 | 118.474 | 1.176 | 150.512 | 1.282 | 119.08 | 15.42 | 892 | 87.62 | 0
2020-10-09 15:45:00 | 1.155 | 134.05 | 1.2475 | 131.2225 | 1.405 | 131.1 | 1.5075 | 131.895 | 15.625 | 892 | 88.175 | 0
2020-10-09 16:00:00 | 1.155 | 134.05 | 1.2475 | 131.2225 | 1.405 | 131.1 | 1.5075 | 131.895 | 15.625 | 892 | 88.175 | 0
2020-10-09 16:15:00 | 1.155 | 134.05 | 1.2475 | 131.2225 | 1.405 | 131.1 | 1.5075 | 131.895 | 15.625 | 892 | 88.175 | 0
2020-10-09 16:30:00 | 1.67 | 188 | 1.798 | 183.768 | 1.864 | 183.866 | 2.052 | 184.706 | 15.14 | 891 | 91.5 | 0
2020-10-09 16:45:00 | 1.67 | 188 | 1.798 | 183.768 | 1.864 | 183.866 | 2.052 | 184.706 | 15.14 | 891 | 91.5 | 0
2020-10-09 17:00:00 | 1.53 | 206.98 | 1.596 | 185.488 | 1.334 | 202.426 | 1.522 | 186.434 | 15.14 | 891 | 91.62 | 0
2020-10-09 17:15:00 | 1.488 | 217.32 | 1.548 | 167.59 | 1.814 | 211.208 | 1.798 | 168.448 | 15.04 | 891 | 91.24 | 0
2020-10-09 17:30:00 | 1.824 | 215.58 | 1.882 | 174.14 | 2.074 | 210.838 | 2.112 | 175.034 | 14.88 | 891 | 92.96 | 0
2020-10-09 17:45:00 | 1.518 | 195.26 | 1.574 | 180.038 | 1.784 | 190.964 | 1.812 | 180.96 | 14.64 | 891 | 94.99 | 0
2020-10-09 18:00:00 | 1.518 | 195.26 | 1.574 | 180.038 | 1.784 | 190.964 | 1.812 | 180.96 | 14.64 | 891 | 94.99 | 0
2020-10-09 18:15:00 | 1.518 | 195.26 | 1.574 | 180.038 | 1.784 | 190.964 | 1.812 | 180.96 | 14.64 | 891 | 94.99 | 0
2020-10-09 18:30:00 | 1.648 | 146.54 | 1.724 | 155.07 | 1.806 | 143.314 | 1.906 | 155.862 | 14.3 | 890 | 97.38 | 0.23467
2020-10-09 18:45:00 | 1.648 | 146.54 | 1.724 | 155.07 | 1.806 | 143.314 | 1.906 | 155.862 | 14.3 | 890 | 97.38 | 0.23467
2020-10-09 19:00:00 | 1.648 | 146.54 | 1.724 | 155.07 | 1.806 | 143.314 | 1.906 | 155.862 | 14.3 | 890 | 97.38 | 0.23467
2020-10-09 19:15:00 | 1.608 | 161.1 | 1.672 | 141.692 | 1.734 | 157.558 | 1.818 | 142.418 | 14.1 | 890 | 99 | 0
2020-10-09 19:30:00 | 1.608 | 161.1 | 1.672 | 141.692 | 1.734 | 157.558 | 1.818 | 142.418 | 14.1 | 890 | 99 | 0
2020-10-09 19:45:00 | 1.67 | 145.2 | 1.682 | 160.844 | 1.838 | 142.006 | 1.812 | 161.664 | 14.1 | 891 | 99.1 | 0
2020-10-09 20:00:00 | 1.67 | 145.2 | 1.682 | 160.844 | 1.838 | 142.006 | 1.812 | 161.664 | 14.1 | 891 | 99.1 | 0
2020-10-09 20:15:00 | 1.814 | 154.58 | 1.921 | 119.199 | 1.933 | 151.178 | 2.102 | 119.809 | 13.96 | 891 | 99.92 | 0
2020-10-09 20:30:00 | 2.596 | 209.06 | 2.654 | 321.058 | 3.012 | 204.46 | 3.004 | 322.7 | 13.58 | 893 | 98.74 | 1.6467
2020-10-09 20:45:00 | 1.926 | 341.28 | 1.94 | 329.118 | 2.298 | 333.772 | 2.224 | 330.798 | 13.58 | 893 | 99.08 | 1.0607
2020-10-09 21:00:00 | 2.328 | 274.24 | 2.446 | 317.968 | 2.622 | 268.206 | 2.754 | 319.594 | 13.5 | 893 | 99.26 | 2.172
2020-10-09 21:15:00 | 2.328 | 274.24 | 2.446 | 317.968 | 2.622 | 268.206 | 2.754 | 319.594 | 13.5 | 893 | 99.26 | 2.172
2020-10-09 21:30:00 | 3.066 | 340.22 | 3.24 | 314.778 | 3.456 | 332.736 | 3.678 | 316.388 | 13.28 | 894 | 98.78 | 4.596
2020-10-09 21:45:00 | 3.354 | 333.26 | 3.52 | 322.446 | 3.744 | 325.93 | 3.946 | 324.096 | 13.3 | 894 | 98.52 | 7.4587
2020-10-09 22:00:00 | 3.354 | 333.26 | 3.52 | 322.446 | 3.744 | 325.93 | 3.946 | 324.096 | 13.3 | 894 | 98.52 | 7.4587
2020-10-09 22:15:00 | 3.354 | 333.26 | 3.52 | 322.446 | 3.744 | 325.93 | 3.946 | 324.096 | 13.3 | 894 | 98.52 | 7.4587
2020-10-09 22:30:00 | 4.34 | 335.46 | 4.652 | 327.688 | 5.018 | 328.08 | 5.408 | 329.362 | 13.14 | 894 | 97.78 | 14.1847
2020-10-09 22:45:00 | 4.302 | 341.56 | 4.564 | 329.274 | 4.758 | 334.046 | 5.126 | 330.956 | 13.04 | 894 | 97.56 | 12.1193
2020-10-09 23:00:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318
2020-10-09 23:15:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318
2020-10-09 23:30:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318
2020-10-09 23:45:00 | 4.602 | 345.1 | 4.834 | 329.526 | 5.008 | 337.506 | 5.332 | 331.21 | 13.1 | 894 | 97.96 | 13.318