## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-11 00:00:00 | 3.3573 | 121.4733 | 3.634 | 312.38 | 3.99 | 96.222 | 4.328 | 313.976 | 13.7933 | 889 | 100 | 5.8413
2020-10-11 00:15:00 | 3.472 | 41.18 | 3.776 | 321.166 | 3.988 | 40.273 | 4.415 | 322.809 | 13.7 | 889 | 100 | 7.384
2020-10-11 00:30:00 | 3.551 | 73.78 | 3.811 | 321.889 | 4.155 | 72.157 | 4.472 | 323.534 | 13.7 | 889 | 100 | 7.186
2020-10-11 00:45:00 | 3.342 | 187.9933 | 3.554 | 321.6247 | 3.9193 | 183.8567 | 4.154 | 323.2693 | 13.7467 | 889 | 100 | 7.0013
2020-10-11 01:00:00 | 4.16 | 347.85 | 4.344 | 317.206 | 4.76 | 340.197 | 4.935 | 318.828 | 13.66 | 888.3 | 100 | 12.3047
2020-10-11 01:15:00 | 4.784 | 343.12 | 5.046 | 328.8287 | 5.4153 | 335.57 | 5.73 | 330.5107 | 13.54 | 888 | 100 | 16.1653
2020-10-11 01:30:00 | 5.111 | 347.35 | 5.412 | 323.297 | 5.889 | 339.709 | 6.239 | 324.95 | 13.68 | 888 | 100 | 19.3233
2020-10-11 01:45:00 | 5.022 | 343.67 | 5.378 | 318.662 | 5.629 | 336.107 | 6.126 | 320.29 | 13.52 | 888 | 100 | 17.7427
2020-10-11 02:00:00 | 3.9947 | 167.3733 | 4.2427 | 326.5727 | 4.6913 | 163.8667 | 4.9587 | 328.466 | 13.56 | 888 | 100 | 10.7453
2020-10-11 02:15:00 | 3.4533 | 10.84 | 3.6307 | 322.8367 | 4.1187 | 10.602 | 4.2627 | 324.4887 | 13.6933 | 888 | 100 | 7.6253
2020-10-11 02:30:00 | 3.2207 | 148.54 | 3.322 | 319.6953 | 3.986 | 145.2727 | 3.9533 | 321.3293 | 13.9133 | 888 | 100 | 6.2033
2020-10-11 02:45:00 | 3.211 | 280.89 | 3.324 | 313.01 | 4.175 | 274.712 | 4.108 | 314.609 | 13.95 | 888 | 100 | 6.99
2020-10-11 03:00:00 | 3.1247 | 341.6467 | 3.3607 | 322.3427 | 4 | 334.1307 | 4.1927 | 323.9893 | 13.7867 | 888 | 100 | 6.4947
2020-10-11 03:15:00 | 3.547 | 334.82 | 3.789 | 321.468 | 4.303 | 325.733 | 4.549 | 323.112 | 13.55 | 888 | 100 | 8.3013
2020-10-11 03:30:00 | 4.044 | 350.59 | 4.421 | 332.499 | 4.697 | 342.877 | 5.223 | 334.201 | 13.59 | 888 | 100 | 11.5247
2020-10-11 03:45:00 | 4.3387 | 337.9067 | 4.724 | 325.4647 | 5.0247 | 330.4727 | 5.5613 | 327.1293 | 13.7267 | 888 | 100 | 13.1327
2020-10-11 04:00:00 | 4.06 | 336.74 | 4.3927 | 326.2347 | 4.6647 | 329.3973 | 5.1227 | 327.902 | 13.8 | 888 | 100 | 11.426
2020-10-11 04:15:00 | 4.368 | 337.23 | 4.694 | 326.916 | 4.891 | 329.812 | 5.359 | 328.588 | 13.59 | 888 | 100 | 13.1447
2020-10-11 04:30:00 | 4.064 | 339.52 | 4.362 | 327.688 | 4.518 | 332.052 | 4.95 | 329.362 | 13.5 | 888 | 100 | 12.0827
2020-10-11 04:45:00 | 4.141 | 335.73 | 4.383 | 325.704 | 4.71 | 328.343 | 5.003 | 327.369 | 13.49 | 888 | 100 | 11.118
2020-10-11 05:00:00 | 4.32 | 336.65 | 4.57 | 328.607 | 4.955 | 329.241 | 5.25 | 330.288 | 13.56 | 888 | 100 | 12.65
2020-10-11 05:15:00 | 4.917 | 339.15 | 5.269 | 325.556 | 5.553 | 331.688 | 6.036 | 327.221 | 13.71 | 888 | 100 | 18.5353
2020-10-11 05:30:00 | 5.283 | 343.11 | 5.608 | 329.176 | 6.07 | 335.561 | 6.454 | 330.857 | 13.53 | 888 | 100 | 24.688
2020-10-11 05:45:00 | 5.832 | 345.8733 | 6.2327 | 331.0807 | 6.5387 | 338.264 | 7.09 | 332.7713 | 13.5933 | 888 | 100 | 28.9787
2020-10-11 06:00:00 | 6.084 | 343.08 | 6.521 | 329.145 | 6.972 | 336.021 | 7.54 | 330.827 | 13.55 | 888 | 100 | 31.4187
2020-10-11 06:15:00 | 6.28 | 346.48 | 6.692 | 328.194 | 7.116 | 338.056 | 7.65 | 329.874 | 13.76 | 888 | 100 | 30.4393
2020-10-11 06:30:00 | 6.008 | 343.91 | 6.368 | 328.842 | 6.548 | 336.343 | 7.074 | 330.524 | 13.76 | 888 | 100 | 30.7867
2020-10-11 06:45:00 | 6.169 | 341.34 | 6.554 | 327.337 | 7.005 | 333.831 | 7.497 | 329.009 | 13.6 | 888 | 100 | 34.104
2020-10-11 07:00:00 | 6.1887 | 347.8533 | 6.656 | 327.3573 | 7.022 | 340.2007 | 7.6667 | 329.0293 | 13.4933 | 888 | 100 | 32.9007
2020-10-11 07:15:00 | 6.019 | 346.17 | 6.519 | 323.639 | 6.687 | 338.555 | 7.447 | 325.292 | 13.44 | 888 | 100 | 27.788
2020-10-11 07:30:00 | 6.139 | 348.83 | 6.595 | 323.16 | 6.685 | 341.156 | 7.39 | 324.814 | 13.58 | 888 | 100 | 28.4707
2020-10-11 07:45:00 | 6.128 | 347.16 | 6.59 | 323.776 | 6.746 | 339.522 | 7.444 | 325.432 | 13.56 | 888 | 100 | 29.6173
2020-10-11 08:00:00 | 5.732 | 348.12 | 6.119 | 328.842 | 6.216 | 340.46 | 6.811 | 330.524 | 13.6 | 888 | 100 | 26.74
2020-10-11 08:15:00 | 5.664 | 73.64 | 6.082 | 337.372 | 6.232 | 72.02 | 6.858 | 339.096 | 13.6 | 888 | 100 | 27.6193
2020-10-11 08:30:00 | 5.877 | 312.79 | 6.255 | 329.478 | 6.481 | 305.909 | 7.023 | 331.162 | 13.6 | 888 | 100 | 28.5413
2020-10-11 08:45:00 | 6.093 | 346.74 | 6.463 | 326.73 | 6.611 | 339.114 | 7.166 | 328.401 | 13.81 | 889 | 100 | 29.428
2020-10-11 09:00:00 | 5.384 | 327.7733 | 5.7693 | 321.162 | 5.9353 | 320.5627 | 6.508 | 322.804 | 13.9 | 889 | 100 | 23.4947
2020-10-11 09:15:00 | 4.42 | 339.23 | 4.586 | 316.97 | 5.056 | 332.003 | 5.193 | 318.591 | 13.86 | 889 | 100 | 16.6233
2020-10-11 09:30:00 | 4.924 | 347.18 | 5.132 | 320.45 | 5.298 | 339.544 | 5.586 | 322.088 | 14 | 889.4 | 100 | 20.9213
2020-10-11 09:45:00 | 5.526 | 338.48 | 5.904 | 322.389 | 5.9 | 331.033 | 6.514 | 324.036 | 14 | 890 | 100 | 26.1273
2020-10-11 10:00:00 | 5.32 | 336.38 | 5.7293 | 326.5593 | 5.862 | 328.9793 | 6.4853 | 328.23 | 14.2133 | 890 | 99.9067 | 25.1567
2020-10-11 10:15:00 | 5.41 | 340.22 | 5.767 | 325.469 | 5.887 | 299.131 | 6.429 | 327.133 | 14.4 | 890 | 99.8 | 26.128
2020-10-11 10:30:00 | 5.206 | 343.78 | 5.498 | 327.218 | 5.388 | 336.216 | 5.886 | 328.892 | 14.58 | 890 | 99.72 | 23.242
2020-10-11 10:45:00 | 4.674 | 341.22 | 4.95 | 321.663 | 4.603 | 333.712 | 5.146 | 323.308 | 14.67 | 890 | 99 | 17.178
2020-10-11 11:00:00 | 4.3586 | 320.8929 | 4.5743 | 328.6014 | 4.3507 | 313.8329 | 4.7664 | 330.2807 | 14.55 | 890 | 97.4571 | 15.2773
2020-10-11 11:15:00 | 4.333 | 347.91 | 4.565 | 326.731 | 4.436 | 339.278 | 4.842 | 328.402 | 14.75 | 890 | 96.68 | 15.0233
2020-10-11 11:30:00 | 4.477 | 337.62 | 4.715 | 323.736 | 4.645 | 330.193 | 5.049 | 325.393 | 15 | 890 | 94.58 | 14.7153
2020-10-11 11:45:00 | 4.0807 | 318.46 | 4.228 | 324.4607 | 4.2913 | 311.8453 | 4.506 | 326.12 | 15.2067 | 890.4667 | 93.2933 | 12.382
2020-10-11 12:00:00 | 4.487 | 343.17 | 4.794 | 323.914 | 4.858 | 335.621 | 5.335 | 325.57 | 15.55 | 891 | 91.39 | 15.9327
2020-10-11 12:15:00 | 4.2433 | 337.7533 | 4.4793 | 330.25 | 4.4667 | 330.322 | 4.852 | 331.94 | 15.82 | 891 | 89.74 | 13.166
2020-10-11 12:30:00 | 4.014 | 315.9067 | 4.2087 | 325.4993 | 4.3607 | 307.464 | 4.628 | 327.1627 | 15.9733 | 890.3333 | 87.3933 | 14.6907
2020-10-11 12:45:00 | 4.5067 | 336.3333 | 4.7367 | 289.2922 | 5.0956 | 328.9333 | 5.3656 | 290.7722 | 16.3556 | 890.8889 | 85.9 | 18.8033
2020-10-11 13:00:00 | 4.979 | 343.7 | 5.14 | 325.614 | 5.531 | 336.139 | 5.675 | 327.282 | 16.3 | 890 | 84.66 | 22.8433
2020-10-11 13:15:00 | 4.948 | 279.16 | 5.224 | 268.284 | 5.57 | 273.018 | 5.914 | 269.656 | 16.48 | 890 | 83.7 | 25.8427
2020-10-11 13:30:00 | 5.263 | 311.46 | 5.591 | 328.255 | 5.758 | 304.607 | 6.238 | 329.934 | 16.45 | 890 | 86.64 | 23.726
2020-10-11 13:45:00 | 4.644 | 276.11 | 5.015 | 294.711 | 5.185 | 270.038 | 5.732 | 296.219 | 16.61 | 890 | 87.18 | 24.6513
2020-10-11 14:00:00 | 4.8407 | 276.7933 | 5.1373 | 265.9307 | 5.4333 | 270.632 | 5.8187 | 267.2907 | 16.8467 | 889.8667 | 85.1333 | 26.8447
2020-10-11 14:15:00 | 5.419 | 111.73 | 5.781 | 308.775 | 6.127 | 109.272 | 6.608 | 310.352 | 17.01 | 889 | 84.98 | 35.8833
2020-10-11 14:30:00 | 5.419 | 111.73 | 5.781 | 308.775 | 6.127 | 109.272 | 6.608 | 310.352 | 17.01 | 889 | 84.98 | 35.8833
2020-10-11 14:45:00 | 5.56 | 209.2533 | 5.9587 | 291.2287 | 6.1533 | 204.6493 | 6.7393 | 292.718 | 17.4867 | 889 | 74.444 | 36.69
2020-10-11 15:00:00 | 5.702 | 281.22 | 6.073 | 307.638 | 6.46 | 274.25 | 6.941 | 309.213 | 17.36 | 889 | 76.997 | 37.5713
2020-10-11 15:15:00 | 5.462 | 175.1 | 5.841 | 267.014 | 6.106 | 171.249 | 6.641 | 268.379 | 17.45 | 889 | 74.766 | 33.248
2020-10-11 15:30:00 | 5.196 | 244.53 | 5.4222 | 261.7244 | 5.8433 | 227.07 | 6.0911 | 263.0622 | 17.38 | 889 | 77.402 | 32.4193
2020-10-11 15:45:00 | 5.247 | 211.36 | 5.578 | 268.891 | 5.983 | 206.709 | 6.401 | 270.265 | 17.86 | 889 | 75.073 | 35.6427
2020-10-11 16:00:00 | 5.37 | 271.1 | 5.759 | 261.057 | 5.992 | 265.136 | 6.547 | 262.391 | 18 | 889 | 71.964 | 36.5833
2020-10-11 16:15:00 | 4.77 | 209.82 | 5.01 | 336.824 | 5.584 | 205.204 | 5.808 | 338.548 | 17.8 | 889 | 68.44 | 34.7073
2020-10-11 16:30:00 | 5.495 | 204.48 | 5.822 | 203.395 | 6.333 | 199.981 | 6.712 | 204.436 | 17.76 | 889 | 76.078 | 36.7167
2020-10-11 16:45:00 | 5.732 | 214.85 | 5.97 | 265.791 | 6.43 | 210.122 | 6.679 | 267.15 | 17.5 | 889 | 79.322 | 38.0993
2020-10-11 17:00:00 | 5.6327 | 230.6133 | 5.974 | 290.8113 | 6.5527 | 225.5393 | 6.938 | 292.2973 | 17.36 | 889 | 82.2667 | 40.1987
2020-10-11 17:15:00 | 5.426 | 281.53 | 5.75 | 307.913 | 6.254 | 275.336 | 6.629 | 309.487 | 17.21 | 889 | 83.85 | 37.2487
2020-10-11 17:30:00 | 5.717 | 304.96 | 6.038 | 333.762 | 6.743 | 298.25 | 7.053 | 335.469 | 17.12 | 889 | 84.27 | 38.7867
2020-10-11 17:45:00 | 5.705 | 245.86 | 6.091 | 331.765 | 6.707 | 240.452 | 7.151 | 333.462 | 16.82 | 889 | 85.09 | 41.3753
2020-10-11 18:00:00 | 5.71 | 235.5533 | 6.136 | 308.872 | 6.6193 | 230.3713 | 7.1647 | 310.4513 | 16.8133 | 888.3333 | 85.5133 | 39.9867
2020-10-11 18:15:00 | 5.487 | 281.83 | 5.863 | 331.415 | 6.361 | 274.476 | 6.824 | 333.108 | 16.68 | 888.8 | 87.05 | 39.266
2020-10-11 18:30:00 | 5.5233 | 234.7889 | 5.8378 | 330.6844 | 6.5278 | 229.6244 | 6.8367 | 332.3744 | 16.6556 | 888 | 87.4778 | 39.082
2020-10-11 18:45:00 | 5.964 | 302.22 | 6.3133 | 332.1027 | 6.862 | 295.5707 | 7.2627 | 333.7993 | 16.6267 | 888 | 86.46 | 39.9353
2020-10-11 19:00:00 | 6.107 | 247.09 | 6.48 | 336.245 | 6.964 | 241.653 | 7.43 | 337.965 | 16.58 | 888 | 85.76 | 43.2553
2020-10-11 19:15:00 | 6.742 | 176.68 | 7.173 | 340.353 | 7.547 | 173.341 | 8.131 | 342.095 | 16.61 | 888 | 86.4 | 46.1747
2020-10-11 19:30:00 | 6.78 | 207.86 | 7.116 | 339.7 | 7.684 | 202.624 | 8.064 | 341.434 | 16.62 | 888 | 85.68 | 45.6613
2020-10-11 19:45:00 | 6.385 | 342.54 | 6.626 | 337.871 | 7.101 | 335.004 | 7.355 | 339.596 | 16.52 | 888 | 86.28 | 47.31
2020-10-11 20:00:00 | 6.218 | 278.02 | 6.578 | 334.496 | 7.018 | 271.902 | 7.462 | 336.206 | 16.48 | 888.4 | 88.54 | 48.3187
2020-10-11 20:15:00 | 5.991 | 339.81 | 6.372 | 329.379 | 6.466 | 332.336 | 7.052 | 331.064 | 16.34 | 889 | 82.64 | 45.396
2020-10-11 20:30:00 | 5.802 | 238.01 | 6.158 | 328.52 | 6.142 | 232.774 | 6.721 | 330.2 | 16.11 | 889 | 81.35 | 43.5253
2020-10-11 20:45:00 | 5.984 | 343.28 | 6.373 | 324.149 | 6.343 | 335.728 | 6.975 | 325.804 | 15.96 | 889 | 81.88 | 42.4887
2020-10-11 21:00:00 | 6.078 | 341.7 | 6.45 | 325.086 | 6.392 | 334.182 | 7.012 | 326.748 | 15.98 | 889.4 | 82.42 | 41.9993
2020-10-11 21:15:00 | 6.014 | 205.3 | 6.334 | 320.704 | 6.56 | 200.784 | 7.016 | 322.342 | 15.92 | 890 | 84.64 | 44.3613
2020-10-11 21:30:00 | 6.2827 | 341.7733 | 6.6793 | 322.61 | 6.64 | 334.1893 | 7.2873 | 324.2573 | 15.7933 | 890 | 83.86 | 46.9173
2020-10-11 21:45:00 | 6.057 | 345.57 | 6.411 | 325.721 | 6.382 | 335.62 | 6.956 | 327.388 | 15.75 | 890 | 83.44 | 45.958
2020-10-11 22:00:00 | 6.45 | 300.2467 | 6.7273 | 327.4207 | 7.1247 | 292.174 | 7.456 | 329.096 | 15.6333 | 890 | 83.66 | 48.1627
2020-10-11 22:15:00 | 6.168 | 310.04 | 6.4 | 326.721 | 6.81 | 303.218 | 7.061 | 328.391 | 15.65 | 890 | 83.76 | 45.3227
2020-10-11 22:30:00 | 5.82 | 238.7 | 6.149 | 298.035 | 6.548 | 233.448 | 6.965 | 299.559 | 15.56 | 890 | 81.66 | 43.1627
2020-10-11 22:45:00 | 6.475 | 312.98 | 6.899 | 332.843 | 7.275 | 306.095 | 7.85 | 334.544 | 15.52 | 890 | 81.1 | 48.0413
2020-10-11 23:00:00 | 6.998 | 322.4933 | 7.4753 | 333.9933 | 8.04 | 315.3987 | 8.6407 | 335.7007 | 15.3067 | 890 | 83.1133 | 49.2
2020-10-11 23:15:00 | 7.176 | 318.9867 | 7.63 | 329.8733 | 7.97 | 312.2427 | 8.606 | 331.5593 | 15.14 | 890 | 82.6267 | 51.414
2020-10-11 23:30:00 | 7.033 | 337.63 | 7.644 | 332.743 | 7.758 | 330.203 | 8.702 | 334.447 | 15.02 | 890 | 82.33 | 51.9207
2020-10-11 23:45:00 | 7.033 | 337.63 | 7.644 | 332.743 | 7.758 | 330.203 | 8.702 | 334.447 | 15.02 | 890 | 82.33 | 51.9207