## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-12 00:00:00 | 7.2687 | 338.98 | 7.8367 | 326.6593 | 7.9547 | 331.522 | 8.8333 | 328.3293 | 14.78 | 890 | 83.0733 | 50.8333
2020-10-12 00:15:00 | 6.902 | 341.03 | 7.374 | 323.474 | 7.538 | 333.528 | 8.248 | 325.127 | 14.69 | 890 | 82.85 | 48.942
2020-10-12 00:30:00 | 6.6627 | 321.6267 | 7.178 | 326.8533 | 7.5853 | 314.5493 | 8.2907 | 328.5247 | 14.5067 | 890 | 84.8533 | 46.1567
2020-10-12 00:45:00 | 6.505 | 344.36 | 7.042 | 328.069 | 7.291 | 336.784 | 8.077 | 329.747 | 14.39 | 890 | 85.29 | 44.6587
2020-10-12 01:00:00 | 6.59 | 299.32 | 7.035 | 322.758 | 7.272 | 292.735 | 7.917 | 324.408 | 14.41 | 890 | 85.89 | 43.5793
2020-10-12 01:15:00 | 6.6821 | 339.5857 | 7.1693 | 323.5293 | 7.4093 | 332.115 | 8.1279 | 325.1843 | 14.4071 | 890 | 85.4417 | 45.428
2020-10-12 01:30:00 | 6.956 | 334.93 | 7.504 | 324.089 | 7.449 | 327.563 | 8.35 | 325.748 | 14.42 | 890 | 86.23 | 47.8087
2020-10-12 01:45:00 | 7.302 | 339.28 | 7.7793 | 324.612 | 8.114 | 331.8153 | 8.7793 | 326.2707 | 14.1133 | 890 | 91.3467 | 50.548
2020-10-12 02:00:00 | 7.494 | 340.46 | 7.996 | 326.809 | 8.091 | 332.969 | 8.869 | 328.481 | 14.09 | 890 | 95.37 | 53.5207
2020-10-12 02:15:00 | 7.669 | 307.47 | 8.236 | 323.131 | 8.353 | 300.706 | 9.225 | 324.784 | 13.84 | 890 | 96.87 | 55.388
2020-10-12 02:30:00 | 8.013 | 336.73 | 8.653 | 326.515 | 8.83 | 329.323 | 9.802 | 328.185 | 13.67 | 890 | 97.4 | 54.98
2020-10-12 02:45:00 | 8.071 | 336.95 | 8.672 | 324.032 | 9.087 | 328.588 | 9.937 | 325.688 | 13.48 | 890 | 97.36 | 56.046
2020-10-12 03:00:00 | 8.1233 | 335.5867 | 8.7647 | 319.3827 | 8.958 | 328.2047 | 9.93 | 321.016 | 13.1733 | 890 | 96.78 | 55.4013
2020-10-12 03:15:00 | 8.346 | 334.44 | 8.948 | 323.491 | 8.976 | 327.082 | 9.928 | 325.147 | 13.07 | 890 | 97.46 | 54.024
2020-10-12 03:30:00 | 7.808 | 331.9 | 8.346 | 326.525 | 8.364 | 324.598 | 9.226 | 328.193 | 12.96 | 889.3 | 97.36 | 54.4667
2020-10-12 03:45:00 | 8.09 | 341.72 | 8.638 | 326.477 | 8.865 | 334.201 | 9.677 | 328.147 | 12.84 | 889 | 97.08 | 56.37
2020-10-12 04:00:00 | 8.388 | 335.1 | 8.976 | 322.876 | 8.992 | 327.728 | 9.928 | 324.528 | 12.66 | 889 | 96.76 | 58.758
2020-10-12 04:15:00 | 8.456 | 337.8 | 9.025 | 325.116 | 9.491 | 330.369 | 10.272 | 326.777 | 12.74 | 889 | 95.99 | 57.334
2020-10-12 04:30:00 | 8.195 | 309.47 | 8.745 | 328.589 | 9.002 | 302.661 | 9.817 | 330.268 | 12.67 | 889 | 95.76 | 56.282
2020-10-12 04:45:00 | 8.22 | 345.61 | 8.716 | 333.262 | 8.849 | 338.006 | 9.6 | 334.967 | 12.88 | 889 | 95.08 | 56.404
2020-10-12 05:00:00 | 8.151 | 341.96 | 8.707 | 329.41 | 8.49 | 334.436 | 9.448 | 331.095 | 12.88 | 889 | 94.94 | 56.2333
2020-10-12 05:15:00 | 8.426 | 339.46 | 8.988 | 332.208 | 8.88 | 331.992 | 9.812 | 333.906 | 12.9 | 889 | 94.7 | 54.8587
2020-10-12 05:30:00 | 7.308 | 346.58 | 7.786 | 328.02 | 7.646 | 338.956 | 8.456 | 329.698 | 12.88 | 889 | 94.08 | 53.7187
2020-10-12 05:45:00 | 7.683 | 346.16 | 8.268 | 325.605 | 8.203 | 338.544 | 9.165 | 327.271 | 12.74 | 889 | 93.77 | 56.256
2020-10-12 06:00:00 | 7.506 | 340.54 | 8.015 | 327.65 | 8.001 | 333.047 | 8.829 | 329.325 | 12.65 | 889 | 92.8 | 56.428
2020-10-12 06:15:00 | 8.059 | 342.21 | 8.586 | 325.205 | 8.756 | 334.682 | 9.557 | 326.866 | 12.68 | 889 | 92.42 | 55.2213
2020-10-12 06:30:00 | 8.234 | 344.04 | 8.732 | 323.542 | 9.216 | 336.472 | 9.88 | 325.198 | 12.84 | 889 | 91.84 | 55.5527
2020-10-12 06:45:00 | 8.404 | 339.48 | 8.993 | 325.224 | 9.17 | 332.01 | 10.063 | 326.887 | 12.76 | 889 | 92.48 | 57.24
2020-10-12 07:00:00 | 8.288 | 340.41 | 8.848 | 323.434 | 9.056 | 332.921 | 9.895 | 325.087 | 12.8 | 889 | 92.64 | 56.3187
2020-10-12 07:15:00 | 8.451 | 341.48 | 9.042 | 328.268 | 9.082 | 333.823 | 10.067 | 329.944 | 12.74 | 889 | 92.68 | 57.622
2020-10-12 07:30:00 | 8.2693 | 315.96 | 8.8007 | 327.474 | 8.9307 | 309.0107 | 9.7407 | 329.148 | 12.6467 | 889 | 92.72 | 56.8913
2020-10-12 07:45:00 | 8.1013 | 339.9533 | 8.6473 | 325.798 | 8.6867 | 332.474 | 9.5547 | 327.4633 | 12.6 | 889 | 92.4467 | 56.586
2020-10-12 08:00:00 | 8.052 | 342.51 | 8.581 | 323.903 | 8.723 | 334.976 | 9.536 | 325.56 | 12.6 | 889 | 92 | 56.4
2020-10-12 08:15:00 | 8.198 | 341.7 | 8.792 | 328.254 | 8.99 | 334.182 | 9.876 | 329.934 | 12.54 | 890 | 92.44 | 55.816
2020-10-12 08:30:00 | 7.923 | 339.62 | 8.484 | 326.613 | 8.695 | 332.148 | 9.541 | 328.283 | 12.41 | 890 | 91.86 | 54.0473
2020-10-12 08:45:00 | 7.98 | 337.02 | 8.558 | 328.237 | 8.777 | 329.604 | 9.644 | 329.914 | 12.37 | 890 | 91.74 | 54.9727
2020-10-12 09:00:00 | 7.8713 | 343.8867 | 8.4573 | 327.3373 | 8.556 | 336.32 | 9.472 | 329.01 | 12.3267 | 890 | 91.8267 | 54.1653
2020-10-12 09:15:00 | 7.726 | 339.34 | 8.298 | 332.071 | 8.52 | 332.159 | 9.402 | 333.767 | 12.31 | 890 | 91.15 | 52.2027
2020-10-12 09:30:00 | 7.306 | 342.14 | 7.864 | 322.613 | 8.001 | 334.614 | 8.862 | 324.263 | 12.44 | 890 | 91.46 | 51.004
2020-10-12 09:45:00 | 7.275 | 337.26 | 7.855 | 326.38 | 7.875 | 329.84 | 8.801 | 328.045 | 12.51 | 891 | 90.11 | 48.502
2020-10-12 10:00:00 | 7.193 | 343.8 | 7.729 | 326.349 | 7.891 | 336.236 | 8.71 | 328.018 | 12.5 | 891 | 90.34 | 47.0987
2020-10-12 10:15:00 | 7.184 | 306.79 | 7.759 | 324.255 | 7.958 | 300.042 | 8.819 | 325.914 | 12.37 | 891 | 90.64 | 48.74
2020-10-12 10:30:00 | 7.2653 | 340.5933 | 7.8507 | 323.4767 | 7.97 | 333.1007 | 8.8753 | 325.1313 | 12.26 | 891 | 90.8467 | 49.2113
2020-10-12 10:45:00 | 7.299 | 338.47 | 7.895 | 322.72 | 7.917 | 331.024 | 8.864 | 324.369 | 12.19 | 891 | 90.86 | 48.636
2020-10-12 11:00:00 | 7.188 | 337.13 | 7.711 | 324.394 | 7.873 | 329.851 | 8.683 | 326.052 | 12.1 | 891 | 91.31 | 47.3713
2020-10-12 11:15:00 | 7.039 | 336.5 | 7.559 | 326.3 | 7.735 | 328.939 | 8.526 | 327.969 | 12.01 | 891 | 91.68 | 46.724
2020-10-12 11:30:00 | 7.0173 | 334.0267 | 7.5147 | 321.1673 | 7.6967 | 326.6773 | 8.4407 | 322.8107 | 11.9933 | 891 | 91.2867 | 46.0553
2020-10-12 11:45:00 | 6.794 | 335.01 | 7.281 | 325.039 | 7.544 | 327.551 | 8.252 | 326.7 | 11.97 | 891 | 91.4 | 45.81
2020-10-12 12:00:00 | 6.888 | 336.4133 | 7.3893 | 322.0813 | 7.6273 | 328.9473 | 8.36 | 323.728 | 12.0467 | 890.2 | 91.2467 | 44.996
2020-10-12 12:15:00 | 6.786 | 341.29 | 7.302 | 326.545 | 7.297 | 333.781 | 8.125 | 328.213 | 12.01 | 890 | 90.97 | 43.6747
2020-10-12 12:30:00 | 6.9256 | 338.1222 | 7.4967 | 320.0467 | 7.5256 | 330.6844 | 8.4356 | 321.6822 | 11.9778 | 890 | 91.0333 | 44.6113
2020-10-12 12:45:00 | 6.987 | 338.24 | 7.534 | 325.831 | 7.645 | 330.799 | 8.493 | 327.496 | 11.94 | 890 | 91.3 | 44.2613
2020-10-12 13:00:00 | 7.206 | 337.55 | 7.719 | 320.05 | 7.838 | 330.123 | 8.631 | 321.688 | 11.93 | 890 | 91.33 | 44.158
2020-10-12 13:15:00 | 7.046 | 338.24 | 7.548 | 317.546 | 7.584 | 330.995 | 8.375 | 319.171 | 11.8 | 890 | 92.26 | 44.776
2020-10-12 13:30:00 | 7.078 | 338.28 | 7.5607 | 322.772 | 7.7287 | 330.8373 | 8.4567 | 324.422 | 11.9733 | 890 | 92.5067 | 43.7253
2020-10-12 13:45:00 | 6.604 | 337.19 | 7.172 | 325.518 | 7.333 | 329.772 | 8.198 | 327.181 | 12.02 | 889.8 | 91.83 | 42.2253
2020-10-12 14:00:00 | 6.706 | 339.27 | 7.22 | 321.156 | 7.377 | 331.807 | 8.16 | 322.798 | 12.03 | 889 | 91.45 | 41.0427
2020-10-12 14:15:00 | 6.464 | 341.5533 | 6.988 | 321.6453 | 7.132 | 334.0393 | 7.9307 | 323.2887 | 12.0067 | 889 | 91.54 | 39.932
2020-10-12 14:30:00 | 6.365 | 340.34 | 6.868 | 321.371 | 7.095 | 332.853 | 7.837 | 323.014 | 12.07 | 889 | 91.56 | 39.234
2020-10-12 14:45:00 | 6.364 | 336.8 | 6.881 | 323.709 | 6.945 | 329.391 | 7.756 | 325.361 | 12.1 | 888.8 | 91.08 | 39.38
2020-10-12 15:00:00 | 6.561 | 340.34 | 7.046 | 321.432 | 7.246 | 332.853 | 7.974 | 323.072 | 12.11 | 888 | 91.2 | 40.036
2020-10-12 15:15:00 | 6.433 | 341.59 | 6.988 | 323.825 | 7.148 | 334.231 | 8.009 | 325.481 | 12.2 | 888 | 91 | 39.6113
2020-10-12 15:30:00 | 6.5007 | 339.96 | 7.0407 | 322.9873 | 7.2813 | 332.4793 | 8.08 | 324.6393 | 12.32 | 888 | 90.66 | 40.2273
2020-10-12 15:45:00 | 6.275 | 342.22 | 6.706 | 329.047 | 7.046 | 335.19 | 7.648 | 330.73 | 12.41 | 888 | 90.8 | 40.2867
2020-10-12 16:00:00 | 6.041 | 345.31 | 6.47 | 324.022 | 6.796 | 337.712 | 7.393 | 325.677 | 12.3 | 888 | 91.83 | 36.8807
2020-10-12 16:15:00 | 5.829 | 335.86 | 6.257 | 327.952 | 6.33 | 329.224 | 7.011 | 329.628 | 12.23 | 888 | 92.07 | 35.542
2020-10-12 16:30:00 | 5.458 | 341.23 | 5.98 | 328.814 | 6.156 | 333 | 6.936 | 330.493 | 12.24 | 888 | 92.49 | 35.238
2020-10-12 16:45:00 | 6.1467 | 336.9867 | 6.6467 | 323.9313 | 6.848 | 329.5727 | 7.5933 | 325.5893 | 12.2 | 888 | 93.3067 | 33.8273
2020-10-12 17:00:00 | 6.148 | 340.34 | 6.646 | 320.715 | 6.846 | 332.854 | 7.581 | 322.355 | 12.19 | 888 | 93.65 | 33.2867
2020-10-12 17:15:00 | 6.233 | 342.6 | 6.683 | 320.344 | 6.89 | 335.062 | 7.557 | 321.98 | 12.11 | 887.8 | 94.09 | 33.5773
2020-10-12 17:30:00 | 6.275 | 337.4 | 6.785 | 323.923 | 7.002 | 329.977 | 7.762 | 325.579 | 12.06 | 887 | 94.7 | 34.978
2020-10-12 17:45:00 | 6.388 | 340.62 | 6.885 | 321.917 | 6.977 | 333.128 | 7.753 | 323.563 | 11.93 | 887 | 95.53 | 35.1893
2020-10-12 18:00:00 | 6.453 | 341.48 | 6.993 | 319.092 | 7.019 | 333.968 | 7.88 | 320.724 | 11.88 | 887 | 95.77 | 35.208
2020-10-12 18:15:00 | 6.539 | 335.98 | 7.045 | 321.918 | 7.177 | 328.588 | 7.955 | 323.565 | 11.97 | 887 | 95.54 | 34.0073
2020-10-12 18:30:00 | 6.5533 | 337.76 | 7.0847 | 317.8567 | 7.1427 | 330.14 | 7.978 | 319.4833 | 11.8333 | 887 | 95.6067 | 36.104
2020-10-12 18:45:00 | 6.623 | 338.18 | 7.129 | 322.27 | 7.144 | 330.739 | 7.953 | 323.918 | 11.7 | 887 | 96.21 | 37.9587
2020-10-12 19:00:00 | 6.707 | 342.63 | 7.216 | 320.305 | 7.396 | 335.093 | 8.166 | 321.944 | 11.61 | 887 | 97.47 | 38.272
2020-10-12 19:15:00 | 6.759 | 340.8 | 7.313 | 320.539 | 7.322 | 333.304 | 8.207 | 322.179 | 11.5 | 887 | 99.03 | 36.3627
2020-10-12 19:30:00 | 6.6093 | 340.1 | 7.15 | 320.888 | 7.326 | 332.6167 | 8.1367 | 322.5293 | 11.4 | 887 | 99.8733 | 36.7907
2020-10-12 19:45:00 | 6.7813 | 343.48 | 7.3327 | 322.55 | 7.492 | 335.9233 | 8.334 | 324.1993 | 11.4733 | 887 | 100 | 37.6193
2020-10-12 20:00:00 | 6.9293 | 342.48 | 7.4973 | 320.3793 | 7.7067 | 334.946 | 8.554 | 322.0167 | 11.36 | 887 | 100 | 38.4147
2020-10-12 20:15:00 | 6.705 | 346.2 | 7.289 | 319.963 | 7.419 | 338.582 | 8.323 | 321.598 | 11.34 | 887.2 | 100 | 36.6867
2020-10-12 20:30:00 | 6.4367 | 342.5733 | 7.026 | 320.464 | 7.2953 | 335.038 | 8.1653 | 322.1033 | 11.4867 | 888 | 100 | 36.574
2020-10-12 20:45:00 | 6.203 | 341.53 | 6.789 | 321.958 | 6.964 | 334.017 | 7.853 | 323.605 | 11.48 | 888 | 100 | 35.2947
2020-10-12 21:00:00 | 6.505 | 341.96 | 7.064 | 321.342 | 7.282 | 334.436 | 8.118 | 322.983 | 11.6 | 888 | 100 | 37.23
2020-10-12 21:15:00 | 6.634 | 343.79 | 7.19 | 323.659 | 7.269 | 336.227 | 8.141 | 325.313 | 11.56 | 888 | 100 | 38.3233
2020-10-12 21:30:00 | 6.53 | 341.58 | 7.029 | 323.944 | 7.247 | 334.066 | 7.983 | 325.598 | 11.6 | 888 | 100 | 39.5707
2020-10-12 21:45:00 | 6.583 | 335.96 | 7.155 | 320.842 | 7.314 | 328.569 | 8.191 | 322.482 | 11.6 | 888 | 100 | 37.6307
2020-10-12 22:00:00 | 6.331 | 341.99 | 6.899 | 324.763 | 7.1 | 334.466 | 7.953 | 326.424 | 11.67 | 888 | 100 | 35.9207
2020-10-12 22:15:00 | 6.225 | 337.58 | 6.782 | 318.74 | 6.9 | 330.154 | 7.758 | 320.368 | 11.68 | 888 | 100 | 35.932
2020-10-12 22:30:00 | 6.254 | 339.99 | 6.78 | 320.119 | 6.984 | 332.51 | 7.772 | 321.757 | 11.61 | 888 | 100 | 34.9387
2020-10-12 22:45:00 | 6.1187 | 337.96 | 6.6633 | 318.6253 | 6.7373 | 330.5247 | 7.588 | 320.256 | 11.62 | 888 | 100 | 35.6033
2020-10-12 23:00:00 | 6.21 | 338.1133 | 6.7867 | 317.1393 | 6.908 | 330.674 | 7.7973 | 318.762 | 11.64 | 888.8 | 100 | 36.3347
2020-10-12 23:15:00 | 6.425 | 334.83 | 6.986 | 322.584 | 7.123 | 327.462 | 7.984 | 324.232 | 11.67 | 889 | 100 | 37.9887
2020-10-12 23:30:00 | 6.461 | 339.71 | 7.029 | 321.097 | 7.167 | 332.236 | 8.038 | 322.738 | 11.7 | 889 | 100 | 37.8753
2020-10-12 23:45:00 | 6.506 | 341.74 | 7.04 | 323.972 | 7.052 | 334.222 | 7.91 | 325.628 | 11.74 | 889 | 100 | 38.622