## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-13 00:00:00 | 6.475 | 341.1 | 6.994 | 321.625 | 6.979 | 333.596 | 7.815 | 323.27 | 11.7 | 888.3 | 100 | 37.7867
2020-10-13 00:15:00 | 6.372 | 337.1667 | 6.8847 | 322.3813 | 6.9553 | 329.7493 | 7.76 | 324.0313 | 11.7067 | 888.5333 | 100 | 37.4713
2020-10-13 00:30:00 | 6.568 | 338.43 | 7.09 | 322.983 | 7.151 | 330.986 | 7.97 | 324.635 | 11.69 | 888.7 | 100 | 39.9333
2020-10-13 00:45:00 | 6.747 | 341.3 | 7.298 | 321.87 | 7.416 | 333.791 | 8.268 | 323.515 | 11.69 | 888 | 100 | 40.6427
2020-10-13 01:00:00 | 6.818 | 338.22 | 7.341 | 323.238 | 7.399 | 330.779 | 8.222 | 324.891 | 11.72 | 888 | 100 | 41.756
2020-10-13 01:15:00 | 6.87 | 339.28 | 7.3793 | 326.8933 | 7.4273 | 331.816 | 8.2327 | 328.566 | 11.68 | 888 | 100 | 41.8633
2020-10-13 01:30:00 | 6.983 | 339.04 | 7.514 | 325.147 | 7.555 | 331.58 | 8.395 | 326.809 | 11.7 | 888 | 100 | 42.5187
2020-10-13 01:45:00 | 6.905 | 338.86 | 7.434 | 321.341 | 7.582 | 330.984 | 8.392 | 322.984 | 11.73 | 888 | 100 | 42.872
2020-10-13 02:00:00 | 7.004 | 340.88 | 7.55 | 325.811 | 7.609 | 333.381 | 8.461 | 327.478 | 11.67 | 888 | 100 | 43.5973
2020-10-13 02:15:00 | 7.176 | 339.59 | 7.706 | 323.887 | 7.879 | 332.121 | 8.681 | 325.54 | 11.68 | 888 | 100 | 46.4887
2020-10-13 02:30:00 | 7.028 | 340.21 | 7.552 | 326.759 | 7.729 | 332.726 | 8.523 | 328.429 | 11.6 | 888 | 100 | 47.6407
2020-10-13 02:45:00 | 7.1867 | 340.6133 | 7.7293 | 327.0247 | 7.7593 | 333.1193 | 8.6187 | 328.6953 | 11.5933 | 888 | 100 | 47.5513
2020-10-13 03:00:00 | 7.318 | 337.78 | 7.858 | 322.397 | 8.016 | 330.348 | 8.83 | 324.046 | 11.6 | 888 | 100 | 48.3687
2020-10-13 03:15:00 | 7.326 | 341.3267 | 7.9067 | 324.5727 | 7.8593 | 332.9773 | 8.8147 | 326.23 | 11.6 | 888 | 100 | 48.8873
2020-10-13 03:30:00 | 7.606 | 340.5 | 8.1713 | 327.6293 | 8.2407 | 333.0093 | 9.1293 | 329.3053 | 11.5933 | 888 | 100 | 50.0793
2020-10-13 03:45:00 | 7.5727 | 343.12 | 8.102 | 328.498 | 8.4773 | 335.572 | 9.2213 | 330.176 | 11.6333 | 888 | 100 | 49.0067
2020-10-13 04:00:00 | 7.811 | 345.98 | 8.432 | 329.245 | 8.556 | 338.369 | 9.511 | 330.928 | 11.61 | 888 | 100 | 49.312
2020-10-13 04:15:00 | 7.621 | 343.15 | 8.183 | 325.106 | 8.381 | 335.602 | 9.236 | 326.769 | 11.61 | 888 | 100 | 49.3873
2020-10-13 04:30:00 | 7.464 | 341.6933 | 8.0293 | 326.704 | 8.114 | 334.1753 | 8.9933 | 328.3747 | 11.5267 | 888 | 100 | 48.252
2020-10-13 04:45:00 | 7.713 | 340.13 | 8.306 | 326.32 | 8.431 | 332.647 | 9.351 | 327.986 | 11.56 | 888 | 100 | 50.488
2020-10-13 05:00:00 | 7.611 | 341.74 | 8.161 | 328.333 | 8.308 | 334.221 | 9.154 | 330.013 | 11.54 | 888 | 100 | 51.7207
2020-10-13 05:15:00 | 7.708 | 341.36 | 8.287 | 325.489 | 8.304 | 333.85 | 9.223 | 327.152 | 11.55 | 888 | 100 | 51.8113
2020-10-13 05:30:00 | 7.4473 | 338.8467 | 8.0333 | 325.798 | 8.0253 | 331.5093 | 8.9593 | 327.4647 | 11.6267 | 888 | 100 | 51.9233
2020-10-13 05:45:00 | 7.562 | 337.5667 | 8.1093 | 325.804 | 8.1433 | 331.4313 | 9.042 | 327.4713 | 11.6333 | 888 | 100 | 52.322
2020-10-13 06:00:00 | 7.636 | 342.16 | 8.2133 | 326.6533 | 8.2533 | 334.6307 | 9.1693 | 328.322 | 11.5733 | 888 | 100 | 53.1647
2020-10-13 06:15:00 | 7.5313 | 338.44 | 8.1273 | 327.376 | 8.126 | 330.864 | 9.0927 | 329.0493 | 11.5667 | 888 | 100 | 53.24
2020-10-13 06:30:00 | 7.8807 | 341.8333 | 8.4807 | 323.8107 | 8.5193 | 334.3133 | 9.4807 | 325.4647 | 11.5667 | 888.1333 | 100 | 53.8453
2020-10-13 06:45:00 | 7.512 | 340.36 | 8.141 | 323.962 | 8.189 | 332.872 | 9.19 | 325.619 | 11.62 | 889 | 100 | 53.984
2020-10-13 07:00:00 | 7.8133 | 342.72 | 8.4887 | 328.53 | 8.4747 | 335.1813 | 9.5633 | 330.2087 | 11.5533 | 889 | 100 | 55.1727
2020-10-13 07:15:00 | 8.0287 | 341.38 | 8.684 | 327.0953 | 8.692 | 333.8693 | 9.7467 | 328.768 | 11.5 | 889 | 100 | 55.6873
2020-10-13 07:30:00 | 8.081 | 341.82 | 8.732 | 327.14 | 8.639 | 334.298 | 9.716 | 328.813 | 11.55 | 889 | 100 | 56.494
2020-10-13 07:45:00 | 8.093 | 342.84 | 8.736 | 330.574 | 8.775 | 335.299 | 9.799 | 332.263 | 11.55 | 889 | 100 | 56.002
2020-10-13 08:00:00 | 8.018 | 345.28 | 8.647 | 325.301 | 8.675 | 337.684 | 9.675 | 326.965 | 11.56 | 889 | 100 | 57.6213
2020-10-13 08:15:00 | 8.065 | 342.81 | 8.694 | 331.444 | 8.666 | 335.269 | 9.686 | 333.138 | 11.53 | 889 | 100 | 57.8787
2020-10-13 08:30:00 | 8.255 | 347.71 | 8.871 | 335.129 | 8.808 | 340.059 | 9.821 | 336.845 | 11.55 | 889 | 100 | 57.4547
2020-10-13 08:45:00 | 8.008 | 341.43 | 8.607 | 332.548 | 8.605 | 333.918 | 9.572 | 334.25 | 11.61 | 889.2 | 100 | 57.7893
2020-10-13 09:00:00 | 7.624 | 341.0333 | 8.1547 | 331.6387 | 8.068 | 333.5307 | 8.9507 | 333.3353 | 11.5467 | 890 | 100 | 55.5733
2020-10-13 09:15:00 | 7.7307 | 323.3067 | 8.2267 | 331.372 | 8.156 | 316.4553 | 9.0133 | 333.0673 | 11.4867 | 890 | 100 | 53.5873
2020-10-13 09:30:00 | 7.456 | 343.9267 | 7.9027 | 328.7967 | 7.9813 | 336.3613 | 8.6767 | 330.4793 | 11.4733 | 890 | 100 | 50.592
2020-10-13 09:45:00 | 7.356 | 339.79 | 7.788 | 327.708 | 7.958 | 332.314 | 8.601 | 329.385 | 11.57 | 890 | 100 | 50.0593
2020-10-13 10:00:00 | 7.368 | 343.6 | 7.777 | 329.547 | 7.634 | 336.04 | 8.329 | 331.232 | 11.61 | 890 | 100 | 49.5407
2020-10-13 10:15:00 | 7.688 | 308.91 | 8.192 | 322.496 | 8.167 | 302.114 | 8.984 | 324.145 | 11.75 | 890 | 100 | 54.17
2020-10-13 10:30:00 | 7.662 | 340.96 | 8.229 | 323.209 | 8.255 | 333.459 | 9.163 | 324.863 | 12.03 | 890 | 100 | 52.0667
2020-10-13 10:45:00 | 7.654 | 343.01 | 8.225 | 330.202 | 8.067 | 335.464 | 9.031 | 331.891 | 12.1 | 890 | 100 | 52.2347
2020-10-13 11:00:00 | 7.799 | 344.03 | 8.394 | 330.163 | 8.372 | 336.462 | 9.333 | 331.852 | 12.1 | 890 | 100 | 51.3553
2020-10-13 11:15:00 | 7.334 | 344.3 | 7.938 | 325.946 | 7.966 | 335.354 | 8.956 | 327.614 | 12.1 | 890 | 100 | 49.7907
2020-10-13 11:30:00 | 7.254 | 344.1867 | 7.8393 | 331.0667 | 7.9453 | 336.616 | 8.862 | 332.7587 | 11.9067 | 890 | 100 | 48.436
2020-10-13 11:45:00 | 7.314 | 343.31 | 7.863 | 327.053 | 8.118 | 335.444 | 8.932 | 328.725 | 11.81 | 890 | 100 | 47.51
2020-10-13 12:00:00 | 7.232 | 337.89 | 7.753 | 325.557 | 7.92 | 330.456 | 8.705 | 327.222 | 11.88 | 890 | 100 | 46.8953
2020-10-13 12:15:00 | 7.184 | 338.13 | 7.693 | 324.479 | 7.824 | 330.69 | 8.603 | 326.139 | 11.97 | 890 | 100 | 47.0847
2020-10-13 12:30:00 | 7.281 | 337.79 | 7.772 | 322.828 | 7.96 | 330.357 | 8.697 | 324.479 | 12.01 | 890 | 100 | 46.8333
2020-10-13 12:45:00 | 7.195 | 334.38 | 7.708 | 324.97 | 7.892 | 327.024 | 8.665 | 326.63 | 11.97 | 890 | 100 | 48.138
2020-10-13 13:00:00 | 6.984 | 337.06 | 7.534 | 327.689 | 7.476 | 329.644 | 8.38 | 329.366 | 11.95 | 889.3 | 100 | 48.3347
2020-10-13 13:15:00 | 7.1527 | 338.22 | 7.6947 | 328.0153 | 7.7453 | 330.7793 | 8.6013 | 329.6927 | 11.9733 | 889 | 100 | 50.198
2020-10-13 13:30:00 | 7.23 | 340.18 | 7.782 | 325.422 | 7.702 | 332.694 | 8.62 | 327.084 | 11.91 | 889 | 100 | 49.1247
2020-10-13 13:45:00 | 7.269 | 344.72 | 7.78 | 327.053 | 7.983 | 337.136 | 8.748 | 328.725 | 11.96 | 889 | 100 | 47.5247
2020-10-13 14:00:00 | 7.0733 | 341.5267 | 7.562 | 329.3453 | 7.7753 | 334.0127 | 8.4973 | 331.0293 | 11.98 | 888.8667 | 100 | 48.1887
2020-10-13 14:15:00 | 7.032 | 345.44 | 7.574 | 324.354 | 7.837 | 337.84 | 8.63 | 326.013 | 12.01 | 888 | 100 | 49.3213
2020-10-13 14:30:00 | 6.906 | 340.32 | 7.5133 | 309.544 | 7.646 | 332.8333 | 8.582 | 311.1273 | 12.04 | 888 | 100 | 49.928
2020-10-13 14:45:00 | 7.2673 | 340.2933 | 7.954 | 330.4327 | 7.93 | 332.8073 | 9.0327 | 332.1233 | 11.9733 | 888 | 100 | 50.6233
2020-10-13 15:00:00 | 7.266 | 341.28 | 7.907 | 326.925 | 7.983 | 333.772 | 8.988 | 328.598 | 12 | 888 | 100 | 51.8613
2020-10-13 15:15:00 | 7.574 | 346.92 | 8.278 | 321.39 | 8.172 | 339.288 | 9.324 | 323.032 | 11.96 | 888 | 100 | 51.928
2020-10-13 15:30:00 | 7.851 | 343.11 | 8.53 | 325.206 | 8.631 | 336.481 | 9.656 | 326.868 | 11.87 | 888 | 100 | 52.7093
2020-10-13 15:45:00 | 7.692 | 337.69 | 8.412 | 325.176 | 8.576 | 330.262 | 9.684 | 326.839 | 11.84 | 888 | 100 | 51.8613
2020-10-13 16:00:00 | 7.762 | 341.45 | 8.408 | 327.679 | 8.598 | 334.524 | 9.606 | 329.354 | 11.78 | 888 | 100 | 51.9907
2020-10-13 16:15:00 | 8.0693 | 341.8067 | 8.6747 | 326.1567 | 8.8767 | 334.7313 | 9.8147 | 327.8247 | 11.62 | 887.5333 | 100 | 51.7007
2020-10-13 16:30:00 | 8.352 | 341.97 | 9.028 | 329.898 | 9.24 | 334.446 | 10.268 | 331.586 | 11.53 | 887 | 100 | 53.7953
2020-10-13 16:45:00 | 8.259 | 341.63 | 8.969 | 332.188 | 9.089 | 334.116 | 10.189 | 333.887 | 11.48 | 887 | 100 | 52.9127
2020-10-13 17:00:00 | 8.082 | 344.03 | 8.789 | 325.87 | 8.979 | 336.461 | 10.06 | 327.537 | 11.53 | 887 | 100 | 52.904
2020-10-13 17:15:00 | 8.319 | 342.97 | 9.005 | 330.074 | 9.119 | 335.426 | 10.189 | 331.764 | 11.49 | 887.2 | 100 | 53.614
2020-10-13 17:30:00 | 8.32 | 339.11 | 9.007 | 327.894 | 9.293 | 331.649 | 10.316 | 329.571 | 11.53 | 888 | 100 | 54.0033
2020-10-13 17:45:00 | 8.522 | 341.56 | 9.203 | 326.271 | 9.464 | 334.721 | 10.461 | 327.939 | 11.44 | 887 | 100 | 54.172
2020-10-13 18:00:00 | 7.975 | 339.74 | 8.603 | 327.258 | 8.919 | 332.265 | 9.841 | 328.931 | 11.41 | 887.7 | 100 | 52.694
2020-10-13 18:15:00 | 8.078 | 340.78 | 8.704 | 328.911 | 8.924 | 333.283 | 9.862 | 330.592 | 11.43 | 888 | 100 | 51.932
2020-10-13 18:30:00 | 7.937 | 338.36 | 8.627 | 295.101 | 8.973 | 330.915 | 9.983 | 296.61 | 10.26 | 888 | 100 | 53.654
2020-10-13 18:45:00 | 8.0147 | 339.5933 | 8.6953 | 302.6587 | 8.9853 | 332.122 | 9.996 | 304.2053 | 10.7067 | 888 | 100 | 54.122
2020-10-13 19:00:00 | 8.0553 | 339.2867 | 8.74 | 300.7407 | 9.0307 | 331.8213 | 10.048 | 302.2787 | 10.66 | 888 | 100 | 54.188
2020-10-13 19:15:00 | 7.579 | 340.8 | 8.333 | 263.092 | 8.629 | 333.302 | 9.753 | 264.437 | 9.19 | 888 | 100 | 54.164
2020-10-13 19:30:00 | 6.037 | 338.16 | 6.944 | 162.934 | 7.368 | 330.721 | 8.695 | 163.767 | 5.75 | 888 | 100 | 52.9967
2020-10-13 19:45:00 | 4.2813 | 337.2067 | 5.514 | 0 | 6.204 | 329.788 | 7.9747 | 0 | 0 | 888.4667 | 100 | 52.8107
2020-10-13 20:00:00 | 4.266 | 337.0067 | 5.5067 | 0 | 6.1127 | 329.5933 | 7.9167 | 0 | 0 | 889 | 100 | 53.5787
2020-10-13 20:15:00 | 4.393 | 336.87 | 5.661 | 0 | 6.354 | 329.459 | 8.178 | 0 | 0 | 889 | 100 | 53.4493
2020-10-13 20:30:00 | 4.1993 | 336.6643 | 5.43 | 0 | 5.9707 | 329.2579 | 7.7764 | 0 | 0 | 889.7857 | 100 | 53.17
2020-10-13 20:45:00 | 4.111 | 338.59 | 5.286 | 0 | 6.001 | 331.14 | 7.671 | 0 | 0 | 890 | 100 | 54.0467
2020-10-13 21:00:00 | 4.31 | 335.9143 | 5.5621 | 0 | 6.1714 | 328.5243 | 7.995 | 0 | 0 | 890 | 100 | 55.516
2020-10-13 21:15:00 | 4.346 | 337 | 5.624 | 0 | 6.152 | 330.056 | 8.038 | 0 | 0 | 890 | 100 | 56.3847
2020-10-13 21:30:00 | 4.558 | 336.44 | 5.881 | 0 | 6.567 | 329.039 | 8.477 | 0 | 0 | 890 | 100 | 56.4193
2020-10-13 21:45:00 | 4.562 | 338.44 | 5.856 | 0 | 6.736 | 330.995 | 8.545 | 0 | 0 | 890 | 100 | 56.6573
2020-10-13 22:00:00 | 4.379 | 335.89 | 5.63 | 0 | 6.396 | 328.499 | 8.174 | 0 | 0 | 890.7 | 100 | 57.046
2020-10-13 22:15:00 | 4.399 | 336.47 | 5.658 | 0 | 6.421 | 329.068 | 8.212 | 0 | 0 | 891 | 100 | 56.2487
2020-10-13 22:30:00 | 4.432 | 333.07 | 5.702 | 0 | 6.457 | 325.743 | 8.268 | 0 | 0 | 891 | 100 | 56.712
2020-10-13 22:45:00 | 4.3287 | 337.9267 | 5.592 | 0 | 6.1773 | 330.4927 | 8.0253 | 0 | 0 | 891 | 100 | 57.3467
2020-10-13 23:00:00 | 4.442 | 338.16 | 5.708 | 0 | 6.518 | 330.721 | 8.306 | 0 | 0 | 891 | 100 | 58.2213
2020-10-13 23:15:00 | 4.5293 | 338.7 | 5.8227 | 0 | 6.6367 | 331.2493 | 8.466 | 0 | 0 | 891 | 100 | 59.2207
2020-10-13 23:30:00 | 4.6587 | 340.1733 | 5.9787 | 0 | 6.8853 | 332.6893 | 8.728 | 0 | 0 | 891 | 100 | 59.2513
2020-10-13 23:45:00 | 4.755 | 338.48 | 6.121 | 0 | 6.92 | 331.034 | 8.869 | 0 | 0 | 891 | 100 | 59.3953