## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-15 00:00:00 | 8.431 | 333.9 | 9.039 | 324.07 | 9.057 | 326.554 | 10.029 | 325.727 | 9.33 | 893 | 99.81 | 58.61
2020-10-15 00:15:00 | 8.664 | 332.08 | 9.286 | 319.884 | 9.584 | 324.774 | 10.498 | 321.518 | 9.12 | 893 | 100 | 58.598
2020-10-15 00:30:00 | 8.778 | 336.28 | 9.459 | 323.328 | 9.434 | 328.883 | 10.521 | 324.98 | 8.96 | 893 | 100 | 59.596
2020-10-15 00:45:00 | 8.778 | 336.28 | 9.459 | 323.328 | 9.434 | 328.883 | 10.521 | 324.98 | 8.96 | 893 | 100 | 59.596
2020-10-15 01:00:00 | 9.114 | 336.38 | 9.864 | 321.602 | 9.982 | 328.982 | 11.142 | 323.25 | 8.72 | 893 | 100 | 60.7993
2020-10-15 01:15:00 | 8.783 | 338.41 | 9.571 | 326.416 | 9.498 | 330.966 | 10.792 | 328.084 | 8.65 | 893 | 100 | 60.726
2020-10-15 01:30:00 | 8.826 | 337.0333 | 9.64 | 332.624 | 9.8373 | 329.6193 | 11.086 | 334.3253 | 8.5733 | 892.8667 | 100 | 61.3473
2020-10-15 01:45:00 | 8.78 | 339.32 | 9.59 | 333.832 | 9.446 | 331.699 | 10.787 | 335.537 | 8.52 | 892 | 100 | 62.4267
2020-10-15 02:00:00 | 9.248 | 335.76 | 10.056 | 327.318 | 10.04 | 328.372 | 11.344 | 328.99 | 8.54 | 892 | 100 | 62.0973
2020-10-15 02:15:00 | 9.251 | 341.22 | 10.058 | 330.905 | 10.054 | 333.714 | 11.359 | 332.597 | 8.49 | 892 | 100 | 61.76
2020-10-15 02:30:00 | 9.438 | 340.48 | 10.246 | 331.036 | 10.224 | 332.99 | 11.518 | 332.726 | 8.46 | 892 | 100 | 61.844
2020-10-15 02:45:00 | 9.11 | 343.64 | 9.914 | 327.12 | 10.194 | 336.08 | 11.41 | 328.794 | 8.42 | 892 | 100 | 61.492
2020-10-15 03:00:00 | 9.14 | 338.54 | 9.927 | 327.786 | 10.026 | 330.838 | 11.26 | 329.463 | 8.45 | 892 | 100 | 61.1027
2020-10-15 03:15:00 | 9.1229 | 338.9214 | 9.8136 | 327.9379 | 9.8786 | 331.465 | 10.9664 | 329.6143 | 8.4714 | 892 | 100 | 60.894
2020-10-15 03:30:00 | 8.962 | 336.3 | 9.597 | 328.843 | 9.81 | 328.901 | 10.771 | 330.523 | 8.42 | 892 | 100 | 60.5433
2020-10-15 03:45:00 | 8.688 | 340.46 | 9.32 | 326.896 | 9.358 | 332.97 | 10.363 | 328.568 | 8.3 | 892 | 100 | 61.522
2020-10-15 04:00:00 | 8.905 | 342.29 | 9.574 | 328.774 | 9.365 | 334.76 | 10.502 | 330.456 | 8.31 | 891.3 | 100 | 61.8847
2020-10-15 04:15:00 | 9.128 | 343.28 | 9.82 | 328.668 | 10.004 | 335.726 | 11.062 | 330.348 | 8.24 | 891 | 100 | 61.52
2020-10-15 04:30:00 | 9.376 | 342.89 | 10.125 | 330.047 | 10.134 | 335.21 | 11.3 | 331.733 | 8.24 | 891 | 100 | 61.8913
2020-10-15 04:45:00 | 9.227 | 337.25 | 9.995 | 330.827 | 9.976 | 329.831 | 11.216 | 332.52 | 8.32 | 891 | 100 | 62.2207
2020-10-15 05:00:00 | 8.904 | 340.52 | 9.518 | 332.444 | 9.998 | 331.288 | 10.864 | 334.142 | 8.3 | 891 | 100 | 62.2333
2020-10-15 05:15:00 | 8.804 | 319.1933 | 9.4933 | 308.9573 | 9.9467 | 312.17 | 10.9207 | 310.5353 | 8.28 | 891 | 100 | 62.3707
2020-10-15 05:30:00 | 9.024 | 340.86 | 9.688 | 331.984 | 9.998 | 334.505 | 10.956 | 333.679 | 8.27 | 891 | 100 | 62.3287
2020-10-15 05:45:00 | 8.858 | 337.97 | 9.631 | 329.244 | 9.824 | 330.535 | 11.011 | 330.927 | 8.31 | 891 | 100 | 62.364
2020-10-15 06:00:00 | 9.2487 | 341.0867 | 9.9453 | 324.6307 | 9.9427 | 333.394 | 11.0633 | 326.2907 | 8.3533 | 891 | 100 | 62.9453
2020-10-15 06:15:00 | 9.356 | 340.48 | 10.1293 | 329.0307 | 10.1473 | 333.4833 | 11.396 | 330.714 | 8.3133 | 891.4667 | 100 | 63.05
2020-10-15 06:30:00 | 9.632 | 342.56 | 10.366 | 328.552 | 10.454 | 335.022 | 11.61 | 330.232 | 8.2 | 892 | 100 | 63.2173
2020-10-15 06:45:00 | 9.872 | 338.64 | 10.54 | 323.698 | 10.658 | 331.192 | 11.698 | 325.354 | 8.26 | 892 | 100 | 63.3813
2020-10-15 07:00:00 | 9.482 | 342.58 | 10.25 | 320.744 | 10.04 | 335.042 | 11.34 | 322.386 | 8.26 | 892 | 100 | 63.1847
2020-10-15 07:15:00 | 9.602 | 344.62 | 10.354 | 332.03 | 10.534 | 337.038 | 11.692 | 333.728 | 8.2 | 892 | 100 | 62.4447
2020-10-15 07:30:00 | 9.204 | 342.04 | 9.943 | 326.817 | 9.927 | 334.515 | 11.118 | 328.489 | 8.24 | 892 | 100 | 61.67
2020-10-15 07:45:00 | 9.49 | 340.02 | 10.348 | 329.234 | 10.346 | 332.54 | 11.726 | 330.917 | 8.23 | 892 | 100 | 61.528
2020-10-15 08:00:00 | 9.514 | 341.01 | 10.23 | 326.642 | 10.312 | 333.507 | 11.439 | 328.314 | 8.22 | 892 | 100 | 60.9573
2020-10-15 08:15:00 | 9.126 | 339.18 | 9.788 | 326.572 | 10.008 | 331.716 | 11.012 | 328.244 | 8.24 | 892 | 100 | 60.298
2020-10-15 08:30:00 | 8.978 | 345.94 | 9.664 | 324.502 | 9.794 | 338.328 | 10.858 | 326.158 | 8.28 | 892 | 100 | 60.642
2020-10-15 08:45:00 | 8.846 | 345.57 | 9.504 | 329.068 | 9.6 | 337.967 | 10.639 | 330.75 | 8.3 | 892 | 100 | 59.7233
2020-10-15 09:00:00 | 8.997 | 339.31 | 9.673 | 324.081 | 9.924 | 331.845 | 10.939 | 325.737 | 8.34 | 892 | 100 | 59.272
2020-10-15 09:15:00 | 8.737 | 339.98 | 9.354 | 322.074 | 9.574 | 332.499 | 10.506 | 323.721 | 8.32 | 892 | 100 | 58.022
2020-10-15 09:30:00 | 8.896 | 340.9 | 9.532 | 327.61 | 9.688 | 333.4 | 10.672 | 329.286 | 8.76 | 892 | 100 | 57.8207
2020-10-15 09:45:00 | 8.572 | 338.13 | 9.208 | 323.219 | 9.188 | 330.691 | 10.212 | 324.871 | 8.97 | 893 | 100 | 57.3267
2020-10-15 10:00:00 | 8.611 | 336.11 | 9.253 | 323.201 | 9.215 | 328.715 | 10.259 | 324.851 | 8.96 | 893 | 100 | 57.1273
2020-10-15 10:15:00 | 8.584 | 339.04 | 9.252 | 322.956 | 9.399 | 331.582 | 10.431 | 324.607 | 8.96 | 893 | 100 | 57.48
2020-10-15 10:30:00 | 8.643 | 340.76 | 9.338 | 319.414 | 9.281 | 333.057 | 10.427 | 321.046 | 9.03 | 893 | 100 | 57.1073
2020-10-15 10:45:00 | 8.467 | 337.53 | 9.153 | 321.878 | 9.252 | 330.105 | 10.324 | 323.523 | 9.06 | 893 | 100 | 57.1
2020-10-15 11:00:00 | 8.132 | 339.83 | 8.818 | 321.108 | 9.022 | 332.356 | 10.057 | 322.75 | 9.12 | 893 | 100 | 55.766
2020-10-15 11:15:00 | 7.912 | 340.38 | 8.54 | 321.254 | 8.617 | 332.891 | 9.602 | 322.896 | 9.06 | 893 | 100 | 53.788
2020-10-15 11:30:00 | 7.72 | 339.12 | 8.355 | 324.951 | 8.345 | 331.657 | 9.371 | 326.609 | 9.13 | 893 | 100 | 53.8553
2020-10-15 11:45:00 | 7.806 | 335.83 | 8.377 | 323.092 | 8.554 | 328.441 | 9.42 | 324.744 | 9.23 | 893 | 100 | 54.104
2020-10-15 12:00:00 | 7.837 | 341.86 | 8.386 | 323.913 | 8.595 | 334.34 | 9.416 | 325.569 | 9.24 | 893 | 100 | 54.2493
2020-10-15 12:15:00 | 8.032 | 343.29 | 8.693 | 322.976 | 8.622 | 335.738 | 9.705 | 324.626 | 9.26 | 893 | 100 | 53.3953
2020-10-15 12:30:00 | 7.68 | 341.52 | 8.406 | 327.044 | 8.648 | 334.302 | 9.702 | 328.716 | 9.36 | 893 | 100 | 54.3387
2020-10-15 12:45:00 | 7.913 | 339.89 | 8.618 | 324.158 | 8.67 | 332.411 | 9.785 | 325.815 | 9.33 | 893 | 100 | 55.502
2020-10-15 13:00:00 | 8.407 | 344.24 | 9.07 | 328.736 | 9.235 | 336.668 | 10.253 | 330.416 | 9.39 | 893 | 100 | 55.9493
2020-10-15 13:15:00 | 8.604 | 347.7 | 9.25 | 328.802 | 9.476 | 340.052 | 10.454 | 330.486 | 9.42 | 893 | 100 | 56.2327
2020-10-15 13:30:00 | 8.1007 | 341.6467 | 8.8133 | 329.018 | 8.7493 | 333.974 | 9.8953 | 330.7 | 9.4267 | 893 | 100 | 56.0773
2020-10-15 13:45:00 | 7.806 | 340.2 | 8.498 | 329.517 | 8.401 | 332.716 | 9.531 | 331.202 | 9.49 | 892.8 | 100 | 55.578
2020-10-15 14:00:00 | 7.773 | 247 | 8.372 | 299.074 | 8.842 | 241.566 | 9.671 | 300.602 | 9.49 | 892 | 100 | 55.3133
2020-10-15 14:15:00 | 7.809 | 339.92 | 8.361 | 331.747 | 8.988 | 332.441 | 9.699 | 333.444 | 9.57 | 892 | 100 | 56.7353
2020-10-15 14:30:00 | 7.682 | 348.5133 | 8.326 | 309.3273 | 8.5767 | 340.618 | 9.5253 | 310.9093 | 9.9667 | 892 | 100 | 55.566
2020-10-15 14:45:00 | 7.733 | 342.11 | 8.335 | 336.599 | 8.635 | 334.583 | 9.516 | 338.318 | 10.17 | 892 | 100 | 55.536
2020-10-15 15:00:00 | 7.815 | 346.24 | 8.407 | 333.067 | 8.642 | 338.623 | 9.523 | 334.77 | 10.27 | 892 | 100 | 55.3067
2020-10-15 15:15:00 | 7.808 | 349.46 | 8.485 | 328.783 | 8.964 | 341.772 | 9.911 | 330.465 | 10.39 | 892 | 100 | 52.2673
2020-10-15 15:30:00 | 7.461 | 210.98 | 8.1 | 301.31 | 8.475 | 206.337 | 9.389 | 302.852 | 10.42 | 892 | 100 | 55.3733
2020-10-15 15:45:00 | 8.073 | 346.87 | 8.728 | 329.859 | 9.087 | 339.24 | 10.036 | 331.546 | 10.64 | 891 | 100 | 59.696
2020-10-15 16:00:00 | 8.698 | 353.46 | 9.452 | 333.125 | 9.872 | 345.683 | 10.963 | 334.829 | 10.71 | 891 | 100 | 60.2167
2020-10-15 16:15:00 | 7.693 | 313.31 | 8.252 | 328.227 | 8.691 | 306.418 | 9.46 | 329.905 | 10.77 | 891 | 100 | 60.2793
2020-10-15 16:30:00 | 7.6457 | 300.15 | 8.2536 | 335.0907 | 8.6407 | 293.5464 | 9.5014 | 336.8036 | 10.7929 | 891 | 100 | 60.274
2020-10-15 16:45:00 | 7.4153 | 282.9067 | 7.932 | 291.874 | 8.192 | 276.8587 | 8.958 | 293.366 | 10.8533 | 891 | 100 | 60.1793
2020-10-15 17:00:00 | 7.728 | 180.92 | 8.2 | 270.31 | 8.57 | 176.939 | 9.227 | 271.692 | 10.89 | 891 | 100 | 61.524
2020-10-15 17:15:00 | 7.518 | 144.14 | 8.116 | 271.844 | 8.98 | 208.274 | 9.67 | 273.234 | 10.8 | 891 | 99.9 | 62.892
2020-10-15 17:30:00 | 8.338 | 246.91 | 8.853 | 300.842 | 9.356 | 241.477 | 10.034 | 302.38 | 10.9 | 891 | 99.32 | 63.232
2020-10-15 17:45:00 | 8.44 | 256.1933 | 9.0093 | 291.118 | 9.438 | 250.558 | 10.2313 | 292.6053 | 10.8733 | 891 | 98.8133 | 62.856
2020-10-15 18:00:00 | 8.227 | 313.61 | 8.67 | 229.712 | 9.162 | 306.71 | 9.728 | 230.886 | 10.96 | 891 | 98.71 | 62.3033
2020-10-15 18:15:00 | 7.795 | 212.73 | 8.281 | 299.884 | 8.838 | 208.05 | 9.458 | 301.419 | 10.82 | 891 | 97.07 | 62.0207
2020-10-15 18:30:00 | 8.159 | 275.51 | 8.722 | 327.404 | 9.453 | 269.449 | 10.146 | 329.08 | 10.8 | 891 | 96.41 | 62.5147
2020-10-15 18:45:00 | 8.123 | 315.77 | 8.723 | 327.807 | 9.443 | 308.822 | 10.197 | 329.481 | 10.7 | 891 | 97.2 | 62.6427
2020-10-15 19:00:00 | 7.699 | 275.47 | 8.167 | 333.656 | 8.779 | 269.018 | 9.359 | 335.36 | 10.78 | 891 | 97.81 | 62.364
2020-10-15 19:15:00 | 7.265 | 278.68 | 7.779 | 326.398 | 8.343 | 272.549 | 9.008 | 328.065 | 10.72 | 891 | 98.37 | 62.1427
2020-10-15 19:30:00 | 7.157 | 211.83 | 7.653 | 328.561 | 8.5 | 207.169 | 9.051 | 330.239 | 10.77 | 891 | 98.47 | 62.4633
2020-10-15 19:45:00 | 7.926 | 275.25 | 8.491 | 327.639 | 8.951 | 269.193 | 9.727 | 329.315 | 10.87 | 891.2 | 96.37 | 61.226
2020-10-15 20:00:00 | 8.339 | 314.24 | 8.972 | 325.419 | 9.381 | 307.326 | 10.287 | 327.081 | 10.89 | 892 | 96.15 | 62.0207
2020-10-15 20:15:00 | 7.702 | 280.41 | 8.269 | 330.701 | 8.891 | 274.242 | 9.623 | 332.393 | 10.88 | 892 | 95.56 | 60.5727
2020-10-15 20:30:00 | 7.293 | 280.24 | 7.685 | 330.475 | 8.38 | 274.074 | 8.811 | 332.165 | 10.9 | 892 | 95.83 | 58.474
2020-10-15 20:45:00 | 7.247 | 211.88 | 7.608 | 325.145 | 8.207 | 207.218 | 8.616 | 326.809 | 10.89 | 892 | 95.38 | 58.476
2020-10-15 21:00:00 | 7.294 | 276.92 | 7.606 | 325.822 | 8.12 | 270.828 | 8.477 | 327.487 | 10.96 | 892.7 | 95.42 | 57.626
2020-10-15 21:15:00 | 6.875 | 346.83 | 7.355 | 330.937 | 8.066 | 339.2 | 8.632 | 332.628 | 11.01 | 893 | 95.76 | 55.866
2020-10-15 21:30:00 | 6.981 | 315.15 | 7.451 | 339.17 | 7.915 | 308.218 | 8.535 | 340.905 | 11.1 | 893 | 95.71 | 56.45
2020-10-15 21:45:00 | 6.791 | 314.47 | 7.124 | 270.212 | 7.613 | 307.551 | 8.005 | 271.594 | 11.25 | 893 | 96.65 | 56.308
2020-10-15 22:00:00 | 6.804 | 180.33 | 7.17 | 340.423 | 7.602 | 176.362 | 8.065 | 342.164 | 11.28 | 893.7 | 96.8 | 56.2513
2020-10-15 22:15:00 | 6.472 | 176.11 | 6.762 | 331.747 | 7.343 | 172.236 | 7.641 | 333.445 | 11.33 | 894 | 96.86 | 56.082
2020-10-15 22:30:00 | 6.38 | 282.64 | 6.686 | 334.494 | 7.196 | 276.422 | 7.542 | 336.202 | 11.18 | 894 | 97.3 | 58.0327
2020-10-15 22:45:00 | 6.967 | 281.79 | 7.32 | 304.774 | 7.87 | 310.202 | 8.282 | 306.334 | 11.26 | 894 | 96.94 | 59.5747
2020-10-15 23:00:00 | 7.049 | 208.81 | 7.432 | 335.6 | 8.037 | 204.217 | 8.479 | 337.317 | 11.3 | 894 | 96.76 | 59.9533
2020-10-15 23:15:00 | 7.0975 | 224.0125 | 7.4662 | 289.7325 | 8.0125 | 219.0838 | 8.45 | 291.2138 | 11.4125 | 894 | 95.8733 | 58.8187
2020-10-15 23:30:00 | 7.084 | 211.74 | 7.4767 | 244.2653 | 8.0233 | 207.0813 | 8.4987 | 245.514 | 11.42 | 894 | 96.48 | 58.782
2020-10-15 23:45:00 | 7.566 | 6.22 | 7.986 | 265.762 | 8.48 | 6.084 | 9.018 | 267.118 | 11.36 | 894 | 96.82 | 57.0693