## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-16 00:00:00 | 7.734 | 181.61 | 8.052 | 242.71 | 8.604 | 177.615 | 8.959 | 243.953 | 11.67 | 894 | 94.57 | 56.426
2020-10-16 00:15:00 | 7.734 | 181.61 | 8.052 | 242.71 | 8.604 | 177.615 | 8.959 | 243.953 | 11.67 | 894 | 94.57 | 56.426
2020-10-16 00:30:00 | 7.559 | 245.38 | 7.93 | 306.046 | 8.517 | 239.982 | 8.944 | 307.611 | 11.81 | 894 | 94.51 | 60.5807
2020-10-16 00:45:00 | 7.994 | 180.23 | 8.357 | 238.377 | 8.875 | 176.264 | 9.318 | 239.595 | 11.93 | 894 | 94 | 61.3653
2020-10-16 01:00:00 | 7.652 | 214.03 | 8.109 | 309.968 | 8.639 | 209.321 | 9.221 | 311.552 | 11.87 | 894 | 93.44 | 60.7073
2020-10-16 01:15:00 | 8.23 | 351.83 | 8.695 | 300.275 | 9.24 | 344.09 | 9.828 | 301.812 | 11.81 | 894 | 93.94 | 62.026
2020-10-16 01:30:00 | 7.992 | 314.56 | 8.446 | 300.686 | 9.165 | 307.638 | 9.691 | 302.223 | 11.61 | 894 | 92.68 | 61.524
2020-10-16 01:45:00 | 8.527 | 313.57 | 8.994 | 302.027 | 9.714 | 306.673 | 10.257 | 303.571 | 11.68 | 894 | 92.22 | 62.45
2020-10-16 02:00:00 | 7.986 | 208.77 | 8.47 | 332.393 | 9.449 | 204.178 | 9.94 | 334.093 | 11.55 | 894 | 91.68 | 62.344
2020-10-16 02:15:00 | 8.466 | 277.67 | 9.039 | 333.021 | 9.908 | 271.561 | 10.577 | 334.723 | 11.58 | 894 | 91.17 | 62.4627
2020-10-16 02:30:00 | 8.492 | 278.22 | 9.21 | 269.126 | 10.096 | 272.1 | 11 | 270.502 | 11.48 | 894 | 91.66 | 62.4113
2020-10-16 02:45:00 | 7.9327 | 256.1533 | 8.482 | 310.814 | 9.3587 | 249.996 | 9.976 | 312.4047 | 11.6 | 894 | 90.54 | 62.4487
2020-10-16 03:00:00 | 7.968 | 161.8467 | 8.452 | 330.746 | 9.51 | 158.286 | 9.9793 | 332.438 | 11.74 | 894 | 89.6667 | 62.8693
2020-10-16 03:15:00 | 8.106 | 299.6133 | 8.686 | 311.578 | 9.5 | 293.284 | 10.1967 | 313.1707 | 11.8533 | 894.4667 | 89.06 | 61.64
2020-10-16 03:30:00 | 7.982 | 281.04 | 8.512 | 330.544 | 9.512 | 273.098 | 10.016 | 332.234 | 11.8 | 895 | 88.58 | 60.1833
2020-10-16 03:45:00 | 7.718 | 274.16 | 8.178 | 268.266 | 9.198 | 268.13 | 9.64 | 269.636 | 12 | 895 | 90.68 | 61.8627
2020-10-16 04:00:00 | 8.44 | 338.94 | 8.88 | 324.832 | 9.47 | 331.484 | 10.016 | 326.494 | 12 | 895 | 90.06 | 61.798
2020-10-16 04:15:00 | 8.69 | 234.1867 | 9.324 | 292.7153 | 9.9307 | 229.034 | 10.776 | 294.2127 | 11.7667 | 895 | 89.36 | 62.636
2020-10-16 04:30:00 | 8.64 | 278.5 | 9.358 | 326.712 | 10.038 | 272.372 | 10.998 | 328.38 | 11.56 | 895 | 89.68 | 61.8973
2020-10-16 04:45:00 | 7.622 | 280.02 | 8.15 | 273.82 | 8.964 | 273.858 | 9.576 | 275.22 | 11.14 | 895 | 92.1 | 62.234
2020-10-16 05:00:00 | 8.165 | 309.36 | 8.782 | 259.259 | 9.471 | 302.552 | 10.263 | 260.584 | 10.76 | 895 | 96.27 | 61.406
2020-10-16 05:15:00 | 7.365 | 311.89 | 7.863 | 333.724 | 8.44 | 305.029 | 9.075 | 335.43 | 10.68 | 895 | 96.86 | 61.422
2020-10-16 05:30:00 | 7.4353 | 300.84 | 7.9013 | 331.1833 | 8.3887 | 294.222 | 8.9967 | 332.8767 | 10.5 | 895 | 97.1267 | 61.2247
2020-10-16 05:45:00 | 7.568 | 276.62 | 8.094 | 270.75 | 8.61 | 270.536 | 9.316 | 272.132 | 10.26 | 895 | 97.32 | 62.19
2020-10-16 06:00:00 | 7.516 | 273.54 | 7.96 | 328.1 | 8.46 | 267.522 | 9.028 | 329.778 | 10.3 | 895 | 99.06 | 61.6833
2020-10-16 06:15:00 | 7.372 | 282.34 | 7.75 | 325.674 | 8.192 | 276.13 | 8.682 | 327.338 | 10.2 | 895 | 99.9 | 61.504
2020-10-16 06:30:00 | 7.126 | 279.24 | 7.692 | 331.053 | 8.033 | 273.096 | 8.845 | 332.746 | 10.04 | 895 | 100 | 60.772
2020-10-16 06:45:00 | 7.1667 | 318.0467 | 7.574 | 323.36 | 7.7627 | 311.0493 | 8.328 | 325.0133 | 10.1667 | 895.4667 | 99.44 | 56.5633
2020-10-16 07:00:00 | 6.652 | 339.72 | 6.912 | 322.486 | 7.402 | 332.246 | 7.678 | 324.136 | 10.4 | 896 | 97.92 | 29.768
2020-10-16 07:15:00 | 5.9393 | 283.2533 | 6.204 | 292.6313 | 6.5667 | 277.022 | 6.8893 | 294.126 | 10.4067 | 896 | 96.9933 | 2.7193
2020-10-16 07:30:00 | 0 | 166 | 0 | 152.18 | 0 | 162.35 | 0 | 152.95 | 10.0933 | 896 | 96.9133 | 0
2020-10-16 07:45:00 | 0 | 166 | 0 | 152.18 | 0 | 162.35 | 0 | 152.95 | 9.93 | 896 | 97.7 | 0
2020-10-16 08:00:00 | 0 | 166 | 0 | 152.18 | 0 | 162.35 | 0 | 152.95 | 9.89 | 896 | 97.97 | 0
2020-10-16 08:15:00 | 0 | 166 | 0 | 152.18 | 0 | 162.35 | 0 | 152.95 | 10.075 | 896 | 97.575 | 0
2020-10-16 08:30:00 | 0 | 166 | 0 | 152.18 | 0 | 162.35 | 0 | 152.95 | 10.38 | 896.4 | 96.46 | 0
2020-10-16 08:45:00 | 0 | 166 | 0 | 152.18 | 0 | 162.35 | 0 | 152.95 | 10.4 | 897 | 94.56 | 0
2020-10-16 09:00:00 | 0 | 66.4 | 0 | 60.872 | 0 | 64.94 | 0 | 61.18 | 4.24 | 897 | 94.52 | 0
2020-10-16 09:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 94.37 | 0
2020-10-16 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897.1333 | 93.68 | 0
2020-10-16 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 91.98 | 0
2020-10-16 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 91.44 | 0
2020-10-16 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 91.5 | 0
2020-10-16 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 88.56 | 0
2020-10-16 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 83.76 | 0
2020-10-16 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899 | 84.0333 | 0
2020-10-16 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899 | 83.3 | 0
2020-10-16 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899 | 81.74 | 0
2020-10-16 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899 | 83.99 | 0
2020-10-16 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 899 | 85.8067 | 0
2020-10-16 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898.8 | 85.73 | 0
2020-10-16 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 83.9333 | 0
2020-10-16 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 81.1347 | 0
2020-10-16 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 80.532 | 0
2020-10-16 13:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 80.57 | 0
2020-10-16 13:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 80.418 | 0
2020-10-16 13:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 79.684 | 0
2020-10-16 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 79.05 | 0
2020-10-16 14:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 898 | 76.361 | 0
2020-10-16 14:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897.3 | 73.806 | 0
2020-10-16 14:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 74.6107 | 0
2020-10-16 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 75.033 | 0
2020-10-16 15:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 75.504 | 0
2020-10-16 15:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 71.9873 | 0
2020-10-16 15:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 72.801 | 0
2020-10-16 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 74.5979 | 0
2020-10-16 16:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 897 | 72.977 | 0
2020-10-16 16:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896.2 | 72.622 | 0
2020-10-16 16:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 74.8893 | 0
2020-10-16 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 77.32 | 0
2020-10-16 17:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 78.66 | 0
2020-10-16 17:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 78.622 | 0
2020-10-16 17:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.8 | 79.86 | 0
2020-10-16 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 80.16 | 0
2020-10-16 18:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 81.52 | 0
2020-10-16 18:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 82.86 | 0
2020-10-16 18:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 83.3533 | 0
2020-10-16 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 79.931 | 0
2020-10-16 19:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 80.6107 | 0
2020-10-16 19:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 79.2987 | 0
2020-10-16 19:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 79.441 | 0
2020-10-16 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 83.5267 | 0
2020-10-16 20:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 83.19 | 0
2020-10-16 20:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 85.41 | 0
2020-10-16 20:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 85.72 | 0
2020-10-16 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 85.77 | 0
2020-10-16 21:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.43 | 0
2020-10-16 21:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.17 | 0
2020-10-16 21:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 87.44 | 0
2020-10-16 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.57 | 0
2020-10-16 22:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 90.06 | 0
2020-10-16 22:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.5133 | 0
2020-10-16 22:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 90.64 | 0
2020-10-16 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 92.05 | 0
2020-10-16 23:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 91.66 | 0
2020-10-16 23:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.7 | 91.49 | 0
2020-10-16 23:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 90.69 | 0