## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-17 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 91.27 | 0
2020-10-17 00:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.8 | 92.76 | 0
2020-10-17 00:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 91.58 | 0
2020-10-17 00:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 92.64 | 0
2020-10-17 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 92.6267 | 0
2020-10-17 01:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 93.04 | 0
2020-10-17 01:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 93.08 | 0
2020-10-17 01:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 93.1133 | 0
2020-10-17 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 93.25 | 0
2020-10-17 02:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.8 | 94.8 | 0
2020-10-17 02:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.6667 | 95.6133 | 0
2020-10-17 02:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 96.32 | 0
2020-10-17 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 97.1286 | 0
2020-10-17 03:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 98.11 | 0
2020-10-17 03:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 98.41 | 0
2020-10-17 03:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 98.84 | 0
2020-10-17 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 99.5333 | 0
2020-10-17 04:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 04:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 04:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 05:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 05:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 05:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 06:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 06:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 06:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 07:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 07:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 07:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 07:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 08:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 08:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.8 | 100 | 0
2020-10-17 08:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-17 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-17 09:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-17 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-17 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-17 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-17 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.4667 | 100 | 0
2020-10-17 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-17 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-17 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-17 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-17 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 99.9867 | 0
2020-10-17 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 99.7 | 0
2020-10-17 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 98.24 | 0
2020-10-17 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 96.78 | 0
2020-10-17 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 96.91 | 0
2020-10-17 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 96.66 | 0
2020-10-17 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.3 | 95.94 | 0
2020-10-17 13:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 94.62 | 0
2020-10-17 13:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 91.52 | 0
2020-10-17 13:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.9067 | 0
2020-10-17 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 91.04 | 0
2020-10-17 14:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 92.7667 | 0
2020-10-17 14:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.3 | 92.65 | 0
2020-10-17 14:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 95.0133 | 0
2020-10-17 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 97.5 | 0
2020-10-17 15:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.5333 | 99.4133 | 0
2020-10-17 15:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 99.74 | 0
2020-10-17 15:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 16:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 16:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 16:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 17:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 17:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.8667 | 100 | 0
2020-10-17 17:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 100 | 0
2020-10-17 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 100 | 0
2020-10-17 18:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 100 | 0
2020-10-17 18:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 100 | 0
2020-10-17 18:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 100 | 0
2020-10-17 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 100 | 0
2020-10-17 19:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.2 | 100 | 0
2020-10-17 19:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 19:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 20:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-17 20:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.4 | 100 | 0
2020-10-17 20:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 21:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 21:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 21:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 22:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.8 | 100 | 0
2020-10-17 22:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 22:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.8 | 100 | 0
2020-10-17 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 23:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.5333 | 100 | 0
2020-10-17 23:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-17 23:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.2 | 100 | 0