## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-18 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.8667 | 100 | 0
2020-10-18 00:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 00:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 00:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 01:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 01:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 01:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.8 | 100 | 0
2020-10-18 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.1333 | 100 | 0
2020-10-18 02:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.8 | 100 | 0
2020-10-18 02:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 02:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 03:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 03:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 03:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 04:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 04:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 04:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 05:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 05:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 05:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 06:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 06:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 06:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 07:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 07:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 07:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 07:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 100 | 0
2020-10-18 08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.7 | 100 | 0
2020-10-18 08:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 08:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 08:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 100 | 0
2020-10-18 09:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.2 | 100 | 0
2020-10-18 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-18 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-18 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-18 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-18 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-18 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.2 | 100 | 0
2020-10-18 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-18 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-18 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-18 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896 | 100 | 0
2020-10-18 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.8667 | 100 | 0
2020-10-18 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 100 | 0
2020-10-18 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895.7 | 100 | 0
2020-10-18 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 97.87 | 0
2020-10-18 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 94.42 | 0
2020-10-18 13:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 92.44 | 0
2020-10-18 13:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.66 | 0
2020-10-18 13:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 89.37 | 0
2020-10-18 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 88.66 | 0
2020-10-18 14:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 87.89 | 0
2020-10-18 14:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 87.62 | 0
2020-10-18 14:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 87.63 | 0
2020-10-18 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.3 | 86.73 | 0
2020-10-18 15:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 87.38 | 0
2020-10-18 15:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 90.11 | 0
2020-10-18 15:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 89.89 | 0
2020-10-18 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 89.07 | 0
2020-10-18 16:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 87.02 | 0
2020-10-18 16:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 85.4733 | 0
2020-10-18 16:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 85.9133 | 0
2020-10-18 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 86.58 | 0
2020-10-18 17:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 88.23 | 0
2020-10-18 17:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 90.03 | 0
2020-10-18 17:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 91.3067 | 0
2020-10-18 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893.2 | 91.5467 | 0
2020-10-18 18:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 90.8067 | 0
2020-10-18 18:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 90.47 | 0
2020-10-18 18:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 90.5 | 0
2020-10-18 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 91.13 | 0
2020-10-18 19:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 93.44 | 0
2020-10-18 19:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 94.4 | 0
2020-10-18 19:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 95.66 | 0
2020-10-18 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 95.66 | 0
2020-10-18 20:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 92.52 | 0
2020-10-18 20:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 91.24 | 0
2020-10-18 20:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 93.2533 | 0
2020-10-18 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 93.1667 | 0
2020-10-18 21:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 93.88 | 0
2020-10-18 21:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 95.93 | 0
2020-10-18 21:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894 | 95.28 | 0
2020-10-18 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 894.7 | 95.66 | 0
2020-10-18 22:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 96.04 | 0
2020-10-18 22:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 96.53 | 0
2020-10-18 22:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 97.21 | 0
2020-10-18 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 97.44 | 0
2020-10-18 23:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 97.16 | 0
2020-10-18 23:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 96.78 | 0
2020-10-18 23:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 895 | 97.07 | 0