## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-23 00:00:00 | 2.88 | 144.7 | 3.046 | 129.584 | 3.034 | 141.518 | 3.308 | 130.248 | 13.68 | 892 | 96.56 | 2.8673
2020-10-23 00:15:00 | 2.715 | 148.81 | 2.808 | 142.036 | 2.893 | 145.536 | 3.015 | 142.763 | 13.67 | 892 | 95.98 | 2.58
2020-10-23 00:30:00 | 2.715 | 148.81 | 2.808 | 142.036 | 2.893 | 145.536 | 3.015 | 142.763 | 13.67 | 892 | 95.98 | 2.58
2020-10-23 00:45:00 | 2.46 | 145.74 | 2.53 | 133.128 | 2.754 | 142.536 | 2.804 | 133.806 | 13.6 | 892 | 97.02 | 2.114
2020-10-23 01:00:00 | 2.398 | 145.04 | 2.476 | 138.664 | 2.646 | 141.85 | 2.726 | 139.368 | 13.58 | 892 | 98.3 | 1.778
2020-10-23 01:15:00 | 2.392 | 150.39 | 2.498 | 138.005 | 2.697 | 147.081 | 2.81 | 138.71 | 13.44 | 892 | 99.55 | 2.0167
2020-10-23 01:30:00 | 2.2973 | 150.6933 | 2.3413 | 137.0253 | 2.4867 | 147.378 | 2.5173 | 137.7247 | 13.48 | 891.2 | 99.96 | 1.3753
2020-10-23 01:45:00 | 2.4167 | 149.4267 | 2.4513 | 139.4633 | 2.6607 | 146.1393 | 2.6567 | 140.1753 | 13.4467 | 891 | 100 | 1.7067
2020-10-23 02:00:00 | 2.0267 | 155.9067 | 2.09 | 140.616 | 2.2847 | 152.4767 | 2.332 | 141.3353 | 13.1867 | 891 | 100 | 0.93067
2020-10-23 02:15:00 | 1.98 | 164.26 | 2.059 | 141.409 | 2.167 | 160.646 | 2.268 | 142.133 | 13.09 | 891 | 100 | 0.89867
2020-10-23 02:30:00 | 1.98 | 164.26 | 2.059 | 141.409 | 2.167 | 160.646 | 2.268 | 142.133 | 13.09 | 891 | 100 | 0.89867
2020-10-23 02:45:00 | 2.176 | 152.52 | 2.224 | 138.874 | 2.382 | 149.166 | 2.418 | 139.586 | 13.24 | 891 | 100 | 1.0813
2020-10-23 03:00:00 | 2.051 | 165.12 | 2.108 | 152.214 | 2.251 | 161.488 | 2.304 | 152.993 | 13.1 | 891 | 100 | 1.17
2020-10-23 03:15:00 | 2.051 | 165.12 | 2.108 | 152.214 | 2.251 | 161.488 | 2.304 | 152.993 | 13.1 | 891 | 100 | 1.17
2020-10-23 03:30:00 | 2.387 | 168.74 | 2.468 | 149.018 | 2.744 | 165.029 | 2.798 | 149.779 | 12.9 | 891 | 100 | 1.4993
2020-10-23 03:45:00 | 2.387 | 168.74 | 2.468 | 149.018 | 2.744 | 165.029 | 2.798 | 149.779 | 12.9 | 891 | 100 | 1.4993
2020-10-23 04:00:00 | 1.908 | 148.62 | 1.994 | 172.696 | 2.104 | 145.352 | 2.212 | 173.58 | 12.9 | 891 | 100 | 0.97933
2020-10-23 04:15:00 | 2.049 | 182.43 | 2.14 | 186.398 | 2.178 | 178.416 | 2.314 | 187.348 | 12.78 | 890 | 100 | 1.434
2020-10-23 04:30:00 | 2.158 | 175.9 | 2.229 | 171.238 | 2.387 | 172.031 | 2.454 | 172.114 | 12.76 | 890 | 100 | 2.128
2020-10-23 04:45:00 | 2.112 | 182.81 | 2.172 | 163.756 | 2.32 | 178.788 | 2.374 | 164.594 | 12.71 | 890.8 | 100 | 2.3567
2020-10-23 05:00:00 | 2.128 | 165.36 | 2.174 | 160.401 | 2.535 | 161.721 | 2.507 | 161.223 | 12.7 | 890 | 100 | 1.8727
2020-10-23 05:15:00 | 1.931 | 149.17 | 2.034 | 158.407 | 2.228 | 146.554 | 2.338 | 159.215 | 12.42 | 890 | 100 | 1.6287
2020-10-23 05:30:00 | 1.914 | 155.78 | 2.037 | 167.824 | 2.384 | 155.092 | 2.467 | 168.682 | 12.34 | 890 | 100 | 1.9347
2020-10-23 05:45:00 | 1.73 | 153.53 | 1.866 | 155.091 | 2.048 | 150.152 | 2.215 | 155.884 | 12.4 | 890 | 100 | 1.4407
2020-10-23 06:00:00 | 1.986 | 141.86 | 2.058 | 155.7107 | 2.1327 | 138.7407 | 2.2273 | 156.5053 | 12.42 | 890 | 100 | 0.83533
2020-10-23 06:15:00 | 1.906 | 124.8 | 1.958 | 146.867 | 2.137 | 123.483 | 2.186 | 147.618 | 12.35 | 890 | 100 | 0.68
2020-10-23 06:30:00 | 1.906 | 124.8 | 1.958 | 146.867 | 2.137 | 123.483 | 2.186 | 147.618 | 12.35 | 890 | 100 | 0.68
2020-10-23 06:45:00 | 1.148 | 161.16 | 1.136 | 154.914 | 1.334 | 157.616 | 1.26 | 155.708 | 12.34 | 890 | 100 | 0.006
2020-10-23 07:00:00 | 1.598 | 148.76 | 1.652 | 148.814 | 1.706 | 145.486 | 1.78 | 149.574 | 12.32 | 891 | 100 | 0
2020-10-23 07:15:00 | 1.678 | 156.7 | 1.69 | 146.542 | 1.778 | 153.254 | 1.768 | 147.294 | 12.28 | 891 | 100 | 0.36733
2020-10-23 07:30:00 | 1.891 | 156.1 | 1.904 | 138.015 | 1.95 | 152.667 | 1.956 | 138.722 | 12.29 | 891 | 100 | 0.39467
2020-10-23 07:45:00 | 1.891 | 156.1 | 1.904 | 138.015 | 1.95 | 152.667 | 1.956 | 138.722 | 12.29 | 891 | 100 | 0.39467
2020-10-23 08:00:00 | 2.078 | 171.76 | 2.184 | 164.402 | 2.408 | 167.98 | 2.51 | 165.242 | 12.44 | 891 | 100 | 0.346
2020-10-23 08:15:00 | 2.022 | 164.86 | 2.124 | 137.742 | 2.236 | 161.232 | 2.364 | 138.444 | 12.5 | 891 | 100 | 0.67467
2020-10-23 08:30:00 | 1.845 | 173.91 | 1.911 | 159.081 | 2.227 | 170.084 | 2.245 | 159.895 | 12.76 | 891 | 100 | 1.2067
2020-10-23 08:45:00 | 1.614 | 161.22 | 1.67 | 164.226 | 1.87 | 157.674 | 1.91 | 165.064 | 13.06 | 892 | 100 | 0.842
2020-10-23 09:00:00 | 1.568 | 150.33 | 1.565 | 151.668 | 1.697 | 147.237 | 1.645 | 152.444 | 13.18 | 892 | 100 | 0.94467
2020-10-23 09:15:00 | 1.4287 | 153.14 | 1.4767 | 164.688 | 1.578 | 149.9993 | 1.6273 | 165.5313 | 13.7067 | 892 | 100 | 0.60733
2020-10-23 09:30:00 | 1.082 | 168.07 | 1.086 | 160.098 | 1.267 | 164.373 | 1.224 | 160.917 | 14.36 | 892 | 100 | 0.15533
2020-10-23 09:45:00 | 1.616 | 156.62 | 1.586 | 160.46 | 1.713 | 153.175 | 1.627 | 161.281 | 13.32 | 892 | 100 | 0.58133
2020-10-23 10:00:00 | 1.244 | 146.24 | 1.252 | 150.926 | 1.458 | 143.022 | 1.402 | 151.698 | 13.36 | 892.4 | 100 | 0.57533
2020-10-23 10:15:00 | 1.625 | 167.87 | 1.62 | 149.574 | 1.748 | 164.176 | 1.707 | 150.338 | 13.43 | 893 | 100 | 0.99867
2020-10-23 10:30:00 | 1.4813 | 162.3067 | 1.49 | 152.8673 | 1.6407 | 158.7367 | 1.6093 | 153.6493 | 13.52 | 893 | 99.92 | 1.5573
2020-10-23 10:45:00 | 2.208 | 142.22 | 2.252 | 157.037 | 2.303 | 139.844 | 2.35 | 157.841 | 13.76 | 893 | 98.36 | 1.5093
2020-10-23 11:00:00 | 1.995 | 169.15 | 2.042 | 151.667 | 2.317 | 165.428 | 2.317 | 152.444 | 13.55 | 893 | 92 | 3.0333
2020-10-23 11:15:00 | 1.922 | 191.19 | 1.9 | 152.519 | 2.306 | 186.983 | 2.155 | 153.3 | 13.45 | 893.2 | 92.46 | 3.1247
2020-10-23 11:30:00 | 1.87 | 220.64 | 1.832 | 138.034 | 2.328 | 215.786 | 2.122 | 138.74 | 13.72 | 893.6 | 92.42 | 0.93267
2020-10-23 11:45:00 | 2.2467 | 140.18 | 2.248 | 139.4893 | 2.6207 | 137.096 | 2.5173 | 140.202 | 14.66 | 893 | 89.46 | 0.454
2020-10-23 12:00:00 | 2.672 | 110.76 | 2.834 | 136.657 | 2.975 | 108.324 | 3.194 | 137.355 | 14.91 | 893 | 86.82 | 1.406
2020-10-23 12:15:00 | 3.101 | 146.71 | 3.228 | 132.47 | 3.566 | 143.481 | 3.675 | 133.147 | 15.12 | 892 | 82.59 | 3.1447
2020-10-23 12:30:00 | 2.834 | 156.03 | 2.919 | 142.769 | 3.32 | 151.541 | 3.332 | 143.498 | 15.73 | 892 | 78.699 | 2.9447
2020-10-23 12:45:00 | 2.9853 | 163.6533 | 3.0607 | 140.454 | 3.4427 | 160.052 | 3.4567 | 141.1727 | 15.6533 | 892 | 78.0593 | 3.9627
2020-10-23 13:00:00 | 2.658 | 167.28 | 2.764 | 135.3153 | 3.1947 | 163.6 | 3.2393 | 136.0073 | 15.4667 | 892 | 76.1213 | 2.6293
2020-10-23 13:15:00 | 2.686 | 169.85 | 2.783 | 134.856 | 3.04 | 166.112 | 3.125 | 135.547 | 15.32 | 892 | 77.498 | 2.46
2020-10-23 13:30:00 | 2.416 | 182.26 | 2.47 | 131.17 | 2.874 | 178.25 | 2.848 | 131.84 | 15.38 | 892 | 75.908 | 1.92
2020-10-23 13:45:00 | 2.742 | 147.7 | 2.821 | 128.166 | 3.136 | 144.451 | 3.172 | 128.821 | 15.53 | 891 | 74.296 | 1.9027
2020-10-23 14:00:00 | 2.8407 | 173.5133 | 2.9353 | 140.492 | 3.23 | 169.6953 | 3.2953 | 141.2113 | 15.8067 | 891 | 72.7447 | 2.7633
2020-10-23 14:15:00 | 2.632 | 183.41 | 2.735 | 145.596 | 3.075 | 179.375 | 3.143 | 146.339 | 15.85 | 891 | 73.585 | 3.826
2020-10-23 14:30:00 | 2.6644 | 162.4778 | 2.8011 | 137.14 | 3.0189 | 158.9022 | 3.1756 | 137.8389 | 16.1333 | 891 | 72.64 | 2.2747
2020-10-23 14:45:00 | 2.4044 | 165.7556 | 2.5133 | 149.08 | 2.7967 | 162.11 | 2.8944 | 149.84 | 16.3556 | 890.8889 | 70.86 | 2.698
2020-10-23 15:00:00 | 2.4953 | 160.5267 | 2.524 | 139.0707 | 2.7793 | 156.994 | 2.7547 | 139.782 | 15.9533 | 890 | 72.48 | 1.914
2020-10-23 15:15:00 | 2.001 | 183.04 | 2.02 | 142.866 | 2.215 | 179.013 | 2.195 | 143.597 | 16.28 | 890 | 73.894 | 1.1427
2020-10-23 15:30:00 | 2.092 | 161.6 | 2.109 | 137.076 | 2.457 | 158.044 | 2.383 | 137.778 | 16.23 | 890 | 71.163 | 0.77
2020-10-23 15:45:00 | 2.042 | 163.91 | 2.152 | 136.979 | 2.168 | 160.303 | 2.345 | 137.678 | 16.19 | 890 | 74.759 | 0.956
2020-10-23 16:00:00 | 2.522 | 149.34 | 2.66 | 134.0113 | 2.904 | 146.4787 | 3.0653 | 134.698 | 16.1933 | 889.8667 | 76.444 | 2.2793
2020-10-23 16:15:00 | 2.376 | 150.69 | 2.49 | 135.14 | 2.556 | 147.375 | 2.721 | 135.83 | 16.62 | 889 | 75.803 | 2.8273
2020-10-23 16:30:00 | 2.898 | 146.57 | 3.051 | 150.573 | 3.329 | 143.345 | 3.493 | 151.342 | 16.91 | 889 | 73.185 | 3.106
2020-10-23 16:45:00 | 2.487 | 177.81 | 2.624 | 168.304 | 2.813 | 173.898 | 2.977 | 169.164 | 16.81 | 889 | 69.349 | 2.1913
2020-10-23 17:00:00 | 2.293 | 170.21 | 2.387 | 171.031 | 2.511 | 166.465 | 2.63 | 171.906 | 16.67 | 889 | 68.414 | 2.5233
2020-10-23 17:15:00 | 2.4647 | 179.8333 | 2.5787 | 167.578 | 2.562 | 175.8767 | 2.7547 | 168.4333 | 16.4133 | 889 | 71.772 | 2.4853
2020-10-23 17:30:00 | 2.9547 | 180.64 | 3.1193 | 168.6853 | 3.282 | 176.6653 | 3.506 | 169.548 | 16.2733 | 889 | 72.9633 | 2.864
2020-10-23 17:45:00 | 3.017 | 174.17 | 3.216 | 162.563 | 3.325 | 170.466 | 3.613 | 163.393 | 16.14 | 889 | 73.404 | 3.9653
2020-10-23 18:00:00 | 2.793 | 176.94 | 2.957 | 173.497 | 3.059 | 173.048 | 3.296 | 174.384 | 16.06 | 889 | 74.163 | 3.1447
2020-10-23 18:15:00 | 2.387 | 196.1 | 2.589 | 168.46 | 2.815 | 191.787 | 3.074 | 169.32 | 15.94 | 889 | 74.674 | 2.8233
2020-10-23 18:30:00 | 2.198 | 192.34 | 2.423 | 181.467 | 2.688 | 188.109 | 2.975 | 182.395 | 15.92 | 888.3 | 74.684 | 2.478
2020-10-23 18:45:00 | 2.552 | 191.7 | 2.714 | 194.7 | 2.97 | 187.482 | 3.156 | 195.692 | 15.9 | 888 | 74.44 | 4.1993
2020-10-23 19:00:00 | 3.485 | 180.65 | 3.687 | 174.065 | 3.93 | 176.676 | 4.185 | 174.954 | 15.73 | 888 | 73.781 | 7.164
2020-10-23 19:15:00 | 3.354 | 178.71 | 3.52 | 174.153 | 3.781 | 174.778 | 3.978 | 175.042 | 15.52 | 888 | 74.169 | 7.5753
2020-10-23 19:30:00 | 2.781 | 180.7 | 2.902 | 171.825 | 3.14 | 176.725 | 3.267 | 172.704 | 15.41 | 888 | 75.821 | 4.556
2020-10-23 19:45:00 | 2.4193 | 173.2143 | 2.4979 | 174.9707 | 2.5407 | 169.4021 | 2.6607 | 175.8664 | 15.2929 | 888 | 76.5746 | 4.558
2020-10-23 20:00:00 | 2.187 | 169.52 | 2.223 | 171.209 | 2.326 | 165.789 | 2.356 | 172.083 | 15.06 | 888.7 | 77.458 | 4.0713
2020-10-23 20:15:00 | 1.939 | 154.9 | 1.999 | 172.911 | 2.06 | 151.492 | 2.137 | 173.794 | 15 | 889 | 78.838 | 2.334
2020-10-23 20:30:00 | 1.86 | 158.64 | 1.9667 | 161.9173 | 2.104 | 155.1487 | 2.2373 | 162.7447 | 14.92 | 889 | 82.44 | 2.1493
2020-10-23 20:45:00 | 1.5787 | 145.96 | 1.7053 | 156.6107 | 1.896 | 142.7493 | 2.0433 | 157.4107 | 14.84 | 889 | 83.04 | 2.298
2020-10-23 21:00:00 | 1.498 | 148.49 | 1.578 | 143.218 | 1.735 | 145.223 | 1.817 | 143.95 | 14.8 | 889 | 82.64 | 2.082
2020-10-23 21:15:00 | 1.484 | 169.38 | 1.568 | 156.03 | 1.694 | 165.656 | 1.79 | 156.828 | 14.84 | 889 | 82.42 | 1.816
2020-10-23 21:30:00 | 1.43 | 169.34 | 1.498 | 184.372 | 1.62 | 165.616 | 1.692 | 185.316 | 14.88 | 890 | 82.56 | 2.162
2020-10-23 21:45:00 | 1.4953 | 175.1333 | 1.558 | 177.0387 | 1.7193 | 171.2793 | 1.7727 | 177.9427 | 14.7333 | 890 | 82.7133 | 1.9713
2020-10-23 22:00:00 | 1.537 | 178.76 | 1.552 | 182.338 | 1.7 | 174.829 | 1.682 | 183.271 | 14.61 | 890 | 82.75 | 1.3847
2020-10-23 22:15:00 | 1.427 | 173.29 | 1.461 | 165.744 | 1.596 | 169.477 | 1.612 | 166.59 | 14.7 | 890 | 82.76 | 1.3853
2020-10-23 22:30:00 | 1.796 | 176.89 | 1.844 | 176.939 | 2.047 | 172.999 | 2.067 | 177.844 | 14.65 | 890 | 82.64 | 1.844
2020-10-23 22:45:00 | 1.816 | 168.13 | 1.914 | 167.65 | 1.994 | 164.431 | 2.132 | 168.506 | 14.53 | 890 | 82.62 | 1.712
2020-10-23 23:00:00 | 1.95 | 158.26 | 2.034 | 163.58 | 2.194 | 154.192 | 2.322 | 164.416 | 14.5 | 890 | 82.38 | 1.7367
2020-10-23 23:15:00 | 1.909 | 157.06 | 1.993 | 167.267 | 2.179 | 153.605 | 2.262 | 168.122 | 14.4 | 890 | 82.11 | 1.9887
2020-10-23 23:30:00 | 1.909 | 157.06 | 1.993 | 167.267 | 2.179 | 153.605 | 2.262 | 168.122 | 14.4 | 890 | 82.11 | 1.9887
2020-10-23 23:45:00 | 2.153 | 152.6 | 2.261 | 152.86 | 2.433 | 149.242 | 2.554 | 153.644 | 14.34 | 890 | 82.84 | 2.4253