## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-24 00:00:00 | 2.27 | 153.42 | 2.399 | 142.955 | 2.592 | 150.044 | 2.748 | 143.685 | 14.27 | 890 | 82.86 | 1.9733
2020-10-24 00:15:00 | 1.937 | 134.82 | 2.05 | 150.182 | 2.188 | 131.854 | 2.329 | 150.951 | 14.28 | 890 | 82.94 | 1.964
2020-10-24 00:30:00 | 1.75 | 142.34 | 1.838 | 142.338 | 1.922 | 139.208 | 2.038 | 143.064 | 14.22 | 890 | 83.14 | 2.08
2020-10-24 00:45:00 | 1.644 | 161.16 | 1.7033 | 163.8013 | 1.9427 | 157.8833 | 1.9707 | 164.6387 | 14.2067 | 890 | 84.1867 | 2.5793
2020-10-24 01:00:00 | 1.723 | 166.05 | 1.781 | 167.826 | 2.004 | 162.398 | 2.033 | 168.683 | 14.2 | 889.3 | 86.39 | 3.0553
2020-10-24 01:15:00 | 1.649 | 178.06 | 1.701 | 175.893 | 1.866 | 174.143 | 1.904 | 176.793 | 14.13 | 889 | 88.69 | 3.36
2020-10-24 01:30:00 | 1.619 | 182.6 | 1.622 | 191.17 | 1.74 | 178.584 | 1.707 | 192.146 | 14.16 | 889 | 89.71 | 3.112
2020-10-24 01:45:00 | 1.497 | 188.93 | 1.48 | 187.316 | 1.614 | 184.774 | 1.544 | 188.274 | 14.06 | 889 | 90.77 | 2.8847
2020-10-24 02:00:00 | 1.614 | 191.92 | 1.67 | 189.107 | 1.838 | 187.601 | 1.888 | 190.072 | 14.01 | 889 | 91.71 | 2.5307
2020-10-24 02:15:00 | 1.506 | 187.82 | 1.534 | 175.776 | 1.706 | 183.209 | 1.703 | 176.675 | 14.04 | 889 | 92.18 | 2.4847
2020-10-24 02:30:00 | 1.569 | 189.67 | 1.601 | 190.045 | 1.591 | 185.498 | 1.646 | 191.017 | 14.12 | 888.3 | 92.23 | 1.6587
2020-10-24 02:45:00 | 1.569 | 189.67 | 1.601 | 190.045 | 1.591 | 185.498 | 1.646 | 191.017 | 14.12 | 888.3 | 92.23 | 1.6587
2020-10-24 03:00:00 | 1.36 | 196.47 | 1.328 | 198.838 | 1.177 | 192.146 | 1.174 | 199.854 | 14.42 | 888 | 90.9 | 1.4727
2020-10-24 03:15:00 | 0.854 | 195.1133 | 0.822 | 215.864 | 0.70333 | 190.82 | 0.68533 | 216.9673 | 14.36 | 888 | 89.3533 | 0.90133
2020-10-24 03:30:00 | 0.706 | 194.1 | 0.682 | 214.514 | 0.52 | 189.83 | 0.536 | 215.612 | 14.3 | 888 | 88.18 | 0.93667
2020-10-24 03:45:00 | 0.946 | 196.6133 | 0.90867 | 211.9 | 0.86467 | 192.288 | 0.822 | 212.9847 | 14.36 | 888 | 87.6467 | 1.3093
2020-10-24 04:00:00 | 0.766 | 184.22 | 0.718 | 213.046 | 0.666 | 180.168 | 0.614 | 214.136 | 14.36 | 888 | 88 | 1.122
2020-10-24 04:15:00 | 0.847 | 223.95 | 0.817 | 214.858 | 0.626 | 219.023 | 0.63 | 215.955 | 14.4 | 888 | 88.18 | 0.7
2020-10-24 04:30:00 | 0.977 | 234.9 | 0.938 | 209.314 | 0.904 | 229.73 | 0.85 | 210.381 | 14.45 | 888 | 89.32 | 0.97067
2020-10-24 04:45:00 | 0.716 | 213.16 | 0.696 | 187.3707 | 0.58667 | 208.47 | 0.58933 | 188.33 | 14.4933 | 888 | 90.04 | 0.942
2020-10-24 05:00:00 | 0.57867 | 214.4 | 0.54067 | 209.402 | 0.44867 | 209.682 | 0.41333 | 210.4727 | 14.44 | 888 | 91.5733 | 0.914
2020-10-24 05:15:00 | 0.736 | 207.05 | 0.727 | 205.838 | 0.595 | 202.496 | 0.613 | 206.893 | 14.4 | 888 | 91.86 | 1.1853
2020-10-24 05:30:00 | 0.67133 | 225.24 | 0.626 | 196.7673 | 0.506 | 220.2847 | 0.47 | 197.772 | 14.4267 | 888 | 91.76 | 1.0513
2020-10-24 05:45:00 | 0.74667 | 262.1733 | 0.72333 | 231.46 | 0.748 | 256.406 | 0.70667 | 232.642 | 14.3467 | 888 | 92.4133 | 0.892
2020-10-24 06:00:00 | 0.837 | 330.81 | 0.841 | 247.12 | 1.107 | 323.531 | 1.037 | 248.386 | 14.32 | 888 | 93.31 | 0.98
2020-10-24 06:15:00 | 0.837 | 330.81 | 0.841 | 247.12 | 1.107 | 323.531 | 1.037 | 248.386 | 14.32 | 888 | 93.31 | 0.98
2020-10-24 06:30:00 | 1.08 | 333.08 | 1.104 | 309.03 | 1.582 | 325.752 | 1.486 | 310.608 | 14.04 | 888 | 94.3 | 0.46267
2020-10-24 06:45:00 | 0.95 | 280.66 | 0.999 | 306.65 | 1.48 | 274.485 | 1.416 | 308.219 | 14.15 | 888 | 94.82 | 0.148
2020-10-24 07:00:00 | 0.932 | 299.72 | 0.938 | 285.614 | 1.426 | 291.914 | 1.292 | 287.074 | 14.18 | 888 | 94.42 | 0.19067
2020-10-24 07:15:00 | 0.848 | 296.78 | 0.882 | 277.558 | 1.178 | 290.252 | 1.146 | 278.976 | 14.32 | 888 | 93.92 | 0.376
2020-10-24 07:30:00 | 0.721 | 338 | 0.756 | 289.273 | 1.025 | 330.562 | 1.005 | 290.751 | 14.37 | 888 | 93.5 | 0.22667
2020-10-24 07:45:00 | 1.018 | 242.98 | 1.097 | 322.134 | 1.454 | 237.633 | 1.479 | 323.782 | 14.18 | 888 | 93.44 | 0.226
2020-10-24 08:00:00 | 1.1 | 108.42 | 1.202 | 322.184 | 1.615 | 106.034 | 1.658 | 323.83 | 14.19 | 888 | 93.84 | 0.67267
2020-10-24 08:15:00 | 1.318 | 115.84 | 1.391 | 335.778 | 1.838 | 113.291 | 1.822 | 337.495 | 14.06 | 889 | 94.16 | 0.66467
2020-10-24 08:30:00 | 0.693 | 311.42 | 0.744 | 283.141 | 0.98 | 304.569 | 0.997 | 284.586 | 14.45 | 889 | 92.76 | 0.666
2020-10-24 08:45:00 | 0.379 | 58.69 | 0.368 | 185.4 | 0.478 | 57.398 | 0.434 | 186.348 | 14.68 | 889 | 90.69 | 1.3033
2020-10-24 09:00:00 | 0.447 | 259.52 | 0.431 | 188.92 | 0.595 | 253.809 | 0.517 | 189.887 | 14.78 | 889 | 88.64 | 1.4007
2020-10-24 09:15:00 | 0.366 | 296.79 | 0.378 | 207.219 | 0.437 | 290.261 | 0.44 | 208.279 | 14.94 | 890 | 87.32 | 1.366
2020-10-24 09:30:00 | 0.665 | 246.54 | 0.649 | 193.576 | 0.586 | 241.116 | 0.581 | 194.566 | 14.8 | 890 | 87.2 | 2.068
2020-10-24 09:45:00 | 1.014 | 208.92 | 0.984 | 213.872 | 0.816 | 204.322 | 0.816 | 214.962 | 14.82 | 890 | 91.48 | 2.3633
2020-10-24 10:00:00 | 0.963 | 202.75 | 0.973 | 189.556 | 0.85 | 198.289 | 0.907 | 190.525 | 15.07 | 890 | 91.6 | 1.7027
2020-10-24 10:15:00 | 0.84467 | 194.3733 | 0.86667 | 222.664 | 1.016 | 190.026 | 1.0133 | 223.8033 | 15.58 | 891 | 90.3933 | 1.5487
2020-10-24 10:30:00 | 0.707 | 179.88 | 0.701 | 182.416 | 0.756 | 175.922 | 0.729 | 183.349 | 15.63 | 891 | 84.54 | 1.4507
2020-10-24 10:45:00 | 1.025 | 206.34 | 1.027 | 179.56 | 1.107 | 201.8 | 1.09 | 180.477 | 16 | 891 | 83.05 | 1.2647
2020-10-24 11:00:00 | 1.267 | 201.2 | 1.343 | 181.351 | 1.407 | 198.31 | 1.514 | 182.278 | 15.97 | 891 | 83.16 | 1.5147
2020-10-24 11:15:00 | 1.31 | 164.82 | 1.304 | 160.606 | 1.524 | 161.192 | 1.452 | 161.428 | 16.36 | 891 | 82.08 | 1.896
2020-10-24 11:30:00 | 1.4787 | 189.1267 | 1.51 | 147.8473 | 1.6207 | 184.9667 | 1.64 | 148.6033 | 16.0133 | 891 | 81.2267 | 1.7573
2020-10-24 11:45:00 | 1.6287 | 165.4 | 1.6 | 140.6753 | 1.734 | 161.7613 | 1.6473 | 141.3947 | 16.1867 | 891 | 82.3133 | 1.33
2020-10-24 12:00:00 | 1.799 | 136.88 | 1.773 | 140.821 | 1.862 | 133.868 | 1.793 | 141.543 | 16.04 | 891 | 81.006 | 1.468
2020-10-24 12:15:00 | 2.41 | 147.2 | 2.472 | 144.648 | 2.616 | 143.962 | 2.672 | 145.386 | 16.04 | 891 | 80.1 | 2.0947
2020-10-24 12:30:00 | 2.392 | 158.96 | 2.474 | 134.712 | 2.828 | 155.464 | 2.86 | 135.398 | 16 | 890 | 79.576 | 3.0293
2020-10-24 12:45:00 | 2.434 | 156.98 | 2.448 | 136.7033 | 2.8847 | 153.3687 | 2.7767 | 137.4033 | 16.04 | 890 | 78.9393 | 2.9
2020-10-24 13:00:00 | 2.4753 | 167.24 | 2.5033 | 145.1613 | 2.7827 | 165.8873 | 2.746 | 145.9047 | 16.1133 | 890 | 78.5853 | 2.1547
2020-10-24 13:15:00 | 2.423 | 158.43 | 2.451 | 139.443 | 2.772 | 154.945 | 2.728 | 140.156 | 16.32 | 890 | 77.971 | 1.362
2020-10-24 13:30:00 | 2.5773 | 147.3533 | 2.6 | 133.47 | 2.8093 | 143.478 | 2.784 | 134.152 | 16.36 | 889.2 | 78.1887 | 1.25
2020-10-24 13:45:00 | 2.237 | 164.13 | 2.192 | 134.985 | 2.499 | 160.52 | 2.339 | 135.674 | 16.38 | 889 | 78.689 | 1.1113
2020-10-24 14:00:00 | 2.0607 | 129.08 | 2.118 | 130.8293 | 2.3513 | 126.2413 | 2.3773 | 131.4987 | 16.46 | 889 | 78.7367 | 0.079333
2020-10-24 14:15:00 | 2.313 | 137.82 | 2.381 | 128.598 | 2.617 | 134.787 | 2.662 | 129.254 | 16.61 | 889 | 77.605 | 0.23733
2020-10-24 14:30:00 | 2.002 | 171.42 | 2.054 | 137.33 | 2.415 | 167.12 | 2.393 | 138.033 | 16.61 | 889 | 76.916 | 0
2020-10-24 14:45:00 | 1.499 | 138.82 | 1.504 | 144.764 | 1.751 | 135.766 | 1.688 | 145.503 | 16.8 | 888 | 77.114 | 0
2020-10-24 15:00:00 | 1.499 | 138.82 | 1.504 | 144.764 | 1.751 | 135.766 | 1.688 | 145.503 | 16.8 | 888 | 77.114 | 0
2020-10-24 15:15:00 | 2.016 | 149.46 | 2.082 | 144.978 | 2.074 | 146.172 | 2.182 | 145.72 | 16.74 | 888 | 77.93 | 0
2020-10-24 15:30:00 | 1.5 | 145.84 | 1.574 | 145.388 | 1.574 | 142.632 | 1.698 | 146.132 | 17.02 | 888 | 78.318 | 0
2020-10-24 15:45:00 | 1.554 | 164.5 | 1.614 | 168.958 | 1.91 | 160.882 | 1.922 | 169.822 | 17.14 | 888 | 77.272 | 0
2020-10-24 16:00:00 | 1.76 | 194.33 | 1.815 | 181.996 | 2.095 | 189.194 | 2.087 | 182.926 | 17.01 | 888 | 78.2 | 0
2020-10-24 16:15:00 | 1.88 | 193.71 | 1.961 | 174.23 | 2.14 | 189.448 | 2.22 | 175.12 | 17.02 | 888 | 79.245 | 0
2020-10-24 16:30:00 | 2.077 | 192.11 | 2.188 | 176.089 | 2.396 | 187.883 | 2.515 | 176.99 | 16.87 | 888 | 80.7 | 0
2020-10-24 16:45:00 | 2.37 | 196.97 | 2.528 | 185.379 | 2.7 | 192.636 | 2.906 | 186.327 | 16.85 | 888 | 81.42 | 0.176
2020-10-24 17:00:00 | 2.095 | 189.61 | 2.23 | 185.82 | 2.391 | 185.438 | 2.56 | 186.77 | 16.59 | 888 | 81.62 | 0.52133
2020-10-24 17:15:00 | 1.914 | 184.98 | 2.058 | 165.967 | 2.366 | 180.911 | 2.508 | 166.814 | 16.61 | 888 | 81.53 | 1.0907
2020-10-24 17:30:00 | 2.28 | 186.52 | 2.4 | 182.983 | 2.661 | 182.417 | 2.782 | 183.919 | 16.59 | 888 | 80.64 | 1.1747
2020-10-24 17:45:00 | 2.037 | 195.17 | 2.083 | 183.795 | 2.265 | 190.875 | 2.292 | 184.735 | 16.53 | 888 | 80.66 | 0.744
2020-10-24 18:00:00 | 1.689 | 202.24 | 1.743 | 189.945 | 1.848 | 196.95 | 1.905 | 190.918 | 16.51 | 888 | 81.08 | 0.80667
2020-10-24 18:15:00 | 1.473 | 205.23 | 1.527 | 194.348 | 1.462 | 200.715 | 1.566 | 195.342 | 16.49 | 888 | 83.86 | 0.494
2020-10-24 18:30:00 | 1.473 | 205.23 | 1.527 | 194.348 | 1.462 | 200.715 | 1.566 | 195.342 | 16.49 | 888 | 83.86 | 0.494
2020-10-24 18:45:00 | 2.178 | 195.6 | 2.326 | 170.974 | 2.404 | 191.296 | 2.622 | 171.846 | 16.5 | 888 | 85 | 1.172
2020-10-24 19:00:00 | 2.049 | 172.31 | 2.12 | 163.22 | 2.252 | 168.518 | 2.33 | 164.054 | 16.42 | 888 | 82.32 | 1.6707
2020-10-24 19:15:00 | 1.925 | 184.4 | 1.96 | 169.557 | 1.931 | 180.588 | 2.009 | 170.423 | 16.4 | 888 | 82.29 | 2.1127
2020-10-24 19:30:00 | 1.925 | 184.4 | 1.96 | 169.557 | 1.931 | 180.588 | 2.009 | 170.423 | 16.4 | 888 | 82.29 | 2.1127
2020-10-24 19:45:00 | 1.689 | 192.72 | 1.732 | 174.357 | 1.742 | 188.119 | 1.806 | 175.249 | 16.18 | 888 | 82.01 | 0.93467
2020-10-24 20:00:00 | 1.581 | 203.56 | 1.612 | 201.352 | 1.638 | 199.082 | 1.682 | 202.379 | 16.15 | 888 | 84.68 | 0.39733
2020-10-24 20:15:00 | 1.592 | 204.39 | 1.66 | 195.043 | 1.743 | 199.893 | 1.827 | 196.039 | 16.27 | 889 | 85.4 | 0.17
2020-10-24 20:30:00 | 1.592 | 204.39 | 1.66 | 195.043 | 1.743 | 199.893 | 1.827 | 196.039 | 16.27 | 889 | 85.4 | 0.17
2020-10-24 20:45:00 | 1.747 | 220.81 | 1.824 | 212.333 | 1.873 | 216.118 | 1.987 | 213.418 | 16.42 | 889 | 84.66 | 0
2020-10-24 21:00:00 | 1.586 | 210.7 | 1.668 | 187.97 | 1.692 | 206.066 | 1.822 | 188.932 | 16.4 | 889 | 84.04 | 0.031333
2020-10-24 21:15:00 | 1.586 | 210.7 | 1.668 | 187.97 | 1.692 | 206.066 | 1.822 | 188.932 | 16.4 | 889 | 84.04 | 0.031333
2020-10-24 21:30:00 | 1.119 | 210.98 | 1.179 | 187.414 | 1.234 | 206.338 | 1.317 | 188.372 | 16.36 | 889.7 | 79.288 | 0
2020-10-24 21:45:00 | 1.0887 | 214.5067 | 1.144 | 194.362 | 1.1807 | 209.788 | 1.254 | 195.3553 | 16.4 | 889.4667 | 78.742 | 0
2020-10-24 22:00:00 | 0.659 | 212.61 | 0.688 | 182.661 | 0.669 | 207.933 | 0.721 | 183.595 | 16.53 | 890 | 78.642 | 0
2020-10-24 22:15:00 | 0.872 | 202.16 | 0.932 | 168.06 | 0.982 | 197.712 | 1.058 | 168.92 | 16.5 | 890 | 80.76 | 0
2020-10-24 22:30:00 | 0.727 | 195.53 | 0.778 | 175.159 | 0.765 | 191.226 | 0.855 | 176.055 | 16.47 | 890 | 82.228 | 0
2020-10-24 22:45:00 | 0.32933 | 217.8867 | 0.348 | 184.678 | 0.24733 | 213.0933 | 0.30533 | 185.6227 | 16.5133 | 890 | 86.34 | 0
2020-10-24 23:00:00 | 0.467 | 237.56 | 0.481 | 256.726 | 0.603 | 232.336 | 0.586 | 258.037 | 16.53 | 890 | 88.14 | 0
2020-10-24 23:15:00 | 0.467 | 237.56 | 0.481 | 256.726 | 0.603 | 232.336 | 0.586 | 258.037 | 16.53 | 890 | 88.14 | 0
2020-10-24 23:30:00 | 0.86 | 231.32 | 0.864 | 282.936 | 0.962 | 226.23 | 0.942 | 284.382 | 16.4 | 890 | 90.44 | 0
2020-10-24 23:45:00 | 0.806 | 259.45 | 0.825 | 279.248 | 1.055 | 253.742 | 1.019 | 280.676 | 16.38 | 890 | 92.53 | 0