## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-25 00:00:00 | 1.142 | 344.22 | 1.208 | 332.09 | 1.738 | 336.648 | 1.696 | 333.786 | 15.84 | 890 | 92.1 | 0
2020-10-25 00:15:00 | 1.1787 | 148.4067 | 1.2093 | 330.5133 | 1.4307 | 145.1427 | 1.4147 | 332.202 | 15.8 | 890 | 90.34 | 0
2020-10-25 00:30:00 | 1.2293 | 59.02 | 1.274 | 342.0847 | 1.3313 | 57.722 | 1.3853 | 343.834 | 15.6733 | 890 | 90.0867 | 0
2020-10-25 00:45:00 | 1.3367 | 52.6933 | 1.4093 | 342.0653 | 1.5047 | 51.5347 | 1.5947 | 343.814 | 15.7 | 889.5333 | 90.5133 | 0
2020-10-25 01:00:00 | 1.004 | 190.3533 | 1.0353 | 327.566 | 1.3533 | 186.166 | 1.3087 | 329.2393 | 15.7267 | 889 | 89.98 | 0
2020-10-25 01:15:00 | 0.52733 | 177.1067 | 0.54333 | 330.974 | 0.68933 | 173.2107 | 0.672 | 332.6667 | 15.8533 | 889 | 89.8533 | 0
2020-10-25 01:30:00 | 1.104 | 337.3867 | 1.1207 | 229.0867 | 1.1813 | 329.9633 | 1.1913 | 230.2567 | 15.6467 | 889 | 91.7667 | 0
2020-10-25 01:45:00 | 1.9153 | 327.0667 | 2.026 | 341.3933 | 2.1747 | 320.0147 | 2.3067 | 343.1393 | 15.4 | 889 | 94.6933 | 0
2020-10-25 02:00:00 | 2.252 | 190.5933 | 2.34 | 329.964 | 2.642 | 186.3987 | 2.6953 | 331.6507 | 15.2067 | 889 | 95.7 | 0
2020-10-25 02:15:00 | 2.5547 | 249.5733 | 2.6253 | 321.2393 | 3.056 | 243.8287 | 3.046 | 322.882 | 15.0667 | 888.5333 | 95.5733 | 0.85667
2020-10-25 02:30:00 | 2.638 | 276.6933 | 2.698 | 315.0133 | 3.3253 | 270.6073 | 3.2407 | 316.6233 | 14.88 | 888 | 95.68 | 1.69
2020-10-25 02:45:00 | 2.3673 | 290.7867 | 2.41 | 316.1753 | 2.9667 | 284.3887 | 2.878 | 317.792 | 14.6733 | 888 | 95.2933 | 1.2313
2020-10-25 03:00:00 | 1.8573 | 245.3267 | 1.766 | 312.1847 | 2.2913 | 239.93 | 1.994 | 313.7807 | 14.5067 | 888 | 94.1533 | 0.37
2020-10-25 03:15:00 | 2.3193 | 192.2667 | 2.2613 | 312.464 | 2.844 | 188.0373 | 2.584 | 314.0627 | 14.4333 | 888 | 93.3067 | 1.194
2020-10-25 03:30:00 | 3.1253 | 316.58 | 3.2587 | 326.5533 | 3.8487 | 310.652 | 3.902 | 328.2233 | 14.2867 | 888 | 92.7 | 4.3587
2020-10-25 03:45:00 | 3.3387 | 341.3267 | 3.4713 | 329.142 | 4.048 | 333.818 | 4.094 | 330.824 | 14.0533 | 888 | 92.9067 | 6.5287
2020-10-25 04:00:00 | 3.7693 | 346.4733 | 3.9693 | 329.6573 | 4.586 | 338.7267 | 4.7293 | 331.3433 | 13.7533 | 888 | 93.3267 | 9.084
2020-10-25 04:15:00 | 3.7527 | 341.3067 | 3.9053 | 324.6033 | 4.6467 | 333.7967 | 4.6807 | 326.264 | 13.74 | 888 | 93.2467 | 8.252
2020-10-25 04:30:00 | 3.2753 | 330.9867 | 3.4253 | 321.644 | 4.238 | 323.7053 | 4.246 | 323.2887 | 13.96 | 888 | 93.18 | 6.5947
2020-10-25 04:45:00 | 3.2953 | 333.02 | 3.51 | 313.156 | 4.2327 | 325.132 | 4.366 | 314.7573 | 14.1 | 888 | 92.44 | 6.6193
2020-10-25 05:00:00 | 3.4973 | 331.5267 | 3.7193 | 320.4253 | 4.3407 | 325.4207 | 4.5193 | 322.0633 | 13.8267 | 888 | 93.2333 | 7.6747
2020-10-25 05:15:00 | 3.4233 | 334.32 | 3.5733 | 325.394 | 4.3207 | 326.9647 | 4.3467 | 327.0567 | 13.76 | 888 | 93.2333 | 7.4307
2020-10-25 05:30:00 | 3.8533 | 336.9867 | 4.0227 | 326.814 | 4.7647 | 328.9473 | 4.8227 | 328.4853 | 13.76 | 888 | 93.1267 | 9.9653
2020-10-25 05:45:00 | 3.876 | 338.6 | 4.114 | 326.0513 | 4.75 | 331.1513 | 4.9507 | 327.7187 | 13.5133 | 888 | 92.2267 | 10.4653
2020-10-25 06:00:00 | 4.168 | 338.0867 | 4.4593 | 333.1593 | 5.004 | 330.6487 | 5.3153 | 334.862 | 13.3933 | 888 | 92.6067 | 12.678
2020-10-25 06:15:00 | 4.5247 | 341.4067 | 4.8327 | 329.364 | 5.324 | 333.2053 | 5.6787 | 331.0493 | 13.44 | 888 | 92.7333 | 14.2367
2020-10-25 06:30:00 | 4.3033 | 332.3933 | 4.5573 | 323.1833 | 5.23 | 325.08 | 5.4427 | 324.8367 | 13.2867 | 888 | 93.1133 | 14.0767
2020-10-25 06:45:00 | 3.8467 | 322.34 | 4.0947 | 322.374 | 4.7167 | 315.2493 | 4.9353 | 324.0227 | 13.2467 | 888 | 93.1467 | 11.502
2020-10-25 07:00:00 | 3.9447 | 350.48 | 4.212 | 320.2033 | 4.772 | 342.7687 | 5.0387 | 321.8407 | 13.0867 | 888 | 93.9467 | 11.224
2020-10-25 07:15:00 | 3.9033 | 347.42 | 4.1873 | 311.8967 | 4.708 | 339.776 | 5.0113 | 313.492 | 13.0533 | 888 | 94.5 | 10.822
2020-10-25 07:30:00 | 4.17 | 340.0933 | 4.3893 | 310.5213 | 5.0073 | 333.564 | 5.1827 | 312.1093 | 13.1333 | 888.1333 | 95.0267 | 12.5253
2020-10-25 07:45:00 | 4.1253 | 329.04 | 4.3693 | 316.832 | 5.0613 | 321.802 | 5.254 | 318.452 | 12.9933 | 889 | 95.06 | 12.6673
2020-10-25 08:00:00 | 4.0987 | 342.48 | 4.3007 | 322.7007 | 5.128 | 334.9453 | 5.2113 | 324.3507 | 12.9133 | 889 | 94.1667 | 12.3007
2020-10-25 08:15:00 | 3.914 | 338.4 | 4.1027 | 322.6873 | 4.8667 | 331.5287 | 4.95 | 324.3387 | 12.92 | 889 | 92.6733 | 11.5767
2020-10-25 08:30:00 | 4.0287 | 346.2333 | 4.1967 | 319.8653 | 4.7853 | 339.08 | 4.8907 | 321.4993 | 13.22 | 889 | 91.4933 | 10.6547
2020-10-25 08:45:00 | 4.294 | 341.38 | 4.5553 | 320.2747 | 5.242 | 333.8707 | 5.46 | 321.9127 | 13.3733 | 889.4667 | 91.92 | 12.5233
2020-10-25 09:00:00 | 3.9927 | 333.72 | 4.2453 | 317.0953 | 5.006 | 326.378 | 5.192 | 318.7147 | 13.2533 | 890 | 91.3533 | 11.782
2020-10-25 09:15:00 | 4.18 | 338.1267 | 4.4393 | 317.1 | 5.24 | 330.6867 | 5.426 | 318.722 | 13.2067 | 890 | 91.8267 | 13.0827
2020-10-25 09:30:00 | 4.29 | 332.0333 | 4.5147 | 323.4887 | 5.3553 | 324.8447 | 5.4747 | 325.144 | 13.18 | 890 | 91.3067 | 13.8667
2020-10-25 09:45:00 | 3.9727 | 333.5333 | 4.226 | 323.1513 | 5.038 | 326.1947 | 5.2107 | 324.802 | 13.3067 | 890 | 90.48 | 12.924
2020-10-25 10:00:00 | 3.9827 | 336.0867 | 4.2327 | 323.7647 | 4.9307 | 328.6927 | 5.1287 | 325.42 | 13.3533 | 890 | 90.1067 | 11.8347
2020-10-25 10:15:00 | 4.23 | 334.0067 | 4.4633 | 322.102 | 5.2247 | 326.66 | 5.3807 | 323.748 | 13.4067 | 890 | 89.2333 | 12.2493
2020-10-25 10:30:00 | 4.1287 | 333.3667 | 4.3073 | 321.8667 | 5.2167 | 326.032 | 5.242 | 323.512 | 13.42 | 890 | 89.0733 | 13.248
2020-10-25 10:45:00 | 4.1833 | 332.76 | 4.3893 | 320.5027 | 5.1373 | 325.4407 | 5.2533 | 322.1427 | 13.3533 | 890.4667 | 89.3533 | 12.3113
2020-10-25 11:00:00 | 4.2447 | 336.12 | 4.5273 | 323.4133 | 5.164 | 328.7253 | 5.434 | 325.0647 | 13.26 | 891 | 89.1 | 12.3353
2020-10-25 11:15:00 | 4.192 | 311.7667 | 4.564 | 325.0213 | 5.22 | 304.9087 | 5.6253 | 326.684 | 13.1733 | 891 | 89.3067 | 12.5793
2020-10-25 11:30:00 | 4.512 | 340.1867 | 5.0353 | 328.322 | 5.3707 | 332.7033 | 6.1133 | 329.9993 | 13.2333 | 890.8667 | 88.7333 | 12.2453
2020-10-25 11:45:00 | 4.0353 | 337.5933 | 4.3987 | 324.2973 | 4.842 | 330.168 | 5.294 | 325.956 | 13.2933 | 890 | 87.6 | 10.332
2020-10-25 12:00:00 | 3.656 | 323.6267 | 3.9353 | 322.5507 | 4.3 | 316.508 | 4.648 | 324.1993 | 13.4667 | 890 | 85.4467 | 8.1307
2020-10-25 12:15:00 | 4.0487 | 333.82 | 4.446 | 323.4387 | 4.7553 | 326.476 | 5.3033 | 325.0913 | 13.7533 | 890 | 84.5467 | 7.2087
2020-10-25 12:30:00 | 3.4233 | 324.9733 | 3.6847 | 322.2 | 4.1487 | 317.8227 | 4.432 | 323.8447 | 14.04 | 890 | 83.1 | 5.4273
2020-10-25 12:45:00 | 2.9933 | 301.8067 | 3.1167 | 318.1827 | 3.6013 | 295.1673 | 3.6587 | 319.8087 | 14.2133 | 890 | 82.5733 | 3.8133
2020-10-25 13:00:00 | 2.7293 | 298.4067 | 2.798 | 319.8573 | 3.32 | 291.8427 | 3.2807 | 321.4933 | 14.28 | 890 | 81.8 | 2.9027
2020-10-25 13:15:00 | 2.4067 | 312.7267 | 2.4093 | 317.758 | 2.924 | 305.0713 | 2.784 | 319.3827 | 14.4667 | 890 | 82.6133 | 1.972
2020-10-25 13:30:00 | 2.566 | 280.3533 | 2.636 | 324.3567 | 3.0493 | 275.034 | 3.04 | 326.0167 | 14.5333 | 889.2 | 82.4667 | 1.6513
2020-10-25 13:45:00 | 2.6987 | 278.1133 | 2.8507 | 320.1313 | 3.2813 | 271.9953 | 3.4007 | 321.7693 | 14.66 | 889 | 82.5733 | 1.572
2020-10-25 14:00:00 | 2.686 | 330.2067 | 2.8507 | 313.3833 | 3.246 | 322.942 | 3.3953 | 314.986 | 14.9 | 889 | 82.08 | 1.4873
2020-10-25 14:15:00 | 2.8053 | 303.1 | 2.934 | 307.66 | 3.402 | 296.4327 | 3.4773 | 309.2313 | 14.8133 | 889 | 82.8467 | 2.138
2020-10-25 14:30:00 | 2.8087 | 257.88 | 2.936 | 304.42 | 3.362 | 252.208 | 3.44 | 305.9767 | 14.8133 | 889 | 83.78 | 2.3433
2020-10-25 14:45:00 | 2.8133 | 276.9333 | 2.9627 | 306.1147 | 3.3553 | 270.842 | 3.4847 | 307.6787 | 14.8867 | 889 | 83.8733 | 2.5793
2020-10-25 15:00:00 | 2.8427 | 301.2467 | 3.0287 | 309.7653 | 3.5307 | 294.62 | 3.684 | 311.348 | 14.8867 | 889 | 83.7 | 2.7627
2020-10-25 15:15:00 | 2.8353 | 303.0867 | 3.028 | 324.1933 | 3.5073 | 295.9893 | 3.6733 | 325.8507 | 14.8867 | 888.5333 | 83.62 | 2.574
2020-10-25 15:30:00 | 2.7487 | 318.5267 | 2.8933 | 322.0567 | 3.4253 | 312.262 | 3.4913 | 323.702 | 14.8733 | 888 | 83.4467 | 2.6707
2020-10-25 15:45:00 | 2.9967 | 342.3067 | 3.178 | 321.9053 | 3.5773 | 334.6587 | 3.756 | 323.5507 | 14.8733 | 888 | 83.24 | 3.342
2020-10-25 16:00:00 | 2.8327 | 337.7333 | 3.0173 | 322.0813 | 3.4873 | 330.302 | 3.652 | 323.7293 | 14.9333 | 888 | 83.0933 | 3.2833
2020-10-25 16:15:00 | 2.9467 | 342.42 | 3.144 | 326.2147 | 3.6507 | 334.886 | 3.8193 | 327.8833 | 14.8733 | 888 | 83.5467 | 4.066
2020-10-25 16:30:00 | 3.104 | 309.5533 | 3.2833 | 322.628 | 3.7833 | 302.7433 | 3.926 | 324.2787 | 14.84 | 888 | 84.3067 | 4.46
2020-10-25 16:45:00 | 3.1627 | 336.16 | 3.3593 | 316.0247 | 3.8887 | 328.7647 | 4.0467 | 317.642 | 14.8 | 888 | 86.0667 | 4.5933
2020-10-25 17:00:00 | 3.19 | 335.7133 | 3.392 | 319.1213 | 3.9087 | 328.8493 | 4.0847 | 320.7547 | 14.8133 | 888 | 87.4133 | 4.5907
2020-10-25 17:15:00 | 3.3913 | 335.5133 | 3.6147 | 320.0087 | 4.0773 | 328.1327 | 4.3013 | 321.6453 | 14.8067 | 888 | 88.0067 | 5.2627
2020-10-25 17:30:00 | 3.524 | 338.1733 | 3.7453 | 322.492 | 4.084 | 330.7333 | 4.344 | 324.14 | 14.7133 | 888 | 89.0467 | 5.9087
2020-10-25 17:45:00 | 3.9093 | 335.6267 | 4.1713 | 321.2147 | 4.486 | 328.2413 | 4.8187 | 322.8567 | 14.7533 | 888 | 89.3867 | 7.986
2020-10-25 18:00:00 | 4.098 | 342.9267 | 4.3907 | 320.81 | 4.7353 | 335.3827 | 5.108 | 322.4513 | 14.72 | 888 | 90.1067 | 9.8007
2020-10-25 18:15:00 | 3.9927 | 344.92 | 4.3127 | 321.2333 | 4.6253 | 337.742 | 5.0487 | 322.8767 | 14.6333 | 888 | 90.62 | 9.5787
2020-10-25 18:30:00 | 3.8267 | 285 | 4.15 | 319.5907 | 4.4887 | 279.1873 | 4.9087 | 321.2247 | 14.6867 | 888.1333 | 90.6667 | 8.8033
2020-10-25 18:45:00 | 3.9147 | 259.7467 | 4.2287 | 320.6927 | 4.558 | 254.0327 | 4.9687 | 322.3313 | 14.6467 | 889 | 91.4867 | 10.008
2020-10-25 19:00:00 | 4.1687 | 345.6333 | 4.48 | 318.02 | 4.7707 | 338.0293 | 5.1887 | 319.6453 | 14.6 | 889 | 90.8467 | 11.3727
2020-10-25 19:15:00 | 4.024 | 337.06 | 4.3153 | 315.7953 | 4.774 | 330.0753 | 5.1133 | 317.41 | 14.42 | 889 | 91.1933 | 13.2813
2020-10-25 19:30:00 | 4.662 | 332.3667 | 4.978 | 327.6233 | 5.422 | 325.056 | 5.804 | 329.2987 | 14.3933 | 889 | 91.0733 | 18.21
2020-10-25 19:45:00 | 5.4327 | 340.72 | 5.7993 | 326.7233 | 6.0753 | 333.2233 | 6.5853 | 328.3933 | 14.88 | 889.4667 | 90.34 | 22.5467
2020-10-25 20:00:00 | 5.7167 | 337.2 | 6.1307 | 322.428 | 6.398 | 329.782 | 6.9867 | 324.0753 | 14.8267 | 890 | 90.6333 | 26.2453
2020-10-25 20:15:00 | 5.6993 | 338.3133 | 6.106 | 324.0553 | 6.494 | 330.8693 | 7.0367 | 325.7147 | 14.9933 | 890 | 90.5733 | 25.6513
2020-10-25 20:30:00 | 5.6347 | 339.0667 | 6.038 | 328.6733 | 6.4347 | 331.606 | 6.966 | 330.3533 | 14.94 | 890 | 90.4067 | 26.3073
2020-10-25 20:45:00 | 5.06 | 339.7933 | 5.412 | 334.802 | 5.7267 | 332.3187 | 6.206 | 336.514 | 14.76 | 890 | 91.02 | 22.0353
2020-10-25 21:00:00 | 4.8827 | 343.2867 | 5.226 | 329.41 | 5.4533 | 335.7327 | 5.94 | 331.0933 | 14.8733 | 890 | 91.5133 | 18.878
2020-10-25 21:15:00 | 4.8627 | 347.3867 | 5.1513 | 326.9387 | 5.4293 | 339.744 | 5.812 | 328.6107 | 14.92 | 890 | 91.54 | 20.0573
2020-10-25 21:30:00 | 4.7707 | 324.4467 | 5.052 | 330.9167 | 5.4833 | 315.9727 | 5.81 | 332.608 | 14.8467 | 890 | 92.3 | 19.9567
2020-10-25 21:45:00 | 4.6007 | 343.98 | 4.9487 | 327.2 | 5.302 | 336.1853 | 5.7593 | 328.8713 | 14.6333 | 890 | 93.6333 | 18.3827
2020-10-25 22:00:00 | 4.528 | 324.2067 | 4.8093 | 325.6353 | 5.176 | 317.0747 | 5.5233 | 327.2993 | 14.7867 | 890 | 94.4 | 16.068
2020-10-25 22:15:00 | 4.494 | 347.9733 | 4.7453 | 319.696 | 5.0907 | 340.3187 | 5.3933 | 321.3293 | 14.78 | 890 | 94.1533 | 16.4933
2020-10-25 22:30:00 | 4.496 | 335.92 | 4.7647 | 321.292 | 4.9427 | 328.5293 | 5.324 | 322.936 | 15.1533 | 890.8 | 93.6267 | 14.7313
2020-10-25 22:45:00 | 4.7733 | 335.2067 | 5.102 | 317.3093 | 5.416 | 328.0607 | 5.8553 | 318.932 | 15.08 | 891 | 94.4 | 18.582
2020-10-25 23:00:00 | 4.9813 | 340.7533 | 5.3113 | 326.008 | 5.6713 | 333.2567 | 6.0993 | 327.6733 | 15.08 | 891 | 95.2933 | 20.0047
2020-10-25 23:15:00 | 5.132 | 339.4333 | 5.4447 | 326.8207 | 5.8287 | 331.966 | 6.22 | 328.492 | 14.9867 | 891 | 95.2467 | 23.1627
2020-10-25 23:30:00 | 5.1767 | 346.0733 | 5.5127 | 327.368 | 5.7713 | 338.46 | 6.2333 | 329.0427 | 14.9533 | 891 | 95.1267 | 24.6407
2020-10-25 23:45:00 | 5.3293 | 344.3 | 5.68 | 326.24 | 5.93 | 336.7253 | 6.4267 | 327.9087 | 14.9333 | 891 | 95.4267 | 25.7873