## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-26 00:00:00 | 5.4787 | 350.1533 | 5.8787 | 326.0587 | 6.2213 | 341.852 | 6.7667 | 327.726 | 14.5933 | 891 | 95.18 | 29.468
2020-10-26 00:15:00 | 5.4233 | 327.2667 | 5.7973 | 328.3273 | 6.356 | 320.0673 | 6.7967 | 330.0067 | 14.3 | 891 | 95.18 | 31.6013
2020-10-26 00:30:00 | 5.44 | 345.2933 | 5.724 | 328.8353 | 6.3007 | 337.6967 | 6.588 | 330.5167 | 14.6333 | 890.8667 | 95.4333 | 31.472
2020-10-26 00:45:00 | 4.878 | 303.6733 | 5.1087 | 328.818 | 5.6927 | 296.9927 | 5.8887 | 330.4973 | 14.8667 | 890 | 94.9267 | 24.9893
2020-10-26 01:00:00 | 4.532 | 348.1933 | 4.8 | 325.028 | 5.4207 | 340.5333 | 5.6707 | 326.69 | 14.5267 | 890 | 94.82 | 22.108
2020-10-26 01:15:00 | 4.2627 | 343.8867 | 4.51 | 321.736 | 5.138 | 336.3213 | 5.352 | 323.3807 | 14.4333 | 890 | 94.5067 | 18.348
2020-10-26 01:30:00 | 4.2707 | 346.5533 | 4.4993 | 317.96 | 5.074 | 338.9287 | 5.2813 | 319.5867 | 14.6333 | 890 | 94.1867 | 17.0713
2020-10-26 01:45:00 | 4.4607 | 342.94 | 4.7433 | 318.254 | 5.25 | 335.3953 | 5.5567 | 319.8807 | 14.9733 | 890 | 94.0467 | 17.6853
2020-10-26 02:00:00 | 4.2013 | 317.2533 | 4.456 | 319.2127 | 5.1147 | 310.2747 | 5.338 | 320.8447 | 15.0533 | 890 | 94.46 | 15.2493
2020-10-26 02:15:00 | 4.1413 | 316.2667 | 4.3667 | 320.8947 | 5.056 | 308.436 | 5.224 | 322.536 | 15.08 | 890 | 95.4467 | 15.474
2020-10-26 02:30:00 | 4.378 | 339.3267 | 4.6367 | 323.6 | 5.2813 | 331.5287 | 5.5127 | 325.2547 | 15.1333 | 890 | 95.3 | 16.5713
2020-10-26 02:45:00 | 4.6273 | 315.6267 | 4.942 | 324.0587 | 5.4853 | 308.682 | 5.8333 | 325.714 | 15.38 | 890.4667 | 96.0333 | 18.416
2020-10-26 03:00:00 | 4.7227 | 346.1067 | 4.9907 | 322.062 | 5.52 | 338.4913 | 5.7987 | 323.7087 | 15.3933 | 890.2 | 96.94 | 20.5607
2020-10-26 03:15:00 | 4.904 | 341.24 | 5.148 | 325.2107 | 5.596 | 333.6407 | 5.86 | 326.8733 | 15.4533 | 890 | 97.5533 | 23.5167
2020-10-26 03:30:00 | 4.9413 | 298.6867 | 5.1553 | 328.628 | 5.7893 | 292.1153 | 5.9447 | 330.3073 | 15.5 | 890 | 96.9867 | 26.8147
2020-10-26 03:45:00 | 4.9747 | 348.72 | 5.2507 | 327.6027 | 5.8207 | 341.0487 | 6.1027 | 329.2793 | 15.1067 | 890 | 96.6467 | 23.9287
2020-10-26 04:00:00 | 5.094 | 302 | 5.412 | 321.3067 | 5.91 | 295.1287 | 6.2753 | 322.9487 | 14.8533 | 890 | 96.2133 | 25.6427
2020-10-26 04:15:00 | 5.586 | 347.7 | 5.932 | 317.9487 | 6.346 | 340.0507 | 6.7867 | 319.5733 | 15.1067 | 890 | 95.6333 | 32.5807
2020-10-26 04:30:00 | 5.9867 | 320.5067 | 6.4133 | 324.2653 | 6.7513 | 313.4553 | 7.3393 | 325.924 | 14.9867 | 890 | 95.9 | 40.5387
2020-10-26 04:45:00 | 6.91 | 347.7933 | 7.3547 | 335.5707 | 7.4473 | 339.9527 | 8.1407 | 337.288 | 15.36 | 890 | 96.5933 | 49.5553
2020-10-26 05:00:00 | 6.974 | 325.7533 | 7.4313 | 335.1213 | 7.7307 | 318.5867 | 8.378 | 336.834 | 15.1267 | 890 | 97.1867 | 50.5827
2020-10-26 05:15:00 | 6.788 | 326.0733 | 7.2847 | 332.154 | 7.6473 | 319.708 | 8.34 | 333.854 | 15.0533 | 890 | 97.4733 | 51.47
2020-10-26 05:30:00 | 6.516 | 344.4933 | 6.9673 | 329.8793 | 7.1727 | 336.9133 | 7.8387 | 331.566 | 15.3333 | 890 | 96.4467 | 51.688
2020-10-26 05:45:00 | 6.286 | 349.6333 | 6.68 | 329.5867 | 6.8707 | 341.9413 | 7.446 | 331.2713 | 15.2867 | 890 | 96.56 | 47.3813
2020-10-26 06:00:00 | 5.8007 | 351.6067 | 6.1593 | 323.8147 | 6.2433 | 343.8707 | 6.7973 | 325.4707 | 15.22 | 890 | 96.16 | 37.146
2020-10-26 06:15:00 | 6.0767 | 342.5467 | 6.4547 | 324.116 | 6.8127 | 335.0107 | 7.3153 | 325.7727 | 15.3467 | 890 | 95.0133 | 39.2907
2020-10-26 06:30:00 | 6.0967 | 339.5867 | 6.526 | 326.9007 | 6.65 | 332.116 | 7.3047 | 328.5707 | 15.54 | 890.8 | 94.32 | 41.7227
2020-10-26 06:45:00 | 5.898 | 344.68 | 6.3547 | 329.188 | 6.2947 | 337.2987 | 7.0427 | 330.8713 | 15.5467 | 891 | 94.2267 | 41.6047
2020-10-26 07:00:00 | 5.6473 | 342.6333 | 6.09 | 325.9613 | 6.2313 | 335.7147 | 6.9133 | 327.6293 | 15.5 | 891 | 94.8267 | 36.846
2020-10-26 07:15:00 | 5.2287 | 345.1133 | 5.63 | 327.7853 | 5.76 | 337.5213 | 6.366 | 329.4627 | 15.5133 | 891 | 95.4267 | 27.9433
2020-10-26 07:30:00 | 5.802 | 348.2867 | 6.2227 | 330.252 | 6.444 | 340.624 | 7.052 | 331.94 | 15.7067 | 891 | 94.28 | 31.3933
2020-10-26 07:45:00 | 6.2793 | 346.3067 | 6.6873 | 329.3493 | 7.0287 | 338.688 | 7.5893 | 331.0347 | 15.7267 | 891.4667 | 92.2733 | 39.5107
2020-10-26 08:00:00 | 6.54 | 343.8867 | 6.9293 | 330.276 | 7.3067 | 336.322 | 7.822 | 331.9647 | 15.7333 | 892 | 92.2333 | 45.3447
2020-10-26 08:15:00 | 6.5727 | 347.5867 | 6.9953 | 330.0227 | 7.4227 | 339.9393 | 7.98 | 331.71 | 15.7067 | 892 | 91.7 | 46.9007
2020-10-26 08:30:00 | 6.6113 | 350.16 | 7.0647 | 330.146 | 7.2953 | 342.456 | 7.9567 | 331.8347 | 15.5733 | 892 | 92.5267 | 46.6173
2020-10-26 08:45:00 | 6.7213 | 302.8333 | 7.0993 | 338.3233 | 7.2733 | 296.1693 | 7.8307 | 340.052 | 15.8067 | 892 | 92.0867 | 47.088
2020-10-26 09:00:00 | 6.7327 | 353.68 | 7.0853 | 339.086 | 7.4793 | 346.3427 | 7.9347 | 340.8207 | 15.8333 | 892 | 91.6 | 44.806
2020-10-26 09:15:00 | 6.64 | 349.74 | 7.0293 | 334.1247 | 7.4 | 341.896 | 7.9173 | 335.8313 | 15.5267 | 892 | 90.88 | 44.5807
2020-10-26 09:30:00 | 6.8447 | 325.7333 | 7.2573 | 331.914 | 7.582 | 318.5667 | 8.152 | 333.6107 | 15.5133 | 892.8 | 89.7133 | 46.9453
2020-10-26 09:45:00 | 7.1553 | 326.3133 | 7.5693 | 333.8973 | 7.92 | 319.1333 | 8.484 | 335.6027 | 15.6333 | 893 | 88.6467 | 49.2987
2020-10-26 10:00:00 | 7.3 | 326.44 | 7.7813 | 328.0267 | 8.1307 | 319.2593 | 8.802 | 329.7033 | 15.6333 | 893 | 87.9733 | 52.5073
2020-10-26 10:15:00 | 7.7173 | 328.16 | 8.2647 | 332.8453 | 8.7287 | 320.9407 | 9.4707 | 334.548 | 15.62 | 893 | 86.8533 | 52.4613
2020-10-26 10:30:00 | 7.5353 | 301.6 | 8.0687 | 332.0053 | 8.4767 | 294.964 | 9.216 | 333.7013 | 15.2067 | 893 | 84.6333 | 52.1207
2020-10-26 10:45:00 | 7.3427 | 342.92 | 7.8307 | 332.9647 | 7.862 | 335.2053 | 8.6467 | 334.666 | 15.04 | 893 | 82.2933 | 50.9813
2020-10-26 11:00:00 | 7.5593 | 321.9867 | 8.0453 | 332.8727 | 8.1587 | 314.904 | 8.9087 | 334.574 | 14.9667 | 893 | 80.7533 | 51.5567
2020-10-26 11:15:00 | 7.3373 | 320.48 | 7.8047 | 327.3427 | 8.1033 | 313.43 | 8.77 | 329.0167 | 14.86 | 893 | 78.4227 | 51.8647
2020-10-26 11:30:00 | 7.3527 | 337.2 | 7.8813 | 307.2753 | 8.0133 | 329.7813 | 8.8307 | 308.846 | 14.8 | 893 | 77.8353 | 50.8747
2020-10-26 11:45:00 | 7.6627 | 340.6067 | 8.2433 | 323.0273 | 8.262 | 333.1133 | 9.1913 | 324.6787 | 14.7867 | 893 | 76.7853 | 50.4667
2020-10-26 12:00:00 | 7.5933 | 341.12 | 8.2193 | 324.508 | 8.282 | 333.616 | 9.268 | 326.166 | 14.8067 | 893 | 75.1133 | 51.6333
2020-10-26 12:15:00 | 7.6147 | 339.9133 | 8.1947 | 324.2067 | 8.2433 | 332.4333 | 9.162 | 325.864 | 14.9467 | 893 | 74.5353 | 52.394
2020-10-26 12:30:00 | 7.7247 | 340.6 | 8.2953 | 326.19 | 8.3387 | 333.1053 | 9.25 | 328.1453 | 15.0333 | 893 | 74.024 | 51.4747
2020-10-26 12:45:00 | 7.7213 | 318.6933 | 8.2853 | 327.63 | 8.5487 | 311.6827 | 9.384 | 329.3067 | 15.06 | 893 | 73.1253 | 51.632
2020-10-26 13:00:00 | 7.288 | 337.72 | 7.86 | 329.998 | 8.006 | 330.2913 | 8.884 | 331.6833 | 15.08 | 893 | 71.324 | 52.9633
2020-10-26 13:15:00 | 7.1033 | 313.6733 | 7.662 | 323.47 | 8.0067 | 306.772 | 8.808 | 325.1233 | 15.08 | 892.5333 | 70.1373 | 51.268
2020-10-26 13:30:00 | 6.9907 | 339.8867 | 7.544 | 329.1827 | 8.184 | 332.4087 | 8.89 | 330.8647 | 15.1333 | 892 | 69.3193 | 50.974
2020-10-26 13:45:00 | 7.1613 | 294.2667 | 7.7227 | 330.6627 | 8.156 | 287.792 | 8.93 | 332.3527 | 15.0533 | 892 | 69.348 | 50.3207
2020-10-26 14:00:00 | 7.0147 | 299.0867 | 7.562 | 310.3327 | 7.9967 | 292.5067 | 8.7547 | 311.9193 | 15.02 | 892 | 69.322 | 51.2413
2020-10-26 14:15:00 | 7.1607 | 341.0133 | 7.8073 | 306.5907 | 8.1587 | 333.5113 | 9.0887 | 308.1587 | 15.0067 | 892 | 68.2747 | 50.4453
2020-10-26 14:30:00 | 7.0153 | 316.7933 | 7.5967 | 308.2527 | 7.906 | 309.8247 | 8.7473 | 309.8287 | 14.9933 | 892 | 68.0707 | 50.782
2020-10-26 14:45:00 | 7.26 | 346.5267 | 7.862 | 327.252 | 8.378 | 338.902 | 9.1887 | 328.9253 | 15 | 891.5333 | 68.2 | 50.9233
2020-10-26 15:00:00 | 7.544 | 345.7667 | 8.1427 | 326.5473 | 8.3253 | 338.1593 | 9.2427 | 328.216 | 15.0133 | 891 | 67.344 | 51.9667
2020-10-26 15:15:00 | 7.2647 | 338.8467 | 7.864 | 330.0553 | 8.0547 | 331.392 | 8.9613 | 331.7427 | 15 | 891 | 66.7 | 53.3347
2020-10-26 15:30:00 | 7.2293 | 318.9667 | 7.7673 | 329.358 | 7.8647 | 311.8833 | 8.6947 | 331.0407 | 14.98 | 891 | 66.8293 | 53.6887
2020-10-26 15:45:00 | 7.2513 | 274.8933 | 7.7933 | 334.3127 | 8.2107 | 268.8447 | 8.9607 | 336.022 | 14.9267 | 891 | 68.4173 | 54.6567
2020-10-26 16:00:00 | 7.2933 | 297.5 | 7.874 | 330.5967 | 8.3813 | 290.954 | 9.1693 | 332.2873 | 14.9133 | 891 | 69.052 | 53.8113
2020-10-26 16:15:00 | 7.0093 | 271.94 | 7.51 | 324.0633 | 7.9833 | 265.9573 | 8.654 | 325.7207 | 14.8933 | 891 | 68.4827 | 53.6093
2020-10-26 16:30:00 | 7.4373 | 343.3867 | 7.9173 | 329.436 | 8.4767 | 335.8313 | 9.088 | 331.1207 | 14.88 | 891 | 68.4107 | 54.7593
2020-10-26 16:45:00 | 7.668 | 325.4067 | 8.2347 | 327.2573 | 8.6467 | 318.2493 | 9.4467 | 328.932 | 14.84 | 890.5333 | 68.9233 | 53.998
2020-10-26 17:00:00 | 7.678 | 322.02 | 8.2527 | 325.648 | 8.632 | 314.9353 | 9.454 | 327.3127 | 14.6867 | 890 | 68.0827 | 53.948
2020-10-26 17:15:00 | 7.5547 | 300.1333 | 8.1227 | 323.8813 | 8.5547 | 269.1647 | 9.3213 | 325.5367 | 14.6667 | 890 | 68.2213 | 53.6767
2020-10-26 17:30:00 | 7.2813 | 319.8267 | 7.818 | 324.7947 | 8.2027 | 312.7893 | 8.9553 | 326.454 | 14.6267 | 890 | 67.1867 | 53.5133
2020-10-26 17:45:00 | 7.5607 | 323.44 | 8.1213 | 324.024 | 8.494 | 316.3253 | 9.2847 | 325.682 | 14.6 | 890 | 65.2853 | 53.3113
2020-10-26 18:00:00 | 7.5107 | 322.7933 | 8 | 323.6147 | 8.374 | 315.692 | 9.056 | 325.2673 | 14.62 | 890 | 65.5427 | 53.9653
2020-10-26 18:15:00 | 7.5413 | 275.76 | 7.982 | 323.0867 | 8.5047 | 269.692 | 9.0627 | 324.7373 | 14.58 | 890 | 64.6527 | 55.356
2020-10-26 18:30:00 | 7.5273 | 345.4133 | 7.9907 | 323.6327 | 8.26 | 336.8367 | 8.9253 | 325.3987 | 14.6133 | 890 | 64.194 | 55.0987
2020-10-26 18:45:00 | 7.7487 | 316.9733 | 8.216 | 326.2153 | 8.4733 | 310.4287 | 9.1507 | 327.8827 | 14.5533 | 890 | 64.446 | 55.012
2020-10-26 19:00:00 | 7.7113 | 296.88 | 8.186 | 326.6587 | 8.3847 | 290.348 | 9.0907 | 328.328 | 14.5133 | 890 | 62.4173 | 54.0833
2020-10-26 19:15:00 | 7.372 | 339.6667 | 7.8833 | 327.7153 | 8.0013 | 332.1947 | 8.7913 | 329.3887 | 14.4467 | 890.4667 | 63.7527 | 53.4593
2020-10-26 19:30:00 | 7.452 | 339.3933 | 7.9587 | 326.608 | 8.0787 | 331.9267 | 8.8633 | 328.2767 | 14.46 | 891 | 62.1533 | 53.358
2020-10-26 19:45:00 | 7.6813 | 333.88 | 8.1767 | 322.9493 | 8.396 | 328.7907 | 9.1287 | 324.5987 | 14.5333 | 891 | 63.324 | 54.3147
2020-10-26 20:00:00 | 7.5573 | 319.46 | 8.1267 | 321.9513 | 8.3587 | 311.4467 | 9.196 | 323.598 | 14.5867 | 891 | 62.2853 | 54.546
2020-10-26 20:15:00 | 7.4313 | 339.2333 | 7.9747 | 322.0213 | 8.0633 | 331.7713 | 8.908 | 323.668 | 14.5267 | 891 | 63.2893 | 54.3587
2020-10-26 20:30:00 | 7.238 | 346.8533 | 7.79 | 324.1533 | 8.0567 | 339.222 | 8.8647 | 325.8113 | 14.4467 | 891 | 62.698 | 53.4553
2020-10-26 20:45:00 | 7.33 | 229.8467 | 7.862 | 332.8147 | 8.284 | 224.79 | 9.0193 | 334.516 | 14.4133 | 891 | 63.952 | 52.714
2020-10-26 21:00:00 | 7.3707 | 341.0867 | 7.9793 | 320.3787 | 8.26 | 333.5827 | 9.1607 | 322.0173 | 14.3533 | 891.8 | 64.9853 | 53.0347
2020-10-26 21:15:00 | 7.162 | 340.1133 | 7.758 | 327.0753 | 7.896 | 332.422 | 8.7987 | 328.7467 | 14.3533 | 892 | 64.8027 | 53.6347
2020-10-26 21:30:00 | 7.4587 | 314.2333 | 7.9913 | 324.2847 | 8.0167 | 307.32 | 8.866 | 325.942 | 14.2267 | 892 | 65.0827 | 53.6627
2020-10-26 21:45:00 | 7.8293 | 293.3 | 8.3473 | 326.15 | 8.598 | 286.8473 | 9.354 | 327.8173 | 14.14 | 892 | 65.7513 | 55.2373
2020-10-26 22:00:00 | 7.8347 | 321.2467 | 8.3427 | 324.5333 | 8.8027 | 314.1793 | 9.486 | 326.1933 | 13.9933 | 892 | 66.7613 | 55.3613
2020-10-26 22:15:00 | 8.1853 | 275.5667 | 8.6893 | 322.2967 | 8.8673 | 269.5047 | 9.6247 | 323.9447 | 13.84 | 892 | 67.424 | 55.854
2020-10-26 22:30:00 | 8.4513 | 336.8733 | 8.9353 | 321.404 | 9.09 | 329.462 | 9.8313 | 323.0467 | 13.48 | 892 | 73.0513 | 56.462
2020-10-26 22:45:00 | 8.398 | 335.7933 | 8.9313 | 321.0327 | 9.0633 | 328.406 | 9.8847 | 322.6727 | 13.1667 | 892 | 79.8867 | 55.1773
2020-10-26 23:00:00 | 8.4787 | 338.9667 | 9.024 | 323.9273 | 9.1347 | 331.5087 | 9.98 | 325.5833 | 12.9867 | 892 | 79.0087 | 56.9147
2020-10-26 23:15:00 | 8.61 | 341.4867 | 9.166 | 321.722 | 9.4273 | 333.9727 | 10.2507 | 323.3687 | 12.8 | 892 | 77.932 | 55.9407
2020-10-26 23:30:00 | 8.2707 | 338.7933 | 8.8407 | 324.096 | 8.9647 | 331.014 | 9.8553 | 325.754 | 12.5 | 892 | 79.5107 | 55.1913
2020-10-26 23:45:00 | 8.3707 | 339.5267 | 8.9667 | 322.0627 | 9.2253 | 332.056 | 10.1093 | 323.708 | 12.3533 | 891.5333 | 84.392 | 54.842