## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-27 00:00:00 | 8.372 | 339.0933 | 8.9513 | 324.1593 | 9.0247 | 331.6333 | 9.94 | 325.8187 | 12.26 | 891 | 85.7067 | 55.1007
2020-10-27 00:15:00 | 8.23 | 339.0667 | 8.8127 | 325.428 | 9.0173 | 331.3273 | 9.8947 | 326.5647 | 12.1267 | 891 | 83.3733 | 55.1807
2020-10-27 00:30:00 | 8.5153 | 340.5 | 9.1313 | 327.5387 | 9.322 | 333.0087 | 10.2567 | 329.2127 | 12.08 | 891 | 85.0867 | 56.466
2020-10-27 00:45:00 | 8.4747 | 344.3 | 9.0947 | 328.1707 | 9.2607 | 336.7247 | 10.2133 | 329.8507 | 11.9333 | 891 | 87.5733 | 55.648
2020-10-27 01:00:00 | 8.358 | 340.5533 | 8.984 | 328.9867 | 9.058 | 333.0613 | 10.0453 | 330.666 | 11.84 | 890.8667 | 86.12 | 56.102
2020-10-27 01:15:00 | 8.228 | 343.3533 | 8.8653 | 332.5193 | 8.9887 | 335.7993 | 9.9733 | 334.22 | 11.84 | 890 | 84.6133 | 55.3973
2020-10-27 01:30:00 | 8.2973 | 342.0933 | 8.8893 | 329.814 | 8.9913 | 334.2407 | 9.9133 | 331.5007 | 11.6933 | 890 | 84.22 | 55.1833
2020-10-27 01:45:00 | 8.5007 | 339.44 | 9.0727 | 327.8373 | 9.164 | 331.972 | 10.0553 | 329.514 | 11.66 | 890 | 84.62 | 55.8887
2020-10-27 02:00:00 | 8.404 | 339.5667 | 9.008 | 329.1347 | 9.1553 | 332.0967 | 10.0787 | 330.818 | 11.78 | 890 | 83.8267 | 54.0433
2020-10-27 02:15:00 | 8.3733 | 336.6667 | 8.94 | 326.9453 | 9.0213 | 329.162 | 9.9 | 328.6167 | 11.8533 | 890 | 83.54 | 52.4213
2020-10-27 02:30:00 | 8.408 | 337.2 | 9.0213 | 326.2667 | 8.9413 | 329.8667 | 9.9413 | 327.936 | 11.7533 | 890 | 83.0867 | 52.65
2020-10-27 02:45:00 | 8.532 | 340.9533 | 9.142 | 326.522 | 8.9813 | 333.4527 | 10.008 | 328.1907 | 11.7067 | 890 | 84.3933 | 55.0073
2020-10-27 03:00:00 | 8.2573 | 345.9467 | 8.904 | 328.5033 | 8.9047 | 338.3367 | 9.9387 | 330.182 | 11.5933 | 890 | 89.1467 | 54.2193
2020-10-27 03:15:00 | 8.2233 | 344.7867 | 8.8427 | 329.26 | 8.9233 | 337.202 | 9.89 | 330.944 | 11.62 | 890 | 88.4867 | 53.85
2020-10-27 03:30:00 | 8.2327 | 342.4933 | 8.8653 | 328.778 | 8.7713 | 334.96 | 9.816 | 330.4593 | 11.7533 | 889.2 | 87.48 | 53.3347
2020-10-27 03:45:00 | 8.1327 | 342.1467 | 8.7527 | 328.7573 | 8.6507 | 334.62 | 9.6827 | 330.4387 | 11.8 | 889 | 86.3867 | 53.664
2020-10-27 04:00:00 | 7.978 | 340.6267 | 8.6027 | 323.072 | 8.5327 | 333.1327 | 9.5607 | 324.7247 | 11.8333 | 889 | 85.8133 | 52.6547
2020-10-27 04:15:00 | 7.8327 | 339.7667 | 8.428 | 323.1047 | 8.352 | 332.2913 | 9.3347 | 324.758 | 11.7667 | 889 | 86.4467 | 51.7287
2020-10-27 04:30:00 | 7.834 | 343.7933 | 8.4287 | 324.6053 | 8.4067 | 336.4587 | 9.3647 | 326.264 | 11.8533 | 889 | 87.32 | 51.4967
2020-10-27 04:45:00 | 7.8647 | 338.8733 | 8.4227 | 326.5013 | 8.3847 | 331.418 | 9.3007 | 328.1713 | 12.0467 | 889 | 87.2867 | 52.8547
2020-10-27 05:00:00 | 7.8793 | 341.16 | 8.4833 | 328.5807 | 8.5347 | 333.1927 | 9.4947 | 330.2607 | 12.0267 | 889 | 86.76 | 52.7433
2020-10-27 05:15:00 | 7.5733 | 341.7867 | 8.1287 | 324.5793 | 8.1787 | 334.2673 | 9.0633 | 326.2373 | 12.06 | 889 | 86.4933 | 50.542
2020-10-27 05:30:00 | 7.2633 | 333.3 | 7.8487 | 319.6227 | 7.884 | 325.9673 | 8.808 | 321.2573 | 11.9867 | 889 | 86.8867 | 48.1573
2020-10-27 05:45:00 | 7.37 | 339.5333 | 7.9867 | 317.752 | 8.2073 | 332.0647 | 9.1313 | 319.3773 | 12.0067 | 889 | 88.28 | 49.826
2020-10-27 06:00:00 | 7.2913 | 337.48 | 7.8467 | 321.0913 | 7.9787 | 330.0547 | 8.8387 | 322.732 | 12.0467 | 889 | 88.2733 | 49.3833
2020-10-27 06:15:00 | 7.3673 | 337.98 | 7.8987 | 327.2193 | 7.8367 | 330.042 | 8.7173 | 328.8913 | 12.1333 | 889 | 89.06 | 48.9127
2020-10-27 06:30:00 | 7.0733 | 342.8333 | 7.5307 | 326.502 | 7.4907 | 335.7733 | 8.2427 | 328.1707 | 12.1067 | 889 | 88.8667 | 47.2167
2020-10-27 06:45:00 | 6.9807 | 318.3667 | 7.408 | 324.814 | 7.3893 | 311.3627 | 8.0827 | 326.474 | 12.0067 | 889 | 88.3667 | 48.314
2020-10-27 07:00:00 | 6.8327 | 342.1267 | 7.2273 | 324.956 | 7.2913 | 334.938 | 7.9073 | 326.618 | 11.9333 | 889 | 87.74 | 47.8593
2020-10-27 07:15:00 | 6.9467 | 317.52 | 7.36 | 322.9887 | 7.3227 | 310.5347 | 7.9967 | 324.6393 | 11.8133 | 889 | 87.5867 | 49.856
2020-10-27 07:30:00 | 7.3453 | 341.3467 | 7.7947 | 322.8187 | 8.0347 | 333.836 | 8.6887 | 324.4687 | 11.5267 | 889.1333 | 89.1133 | 52.3393
2020-10-27 07:45:00 | 7.7047 | 344.34 | 8.2373 | 323.7247 | 8.3147 | 336.7653 | 9.1493 | 325.3793 | 11.4133 | 890 | 91.5067 | 54.3447
2020-10-27 08:00:00 | 7.65 | 337.5733 | 8.1967 | 322.5307 | 8.2113 | 330.8053 | 9.078 | 323.9447 | 11.2067 | 890 | 93.82 | 53.9873
2020-10-27 08:15:00 | 7.8047 | 336.1667 | 8.3853 | 322.7333 | 8.33 | 328.772 | 9.2813 | 324.384 | 10.84 | 890 | 95.3267 | 54.6493
2020-10-27 08:30:00 | 8.316 | 341.92 | 8.9293 | 325.7793 | 8.9913 | 334.3987 | 9.956 | 327.4433 | 10.6267 | 890 | 97.22 | 55.6013
2020-10-27 08:45:00 | 8.2247 | 338.48 | 8.8173 | 323.5613 | 8.894 | 331.032 | 9.8207 | 325.2167 | 10.2067 | 890 | 98.42 | 55.7947
2020-10-27 09:00:00 | 8.3113 | 335.72 | 8.9007 | 323.9273 | 9.0627 | 328.66 | 9.9613 | 325.5827 | 9.9 | 890.1333 | 99.2267 | 55.7853
2020-10-27 09:15:00 | 8.528 | 338.14 | 9.1587 | 323.9787 | 9.278 | 330.7007 | 10.2527 | 325.636 | 9.8733 | 891 | 99.8067 | 56.4253
2020-10-27 09:30:00 | 8.506 | 340.72 | 9.1253 | 328.692 | 9.3153 | 333.2247 | 10.2573 | 330.3733 | 9.7067 | 891 | 99.98 | 57.092
2020-10-27 09:45:00 | 8.4687 | 338.5067 | 9.092 | 326.7167 | 9.2447 | 331.06 | 10.2027 | 328.3867 | 9.4933 | 891 | 100 | 57.3453
2020-10-27 10:00:00 | 8.5747 | 341.56 | 9.178 | 328.542 | 9.3513 | 334.0453 | 10.2693 | 330.222 | 9.44 | 891 | 100 | 57.4133
2020-10-27 10:15:00 | 8.4327 | 338.96 | 9.0033 | 326.338 | 9.3293 | 331.5033 | 10.1513 | 328.0073 | 9.4467 | 891 | 100 | 56.978
2020-10-27 10:30:00 | 8.2933 | 342.08 | 8.8513 | 324.618 | 9.0307 | 334.5547 | 9.8793 | 326.278 | 9.4867 | 891 | 100 | 56.6527
2020-10-27 10:45:00 | 8.182 | 340.6933 | 8.7567 | 325.9473 | 8.876 | 333.1987 | 9.7713 | 327.6147 | 9.4067 | 891 | 100 | 55.508
2020-10-27 11:00:00 | 8.4133 | 335.6733 | 9.0113 | 322.8253 | 9.1307 | 328.2893 | 10.0613 | 324.4753 | 9.3533 | 891 | 100 | 56.594
2020-10-27 11:15:00 | 8.318 | 336.46 | 8.932 | 325.524 | 9.2393 | 329.0587 | 10.138 | 327.1887 | 9.3 | 891 | 100 | 53.532
2020-10-27 11:30:00 | 8.354 | 336.1133 | 8.9493 | 325.336 | 9.1267 | 328.72 | 10.0313 | 326.9987 | 9.2933 | 891 | 100 | 56.1033
2020-10-27 11:45:00 | 8.2007 | 334 | 8.7507 | 322.9287 | 8.9233 | 326.4247 | 9.7573 | 324.5807 | 9.34 | 891 | 100 | 55.9607
2020-10-27 12:00:00 | 8.204 | 334.56 | 8.7893 | 322.302 | 8.968 | 327.1993 | 9.8587 | 323.952 | 9.2733 | 891 | 100 | 55.7187
2020-10-27 12:15:00 | 8.366 | 334.7267 | 8.9807 | 322.218 | 9.0887 | 327.3627 | 10.046 | 323.866 | 9.4 | 890.5333 | 100 | 56.2313
2020-10-27 12:30:00 | 8.098 | 337.3867 | 8.6727 | 324.852 | 8.836 | 330.1673 | 9.7073 | 326.512 | 9.2867 | 890 | 100 | 55.1413
2020-10-27 12:45:00 | 8.0773 | 334.1133 | 8.6973 | 325.054 | 8.7167 | 326.762 | 9.706 | 326.7167 | 9.1133 | 890 | 100 | 54.7087
2020-10-27 13:00:00 | 8.2527 | 335.4667 | 8.892 | 324.8713 | 9.1233 | 327.78 | 10.076 | 326.5313 | 9.0933 | 890 | 100 | 54.9027
2020-10-27 13:15:00 | 8.2333 | 332.9867 | 8.8693 | 322.3867 | 9.1307 | 325.662 | 10.0793 | 324.0347 | 9.0133 | 890 | 100 | 55.1007
2020-10-27 13:30:00 | 8.4353 | 333.3133 | 9.1207 | 324.8787 | 9.2687 | 325.9793 | 10.3253 | 326.5393 | 8.96 | 889.8667 | 100 | 54.8873
2020-10-27 13:45:00 | 8.384 | 334.7667 | 9.064 | 321.9787 | 9.2227 | 327.4013 | 10.2727 | 323.622 | 8.9667 | 889 | 100 | 54.4747
2020-10-27 14:00:00 | 8.238 | 333.9933 | 8.902 | 323.464 | 9.146 | 326.6453 | 10.1373 | 325.1173 | 8.88 | 889 | 100 | 54.002
2020-10-27 14:15:00 | 8.3353 | 334.92 | 8.9747 | 323.32 | 9.2207 | 327.2767 | 10.1807 | 325.766 | 8.8533 | 889 | 100 | 55.13
2020-10-27 14:30:00 | 8.54 | 334.28 | 9.176 | 321.038 | 9.4453 | 327.4007 | 10.4053 | 322.68 | 8.8067 | 889 | 100 | 55.87
2020-10-27 14:45:00 | 8.5173 | 333.1133 | 9.24 | 318.9313 | 9.6433 | 326.1767 | 10.684 | 320.5627 | 8.8867 | 889 | 100 | 56.578
2020-10-27 15:00:00 | 8.738 | 333.68 | 9.5007 | 318.1353 | 9.812 | 326.3387 | 10.954 | 319.7633 | 8.9133 | 889 | 100 | 57.486
2020-10-27 15:15:00 | 8.7147 | 336.6267 | 9.4553 | 320.4513 | 9.864 | 329.2213 | 10.9367 | 322.09 | 8.9133 | 889 | 100 | 58.1773
2020-10-27 15:30:00 | 8.9513 | 339.5067 | 9.6327 | 323.6527 | 9.938 | 332.036 | 10.948 | 325.3073 | 8.9067 | 889 | 100 | 58.7
2020-10-27 15:45:00 | 9.0593 | 342.6933 | 9.7527 | 326.756 | 9.9153 | 335.1527 | 10.982 | 328.4273 | 8.9867 | 889 | 100 | 60.238
2020-10-27 16:00:00 | 9.2467 | 343.46 | 9.8853 | 326.944 | 9.75 | 335.904 | 10.816 | 328.6167 | 8.9667 | 889 | 100 | 60.0313
2020-10-27 16:15:00 | 9.4147 | 339.9333 | 10.11 | 323.7693 | 10.0387 | 332.454 | 11.178 | 325.4267 | 8.9133 | 889 | 100 | 60.8653
2020-10-27 16:30:00 | 9.5407 | 320.2067 | 10.242 | 327.16 | 10.0487 | 313.1613 | 11.2353 | 328.8333 | 8.86 | 889 | 100 | 62.2193
2020-10-27 16:45:00 | 9.4807 | 341.6667 | 10.1907 | 329.0307 | 10.0547 | 334.15 | 11.2393 | 330.7147 | 8.8467 | 889 | 100 | 62.0427
2020-10-27 17:00:00 | 9.7233 | 343.1867 | 10.4873 | 324.3227 | 10.474 | 335.636 | 11.7067 | 325.9827 | 8.82 | 889 | 100 | 62.1353
2020-10-27 17:15:00 | 9.6027 | 342.4533 | 10.3387 | 327.0427 | 10.2373 | 334.92 | 11.4513 | 328.716 | 8.7067 | 889 | 100 | 61.8707
2020-10-27 17:30:00 | 9.772 | 341.2467 | 10.4727 | 324.7793 | 10.4007 | 333.738 | 11.5507 | 326.4407 | 8.64 | 889 | 100 | 62.2233
2020-10-27 17:45:00 | 9.8493 | 339.74 | 10.5853 | 330.12 | 10.5147 | 332.2647 | 11.7213 | 331.8093 | 8.62 | 889 | 100 | 63.0913
2020-10-27 18:00:00 | 9.908 | 342.4933 | 10.6327 | 327.7073 | 10.3347 | 334.9587 | 11.5873 | 329.384 | 8.6067 | 889.1333 | 100 | 63.6153
2020-10-27 18:15:00 | 10.0713 | 339.5333 | 10.8307 | 326.444 | 10.87 | 332.0653 | 12.0813 | 328.112 | 8.5533 | 890 | 100 | 63.094
2020-10-27 18:30:00 | 10.1353 | 315.9133 | 10.9113 | 327.942 | 11.092 | 309.1533 | 12.2747 | 329.6193 | 8.5467 | 890 | 100 | 62.0847
2020-10-27 18:45:00 | 9.8467 | 345.0533 | 10.5673 | 328.0807 | 10.474 | 337.462 | 11.658 | 329.7573 | 8.72 | 890 | 100 | 62.7787
2020-10-27 19:00:00 | 10.1033 | 319.82 | 10.8387 | 329.2873 | 10.9007 | 312.844 | 12.0907 | 330.9707 | 8.76 | 890.1333 | 100 | 63.7613
2020-10-27 19:15:00 | 9.9187 | 341.86 | 10.6007 | 330.1527 | 10.5113 | 334.3393 | 11.636 | 331.84 | 8.7733 | 891 | 100 | 62.818
2020-10-27 19:30:00 | 9.902 | 339.46 | 10.6773 | 330.1987 | 10.4953 | 331.9913 | 11.7953 | 331.8867 | 8.7067 | 891 | 100 | 62.35
2020-10-27 19:45:00 | 9.7913 | 342.8933 | 10.6467 | 325.198 | 10.5887 | 335.3507 | 11.9793 | 326.8613 | 8.56 | 891 | 100 | 63.5087
2020-10-27 20:00:00 | 9.7273 | 340.2133 | 10.532 | 326.3433 | 10.528 | 332.7287 | 11.8187 | 328.0147 | 8.4867 | 891.8 | 100 | 63.97
2020-10-27 20:15:00 | 9.966 | 343.4267 | 10.7593 | 323.3587 | 10.6973 | 335.956 | 11.954 | 325.012 | 8.3867 | 892 | 100 | 63.952
2020-10-27 20:30:00 | 9.784 | 319.24 | 10.6 | 326.372 | 10.776 | 312.2167 | 12.0373 | 328.04 | 8.3067 | 892 | 100 | 63.7873
2020-10-27 20:45:00 | 9.882 | 339 | 10.714 | 325.954 | 10.6893 | 331.5427 | 12.0347 | 327.6213 | 8.26 | 892 | 100 | 62.9953
2020-10-27 21:00:00 | 10.0133 | 339.5333 | 10.7587 | 327.3947 | 10.8593 | 332.0633 | 12.0333 | 329.0693 | 8.2533 | 892 | 100 | 62.5707
2020-10-27 21:15:00 | 9.4393 | 322.98 | 10.0633 | 327.46 | 10.6407 | 315.8753 | 11.48 | 329.134 | 8.2333 | 892 | 100 | 62.1967
2020-10-27 21:30:00 | 9.044 | 339.5867 | 9.7853 | 323.6913 | 10.026 | 332.5653 | 11.1653 | 325.346 | 8.2267 | 892.8 | 100 | 61.482
2020-10-27 21:45:00 | 9.1 | 339.2 | 9.846 | 306.278 | 10.3153 | 331.5233 | 11.354 | 307.8433 | 8.1933 | 893 | 100 | 61.4307
2020-10-27 22:00:00 | 9.0853 | 343.0667 | 9.8073 | 329.592 | 10.0727 | 335.5187 | 11.1587 | 331.2767 | 8.2933 | 893 | 100 | 62.4193
2020-10-27 22:15:00 | 8.9213 | 346.1733 | 9.5967 | 331.7967 | 10.1273 | 340.7093 | 11.0507 | 333.492 | 8.3867 | 893 | 100 | 61.2653
2020-10-27 22:30:00 | 8.568 | 298.2333 | 9.16 | 327.8067 | 9.71 | 292.1347 | 10.464 | 329.482 | 8.7933 | 893 | 100 | 60.622
2020-10-27 22:45:00 | 9.14 | 344.88 | 9.7727 | 323.6793 | 9.7567 | 337.2927 | 10.7787 | 325.3333 | 9.1 | 893 | 100 | 62.028
2020-10-27 23:00:00 | 9.144 | 344.04 | 9.6687 | 329.7033 | 9.8407 | 336.9993 | 10.6307 | 331.39 | 9.3133 | 893 | 100 | 62.27
2020-10-27 23:15:00 | 8.7047 | 323.9267 | 9.22 | 326.04 | 9.3513 | 316.116 | 10.132 | 327.7073 | 9.3067 | 893 | 100 | 61.2813
2020-10-27 23:30:00 | 8.5593 | 344.5467 | 9.1293 | 328.1767 | 9.3147 | 336.9673 | 10.1733 | 329.856 | 9.18 | 893 | 100 | 60.602
2020-10-27 23:45:00 | 8.5227 | 345.1467 | 9.092 | 330.3747 | 9.2167 | 337.5527 | 10.096 | 332.064 | 9.2467 | 893 | 100 | 60.9113