## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-28 00:00:00 | 8.8547 | 347.3067 | 9.4427 | 330.324 | 9.6307 | 339.6653 | 10.522 | 332.0113 | 9.3467 | 893 | 100 | 61.808
2020-10-28 00:15:00 | 8.4967 | 341.0667 | 9.0833 | 329.0833 | 9.268 | 333.3033 | 10.156 | 330.7653 | 9.2533 | 893.4667 | 100 | 61.0513
2020-10-28 00:30:00 | 8.1833 | 281.78 | 8.8047 | 331.308 | 9.2013 | 275.58 | 10.0873 | 333.0007 | 9.16 | 893.2 | 100 | 60.636
2020-10-28 00:45:00 | 8.5533 | 345.0933 | 9.3093 | 313.1947 | 9.864 | 337.502 | 10.9187 | 314.7973 | 9.2467 | 893 | 100 | 61.2953
2020-10-28 01:00:00 | 8.4807 | 258.12 | 9.196 | 303.1613 | 9.838 | 252.4413 | 10.7993 | 304.71 | 9.2133 | 893 | 100 | 60.4493
2020-10-28 01:15:00 | 8.338 | 323.2333 | 8.9733 | 333.5367 | 9.5807 | 316.618 | 10.4327 | 335.2413 | 9.18 | 893 | 100 | 60.35
2020-10-28 01:30:00 | 8.4667 | 298.3933 | 9.0613 | 330.648 | 9.75 | 291.8293 | 10.5087 | 332.3393 | 9.18 | 893 | 100 | 61.1393
2020-10-28 01:45:00 | 8.5373 | 302.4733 | 9.1673 | 328.9 | 9.994 | 295.8193 | 10.7687 | 330.582 | 9.12 | 893 | 100 | 60.358
2020-10-28 02:00:00 | 8.6947 | 275.6933 | 9.4633 | 308.3427 | 10.0807 | 269.6287 | 11.1387 | 309.92 | 9.0333 | 893 | 100 | 60.6053
2020-10-28 02:15:00 | 8.8547 | 346.7467 | 9.5273 | 328.902 | 10.1407 | 339.1187 | 11.0253 | 330.582 | 8.9867 | 893 | 100 | 60.956
2020-10-28 02:30:00 | 8.8687 | 321.38 | 9.464 | 331.6067 | 10.056 | 314.3473 | 10.8333 | 333.3027 | 9.0067 | 893 | 100 | 61.546
2020-10-28 02:45:00 | 8.7193 | 344.16 | 9.2953 | 329.28 | 9.83 | 336.5887 | 10.6033 | 330.9633 | 8.8933 | 893 | 100 | 61.3307
2020-10-28 03:00:00 | 8.7847 | 325.3933 | 9.4393 | 331.7493 | 9.9827 | 318.2353 | 10.8747 | 333.4467 | 8.7867 | 893 | 99.8133 | 60.652
2020-10-28 03:15:00 | 8.7967 | 299.5667 | 9.464 | 327.2333 | 10.1053 | 292.976 | 10.9933 | 328.906 | 8.7533 | 893 | 99.4867 | 60.8913
2020-10-28 03:30:00 | 8.9013 | 276.98 | 9.4253 | 328.9873 | 9.92 | 270.4953 | 10.6127 | 330.6687 | 8.8267 | 893 | 98.5533 | 61.1887
2020-10-28 03:45:00 | 8.61 | 251.06 | 9.0713 | 328.0793 | 9.5793 | 245.5367 | 10.1527 | 329.758 | 8.78 | 893 | 97.2133 | 60.5613
2020-10-28 04:00:00 | 8.5887 | 342.84 | 9.0273 | 328.4773 | 9.3207 | 335.2967 | 9.946 | 330.1567 | 8.8733 | 893 | 95.12 | 60.904
2020-10-28 04:15:00 | 8.564 | 321.0067 | 9.0187 | 327.9433 | 9.3147 | 313.944 | 9.9607 | 329.6193 | 8.92 | 893 | 93.84 | 60.68
2020-10-28 04:30:00 | 8.6773 | 302.1867 | 9.0927 | 328.3533 | 9.398 | 295.538 | 9.98 | 330.0313 | 8.9467 | 893 | 93 | 60.9827
2020-10-28 04:45:00 | 8.9253 | 298.7933 | 9.4 | 329.9107 | 9.7447 | 292.22 | 10.4107 | 331.598 | 8.9267 | 893 | 92.98 | 61.0227
2020-10-28 05:00:00 | 8.8007 | 295.1 | 9.2047 | 334.5393 | 9.4913 | 288.6073 | 10.06 | 336.2513 | 8.94 | 893 | 92.42 | 61.34
2020-10-28 05:15:00 | 8.842 | 347.0533 | 9.3233 | 334.1953 | 9.5827 | 339.4173 | 10.282 | 335.904 | 8.8333 | 893 | 92.4867 | 61.186
2020-10-28 05:30:00 | 8.9847 | 276.7733 | 9.47 | 330.6753 | 9.8187 | 270.6827 | 10.5013 | 332.3653 | 8.82 | 893 | 91.9533 | 60.6393
2020-10-28 05:45:00 | 8.4753 | 321.0867 | 8.96 | 331.6787 | 9.2173 | 313.8607 | 9.9093 | 333.3747 | 8.8867 | 893 | 92.4467 | 59.0013
2020-10-28 06:00:00 | 8.0387 | 255.24 | 8.4427 | 310.5547 | 9.002 | 249.6247 | 9.4913 | 312.1427 | 8.8067 | 893 | 91.82 | 60.644
2020-10-28 06:15:00 | 7.778 | 163.1733 | 8.0833 | 329.2333 | 8.646 | 159.584 | 8.972 | 330.9153 | 8.9133 | 893 | 90.6267 | 59.126
2020-10-28 06:30:00 | 7.8907 | 324.6867 | 8.2827 | 330.8253 | 8.624 | 317.544 | 9.1593 | 332.5167 | 8.9467 | 893 | 90.8267 | 60.404
2020-10-28 06:45:00 | 7.7493 | 258.7733 | 8.174 | 327.878 | 8.6547 | 253.08 | 9.2013 | 329.554 | 8.94 | 893 | 90.8333 | 59.5473
2020-10-28 07:00:00 | 8.0947 | 344.52 | 8.5307 | 328.6733 | 8.7553 | 336.94 | 9.3953 | 330.354 | 8.9133 | 893 | 89.8533 | 60.5447
2020-10-28 07:15:00 | 8.3227 | 321.62 | 8.7533 | 328.434 | 9.0707 | 314.5447 | 9.6753 | 330.1113 | 8.9867 | 893 | 89.1067 | 60.404
2020-10-28 07:30:00 | 8.1207 | 318.2933 | 8.5887 | 327.9033 | 8.7333 | 311.2913 | 9.444 | 329.58 | 9.0333 | 893 | 88.4733 | 59.504
2020-10-28 07:45:00 | 8.1393 | 323.1067 | 8.572 | 328.962 | 9.1427 | 315.9993 | 9.6727 | 330.6427 | 9.0333 | 893 | 87.6867 | 58.722
2020-10-28 08:00:00 | 7.512 | 322.1067 | 7.8313 | 321.312 | 8.358 | 315.0213 | 8.72 | 322.9553 | 9.1 | 893.1333 | 87.96 | 58.07
2020-10-28 08:15:00 | 7.7593 | 301.0267 | 8.042 | 332.3893 | 8.5527 | 294.406 | 8.8647 | 334.0907 | 9.2 | 894 | 87.34 | 59.7573
2020-10-28 08:30:00 | 7.3813 | 300.4267 | 7.7067 | 333.4847 | 8.2427 | 293.0947 | 8.6007 | 335.1893 | 9.22 | 894 | 86.34 | 58.9253
2020-10-28 08:45:00 | 7.3553 | 300.78 | 7.7153 | 327.9953 | 7.9093 | 294.1633 | 8.4327 | 329.672 | 9.2 | 894 | 85.7067 | 56.4227
2020-10-28 09:00:00 | 7.346 | 296.32 | 7.656 | 327.258 | 7.77 | 289.8007 | 8.2453 | 328.932 | 9.34 | 894.1333 | 85.7933 | 54.8393
2020-10-28 09:15:00 | 7.4307 | 296.48 | 7.742 | 329.4867 | 7.864 | 289.958 | 8.336 | 331.1727 | 9.4467 | 895 | 85.5933 | 55.44
2020-10-28 09:30:00 | 7.468 | 298.7667 | 7.798 | 332.3487 | 7.9667 | 291.5487 | 8.4647 | 334.048 | 9.4067 | 895 | 85.8 | 55.0867
2020-10-28 09:45:00 | 7.7553 | 340.1133 | 8.17 | 331.47 | 8.3 | 332.63 | 8.932 | 333.164 | 9.4 | 895 | 85.7133 | 56.9387
2020-10-28 10:00:00 | 7.6193 | 344.8333 | 7.9907 | 332.6047 | 8.0933 | 337.2473 | 8.666 | 334.3053 | 9.4733 | 895 | 85.4067 | 55.15
2020-10-28 10:15:00 | 7.2007 | 296.1733 | 7.5033 | 332.4153 | 7.4373 | 289.9767 | 7.9447 | 334.116 | 9.6667 | 895 | 84.5133 | 52.094
2020-10-28 10:30:00 | 6.904 | 299.6467 | 7.2973 | 334.372 | 7.502 | 292.8587 | 8.0747 | 336.082 | 9.6333 | 895 | 83.9933 | 52.2367
2020-10-28 10:45:00 | 6.9873 | 279.6667 | 7.3713 | 331.778 | 7.5787 | 294.404 | 8.1353 | 333.4727 | 9.6867 | 895 | 84.7 | 50.1807
2020-10-28 11:00:00 | 6.666 | 318.6867 | 6.986 | 329.6327 | 6.928 | 311.6747 | 7.4627 | 331.318 | 9.7 | 895 | 84.2933 | 43.4693
2020-10-28 11:15:00 | 6.1467 | 276.4067 | 6.4507 | 329.9833 | 6.6213 | 270.0833 | 7.0667 | 331.6713 | 9.7333 | 895 | 84.72 | 41.3273
2020-10-28 11:30:00 | 6.3173 | 346.2667 | 6.6633 | 328.2347 | 6.706 | 338.648 | 7.2487 | 329.9153 | 9.9 | 895 | 83.14 | 40.1807
2020-10-28 11:45:00 | 5.8727 | 302.4067 | 6.204 | 333.4587 | 6.43 | 295.558 | 6.896 | 335.164 | 10.14 | 895 | 82.3 | 37.252
2020-10-28 12:00:00 | 6.136 | 342.4 | 6.5613 | 328.1067 | 6.7227 | 334.8653 | 7.36 | 329.782 | 10.3 | 895 | 80.2033 | 37.966
2020-10-28 12:15:00 | 6.4533 | 320.3 | 6.8453 | 330.096 | 7.13 | 313.54 | 7.6767 | 331.782 | 10.6467 | 895 | 78.9653 | 39.4547
2020-10-28 12:30:00 | 5.9853 | 340.64 | 6.436 | 289.318 | 6.6633 | 333.472 | 7.3247 | 290.796 | 10.8867 | 895 | 76.8767 | 34.928
2020-10-28 12:45:00 | 5.72 | 337.6867 | 6.1593 | 329.3113 | 6.5113 | 330.79 | 7.1133 | 330.9967 | 11.36 | 895.4667 | 75.6747 | 32.7467
2020-10-28 13:00:00 | 5.6173 | 339.2267 | 5.9893 | 324.924 | 6.3147 | 331.7633 | 6.82 | 326.5847 | 11.8067 | 895.8667 | 72.4033 | 29.342
2020-10-28 13:15:00 | 5.23 | 338.5667 | 5.694 | 307.9007 | 6.1113 | 331.0467 | 6.7393 | 309.4747 | 11.92 | 895.4667 | 68.6133 | 27.066
2020-10-28 13:30:00 | 4.8653 | 315.8733 | 5.2633 | 307.8933 | 5.6673 | 308.924 | 6.1847 | 309.4673 | 12.4933 | 895.3333 | 71.768 | 20.9807
2020-10-28 13:45:00 | 4.5667 | 334.4933 | 4.9447 | 330.616 | 5.2807 | 327.134 | 5.7933 | 332.306 | 12.9867 | 895.5333 | 67.5367 | 17.042
2020-10-28 14:00:00 | 4.0813 | 334.5467 | 4.474 | 280.8167 | 4.764 | 327.186 | 5.314 | 282.2527 | 13.18 | 895.8 | 64.878 | 14.83
2020-10-28 14:15:00 | 3.7433 | 336.1133 | 4.038 | 283.0793 | 4.2827 | 328.718 | 4.6867 | 284.526 | 13.3733 | 895.5333 | 66.252 | 10.104
2020-10-28 14:30:00 | 3.444 | 291.4533 | 3.696 | 310.156 | 4.1607 | 285.0407 | 4.432 | 311.7413 | 13.4467 | 895 | 64.1807 | 10.1567
2020-10-28 14:45:00 | 3.8833 | 330.62 | 4.1847 | 308.2527 | 4.46 | 323.346 | 4.8653 | 309.8273 | 13.22 | 895.4667 | 63.96 | 10.228
2020-10-28 15:00:00 | 3.952 | 336.7 | 4.1947 | 303.1793 | 4.622 | 328.7893 | 4.886 | 304.7293 | 13.18 | 895.2 | 68.6687 | 12.5553
2020-10-28 15:15:00 | 3.8327 | 338.8133 | 4.1413 | 312.8747 | 4.4533 | 331.3593 | 4.862 | 314.4753 | 13.22 | 895 | 69.8247 | 12.7493
2020-10-28 15:30:00 | 3.656 | 340.7333 | 3.974 | 263.8507 | 4.2007 | 333.7127 | 4.6453 | 265.2 | 13.2533 | 895 | 72.5687 | 9.956
2020-10-28 15:45:00 | 3.6827 | 341.3467 | 3.946 | 308.9553 | 4.1853 | 333.8367 | 4.54 | 310.536 | 13.1133 | 895 | 71.2347 | 9.8987
2020-10-28 16:00:00 | 3.714 | 341.0333 | 4.0053 | 313.7887 | 4.162 | 333.53 | 4.5847 | 315.392 | 12.98 | 895 | 72.9793 | 9.734
2020-10-28 16:15:00 | 3.6147 | 319.0933 | 3.876 | 309.9467 | 4.1567 | 312.072 | 4.4973 | 311.5307 | 12.9533 | 895 | 76.056 | 9.834
2020-10-28 16:30:00 | 3.8753 | 321.38 | 4.1213 | 286.286 | 4.3873 | 314.7653 | 4.7113 | 287.752 | 12.8267 | 894.2 | 77.6913 | 12.1387
2020-10-28 16:45:00 | 3.942 | 339.1467 | 4.2467 | 311.9153 | 4.4747 | 331.686 | 4.9013 | 313.5107 | 12.7733 | 894 | 79.3933 | 12.744
2020-10-28 17:00:00 | 4.1587 | 342.3533 | 4.4407 | 309.7913 | 4.682 | 334.8213 | 5.0647 | 311.3753 | 12.52 | 894 | 80.84 | 13.892
2020-10-28 17:15:00 | 4.198 | 294.6067 | 4.4687 | 332.5673 | 4.6433 | 288.1253 | 5.0293 | 334.2667 | 12.4133 | 894 | 82.2467 | 14.3413
2020-10-28 17:30:00 | 3.6627 | 321.62 | 3.894 | 309.72 | 4.1333 | 314.5453 | 4.438 | 311.304 | 12.2733 | 894 | 84.3467 | 8.6753
2020-10-28 17:45:00 | 3.9673 | 338.84 | 4.304 | 332.912 | 4.466 | 331.3853 | 4.9567 | 334.614 | 12.2 | 894 | 85.6667 | 13.122
2020-10-28 18:00:00 | 4.8787 | 339.1333 | 5.182 | 324.676 | 5.5833 | 332.3893 | 5.952 | 326.336 | 12.1 | 894 | 85.2667 | 21.1007
2020-10-28 18:15:00 | 4.866 | 341.6 | 5.2313 | 310.7693 | 5.5993 | 334.084 | 6.082 | 312.3573 | 11.8867 | 894 | 86.4733 | 20.8447
2020-10-28 18:30:00 | 4.324 | 345.9667 | 4.6047 | 309.284 | 4.806 | 338.3553 | 5.198 | 310.8647 | 11.7267 | 893.2 | 86.6667 | 13.8427
2020-10-28 18:45:00 | 4.4867 | 337.3133 | 4.832 | 321.2473 | 5.126 | 329.8913 | 5.5953 | 322.8893 | 11.6667 | 893 | 86.3667 | 14.1333
2020-10-28 19:00:00 | 4.658 | 334.0933 | 4.9993 | 318.014 | 5.2393 | 326.742 | 5.7167 | 319.638 | 11.5933 | 893.1333 | 86.7 | 16.8287
2020-10-28 19:15:00 | 4.378 | 340.9067 | 4.7053 | 330.4727 | 4.892 | 333.4073 | 5.3627 | 332.1613 | 11.4667 | 894 | 86.8333 | 15.5813
2020-10-28 19:30:00 | 5.1827 | 334.64 | 5.526 | 322.968 | 5.8387 | 327.4993 | 6.3 | 324.6193 | 11.26 | 894 | 88.0467 | 24.266
2020-10-28 19:45:00 | 5.5293 | 334.4933 | 5.9453 | 321.828 | 6.1913 | 327.134 | 6.7873 | 323.4727 | 11.08 | 894 | 88.6733 | 26.0973
2020-10-28 20:00:00 | 5.226 | 335.5267 | 5.5747 | 327.7993 | 5.8273 | 328.1453 | 6.3173 | 329.4747 | 11.04 | 894 | 87.94 | 22.2613
2020-10-28 20:15:00 | 5.1393 | 335.96 | 5.5407 | 321.1953 | 5.6613 | 328.5687 | 6.2693 | 322.8387 | 10.9533 | 894 | 88.5667 | 21.838
2020-10-28 20:30:00 | 4.9933 | 339.36 | 5.4167 | 320.346 | 5.666 | 331.8933 | 6.2753 | 321.984 | 10.9667 | 894 | 88.8533 | 19.9793
2020-10-28 20:45:00 | 4.606 | 337.5067 | 5.0107 | 317.6353 | 5.3653 | 330.082 | 5.9133 | 319.258 | 10.9733 | 894 | 88.7933 | 16.3147
2020-10-28 21:00:00 | 4.3213 | 335.3667 | 4.6547 | 313.754 | 4.904 | 327.9887 | 5.3733 | 315.358 | 10.9867 | 894.8 | 89.2533 | 13.3887
2020-10-28 21:15:00 | 4.036 | 312.2267 | 4.3527 | 315.152 | 4.7973 | 305.3593 | 5.1767 | 316.762 | 11 | 895 | 89.8067 | 11.228
2020-10-28 21:30:00 | 3.7487 | 336.4333 | 4.0027 | 315.3533 | 4.544 | 329.032 | 4.7947 | 316.966 | 10.9067 | 895 | 90.5533 | 9.2987
2020-10-28 21:45:00 | 3.6253 | 342.5467 | 3.8213 | 321.1353 | 4.344 | 335.0093 | 4.5087 | 322.7773 | 10.9133 | 895 | 90.2333 | 7.81
2020-10-28 22:00:00 | 3.52 | 336.4733 | 3.6667 | 318.7413 | 4.2347 | 329.0707 | 4.306 | 320.3733 | 10.9867 | 895 | 89.46 | 7.2407
2020-10-28 22:15:00 | 4.0707 | 338.0067 | 4.31 | 327.9367 | 4.77 | 330.572 | 5.0233 | 329.614 | 10.82 | 895 | 90.2667 | 10.8107
2020-10-28 22:30:00 | 4.2507 | 340.3867 | 4.574 | 321.978 | 4.926 | 332.8987 | 5.3487 | 323.624 | 10.68 | 895 | 90.9933 | 12.7007
2020-10-28 22:45:00 | 3.9813 | 331.2667 | 4.21 | 315.914 | 4.8513 | 323.9787 | 5.0327 | 317.528 | 10.6933 | 895 | 91.4067 | 9.8827
2020-10-28 23:00:00 | 4.1747 | 332.6733 | 4.3833 | 321.9573 | 4.916 | 325.354 | 5.0967 | 323.604 | 10.6933 | 895.1333 | 92.3333 | 10.8773
2020-10-28 23:15:00 | 4.2653 | 335.6733 | 4.5607 | 322.8113 | 5.008 | 328.288 | 5.3513 | 324.4627 | 10.6533 | 895.5333 | 92.3533 | 12.6727
2020-10-28 23:30:00 | 4.176 | 318.8467 | 4.5033 | 321.8533 | 4.896 | 311.832 | 5.3113 | 323.4973 | 10.5 | 895 | 92.3267 | 13.012
2020-10-28 23:45:00 | 4.0053 | 331.5067 | 4.242 | 321.894 | 4.8613 | 324.1167 | 5.0667 | 323.5387 | 10.34 | 895 | 93.1667 | 11.692