## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-29 00:00:00 | 3.8727 | 337.58 | 4.1107 | 317.1007 | 4.7407 | 330.1527 | 4.9427 | 318.7207 | 10.3533 | 895 | 92.94 | 9.806
2020-10-29 00:15:00 | 3.661 | 332.02 | 3.84 | 310.358 | 4.54 | 324.715 | 4.623 | 311.943 | 10.25 | 895 | 92.6 | 9.4
2020-10-29 00:30:00 | 4.0927 | 330.2667 | 4.294 | 315.0327 | 4.9087 | 323 | 5.056 | 316.6447 | 10.4667 | 895 | 93.0667 | 10.6153
2020-10-29 00:45:00 | 2.716 | 327.64 | 2.876 | 315.992 | 3.372 | 320.43 | 3.482 | 317.608 | 10.56 | 895 | 93.3 | 2.394
2020-10-29 01:00:00 | 3.15 | 292.3 | 3.183 | 315.123 | 4.024 | 285.87 | 3.836 | 316.733 | 10.42 | 895 | 91.85 | 4.741
2020-10-29 01:15:00 | 2.873 | 292.2 | 2.919 | 317.566 | 3.572 | 285.772 | 3.459 | 319.189 | 10.47 | 895 | 92.68 | 3.005
2020-10-29 01:30:00 | 3.058 | 320.54 | 3.104 | 323.972 | 3.766 | 313.486 | 3.654 | 325.628 | 10.36 | 895 | 92.48 | 4.078
2020-10-29 01:45:00 | 3.316 | 316.34 | 3.385 | 327.023 | 3.973 | 309.38 | 3.914 | 328.696 | 10.22 | 895 | 92.78 | 5.901
2020-10-29 02:00:00 | 3.458 | 340.24 | 3.557 | 320.716 | 4.041 | 332.755 | 4.066 | 322.356 | 10.2 | 894.3 | 93.71 | 5.989
2020-10-29 02:15:00 | 3.288 | 327.96 | 3.338 | 320.648 | 4.268 | 320.744 | 4.076 | 322.286 | 9.94 | 894 | 94.7 | 6.372
2020-10-29 02:30:00 | 2.85 | 316.14 | 2.796 | 315.033 | 3.498 | 309.185 | 3.209 | 316.643 | 10.08 | 894 | 94.3 | 3.375
2020-10-29 02:45:00 | 3.023 | 291.66 | 3.035 | 317.518 | 3.754 | 285.245 | 3.569 | 319.14 | 10.08 | 894 | 94.34 | 4.383
2020-10-29 03:00:00 | 2.886 | 337.68 | 2.864 | 320.532 | 3.512 | 330.25 | 3.292 | 322.17 | 10.14 | 894 | 94.16 | 3.526
2020-10-29 03:15:00 | 2.776 | 325.64 | 2.71 | 319.18 | 3.529 | 318.476 | 3.19 | 320.812 | 10.27 | 894 | 93.54 | 3.2
2020-10-29 03:30:00 | 3.618 | 262.4 | 3.754 | 321.076 | 4.474 | 256.63 | 4.486 | 322.72 | 10.18 | 894 | 93.66 | 6.748
2020-10-29 03:45:00 | 3.494 | 327.98 | 3.554 | 327.903 | 4.102 | 320.765 | 4.046 | 329.58 | 9.68 | 893.8 | 95.17 | 6.795
2020-10-29 04:00:00 | 2.9367 | 329.4 | 2.9173 | 324.9167 | 3.7513 | 322.1533 | 3.4773 | 326.5793 | 9.9333 | 893.1333 | 95.1467 | 3.8953
2020-10-29 04:15:00 | 2.284 | 240.24 | 2.122 | 321.43 | 3.1 | 234.952 | 2.558 | 323.072 | 10.16 | 894 | 95.08 | 2.24
2020-10-29 04:30:00 | 2.4253 | 295.26 | 2.398 | 320.022 | 3.148 | 288.6793 | 2.898 | 321.6567 | 10.2533 | 893.6667 | 94.44 | 1.6693
2020-10-29 04:45:00 | 2.4253 | 295.26 | 2.398 | 320.022 | 3.148 | 288.6793 | 2.898 | 321.6567 | 10.2533 | 893.6667 | 94.44 | 1.6693
2020-10-29 05:00:00 | 2.621 | 294.51 | 2.635 | 320.207 | 3.367 | 288.032 | 3.183 | 321.844 | 10.23 | 894 | 94.59 | 2.362
2020-10-29 05:15:00 | 3.33 | 340.24 | 3.425 | 318.349 | 4.159 | 332.756 | 4.095 | 319.977 | 10.03 | 893.8 | 95.04 | 4.852
2020-10-29 05:30:00 | 3.163 | 295.78 | 3.11 | 327.532 | 3.869 | 289.273 | 3.569 | 329.205 | 9.75 | 893 | 95.94 | 6.05
2020-10-29 05:45:00 | 3.1553 | 331.3533 | 3.1667 | 327.9173 | 3.872 | 324.064 | 3.6893 | 329.5933 | 9.78 | 893 | 96.7667 | 4.9153
2020-10-29 06:00:00 | 2.784 | 321.08 | 2.73 | 334.886 | 3.4 | 314.016 | 3.12 | 336.598 | 9.9 | 893 | 96.62 | 3.614
2020-10-29 06:15:00 | 2.071 | 294.52 | 1.991 | 329.126 | 2.586 | 288.041 | 2.288 | 330.809 | 9.71 | 893 | 96.26 | 1.329
2020-10-29 06:30:00 | 2.266 | 271.06 | 2.222 | 328.13 | 2.884 | 265.097 | 2.624 | 329.806 | 9.69 | 893 | 95.94 | 1.378
2020-10-29 06:45:00 | 2.0307 | 143.4867 | 1.992 | 324.6313 | 2.474 | 140.33 | 2.2747 | 326.2913 | 9.88 | 893 | 95.2133 | 0.572
2020-10-29 07:00:00 | 2.018 | 211.14 | 1.992 | 327.336 | 2.454 | 207.63 | 2.272 | 329.01 | 9.92 | 893 | 95.18 | 0.33
2020-10-29 07:15:00 | 1.77 | 113.59 | 1.789 | 334.437 | 2.006 | 111.091 | 1.97 | 336.147 | 10.1 | 893 | 96.13 | 0
2020-10-29 07:30:00 | 1.709 | 19.38 | 1.68 | 335.807 | 2.031 | 18.474 | 1.879 | 337.522 | 10.45 | 893 | 96.67 | 0
2020-10-29 07:45:00 | 2.1667 | 168.3467 | 2.1253 | 312.9467 | 2.7113 | 164.6427 | 2.476 | 314.5467 | 10.26 | 893 | 97.0733 | 0.342
2020-10-29 08:00:00 | 2.134 | 83.38 | 2.088 | 312.666 | 2.592 | 81.546 | 2.374 | 314.266 | 10.28 | 893 | 97.34 | 0.48
2020-10-29 08:15:00 | 2.5378 | 329.6556 | 2.5356 | 318.5567 | 3.24 | 322.4033 | 3.0356 | 320.1844 | 9.8111 | 893.1111 | 97.7222 | 2.2
2020-10-29 08:30:00 | 2.293 | 290.84 | 2.213 | 318.299 | 2.967 | 284.442 | 2.618 | 319.928 | 9.72 | 894 | 98.07 | 1.657
2020-10-29 08:45:00 | 2.462 | 320.45 | 2.419 | 325.076 | 3.137 | 313.399 | 2.862 | 326.739 | 9.58 | 894 | 97.94 | 2.125
2020-10-29 09:00:00 | 2.868 | 288.94 | 2.905 | 329.861 | 3.64 | 282.585 | 3.486 | 331.547 | 9.77 | 894 | 97.39 | 3.77
2020-10-29 09:15:00 | 3.314 | 331.0667 | 3.366 | 326.574 | 4.042 | 323.7827 | 3.9327 | 328.2433 | 9.8133 | 895 | 96.9 | 5.706
2020-10-29 09:30:00 | 3.4789 | 300.4333 | 3.5911 | 321.7844 | 4.2422 | 293.8233 | 4.2378 | 323.4289 | 9.7444 | 895 | 96.8111 | 6.411
2020-10-29 09:45:00 | 3.715 | 342.13 | 3.911 | 323.768 | 4.587 | 334.602 | 4.708 | 325.423 | 9.76 | 895 | 96.6 | 7.413
2020-10-29 10:00:00 | 3.906 | 343.63 | 4.129 | 324.979 | 4.712 | 336.071 | 4.905 | 326.642 | 9.93 | 895 | 96.56 | 7.661
2020-10-29 10:15:00 | 4.134 | 345.75 | 4.423 | 325.458 | 4.936 | 338.143 | 5.246 | 327.124 | 9.9 | 895 | 96.54 | 9.025
2020-10-29 10:30:00 | 3.5693 | 340.4733 | 3.8173 | 326.9633 | 4.3107 | 332.684 | 4.562 | 328.6367 | 9.9 | 895 | 96.2933 | 6.5193
2020-10-29 10:45:00 | 3.286 | 297.7733 | 3.4773 | 320.9 | 3.894 | 291.222 | 4.0807 | 322.5413 | 9.9 | 895 | 95.4 | 4.9533
2020-10-29 11:00:00 | 3.082 | 341.5 | 3.264 | 313.29 | 3.652 | 333.986 | 3.834 | 314.894 | 9.92 | 895 | 95.32 | 4.488
2020-10-29 11:15:00 | 3.169 | 309.33 | 3.375 | 320.686 | 3.824 | 302.525 | 4.026 | 322.325 | 9.98 | 895 | 95.92 | 4.77
2020-10-29 11:30:00 | 3.289 | 342.3 | 3.469 | 326.026 | 3.935 | 334.769 | 4.09 | 327.693 | 9.98 | 895 | 95.76 | 4.898
2020-10-29 11:45:00 | 3.373 | 346.25 | 3.59 | 323.963 | 4.075 | 338.633 | 4.286 | 325.617 | 10.04 | 895 | 95.66 | 4.793
2020-10-29 12:00:00 | 3.1187 | 324.9867 | 3.3507 | 317.974 | 3.73 | 317.8367 | 3.9933 | 319.5993 | 10.2067 | 895 | 94.9867 | 4.3213
2020-10-29 12:15:00 | 3.2133 | 347.2133 | 3.426 | 323.2033 | 3.778 | 339.574 | 4.018 | 324.8547 | 10.3667 | 895 | 94.8867 | 4.3347
2020-10-29 12:30:00 | 3.354 | 349.32 | 3.592 | 324.734 | 3.962 | 341.634 | 4.234 | 326.394 | 10.46 | 895 | 95.16 | 5.288
2020-10-29 12:45:00 | 3.459 | 350.24 | 3.694 | 322.007 | 4.053 | 342.535 | 4.328 | 323.653 | 10.67 | 895 | 93.56 | 4.778
2020-10-29 13:00:00 | 3.068 | 347.93 | 3.323 | 322.602 | 3.583 | 340.277 | 3.919 | 324.253 | 10.75 | 895 | 92.73 | 3.204
2020-10-29 13:15:00 | 2.851 | 281.39 | 3.124 | 324.061 | 3.219 | 275.199 | 3.628 | 325.715 | 10.92 | 894.8 | 92.8 | 1.819
2020-10-29 13:30:00 | 2.379 | 277.89 | 2.547 | 321.439 | 2.802 | 271.777 | 3.002 | 323.083 | 11.03 | 894 | 92.66 | 0.889
2020-10-29 13:45:00 | 2.039 | 285.2 | 2.186 | 325.987 | 2.467 | 313.099 | 2.641 | 327.653 | 11.29 | 894 | 92.58 | 0.153
2020-10-29 14:00:00 | 1.7473 | 144.9933 | 1.7587 | 323.79 | 2.0727 | 141.8027 | 2.0027 | 325.4447 | 11.44 | 894 | 93.02 | 0.013333
2020-10-29 14:15:00 | 1.746 | 99.2267 | 1.7307 | 334.3913 | 2.0613 | 97.4613 | 1.932 | 336.102 | 11.5733 | 894 | 93.5067 | 0
2020-10-29 14:30:00 | 1.73 | 77.58 | 1.718 | 324.326 | 1.972 | 75.874 | 1.882 | 325.982 | 11.6 | 893.6 | 93.52 | 0
2020-10-29 14:45:00 | 1.607 | 139.98 | 1.575 | 330.144 | 1.926 | 136.901 | 1.776 | 331.832 | 11.64 | 893 | 92.7 | 0
2020-10-29 15:00:00 | 1.508 | 142.07 | 1.55 | 268.678 | 1.774 | 138.945 | 1.777 | 270.051 | 11.76 | 893 | 93.16 | 0
2020-10-29 15:15:00 | 1.545 | 274.81 | 1.566 | 320.509 | 1.768 | 268.763 | 1.743 | 322.149 | 11.78 | 893 | 92.7 | 0
2020-10-29 15:30:00 | 1.458 | 145.68 | 1.518 | 325.148 | 1.552 | 142.474 | 1.636 | 326.808 | 11.86 | 893 | 93.44 | 0
2020-10-29 15:45:00 | 1.187 | 149.75 | 1.187 | 341.714 | 1.22 | 146.455 | 1.21 | 343.461 | 12.03 | 893 | 92.03 | 0
2020-10-29 16:00:00 | 1.209 | 351.87 | 1.226 | 345.196 | 1.095 | 344.676 | 1.155 | 346.96 | 12.15 | 893 | 93.21 | 0
2020-10-29 16:15:00 | 0.955 | 335.32 | 0.99 | 141.127 | 0.928 | 327.944 | 1.001 | 141.847 | 12.21 | 893 | 93.4 | 0
2020-10-29 16:30:00 | 0.441 | 300.03 | 0.461 | 53.143 | 0.408 | 293.429 | 0.45 | 53.418 | 12.16 | 893 | 94.03 | 0
2020-10-29 16:45:00 | 0.48286 | 332.7929 | 0.48643 | 221.985 | 0.47357 | 325.01 | 0.47857 | 223.1193 | 12.1714 | 893 | 94.1857 | 0
2020-10-29 17:00:00 | 0.48867 | 293.84 | 0.49 | 251.802 | 0.494 | 287.3767 | 0.49333 | 253.09 | 12.0933 | 893 | 94.6933 | 0
2020-10-29 17:15:00 | 0.434 | 330.04 | 0.46 | 83.638 | 0.476 | 322.78 | 0.508 | 84.068 | 12.06 | 893 | 95.22 | 0
2020-10-29 17:30:00 | 0.428 | 327.48 | 0.439 | 325.978 | 0.427 | 320.275 | 0.446 | 327.645 | 12.06 | 893 | 96.46 | 0
2020-10-29 17:45:00 | 0.623 | 314.89 | 0.673 | 300.824 | 0.715 | 307.962 | 0.786 | 302.361 | 11.75 | 893 | 97.04 | 0
2020-10-29 18:00:00 | 0.558 | 321.87 | 0.607 | 302.476 | 0.669 | 314.787 | 0.733 | 304.023 | 11.59 | 893 | 97.4 | 0
2020-10-29 18:15:00 | 0.088 | 257.01 | 0.107 | 173.117 | 0.108 | 251.356 | 0.133 | 174 | 11.92 | 892.8 | 97.87 | 0
2020-10-29 18:30:00 | 0.38867 | 248.8067 | 0.39467 | 180.2713 | 0.39 | 243.1567 | 0.404 | 181.194 | 11.5867 | 892 | 98.7467 | 0
2020-10-29 18:45:00 | 0.4 | 241.92 | 0.422 | 183.474 | 0.426 | 236.598 | 0.454 | 184.41 | 11.6 | 892 | 99.46 | 0
2020-10-29 19:00:00 | 0.429 | 157.75 | 0.403 | 183.905 | 0.388 | 154.7 | 0.353 | 184.845 | 11.78 | 892.7 | 99.97 | 0.474
2020-10-29 19:15:00 | 0.848 | 181.44 | 0.839 | 177.204 | 0.796 | 177.4 | 0.79 | 178.111 | 11.71 | 893 | 100 | 0.646
2020-10-29 19:30:00 | 1.054 | 179.96 | 1.03 | 170.22 | 1.009 | 176 | 0.982 | 171.09 | 11.67 | 893 | 100 | 1.137
2020-10-29 19:45:00 | 1.2453 | 174.2467 | 1.2347 | 160.6207 | 1.2007 | 169.5793 | 1.1907 | 161.4427 | 11.6 | 893 | 100 | 0.91867
2020-10-29 20:00:00 | 1.11 | 161.66 | 1.106 | 158.24 | 0.978 | 158.104 | 1.012 | 159.05 | 11.7 | 893 | 100 | 1.028
2020-10-29 20:15:00 | 0.967 | 143.16 | 0.994 | 167.463 | 0.874 | 138.692 | 0.945 | 168.32 | 11.79 | 893 | 100 | 1.038
2020-10-29 20:30:00 | 1.066 | 158.19 | 1.135 | 173.742 | 1.001 | 154.71 | 1.147 | 174.63 | 11.8 | 893 | 100 | 1.012
2020-10-29 20:45:00 | 1.179 | 178.64 | 1.196 | 187.218 | 1.181 | 174.709 | 1.213 | 188.176 | 11.77 | 893 | 100 | 1.137
2020-10-29 21:00:00 | 1.2673 | 178.5133 | 1.286 | 183.7733 | 1.3673 | 174.626 | 1.3687 | 184.712 | 11.72 | 893.1333 | 100 | 1.1207
2020-10-29 21:15:00 | 1.172 | 191.2267 | 1.172 | 180.95 | 1.2667 | 187.02 | 1.2367 | 181.8753 | 11.6733 | 893.5333 | 100 | 1.1333
2020-10-29 21:30:00 | 1.4844 | 183.5556 | 1.4889 | 171.2367 | 1.5744 | 179.5167 | 1.5567 | 172.1111 | 11.6889 | 893.6667 | 100 | 1.333
2020-10-29 21:45:00 | 1.234 | 174.46 | 1.277 | 172.96 | 1.272 | 170.621 | 1.343 | 173.843 | 11.65 | 894 | 100 | 0.858
2020-10-29 22:00:00 | 1.453 | 168.33 | 1.504 | 169.146 | 1.623 | 165.82 | 1.679 | 170.009 | 11.74 | 894 | 100 | 1.074
2020-10-29 22:15:00 | 1.236 | 167.52 | 1.294 | 176.296 | 1.388 | 163.834 | 1.452 | 177.196 | 11.7 | 894 | 100 | 0.742
2020-10-29 22:30:00 | 1.1687 | 172.5 | 1.182 | 177.8467 | 1.3033 | 168.704 | 1.286 | 178.7567 | 11.7 | 894 | 100 | 1.05
2020-10-29 22:45:00 | 1.0413 | 174.8733 | 1.0473 | 182.9313 | 1.1393 | 171.026 | 1.1247 | 183.8673 | 11.7267 | 894 | 100 | 0.91733
2020-10-29 23:00:00 | 0.964 | 177.42 | 0.964 | 182.514 | 1.056 | 173.518 | 1.044 | 183.448 | 11.74 | 894 | 100 | 0.758
2020-10-29 23:15:00 | 0.971 | 178.53 | 0.998 | 190.866 | 1.07 | 174.603 | 1.099 | 191.843 | 11.74 | 894 | 100 | 0.81
2020-10-29 23:30:00 | 1.064 | 181.82 | 1.062 | 184.206 | 1.182 | 177.82 | 1.146 | 185.15 | 11.73 | 893.3 | 100 | 0.703
2020-10-29 23:45:00 | 1.07 | 174.65 | 1.11 | 190.544 | 1.036 | 170.808 | 1.117 | 191.518 | 11.77 | 893 | 100 | 0.576