## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-30 00:00:00 | 1.1413 | 185.3133 | 1.154 | 190.2533 | 1.2027 | 181.236 | 1.21 | 191.2267 | 11.7667 | 893 | 100 | 0.68467
2020-10-30 00:15:00 | 1.158 | 188.56 | 1.208 | 187.854 | 1.256 | 184.41 | 1.322 | 188.814 | 11.8 | 893 | 100 | 0.924
2020-10-30 00:30:00 | 1.51 | 181.84 | 1.553 | 180.461 | 1.715 | 177.839 | 1.737 | 181.385 | 11.79 | 893 | 100 | 0.857
2020-10-30 00:45:00 | 1.429 | 183.92 | 1.479 | 182.731 | 1.586 | 179.873 | 1.645 | 183.663 | 11.8 | 893 | 100 | 0.515
2020-10-30 01:00:00 | 1.46 | 185.42 | 1.489 | 186.348 | 1.567 | 181.341 | 1.593 | 187.299 | 11.79 | 893 | 100 | 0.345
2020-10-30 01:15:00 | 1.306 | 189.88 | 1.314 | 171.208 | 1.326 | 185.702 | 1.332 | 172.084 | 11.9 | 893 | 100 | 0.344
2020-10-30 01:30:00 | 1.266 | 180.58 | 1.268 | 165.674 | 1.312 | 176.606 | 1.304 | 166.52 | 11.98 | 893 | 100 | 0.076
2020-10-30 01:45:00 | 1.255 | 186.14 | 1.263 | 177.312 | 1.4 | 182.044 | 1.374 | 178.218 | 11.96 | 893 | 100 | 0.478
2020-10-30 02:00:00 | 0.918 | 199.34 | 0.91 | 189.456 | 0.898 | 194.956 | 0.888 | 190.424 | 11.9 | 892.6 | 100 | 0.266
2020-10-30 02:15:00 | 0.904 | 219.67 | 0.884 | 199.191 | 0.935 | 214.837 | 0.89 | 200.208 | 11.98 | 892 | 100 | 0.34
2020-10-30 02:30:00 | 0.965 | 223.51 | 0.963 | 212.15 | 0.918 | 218.594 | 0.925 | 213.232 | 11.97 | 892 | 100 | 0.31
2020-10-30 02:45:00 | 1.168 | 189.12 | 1.16 | 189.652 | 1.244 | 184.96 | 1.206 | 190.624 | 11.98 | 892 | 100 | 0.508
2020-10-30 03:00:00 | 1.112 | 200.68 | 1.152 | 173.859 | 1.278 | 196.265 | 1.305 | 174.748 | 12.04 | 892 | 100 | 0.569
2020-10-30 03:15:00 | 1.472 | 197.2867 | 1.48 | 187.3473 | 1.5247 | 192.9453 | 1.5247 | 188.3033 | 12.0533 | 892 | 100 | 0.38667
2020-10-30 03:30:00 | 1.418 | 188.26 | 1.438 | 182.458 | 1.494 | 184.118 | 1.51 | 183.388 | 12.1 | 892 | 100 | 0.462
2020-10-30 03:45:00 | 1.384 | 206.56 | 1.418 | 194.671 | 1.263 | 202.016 | 1.363 | 195.666 | 12 | 892 | 100 | 0.528
2020-10-30 04:00:00 | 1.163 | 205.34 | 1.144 | 197.037 | 1.121 | 200.823 | 1.099 | 198.045 | 12.1 | 892 | 100 | 0.294
2020-10-30 04:15:00 | 1.051 | 198.33 | 1.074 | 183.659 | 1.124 | 193.966 | 1.147 | 184.596 | 12.04 | 891 | 100 | 0.39
2020-10-30 04:30:00 | 1.18 | 193.3267 | 1.1747 | 184.646 | 1.184 | 189.2227 | 1.1727 | 185.5907 | 11.9533 | 891 | 100 | 0.3
2020-10-30 04:45:00 | 0.81111 | 197.6111 | 0.8 | 182.7111 | 0.84778 | 193.2644 | 0.81444 | 183.6467 | 11.9111 | 891 | 100 | 0.421
2020-10-30 05:00:00 | 0.855 | 139.98 | 0.866 | 166.142 | 0.804 | 136.901 | 0.84 | 166.993 | 12.1 | 891 | 100 | 0
2020-10-30 05:15:00 | 1.367 | 154.15 | 1.36 | 145.146 | 1.223 | 150.758 | 1.26 | 145.887 | 12.2 | 891 | 100 | 0
2020-10-30 05:30:00 | 1.808 | 167.79 | 1.836 | 158.053 | 2.068 | 164.097 | 2.05 | 158.864 | 12.04 | 891 | 100 | 1.058
2020-10-30 05:45:00 | 1.904 | 147.5333 | 1.9487 | 143.3953 | 2.006 | 144.2867 | 2.0633 | 144.126 | 11.9533 | 891 | 100 | 1.372
2020-10-30 06:00:00 | 1.828 | 137.4 | 1.924 | 166.768 | 1.862 | 134.378 | 2.036 | 167.62 | 12.04 | 891 | 100 | 1.134
2020-10-30 06:15:00 | 1.538 | 133.16 | 1.615 | 140.021 | 1.746 | 130.231 | 1.836 | 140.737 | 11.88 | 891 | 100 | 0.663
2020-10-30 06:30:00 | 1.461 | 133.26 | 1.596 | 147.109 | 1.678 | 130.329 | 1.871 | 147.864 | 11.87 | 891 | 100 | 0.985
2020-10-30 06:45:00 | 1.322 | 134.76 | 1.443 | 145.613 | 1.494 | 131.795 | 1.678 | 146.358 | 11.83 | 891 | 100 | 1.046
2020-10-30 07:00:00 | 1.3187 | 141.3467 | 1.4033 | 153.95 | 1.5513 | 138.236 | 1.6433 | 154.7373 | 11.8933 | 891 | 100 | 1.0793
2020-10-30 07:15:00 | 1.61 | 159.06 | 1.672 | 174.884 | 1.882 | 155.56 | 1.922 | 175.78 | 11.9 | 891 | 100 | 1.086
2020-10-30 07:30:00 | 1.433 | 144.81 | 1.57 | 149.097 | 1.651 | 141.624 | 1.846 | 149.859 | 11.88 | 891 | 100 | 1.86
2020-10-30 07:45:00 | 1.657 | 140.94 | 1.761 | 151.403 | 1.841 | 137.839 | 1.985 | 152.179 | 11.98 | 891 | 100 | 1.717
2020-10-30 08:00:00 | 1.639 | 147.94 | 1.686 | 151.57 | 1.865 | 144.275 | 1.881 | 152.345 | 12 | 891 | 100 | 1.802
2020-10-30 08:15:00 | 1.658 | 142.15 | 1.735 | 136.528 | 1.919 | 139.022 | 1.991 | 137.225 | 12.03 | 891 | 100 | 1.5
2020-10-30 08:30:00 | 1.6914 | 146.4929 | 1.7893 | 139.9807 | 1.9257 | 142.8514 | 2.0529 | 140.695 | 12.05 | 891 | 100 | 1.0193
2020-10-30 08:45:00 | 1.5067 | 140.28 | 1.5613 | 140.5847 | 1.8327 | 137.194 | 1.842 | 141.3033 | 12.0933 | 891 | 100 | 1.4527
2020-10-30 09:00:00 | 1.676 | 156.48 | 1.726 | 145 | 1.864 | 153.036 | 1.91 | 145.74 | 12.1 | 891 | 100 | 1.042
2020-10-30 09:15:00 | 1.62 | 171.75 | 1.7 | 161.644 | 1.837 | 167.972 | 1.931 | 162.469 | 12.14 | 891 | 100 | 1.584
2020-10-30 09:30:00 | 1.506 | 163.28 | 1.585 | 152.948 | 1.725 | 159.688 | 1.809 | 153.732 | 12.21 | 891 | 100 | 1.337
2020-10-30 09:45:00 | 1.989 | 171.88 | 2.035 | 156.353 | 2.116 | 168.101 | 2.168 | 157.152 | 12.23 | 892 | 100 | 1.511
2020-10-30 10:00:00 | 2.057 | 166.55 | 2.102 | 147.58 | 2.34 | 162.888 | 2.343 | 148.335 | 12.21 | 892 | 100 | 1.297
2020-10-30 10:15:00 | 2.084 | 166.83 | 2.099 | 147.551 | 2.273 | 163.16 | 2.253 | 148.305 | 12.24 | 892 | 100 | 1.18
2020-10-30 10:30:00 | 2.2027 | 158.88 | 2.2427 | 148.878 | 2.3473 | 155.3847 | 2.3853 | 149.638 | 12.2467 | 892 | 100 | 1.1493
2020-10-30 10:45:00 | 2.348 | 161.44 | 2.414 | 138.524 | 2.57 | 157.89 | 2.628 | 139.232 | 12.3 | 892 | 100 | 1.432
2020-10-30 11:00:00 | 2.112 | 149.53 | 2.135 | 145.859 | 2.29 | 146.239 | 2.285 | 146.607 | 12.38 | 892 | 100 | 0.76
2020-10-30 11:15:00 | 2.334 | 143.62 | 2.343 | 138.321 | 2.398 | 141.096 | 2.43 | 139.025 | 12.42 | 891.8 | 100 | 1.036
2020-10-30 11:30:00 | 2.581 | 157.09 | 2.682 | 136.723 | 2.904 | 154.318 | 2.999 | 137.424 | 12.41 | 891 | 100 | 0.719
2020-10-30 11:45:00 | 2.275 | 152.96 | 2.322 | 137.4 | 2.483 | 149.595 | 2.513 | 138.102 | 12.5 | 891 | 100 | 0.721
2020-10-30 12:00:00 | 2.4793 | 155.44 | 2.5607 | 136.6453 | 2.7847 | 152.0193 | 2.8547 | 137.3447 | 12.52 | 891 | 100 | 1.3393
2020-10-30 12:15:00 | 2.9407 | 142.4067 | 2.9867 | 135.942 | 3.186 | 139.2747 | 3.2067 | 136.6367 | 12.5533 | 891 | 100 | 2.6713
2020-10-30 12:30:00 | 2.85 | 143.2 | 2.874 | 132.324 | 3.072 | 140.048 | 3.056 | 132.998 | 12.52 | 891 | 100 | 2.3
2020-10-30 12:45:00 | 2.675 | 148.78 | 2.732 | 135.392 | 2.97 | 145.506 | 2.997 | 136.087 | 12.61 | 891 | 100 | 2.123
2020-10-30 13:00:00 | 2.572 | 157.71 | 2.604 | 142.288 | 2.84 | 154.24 | 2.821 | 143.018 | 12.62 | 890.3 | 100 | 1.113
2020-10-30 13:15:00 | 2.182 | 146.4 | 2.247 | 133.683 | 2.422 | 142.768 | 2.474 | 134.365 | 12.57 | 890 | 100 | 0.206
2020-10-30 13:30:00 | 1.764 | 133.52 | 1.824 | 126.357 | 1.929 | 130.582 | 1.995 | 127.005 | 12.67 | 890 | 100 | 0
2020-10-30 13:45:00 | 1.884 | 125.9 | 1.986 | 127.259 | 2.388 | 123.131 | 2.433 | 127.908 | 12.88 | 890 | 100 | 0
2020-10-30 14:00:00 | 1.6047 | 122.26 | 1.726 | 108.2907 | 2.012 | 119.5707 | 2.124 | 108.8453 | 13.0467 | 890 | 100 | 0
2020-10-30 14:15:00 | 1.5527 | 126.68 | 1.6813 | 125.3133 | 1.8467 | 123.894 | 2.002 | 125.9547 | 13.1267 | 890 | 100 | 0
2020-10-30 14:30:00 | 1.598 | 110.08 | 1.69 | 114.76 | 1.79 | 107.656 | 1.912 | 115.346 | 13.08 | 889.6 | 100 | 0
2020-10-30 14:45:00 | 1.328 | 114.12 | 1.399 | 142.906 | 1.551 | 111.609 | 1.623 | 143.635 | 13.21 | 889 | 100 | 0
2020-10-30 15:00:00 | 1.093 | 120.53 | 1.181 | 137.019 | 1.297 | 117.879 | 1.408 | 137.719 | 13.21 | 889 | 100 | 0
2020-10-30 15:15:00 | 0.857 | 144.32 | 0.981 | 188.294 | 1.206 | 140.577 | 1.336 | 189.257 | 13.33 | 889 | 100 | 0
2020-10-30 15:30:00 | 0.94 | 108.07 | 1.022 | 99.512 | 1.186 | 105.692 | 1.269 | 100.019 | 13.24 | 889 | 100 | 0
2020-10-30 15:45:00 | 0.535 | 108.45 | 0.592 | 90.2 | 0.652 | 106.065 | 0.731 | 90.661 | 13.15 | 889 | 100 | 0
2020-10-30 16:00:00 | 0.374 | 42.12 | 0.38533 | 51.4493 | 0.39067 | 41.194 | 0.40933 | 51.7127 | 13.3067 | 889 | 100 | 0
2020-10-30 16:15:00 | 0.522 | 17.08 | 0.554 | 145.548 | 0.66 | 16.704 | 0.678 | 146.288 | 13.24 | 889 | 100 | 0
2020-10-30 16:30:00 | 1.562 | 335.54 | 1.6 | 334.2 | 2.052 | 328.156 | 1.982 | 335.91 | 13.22 | 889 | 100 | 0
2020-10-30 16:45:00 | 2.532 | 336.59 | 2.699 | 238.994 | 3.032 | 329.186 | 3.203 | 240.215 | 12.93 | 889 | 100 | 0.336
2020-10-30 17:00:00 | 2.901 | 344.92 | 3.107 | 332.275 | 3.601 | 337.332 | 3.789 | 333.974 | 12.67 | 889 | 100 | 3.237
2020-10-30 17:15:00 | 3.577 | 341.07 | 3.87 | 333.909 | 4.337 | 333.565 | 4.672 | 335.616 | 12.52 | 889 | 100 | 7.711
2020-10-30 17:30:00 | 4.386 | 339.12 | 4.719 | 297.957 | 5.071 | 331.659 | 5.508 | 299.481 | 12.41 | 889 | 100 | 13.954
2020-10-30 17:45:00 | 5.26 | 342.2733 | 5.6913 | 334.7893 | 5.89 | 334.744 | 6.5313 | 336.5007 | 12.2133 | 889 | 100 | 23.3607
2020-10-30 18:00:00 | 5.61 | 347.88 | 6.082 | 327.044 | 6.234 | 335.278 | 6.95 | 328.716 | 12.16 | 889 | 100 | 27.824
2020-10-30 18:15:00 | 5.998 | 340.58 | 6.436 | 334.594 | 6.4 | 333.086 | 7.114 | 336.306 | 12.1 | 890 | 100 | 33.048
2020-10-30 18:30:00 | 6.533 | 344.52 | 7.059 | 329.459 | 7.073 | 336.744 | 7.918 | 331.142 | 12.08 | 890 | 100 | 40.784
2020-10-30 18:45:00 | 6.898 | 346.05 | 7.416 | 330.749 | 7.474 | 338.437 | 8.291 | 332.442 | 12.04 | 890 | 100 | 43.586
2020-10-30 19:00:00 | 7.056 | 341.71 | 7.552 | 324.021 | 7.582 | 333.469 | 8.366 | 325.678 | 12.06 | 890 | 100 | 45.473
2020-10-30 19:15:00 | 7.166 | 345.82 | 7.671 | 326.505 | 7.75 | 338.213 | 8.54 | 328.174 | 12.04 | 890 | 100 | 46.769
2020-10-30 19:30:00 | 7.39 | 339.36 | 7.88 | 322.46 | 8.2147 | 331.7313 | 8.9073 | 324.108 | 12.02 | 890 | 100 | 47.9187
2020-10-30 19:45:00 | 7.5907 | 343.4733 | 8.104 | 322.74 | 8.4553 | 336.1453 | 9.186 | 324.3913 | 12.0267 | 890.4667 | 100 | 46.9267
2020-10-30 20:00:00 | 7.588 | 337.32 | 8.134 | 322.526 | 8.208 | 329.9 | 9.068 | 324.174 | 12 | 891 | 100 | 48.224
2020-10-30 20:15:00 | 7.935 | 343.06 | 8.532 | 321.547 | 8.557 | 335.845 | 9.504 | 323.19 | 11.88 | 891 | 100 | 48.915
2020-10-30 20:30:00 | 7.859 | 336.37 | 8.419 | 327.286 | 8.653 | 328.97 | 9.494 | 328.961 | 11.81 | 891 | 100 | 49.691
2020-10-30 20:45:00 | 7.811 | 343.9 | 8.467 | 322.642 | 8.654 | 336.334 | 9.656 | 324.292 | 11.8 | 891 | 100 | 49.82
2020-10-30 21:00:00 | 7.865 | 347.35 | 8.555 | 323.102 | 8.709 | 339.797 | 9.756 | 324.754 | 11.8 | 891.7 | 100 | 50.719
2020-10-30 21:15:00 | 8.094 | 342.6667 | 8.7693 | 325.016 | 8.944 | 335.1273 | 9.976 | 326.6773 | 11.8267 | 892 | 100 | 53.49
2020-10-30 21:30:00 | 8.03 | 277.36 | 8.608 | 324.442 | 9.094 | 267.816 | 9.892 | 326.1 | 11.82 | 892 | 100 | 55.5
2020-10-30 21:45:00 | 8.596 | 346.76 | 9.192 | 320.706 | 9.772 | 339.132 | 10.554 | 322.346 | 11.82 | 892 | 100 | 57.932
2020-10-30 22:00:00 | 8.497 | 346.69 | 9.045 | 324.548 | 9.697 | 339.063 | 10.396 | 326.209 | 11.83 | 892 | 100 | 57.127
2020-10-30 22:15:00 | 8.257 | 345.23 | 8.95 | 324.295 | 9.523 | 337.634 | 10.467 | 325.953 | 11.84 | 892 | 100 | 58.097
2020-10-30 22:30:00 | 8.098 | 341.15 | 8.597 | 325.694 | 9.1 | 333.644 | 9.756 | 327.358 | 11.79 | 892 | 100 | 59.207
2020-10-30 22:45:00 | 8.0873 | 325.1267 | 8.7373 | 307.0667 | 9.3273 | 317.9733 | 10.2 | 308.6353 | 11.8267 | 892 | 100 | 59.642
2020-10-30 23:00:00 | 7.974 | 348.52 | 8.62 | 338.114 | 9.256 | 340.852 | 10.104 | 339.842 | 11.98 | 892 | 100 | 59.02
2020-10-30 23:15:00 | 8.376 | 351.25 | 9.101 | 304.451 | 9.432 | 343.522 | 10.505 | 306.007 | 12.37 | 892 | 100 | 59.293
2020-10-30 23:30:00 | 8.255 | 311 | 8.845 | 333.821 | 9.257 | 304.158 | 10.083 | 335.528 | 12.3 | 892 | 100 | 60.141
2020-10-30 23:45:00 | 8.878 | 348.72 | 9.548 | 331.015 | 9.936 | 341.048 | 10.895 | 332.708 | 12.5 | 892 | 100 | 60.606