## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-10-31 00:00:00 | 8.575 | 344.18 | 9.21 | 299.395 | 9.742 | 336.609 | 10.605 | 300.926 | 12.57 | 892 | 100 | 61.138
2020-10-31 00:15:00 | 9.13 | 275.74 | 9.71 | 274.758 | 10.316 | 269.674 | 11.076 | 276.162 | 12.72 | 892 | 100 | 61.26
2020-10-31 00:30:00 | 9.768 | 278.03 | 10.671 | 334.28 | 11.218 | 271.913 | 12.509 | 335.986 | 12.61 | 892 | 100 | 61.166
2020-10-31 00:45:00 | 9.3747 | 275.1733 | 10.142 | 307.47 | 10.9827 | 269.1187 | 11.9673 | 309.0433 | 12.7 | 892 | 100 | 60.2387
2020-10-31 01:00:00 | 9.678 | 279.36 | 10.442 | 328.082 | 11.154 | 273.214 | 12.184 | 329.76 | 12.94 | 892 | 100 | 60.76
2020-10-31 01:15:00 | 9.532 | 310.84 | 10.371 | 299.747 | 11.106 | 304.002 | 12.242 | 301.28 | 12.99 | 891.8 | 100 | 61.035
2020-10-31 01:30:00 | 9.426 | 142.26 | 10.212 | 324.012 | 10.936 | 139.13 | 11.98 | 325.666 | 13.14 | 891.4 | 100 | 60.838
2020-10-31 01:45:00 | 9.601 | 341.6 | 10.409 | 333.205 | 11.19 | 334.086 | 12.255 | 334.907 | 13.2 | 892 | 100 | 60.612
2020-10-31 02:00:00 | 8.968 | 270.74 | 9.678 | 331.228 | 10.558 | 264.784 | 11.436 | 332.922 | 13.38 | 892 | 100 | 59.94
2020-10-31 02:15:00 | 9.102 | 279.64 | 9.932 | 323.072 | 10.908 | 273.488 | 11.956 | 324.724 | 13.48 | 892 | 100 | 59.926
2020-10-31 02:30:00 | 9.55 | 279.52 | 10.325 | 265.244 | 11.239 | 273.371 | 12.219 | 266.6 | 13.48 | 892 | 95.63 | 60.508
2020-10-31 02:45:00 | 9.469 | 313.3 | 10.205 | 265.772 | 11.251 | 305.871 | 12.148 | 267.13 | 13.56 | 892 | 91.06 | 60.793
2020-10-31 03:00:00 | 8.846 | 209.68 | 9.514 | 265.174 | 10.198 | 205.066 | 11.074 | 266.53 | 13.66 | 892 | 88.62 | 60.152
2020-10-31 03:15:00 | 9.2 | 281.2 | 9.812 | 335.14 | 10.586 | 275.016 | 11.352 | 336.854 | 13.74 | 892 | 86.1 | 61.056
2020-10-31 03:30:00 | 8.884 | 211.35 | 9.469 | 326.692 | 10.283 | 206.7 | 10.986 | 328.361 | 13.68 | 892 | 84.42 | 60.581
2020-10-31 03:45:00 | 8.388 | 282.82 | 8.975 | 335.738 | 9.747 | 276.598 | 10.468 | 337.454 | 13.61 | 892 | 82.59 | 60.693
2020-10-31 04:00:00 | 8.574 | 213.8 | 9.054 | 332.674 | 9.94 | 209.096 | 10.458 | 334.378 | 13.54 | 892 | 81.94 | 59.538
2020-10-31 04:15:00 | 8.629 | 247.45 | 9.195 | 334.71 | 9.833 | 242.006 | 10.563 | 336.423 | 13.4 | 891.8 | 80.634 | 59.415
2020-10-31 04:30:00 | 8.4453 | 348.5333 | 8.9827 | 290.226 | 9.808 | 340.8653 | 10.4307 | 291.7087 | 13.4267 | 891 | 78.8593 | 60.0107
2020-10-31 04:45:00 | 8.651 | 312.51 | 9.2089 | 298.28 | 10.0733 | 302.5189 | 10.6511 | 299.8022 | 13.47 | 891 | 78.84 | 59.841
2020-10-31 05:00:00 | 8.415 | 277.32 | 8.959 | 335.944 | 9.787 | 271.22 | 10.421 | 337.661 | 13.47 | 891 | 76.157 | 60.071
2020-10-31 05:15:00 | 8.4987 | 295.6933 | 9.0833 | 329.952 | 9.926 | 311.48 | 10.6387 | 331.8287 | 13.4533 | 891 | 75.59 | 59.4953
2020-10-31 05:30:00 | 8.644 | 346.32 | 9.226 | 336.9 | 9.968 | 338.702 | 10.686 | 338.626 | 13.46 | 891 | 74.444 | 59.222
2020-10-31 05:45:00 | 8.41 | 177.47 | 8.965 | 329.401 | 9.757 | 173.938 | 10.426 | 331.607 | 13.41 | 891 | 74.686 | 59.516
2020-10-31 06:00:00 | 8.153 | 243.46 | 8.661 | 327.903 | 9.597 | 238.104 | 10.145 | 329.581 | 13.39 | 891 | 71.855 | 59.952
2020-10-31 06:15:00 | 7.76 | 174.1 | 8.328 | 329.009 | 9.157 | 170.27 | 9.83 | 330.69 | 13.39 | 891.2 | 71.612 | 60.147
2020-10-31 06:30:00 | 8.487 | 311.57 | 9.131 | 203.267 | 10.054 | 304.715 | 10.806 | 204.307 | 13.39 | 891.3 | 71.21 | 60.996
2020-10-31 06:45:00 | 8.308 | 214.1 | 8.904 | 333.438 | 9.768 | 209.392 | 10.472 | 335.142 | 13.36 | 892 | 70.81 | 60.688
2020-10-31 07:00:00 | 7.905 | 242.53 | 8.352 | 301.321 | 9.277 | 237.194 | 9.724 | 302.862 | 13.43 | 892 | 69.333 | 60.324
2020-10-31 07:15:00 | 7.8487 | 256.0867 | 8.3447 | 335.244 | 9.43 | 250.4527 | 9.9113 | 336.96 | 13.3467 | 892 | 68.6973 | 60.272
2020-10-31 07:30:00 | 8.132 | 207.8 | 8.67 | 331.838 | 9.52 | 201.35 | 10.154 | 333.534 | 13.3 | 892 | 66.862 | 60.306
2020-10-31 07:45:00 | 8.035 | 248.32 | 8.538 | 305.86 | 9.41 | 242.856 | 9.962 | 307.424 | 13.42 | 892 | 65.943 | 59.074
2020-10-31 08:00:00 | 8.09 | 341.55 | 8.485 | 335.091 | 9.372 | 334.035 | 9.754 | 336.805 | 13.4 | 892 | 64.797 | 58.475
2020-10-31 08:15:00 | 7.983 | 207.13 | 8.296 | 331.111 | 9.447 | 202.574 | 9.616 | 332.805 | 13.43 | 892 | 64.382 | 58.228
2020-10-31 08:30:00 | 7.534 | 233.94 | 7.836 | 307.6587 | 8.86 | 228.0693 | 9.0513 | 309.232 | 13.4333 | 892 | 61.6427 | 57.2733
2020-10-31 08:45:00 | 7.74 | 280.34 | 7.972 | 327.336 | 9 | 274.172 | 9.076 | 329.012 | 13.44 | 892 | 60.43 | 57.886
2020-10-31 09:00:00 | 7.7 | 183.64 | 7.926 | 330.221 | 8.871 | 179.601 | 8.964 | 331.91 | 13.52 | 893 | 58.869 | 57.377
2020-10-31 09:15:00 | 7.444 | 278.52 | 7.646 | 330.31 | 8.636 | 272.393 | 8.673 | 331.999 | 13.52 | 893 | 57.984 | 56.891
2020-10-31 09:30:00 | 7.0653 | 231.9067 | 7.2593 | 331.524 | 8.0473 | 226.804 | 8.132 | 333.2173 | 13.5267 | 893 | 58.05 | 55.2193
2020-10-31 09:45:00 | 6.43 | 77.66 | 6.792 | 334.478 | 7.5 | 75.952 | 7.874 | 336.186 | 13.46 | 893 | 57.38 | 54.598
2020-10-31 10:00:00 | 6.149 | 316.29 | 6.499 | 166.71 | 7.472 | 309.331 | 7.755 | 167.562 | 13.57 | 893 | 56.788 | 51.885
2020-10-31 10:15:00 | 6.259 | 245.44 | 6.683 | 241.155 | 7.001 | 205.918 | 7.577 | 242.388 | 13.64 | 894 | 55.482 | 49.048
2020-10-31 10:30:00 | 6.408 | 284.73 | 6.78 | 305.029 | 7.169 | 278.808 | 7.661 | 306.589 | 13.62 | 894 | 56.738 | 47.424
2020-10-31 10:45:00 | 5.64 | 148.68 | 5.933 | 317.253 | 6.572 | 145.41 | 6.861 | 318.875 | 13.61 | 894 | 57.536 | 44.014
2020-10-31 11:00:00 | 5.844 | 210.23 | 6.209 | 303.326 | 6.67 | 205.605 | 7.124 | 304.877 | 13.62 | 894 | 56.398 | 42.126
2020-10-31 11:15:00 | 5.7387 | 214.8533 | 6.0873 | 250.3813 | 6.6047 | 210.1273 | 7.0127 | 251.662 | 13.6733 | 894 | 55.3733 | 40.24
2020-10-31 11:30:00 | 5.848 | 209.76 | 6.274 | 271.316 | 6.732 | 205.144 | 7.278 | 272.704 | 13.7 | 894 | 52.154 | 40.416
2020-10-31 11:45:00 | 5.848 | 209.76 | 6.274 | 271.316 | 6.732 | 205.144 | 7.278 | 272.704 | 13.7 | 894 | 52.154 | 40.416
2020-10-31 12:00:00 | 6.408 | 179.86 | 6.934 | 307.16 | 7.326 | 175.658 | 8.047 | 308.731 | 13.73 | 894 | 51.21 | 50.025
2020-10-31 12:15:00 | 7.388 | 144.43 | 7.981 | 238.905 | 8.444 | 141.253 | 9.263 | 240.128 | 13.85 | 893.8 | 50.244 | 53.501
2020-10-31 12:30:00 | 7.649 | 279.08 | 8.175 | 241.841 | 8.707 | 272.94 | 9.403 | 243.076 | 13.89 | 893 | 50.225 | 53.887
2020-10-31 12:45:00 | 7.65 | 243.38 | 8.052 | 340.334 | 8.565 | 238.025 | 9.064 | 342.074 | 13.91 | 893 | 50.556 | 53.126
2020-10-31 13:00:00 | 7.248 | 208.64 | 7.613 | 332.96 | 8.449 | 204.05 | 8.789 | 334.663 | 14 | 892.3 | 52.678 | 51.736
2020-10-31 13:15:00 | 6.719 | 214.65 | 7.04 | 332.735 | 7.706 | 209.927 | 8.029 | 334.436 | 13.94 | 892 | 53.859 | 50.868
2020-10-31 13:30:00 | 6.151 | 241.36 | 6.597 | 293.937 | 7.166 | 236.05 | 7.717 | 295.44 | 14.02 | 892 | 54.426 | 47.998
2020-10-31 13:45:00 | 6.271 | 286.32 | 6.722 | 318.681 | 7.36 | 280.02 | 7.905 | 320.311 | 14.19 | 892 | 53.481 | 44.928
2020-10-31 14:00:00 | 6.4986 | 319.75 | 6.9536 | 327.6714 | 7.6171 | 312.715 | 8.16 | 329.3464 | 14.2286 | 891.2143 | 54.2707 | 46.48
2020-10-31 14:15:00 | 6.5907 | 343.8133 | 7.0093 | 329.6893 | 7.66 | 314.4207 | 8.14 | 331.3753 | 14.2067 | 891 | 55.0273 | 45.308
2020-10-31 14:30:00 | 6.648 | 341.32 | 7.112 | 338.72 | 7.796 | 333.812 | 8.35 | 340.452 | 14.22 | 891 | 55.708 | 49.078
2020-10-31 14:45:00 | 6.771 | 241.02 | 7.154 | 332.479 | 7.674 | 235.717 | 8.144 | 334.18 | 14.28 | 891 | 54.66 | 47.646
2020-10-31 15:00:00 | 6.669 | 276.93 | 7.133 | 299.326 | 7.575 | 270.838 | 8.192 | 300.858 | 14.2 | 891 | 54.794 | 47.517
2020-10-31 15:15:00 | 6.657 | 248.67 | 7.073 | 334.768 | 7.478 | 243.199 | 8.031 | 336.481 | 14.17 | 891 | 55.707 | 43.819
2020-10-31 15:30:00 | 6.7121 | 318.6643 | 7.2679 | 336.1164 | 7.5514 | 312.82 | 8.365 | 337.8357 | 14.2714 | 891 | 53.4257 | 45.0327
2020-10-31 15:45:00 | 6.4647 | 325.7533 | 6.9613 | 268.422 | 7.2033 | 318.5873 | 7.9287 | 270.292 | 14.24 | 891 | 54.4187 | 43.658
2020-10-31 16:00:00 | 6.564 | 280.68 | 7.04 | 334.162 | 7.148 | 274.506 | 7.88 | 335.874 | 14.2 | 891 | 56.448 | 43.458
2020-10-31 16:15:00 | 5.575 | 215.54 | 5.915 | 334.692 | 5.936 | 209.41 | 6.483 | 336.402 | 14.27 | 891 | 58.83 | 40.613
2020-10-31 16:30:00 | 6.069 | 175.83 | 6.476 | 336.451 | 6.753 | 171.962 | 7.311 | 338.171 | 14.18 | 891 | 62.791 | 46.803
2020-10-31 16:45:00 | 6.325 | 280.55 | 6.808 | 270.956 | 7.037 | 274.378 | 7.749 | 272.34 | 14.04 | 891 | 62.967 | 45.593
2020-10-31 17:00:00 | 6.371 | 247.81 | 6.864 | 274.837 | 7.099 | 242.357 | 7.825 | 276.243 | 14.04 | 891 | 64.607 | 45.569
2020-10-31 17:15:00 | 6.106 | 247.43 | 6.565 | 335.112 | 6.864 | 241.988 | 7.519 | 336.824 | 14.03 | 890.2 | 66.173 | 46.459
2020-10-31 17:30:00 | 6.119 | 316.76 | 6.542 | 304.568 | 6.788 | 309.793 | 7.398 | 306.128 | 14.02 | 890.3 | 66.39 | 46.146
2020-10-31 17:45:00 | 6.255 | 177.19 | 6.598 | 304.11 | 6.869 | 173.29 | 7.347 | 305.664 | 13.99 | 890 | 68.403 | 48.25
2020-10-31 18:00:00 | 6.6627 | 169.9867 | 7.0567 | 312.5747 | 7.5793 | 166.2493 | 8.062 | 314.1733 | 13.9333 | 890 | 67.5687 | 47.8787
2020-10-31 18:15:00 | 6.578 | 207 | 6.998 | 272.04 | 7.556 | 202.446 | 8.066 | 273.43 | 14 | 890 | 68.096 | 48.2
2020-10-31 18:30:00 | 5.984 | 274.6 | 6.462 | 325.712 | 6.844 | 268.558 | 7.5 | 327.378 | 13.92 | 890 | 67.99 | 44.176
2020-10-31 18:45:00 | 5.771 | 178.92 | 6.287 | 334.662 | 6.865 | 174.984 | 7.528 | 336.372 | 13.83 | 890 | 67.84 | 42.569
2020-10-31 19:00:00 | 5.805 | 215.2 | 6.208 | 329.225 | 6.856 | 210.466 | 7.315 | 330.909 | 13.86 | 890 | 66.521 | 41.561
2020-10-31 19:15:00 | 5.491 | 146.74 | 5.815 | 337.048 | 6.417 | 143.51 | 6.768 | 338.771 | 13.94 | 890 | 67.953 | 35.593
2020-10-31 19:30:00 | 5.04 | 182.54 | 5.35 | 297.831 | 6.149 | 146.23 | 6.416 | 299.355 | 13.85 | 890.7 | 67.637 | 31.256
2020-10-31 19:45:00 | 5.0507 | 83.5429 | 5.3393 | 326.1714 | 5.7571 | 81.705 | 6.0836 | 327.8371 | 13.7214 | 891 | 66.9293 | 29.1707
2020-10-31 20:00:00 | 4.5133 | 212.7733 | 4.67 | 326.2927 | 4.74 | 208.0927 | 4.97 | 327.9627 | 13.6733 | 891 | 66.1473 | 28.7793
2020-10-31 20:15:00 | 4.554 | 174.88 | 4.73 | 328.394 | 4.878 | 171.033 | 5.119 | 330.071 | 13.6 | 891 | 68.279 | 28.782
2020-10-31 20:30:00 | 5.026 | 311.25 | 5.278 | 324.707 | 5.489 | 304.88 | 5.843 | 326.366 | 13.58 | 891 | 67.776 | 31.033
2020-10-31 20:45:00 | 4.853 | 279.8 | 5.077 | 328.44 | 5.146 | 273.732 | 5.488 | 330.122 | 13.62 | 891 | 67.201 | 31.053
2020-10-31 21:00:00 | 5.028 | 342.8267 | 5.3327 | 329.3973 | 5.5867 | 336.0093 | 6.0053 | 331.0813 | 13.5067 | 891 | 66.78 | 33.9473
2020-10-31 21:15:00 | 5.16 | 280.46 | 5.426 | 325.324 | 5.708 | 274.292 | 6.058 | 326.986 | 13.48 | 891 | 67.52 | 36.998
2020-10-31 21:30:00 | 5.657 | 279.77 | 5.951 | 327.748 | 6.068 | 273.615 | 6.509 | 329.423 | 13.49 | 892 | 67.224 | 36.963
2020-10-31 21:45:00 | 4.912 | 308.04 | 5.106 | 325.516 | 5.168 | 301.263 | 5.462 | 327.182 | 13.27 | 892 | 67.614 | 31.454
2020-10-31 22:00:00 | 5.05 | 339.33 | 5.15 | 328.893 | 5.405 | 331.864 | 5.497 | 330.575 | 13.36 | 892 | 69.986 | 32.558
2020-10-31 22:15:00 | 5.3107 | 253.6067 | 5.482 | 326.69 | 5.7533 | 248.0287 | 5.952 | 328.3613 | 13.3533 | 892 | 71.282 | 33.1493
2020-10-31 22:30:00 | 5.106 | 337.04 | 5.308 | 323.718 | 5.478 | 329.624 | 5.754 | 325.376 | 13.36 | 892 | 72.476 | 30.344
2020-10-31 22:45:00 | 5.384 | 308.81 | 5.598 | 326.192 | 5.793 | 302.016 | 6.088 | 327.86 | 13.24 | 892 | 72.342 | 33.053
2020-10-31 23:00:00 | 5.7707 | 339.0214 | 6.0393 | 326.2464 | 6.22 | 331.5636 | 6.6036 | 327.9143 | 13.2571 | 892 | 72.775 | 37.876
2020-10-31 23:15:00 | 5.932 | 337.58 | 6.186 | 328.646 | 6.31 | 329.958 | 6.676 | 330.328 | 13.24 | 892 | 73.24 | 40.49
2020-10-31 23:30:00 | 6.142 | 338.58 | 6.417 | 331.974 | 6.675 | 331.375 | 7.049 | 333.669 | 13.22 | 892 | 74.485 | 44.026
2020-10-31 23:45:00 | 6.2053 | 339.7933 | 6.444 | 328.2813 | 6.5667 | 332.318 | 6.92 | 329.96 | 13.18 | 892 | 75.04 | 46.332