## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-01 00:00:00 | 6.279 | 341.14 | 6.558 | 328.677 | 6.885 | 331.893 | 7.264 | 330.356 | 13.13 | 892 | 74.596 | 49.913
2020-11-01 00:15:00 | 6.246 | 338.08 | 6.544 | 325.438 | 6.91 | 330.644 | 7.284 | 327.104 | 13.24 | 892 | 74.942 | 50.796
2020-11-01 00:30:00 | 6.24 | 342.83 | 6.577 | 326.114 | 6.817 | 335.289 | 7.288 | 327.782 | 13.19 | 891 | 75.112 | 51.205
2020-11-01 00:45:00 | 5.896 | 274.04 | 6.29 | 269.362 | 6.772 | 268.01 | 7.27 | 270.74 | 13.34 | 891 | 73.796 | 46.696
2020-11-01 01:00:00 | 6.105 | 306.99 | 6.503 | 230.054 | 6.888 | 300.236 | 7.42 | 231.23 | 13.14 | 891 | 75.846 | 47.193
2020-11-01 01:15:00 | 5.644 | 343.82 | 6.14 | 265.39 | 6.544 | 334.476 | 7.216 | 266.746 | 13.04 | 892 | 76.39 | 44.616
2020-11-01 01:30:00 | 5.8553 | 344.4267 | 6.2407 | 328.7107 | 6.6253 | 336.8493 | 7.134 | 330.392 | 13.0067 | 891 | 75.8167 | 45.786
2020-11-01 01:45:00 | 6.1 | 305.75 | 6.392 | 330.144 | 6.704 | 299.023 | 7.084 | 331.832 | 13.11 | 891 | 74.834 | 48.808
2020-11-01 02:00:00 | 6.39 | 336.46 | 6.74 | 327.862 | 7.118 | 329.058 | 7.568 | 329.54 | 13.08 | 891 | 73.574 | 52.674
2020-11-01 02:15:00 | 5.824 | 265.34 | 6.18 | 328.218 | 6.534 | 259.502 | 7.01 | 329.896 | 13.02 | 891 | 73.128 | 49.934
2020-11-01 02:30:00 | 5.245 | 337.59 | 5.447 | 300.489 | 6.089 | 329.978 | 6.216 | 302.027 | 13.23 | 891.7 | 72.25 | 38.592
2020-11-01 02:45:00 | 5.23 | 266.66 | 5.374 | 327.18 | 5.942 | 260.792 | 6.016 | 328.852 | 13.2 | 892 | 73.258 | 35.36
2020-11-01 03:00:00 | 5.23 | 266.66 | 5.374 | 327.18 | 5.942 | 260.792 | 6.016 | 328.852 | 13.2 | 892 | 73.258 | 35.36
2020-11-01 03:15:00 | 5.0827 | 340.5667 | 5.3273 | 327.0033 | 5.7353 | 333.0747 | 6.01 | 328.676 | 13.1067 | 892 | 71.9427 | 33.732
2020-11-01 03:30:00 | 5.266 | 344.02 | 5.514 | 300.833 | 5.921 | 336.452 | 6.205 | 302.371 | 13.16 | 892 | 71.279 | 33.344
2020-11-01 03:45:00 | 5.642 | 346.28 | 5.892 | 335.747 | 6.215 | 338.662 | 6.526 | 337.463 | 13.37 | 892 | 71.501 | 33.372
2020-11-01 04:00:00 | 5.932 | 344.82 | 6.26 | 341.4 | 6.462 | 337.234 | 6.932 | 343.148 | 13.48 | 892 | 73.366 | 38.088
2020-11-01 04:15:00 | 5.6753 | 342.4 | 5.9873 | 333.948 | 6.222 | 334.8673 | 6.6567 | 335.6567 | 13.1533 | 892 | 73.0627 | 39.6087
2020-11-01 04:30:00 | 5.725 | 308.1 | 5.999 | 301.185 | 6.15 | 302.631 | 6.554 | 302.724 | 13.14 | 892 | 70.057 | 40.177
2020-11-01 04:45:00 | 5.652 | 339.18 | 5.946 | 335.124 | 6.086 | 331.718 | 6.522 | 336.836 | 13.16 | 892 | 70.21 | 40.726
2020-11-01 05:00:00 | 6.249 | 343.46 | 6.51 | 332.578 | 6.908 | 335.904 | 7.217 | 334.281 | 13.28 | 892 | 71.98 | 45.322
2020-11-01 05:15:00 | 6.436 | 343.82 | 6.776 | 264.098 | 7.046 | 336.256 | 7.516 | 265.45 | 13.36 | 892 | 72.618 | 49.322
2020-11-01 05:30:00 | 6.632 | 319.12 | 7.0093 | 329.678 | 7.472 | 312.32 | 7.942 | 330.4847 | 13.2667 | 892 | 70.5133 | 53.7413
2020-11-01 05:45:00 | 6.382 | 346.56 | 6.748 | 269.75 | 7.086 | 335.356 | 7.594 | 271.13 | 13.36 | 892 | 68.132 | 54.26
2020-11-01 06:00:00 | 6.54 | 343.79 | 6.967 | 292.255 | 7.264 | 336.227 | 7.865 | 293.749 | 13.41 | 892 | 66.85 | 55.634
2020-11-01 06:15:00 | 6.196 | 341.34 | 6.652 | 324.692 | 7.068 | 333.832 | 7.68 | 326.356 | 13.46 | 892 | 64.442 | 54.88
2020-11-01 06:30:00 | 6.706 | 309.42 | 7.148 | 331.58 | 7.205 | 302.614 | 7.899 | 333.276 | 13.45 | 892 | 63.024 | 55.069
2020-11-01 06:45:00 | 7.0493 | 339.6267 | 7.4353 | 293.83 | 7.774 | 331.7953 | 8.2987 | 295.3313 | 13.5667 | 892 | 60.4893 | 56.5687
2020-11-01 07:00:00 | 6.948 | 342.04 | 7.343 | 298.788 | 7.602 | 332.959 | 8.154 | 300.315 | 13.6 | 892 | 60.574 | 57.587
2020-11-01 07:15:00 | 7.582 | 341.83 | 8.105 | 328.558 | 8.379 | 334.31 | 9.141 | 330.238 | 13.64 | 892 | 59.345 | 58.34
2020-11-01 07:30:00 | 7.336 | 344.72 | 7.748 | 329.116 | 8.034 | 337.138 | 8.612 | 330.798 | 13.54 | 892.4 | 57.13 | 57.866
2020-11-01 07:45:00 | 7.6 | 344.6 | 8.063 | 331.004 | 8.291 | 337.019 | 8.972 | 332.698 | 13.73 | 893 | 55.956 | 57.48
2020-11-01 08:00:00 | 7.203 | 278.39 | 7.508 | 330.652 | 7.847 | 272.264 | 8.248 | 332.342 | 13.71 | 893 | 54.805 | 55.863
2020-11-01 08:15:00 | 6.736 | 340.66 | 7.094 | 267.954 | 7.438 | 333.164 | 7.916 | 269.324 | 13.72 | 893 | 55.044 | 55.808
2020-11-01 08:30:00 | 6.6522 | 272.3556 | 7.1411 | 294.1378 | 7.6289 | 266.3633 | 8.2778 | 295.6422 | 13.8667 | 894 | 54.7837 | 56.0189
2020-11-01 08:45:00 | 6.645 | 310.2 | 7.031 | 266.662 | 7.549 | 303.377 | 8.021 | 268.026 | 13.89 | 894 | 57.252 | 53.942
2020-11-01 09:00:00 | 6.5107 | 321.7867 | 6.9067 | 288.0327 | 7.458 | 314.7067 | 7.9387 | 289.5067 | 13.9 | 894 | 56.264 | 53.9473
2020-11-01 09:15:00 | 6.263 | 243.87 | 6.563 | 266.271 | 7.103 | 238.504 | 7.427 | 267.631 | 13.84 | 894 | 55.195 | 52.782
2020-11-01 09:30:00 | 6.222 | 209.85 | 6.644 | 330.419 | 7.331 | 205.232 | 7.811 | 332.106 | 13.84 | 894 | 53.674 | 53.933
2020-11-01 09:45:00 | 6.25 | 214.99 | 6.577 | 299.003 | 7.244 | 210.261 | 7.579 | 300.533 | 14.03 | 894.2 | 53.568 | 53.463
2020-11-01 10:00:00 | 6.669 | 205.79 | 6.908 | 331.406 | 7.385 | 201.261 | 7.636 | 333.098 | 14.21 | 895 | 53.604 | 51.407
2020-11-01 10:15:00 | 6.246 | 278.34 | 6.506 | 324.4933 | 7.1733 | 272.216 | 7.3973 | 326.1527 | 14.1933 | 895 | 50.622 | 49.4787
2020-11-01 10:30:00 | 6.15 | 351.32 | 6.504 | 326.73 | 7.208 | 343.59 | 7.574 | 328.4 | 14.3 | 895 | 51.01 | 48.36
2020-11-01 10:45:00 | 5.782 | 277.68 | 6.044 | 331.817 | 6.719 | 271.57 | 6.946 | 333.513 | 14.37 | 895 | 48.264 | 45.54
2020-11-01 11:00:00 | 5.686 | 219 | 6.057 | 301.498 | 6.77 | 214.183 | 7.158 | 303.039 | 14.5 | 895 | 47.811 | 43.6
2020-11-01 11:15:00 | 5.868 | 216.11 | 6.16 | 267.815 | 6.97 | 211.356 | 7.206 | 269.185 | 14.67 | 895 | 47.832 | 42.53
2020-11-01 11:30:00 | 5.646 | 213.12 | 5.95 | 238.67 | 6.612 | 208.432 | 6.909 | 239.891 | 14.83 | 895.7 | 44.078 | 39.404
2020-11-01 11:45:00 | 5.6807 | 168.8 | 6.0313 | 311.8113 | 6.7193 | 165.086 | 7.086 | 313.406 | 15.1 | 895.5333 | 43.6613 | 39.1793
2020-11-01 12:00:00 | 5.904 | 140.04 | 6.302 | 335.59 | 6.986 | 136.96 | 7.428 | 337.31 | 15.38 | 895 | 41.862 | 36.892
2020-11-01 12:15:00 | 5.2356 | 203.0667 | 5.5844 | 259.4189 | 6.2889 | 198.6 | 6.6433 | 260.7433 | 15.4778 | 895 | 39.2456 | 35.202
2020-11-01 12:30:00 | 5.481 | 147.21 | 5.845 | 267.493 | 6.455 | 143.969 | 6.86 | 268.859 | 15.75 | 895 | 38.936 | 35.906
2020-11-01 12:45:00 | 5.775 | 145.1 | 6.114 | 208.225 | 6.611 | 144.167 | 7.011 | 209.291 | 15.98 | 895 | 36.289 | 36.607
2020-11-01 13:00:00 | 6.377 | 210.04 | 6.824 | 207.765 | 7.377 | 205.417 | 7.939 | 208.828 | 16.28 | 895 | 34.674 | 40.234
2020-11-01 13:15:00 | 6.191 | 207.76 | 6.595 | 243.718 | 6.815 | 203.188 | 7.401 | 244.964 | 16.41 | 895 | 32.874 | 38.622
2020-11-01 13:30:00 | 6.302 | 277.56 | 6.5913 | 209.9893 | 6.9427 | 271.454 | 7.308 | 211.0633 | 16.6267 | 895 | 31.498 | 40.104
2020-11-01 13:45:00 | 6.014 | 277.74 | 6.376 | 201.898 | 6.57 | 271.63 | 7.096 | 202.932 | 16.7 | 895 | 31.654 | 36.422
2020-11-01 14:00:00 | 5.18 | 274.76 | 5.29 | 201.537 | 5.862 | 268.717 | 5.875 | 202.568 | 16.84 | 894.3 | 31.442 | 28.823
2020-11-01 14:15:00 | 4.291 | 309.78 | 4.5 | 202.192 | 5.001 | 302.965 | 5.198 | 203.224 | 17.05 | 895 | 31.926 | 24.458
2020-11-01 14:30:00 | 5.361 | 282.02 | 5.553 | 273.663 | 5.838 | 275.816 | 6.069 | 275.064 | 17.05 | 895 | 32.32 | 28.393
2020-11-01 14:45:00 | 5.144 | 254.0333 | 5.3853 | 231.4147 | 5.78 | 248.444 | 6.0573 | 232.5973 | 17.2533 | 894 | 31.3087 | 28.2827
2020-11-01 15:00:00 | 4.8347 | 210.6933 | 5.1793 | 251.3453 | 5.458 | 206.0587 | 5.9307 | 252.6307 | 17.6133 | 894 | 28.7487 | 26.8053
2020-11-01 15:15:00 | 4.754 | 136.16 | 5.17 | 278.398 | 5.518 | 133.164 | 6.084 | 279.82 | 17.66 | 894 | 28.046 | 27.38
2020-11-01 15:30:00 | 4.756 | 146.71 | 5.113 | 307.013 | 5.422 | 143.484 | 5.908 | 308.584 | 17.72 | 894 | 27.016 | 20.552
2020-11-01 15:45:00 | 3.9 | 145.77 | 4.18 | 197.792 | 4.845 | 142.562 | 5.099 | 198.802 | 17.91 | 894 | 27.018 | 17.218
2020-11-01 16:00:00 | 4.041 | 178.36 | 4.216 | 275.658 | 4.374 | 174.437 | 4.612 | 277.069 | 17.9 | 894 | 28.044 | 14.217
2020-11-01 16:15:00 | 3.7473 | 167.0533 | 3.9813 | 125.8293 | 4.1807 | 163.02 | 4.4947 | 126.4713 | 18.0267 | 894 | 27.9613 | 13.33
2020-11-01 16:30:00 | 3.464 | 215.82 | 3.648 | 213.3 | 3.858 | 211.074 | 4.088 | 214.394 | 18.12 | 894 | 28.306 | 9.558
2020-11-01 16:45:00 | 3.922 | 144.84 | 4.048 | 277.536 | 4.224 | 141.654 | 4.372 | 278.956 | 18.04 | 894 | 29.048 | 10.834
2020-11-01 17:00:00 | 3.17 | 249.18 | 3.282 | 240.736 | 3.482 | 243.698 | 3.607 | 241.966 | 17.96 | 894 | 31.054 | 7.547
2020-11-01 17:15:00 | 2.717 | 148.04 | 2.853 | 274.545 | 3.115 | 144.783 | 3.257 | 275.949 | 17.95 | 894 | 33.043 | 5.671
2020-11-01 17:30:00 | 2.995 | 41.41 | 3.126 | 273.301 | 3.319 | 40.226 | 3.478 | 274.7 | 17.83 | 893.3 | 35.528 | 6.128
2020-11-01 17:45:00 | 2.8853 | 61.6133 | 3.0647 | 254.684 | 3.2073 | 60.2573 | 3.4547 | 255.9873 | 17.5133 | 893 | 36.106 | 5.6353
2020-11-01 18:00:00 | 2.834 | 18.02 | 2.99 | 277.832 | 3.178 | 17.626 | 3.37 | 279.248 | 17.42 | 893 | 36.378 | 5.138
2020-11-01 18:15:00 | 2.848 | 19.46 | 3.053 | 107.952 | 3.028 | 19.032 | 3.367 | 108.502 | 17.21 | 892.8 | 37.791 | 4.272
2020-11-01 18:30:00 | 2.589 | 20.53 | 2.767 | 40.733 | 2.868 | 19.59 | 3.118 | 40.943 | 17.01 | 892 | 37.573 | 3.343
2020-11-01 18:45:00 | 2 | 26.37 | 2.069 | 209.683 | 2.046 | 25.791 | 2.168 | 210.755 | 16.94 | 892 | 38.639 | 1.635
2020-11-01 19:00:00 | 1.97 | 84.14 | 2.031 | 211.415 | 1.983 | 82.289 | 2.096 | 212.495 | 16.77 | 892 | 40.494 | 1.593
2020-11-01 19:15:00 | 2.0633 | 61.5 | 2.134 | 72.8413 | 2.1373 | 60.148 | 2.2533 | 73.214 | 16.54 | 892 | 40.2533 | 1.3633
2020-11-01 19:30:00 | 1.906 | 25.38 | 1.934 | 210.426 | 2.138 | 24.822 | 2.13 | 211.502 | 16.44 | 892 | 39.928 | 0.808
2020-11-01 19:45:00 | 2.24 | 147.02 | 2.328 | 4.254 | 2.472 | 143.786 | 2.581 | 4.275 | 16.44 | 893 | 40.633 | 0.458
2020-11-01 20:00:00 | 2.425 | 80.96 | 2.517 | 11.929 | 2.567 | 79.374 | 2.711 | 11.992 | 16.49 | 893 | 41.328 | 1.036
2020-11-01 20:15:00 | 2.7387 | 102.8133 | 2.894 | 143.9487 | 3.24 | 100.3347 | 3.3853 | 144.6847 | 16.2933 | 893 | 42.6933 | 1.9347
2020-11-01 20:30:00 | 2.3567 | 125.7222 | 2.6056 | 344.3111 | 2.6833 | 122.9567 | 3.06 | 346.07 | 16.1 | 893 | 43.0967 | 1.417
2020-11-01 20:45:00 | 2.288 | 82.87 | 2.515 | 324.266 | 2.595 | 81.047 | 2.938 | 325.923 | 16.07 | 894 | 43.871 | 0.866
2020-11-01 21:00:00 | 2.964 | 78.76 | 3.168 | 321.226 | 3.3507 | 77.0273 | 3.6233 | 322.87 | 15.7 | 894 | 45.8727 | 2.9187
2020-11-01 21:15:00 | 3.004 | 8.34 | 3.198 | 325.262 | 3.43 | 8.158 | 3.674 | 326.926 | 15.38 | 894 | 47.8 | 3.674
2020-11-01 21:30:00 | 2.989 | 176.11 | 3.14 | 327.63 | 3.685 | 172.234 | 3.775 | 329.305 | 15.15 | 894 | 49.066 | 4.692
2020-11-01 21:45:00 | 2.897 | 144.47 | 3.05 | 330.985 | 3.558 | 141.292 | 3.658 | 332.677 | 15 | 894 | 48.452 | 5.596
2020-11-01 22:00:00 | 3.035 | 180.88 | 3.207 | 328.833 | 3.683 | 176.902 | 3.824 | 330.514 | 14.89 | 894 | 48.896 | 7.142
2020-11-01 22:15:00 | 2.858 | 283.66 | 3.03 | 328.438 | 3.554 | 277.4193 | 3.6793 | 330.1167 | 14.5867 | 894 | 48.9493 | 6.5407
2020-11-01 22:30:00 | 2.732 | 354.76 | 2.918 | 331.876 | 3.334 | 346.958 | 3.518 | 333.572 | 14.42 | 894 | 49.228 | 5.494
2020-11-01 22:45:00 | 2.549 | 116.58 | 2.547 | 337.342 | 2.906 | 114.016 | 2.8 | 339.067 | 14.62 | 894 | 49.142 | 3.988
2020-11-01 23:00:00 | 3.102 | 210.8 | 3.229 | 336.325 | 3.772 | 206.163 | 3.821 | 338.044 | 14.46 | 894.7 | 49.758 | 5.439
2020-11-01 23:15:00 | 3.166 | 347.92 | 3.282 | 336.352 | 3.744 | 340.266 | 3.794 | 338.076 | 14.42 | 894 | 51.826 | 6.29
2020-11-01 23:30:00 | 3.738 | 180.17 | 3.882 | 336.344 | 4.404 | 176.206 | 4.479 | 338.063 | 14.25 | 895 | 53.785 | 10.018
2020-11-01 23:45:00 | 3.606 | 143.7867 | 3.7387 | 334.998 | 4.2453 | 140.624 | 4.3147 | 336.7107 | 14.22 | 895 | 56.3133 | 9.2293