## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-02 00:00:00 | 3.795 | 210.58 | 3.929 | 329.635 | 4.527 | 205.948 | 4.57 | 331.32 | 14.27 | 895 | 56.416 | 8.751
2020-11-02 00:15:00 | 3.436 | 142.46 | 3.552 | 206.808 | 3.854 | 140.5 | 3.95 | 207.866 | 14.5 | 895 | 57.954 | 8.32
2020-11-02 00:30:00 | 4.849 | 349.56 | 5.179 | 328.529 | 5.619 | 341.87 | 6.021 | 330.209 | 13.65 | 894.7 | 59.199 | 18.326
2020-11-02 00:45:00 | 4.88 | 353.7 | 5.182 | 329.401 | 5.652 | 345.918 | 6 | 331.084 | 13.36 | 894 | 59.161 | 19.247
2020-11-02 01:00:00 | 5.5 | 351.96 | 5.89 | 325.616 | 6.23 | 344.216 | 6.756 | 327.28 | 13.18 | 894.4 | 61.242 | 22.726
2020-11-02 01:15:00 | 5.494 | 315.84 | 5.888 | 337.087 | 6.217 | 308.892 | 6.76 | 338.811 | 13.28 | 895 | 62.128 | 25.354
2020-11-02 01:30:00 | 5.796 | 346.2 | 6.202 | 329.976 | 6.564 | 338.582 | 7.116 | 331.664 | 13.3 | 895 | 63.246 | 27.27
2020-11-02 01:45:00 | 5.378 | 346.19 | 5.806 | 335.805 | 5.988 | 338.573 | 6.623 | 337.525 | 13.49 | 895 | 63.349 | 24.436
2020-11-02 02:00:00 | 5.25 | 348.96 | 5.638 | 336.078 | 5.94 | 341.282 | 6.474 | 337.798 | 13.56 | 895 | 62.432 | 22.818
2020-11-02 02:15:00 | 5.62 | 352.62 | 6.038 | 325.598 | 6.25 | 344.862 | 6.86 | 327.262 | 13 | 895 | 63.62 | 26.672
2020-11-02 02:30:00 | 5.321 | 314.39 | 5.699 | 336.334 | 5.925 | 307.473 | 6.466 | 338.054 | 13.27 | 895 | 65.008 | 24.85
2020-11-02 02:45:00 | 5.706 | 352.88 | 6.004 | 337.216 | 6.326 | 345.118 | 6.714 | 338.936 | 12.9 | 895 | 65.914 | 28.708
2020-11-02 03:00:00 | 5.076 | 349.38 | 5.42 | 325.4 | 5.744 | 341.692 | 6.21 | 327.064 | 12.48 | 895 | 67.216 | 21.94
2020-11-02 03:15:00 | 5.076 | 349.38 | 5.42 | 325.4 | 5.744 | 341.692 | 6.21 | 327.064 | 12.48 | 895 | 67.216 | 21.94
2020-11-02 03:30:00 | 3.894 | 280.05 | 4.158 | 331.345 | 4.561 | 239.061 | 4.869 | 333.04 | 12.26 | 895 | 70.245 | 14.309
2020-11-02 03:45:00 | 4.624 | 311.08 | 4.86 | 325.145 | 5.176 | 304.237 | 5.459 | 326.809 | 12.22 | 895 | 70.703 | 19.425
2020-11-02 04:00:00 | 4.96 | 345.98 | 5.212 | 330.956 | 5.456 | 338.368 | 5.788 | 332.646 | 12.76 | 895 | 71.52 | 22.16
2020-11-02 04:15:00 | 5.1907 | 302.6067 | 5.522 | 334.8607 | 5.8627 | 295.95 | 6.296 | 336.574 | 12.1533 | 895 | 73.3207 | 24.3193
2020-11-02 04:30:00 | 5.052 | 281.84 | 5.364 | 335.982 | 5.818 | 275.638 | 6.186 | 337.7 | 12.16 | 895 | 74.018 | 23.856
2020-11-02 04:45:00 | 5.088 | 354.02 | 5.396 | 328.958 | 5.922 | 346.232 | 6.262 | 330.642 | 12.1 | 895 | 74.33 | 25.952
2020-11-02 05:00:00 | 5.368 | 345.8267 | 5.6873 | 324.656 | 6.3293 | 339.314 | 6.656 | 326.3173 | 12.04 | 894.8667 | 75.2693 | 27.4787
2020-11-02 05:15:00 | 5.738 | 313.18 | 6.055 | 324.735 | 6.71 | 306.289 | 7.031 | 326.396 | 11.9 | 894 | 76.634 | 32.513
2020-11-02 05:30:00 | 5.516 | 354.06 | 5.804 | 329.02 | 6.422 | 346.27 | 6.71 | 330.7 | 12.18 | 894 | 77.752 | 29.82
2020-11-02 05:45:00 | 6.002 | 345.4 | 6.364 | 325.82 | 6.952 | 337.801 | 7.363 | 327.488 | 12.08 | 894 | 79.022 | 36.626
2020-11-02 06:00:00 | 5.668 | 348.2 | 6.012 | 327.14 | 6.648 | 340.54 | 7.022 | 328.814 | 11.84 | 894 | 80.1 | 37.954
2020-11-02 06:15:00 | 5.614 | 314.97 | 5.883 | 329.058 | 6.482 | 308.04 | 6.74 | 330.739 | 12.11 | 894 | 80.22 | 35.761
2020-11-02 06:30:00 | 5.25 | 350.58 | 5.516 | 324.344 | 6.094 | 342.866 | 6.354 | 326.002 | 12.02 | 894 | 81.28 | 31.106
2020-11-02 06:45:00 | 5.525 | 283.84 | 5.77 | 321.205 | 6.376 | 277.597 | 6.595 | 322.848 | 12.23 | 894 | 80.79 | 32.58
2020-11-02 07:00:00 | 6.216 | 338.2 | 6.564 | 319.98 | 7 | 330.76 | 7.438 | 321.618 | 12.48 | 894.4 | 79.75 | 35.576
2020-11-02 07:15:00 | 6.445 | 352.76 | 6.903 | 327.767 | 7.408 | 344.999 | 7.996 | 329.443 | 12.06 | 895 | 80.057 | 42.504
2020-11-02 07:30:00 | 6.6787 | 282.3467 | 7.066 | 332.9813 | 7.498 | 252.858 | 7.996 | 334.684 | 12.1867 | 895 | 81.7867 | 46.4007
2020-11-02 07:45:00 | 6.58 | 316.59 | 6.995 | 329.233 | 7.397 | 309.625 | 7.952 | 330.917 | 12.02 | 895 | 82.74 | 46.052
2020-11-02 08:00:00 | 6.47 | 318.74 | 6.832 | 336.051 | 7.198 | 311.729 | 7.674 | 337.769 | 12.47 | 895 | 80.86 | 44.019
2020-11-02 08:15:00 | 6.02 | 280.68 | 6.374 | 334.692 | 6.704 | 274.504 | 7.172 | 336.4 | 12.56 | 895 | 80.56 | 38.668
2020-11-02 08:30:00 | 5.342 | 42.22 | 5.627 | 306.759 | 5.802 | 41.29 | 6.214 | 308.327 | 12.85 | 895 | 80.834 | 28.491
2020-11-02 08:45:00 | 4.9 | 145.92 | 5.214 | 327.492 | 5.378 | 142.708 | 5.834 | 329.168 | 12.42 | 896 | 76.434 | 23.132
2020-11-02 09:00:00 | 4.872 | 180.4 | 5.326 | 341.076 | 5.177 | 176.431 | 5.948 | 342.822 | 12.96 | 897 | 71.969 | 22.084
2020-11-02 09:15:00 | 5.8767 | 325.9667 | 6.2707 | 339.6407 | 6.5093 | 318.794 | 7.0767 | 341.3767 | 13.68 | 897.4667 | 68.4413 | 28.872
2020-11-02 09:30:00 | 5.977 | 343.1 | 6.204 | 335.913 | 6.495 | 335.552 | 6.778 | 337.631 | 13.88 | 898 | 66.848 | 30.842
2020-11-02 09:45:00 | 5.382 | 324.4067 | 5.8187 | 327.1807 | 5.6353 | 317.2687 | 6.3893 | 328.852 | 13.4867 | 898 | 59.5693 | 28.2733
2020-11-02 10:00:00 | 5.084 | 344.66 | 5.512 | 321.156 | 5.606 | 337.076 | 6.264 | 322.796 | 13.44 | 898.4 | 61.888 | 25.362
2020-11-02 10:15:00 | 5.847 | 347.3 | 6.299 | 333.127 | 6.074 | 339.707 | 6.898 | 334.308 | 14.16 | 899 | 58.666 | 28.35
2020-11-02 10:30:00 | 6.023 | 339.08 | 6.414 | 332.51 | 6.666 | 331.619 | 7.227 | 334.21 | 14.43 | 899 | 53.21 | 30.327
2020-11-02 10:45:00 | 6.3427 | 342.36 | 6.7407 | 314.6107 | 6.8633 | 334.8273 | 7.4673 | 316.2187 | 14.4533 | 898.5333 | 53.852 | 29.8407
2020-11-02 11:00:00 | 6.356 | 347.72 | 6.878 | 330.466 | 7.102 | 340.07 | 7.874 | 332.156 | 14.58 | 898 | 51.79 | 27.236
2020-11-02 11:15:00 | 5.595 | 343.69 | 5.994 | 331.679 | 5.965 | 336.13 | 6.616 | 333.373 | 15.04 | 898 | 48.413 | 21.552
2020-11-02 11:30:00 | 5.075 | 274.12 | 5.371 | 330.896 | 5.634 | 268.089 | 6.04 | 332.586 | 15.25 | 898 | 44.472 | 16.452
2020-11-02 11:45:00 | 4.379 | 298.82 | 4.7 | 304.071 | 5.187 | 292.882 | 5.549 | 305.625 | 15.6 | 898 | 42.651 | 11.734
2020-11-02 12:00:00 | 3.7887 | 309.1733 | 3.9453 | 327.6353 | 4.5167 | 302.3713 | 4.6067 | 329.3107 | 15.6733 | 898 | 40.4247 | 6.2507
2020-11-02 12:15:00 | 3.074 | 330.98 | 3.196 | 323.562 | 3.712 | 323.698 | 3.762 | 325.216 | 15.82 | 898 | 39.142 | 2.96
2020-11-02 12:30:00 | 2.204 | 271.89 | 2.247 | 319.131 | 2.85 | 266.065 | 2.817 | 320.763 | 16.63 | 898 | 38.549 | 0.11
2020-11-02 12:45:00 | 1.827 | 281.16 | 1.866 | 261.361 | 2.46 | 274.975 | 2.353 | 262.696 | 17.72 | 898 | 38.316 | 0
2020-11-02 13:00:00 | 1.281 | 256.14 | 1.358 | 218.485 | 1.588 | 250.506 | 1.642 | 219.602 | 18.3 | 898 | 36.915 | 0
2020-11-02 13:15:00 | 1.588 | 160.76 | 1.739 | 265.792 | 1.816 | 157.224 | 2.039 | 267.147 | 18.69 | 897 | 36.707 | 0
2020-11-02 13:30:00 | 1.9353 | 204.7267 | 1.868 | 138.7193 | 1.9227 | 200.2227 | 1.8007 | 139.4287 | 18.6067 | 897 | 33.6 | 0
2020-11-02 13:45:00 | 1.5953 | 194.04 | 1.6653 | 146.6993 | 1.6733 | 189.7713 | 1.7867 | 147.4507 | 18.56 | 897 | 32.5013 | 0
2020-11-02 14:00:00 | 2.134 | 157.46 | 2.108 | 149.906 | 2.24 | 153.994 | 2.16 | 150.674 | 18.5 | 897 | 30.202 | 0
2020-11-02 14:15:00 | 2.149 | 149.54 | 2.129 | 137.897 | 2.65 | 146.249 | 2.469 | 138.603 | 18.75 | 896.8 | 23.943 | 0.231
2020-11-02 14:30:00 | 2.047 | 170.23 | 2.13 | 137.018 | 2.338 | 166.485 | 2.411 | 137.717 | 18.28 | 896 | 20.86 | 0.329
2020-11-02 14:45:00 | 2.0007 | 203.6667 | 2.1373 | 161.364 | 2.1387 | 199.1853 | 2.3567 | 162.1887 | 18.46 | 896 | 25.6393 | 0.44267
2020-11-02 15:00:00 | 1.718 | 176.98 | 1.812 | 162.034 | 2.036 | 173.088 | 2.12 | 162.864 | 18.78 | 896 | 25.176 | 0.082
2020-11-02 15:15:00 | 1.332 | 219.07 | 1.283 | 141.322 | 1.41 | 208.363 | 1.306 | 142.043 | 18.37 | 896 | 25.611 | 0
2020-11-02 15:30:00 | 1.547 | 172.26 | 1.667 | 161.144 | 1.848 | 168.471 | 1.988 | 161.97 | 18.17 | 896 | 27.354 | 0
2020-11-02 15:45:00 | 1.468 | 196.68 | 1.544 | 166.954 | 1.676 | 192.352 | 1.762 | 167.808 | 18.29 | 895 | 29.249 | 0
2020-11-02 16:00:00 | 1.23 | 197.06 | 1.28 | 171.854 | 1.5 | 192.725 | 1.522 | 172.734 | 18.41 | 895 | 30.585 | 0
2020-11-02 16:15:00 | 1.102 | 195.7733 | 1.2007 | 186.432 | 1.378 | 189.204 | 1.4953 | 187.3853 | 18.36 | 895 | 31.376 | 0
2020-11-02 16:30:00 | 1.318 | 197.68 | 1.392 | 166.202 | 1.806 | 193.328 | 1.802 | 167.05 | 18.24 | 895 | 32.458 | 0
2020-11-02 16:45:00 | 1.472 | 200.71 | 1.588 | 184.823 | 1.623 | 195.727 | 1.781 | 185.766 | 17.98 | 894.8 | 34.864 | 0
2020-11-02 17:00:00 | 1.687 | 199.99 | 1.807 | 200.069 | 1.939 | 195.59 | 2.096 | 201.091 | 17.94 | 894 | 38.049 | 0
2020-11-02 17:15:00 | 1.925 | 199.65 | 2.046 | 199.696 | 2.169 | 195.151 | 2.323 | 200.719 | 17.79 | 894 | 37.872 | 0
2020-11-02 17:30:00 | 2.18 | 190.5067 | 2.3353 | 180.8447 | 2.4753 | 186.3153 | 2.686 | 181.7693 | 17.62 | 894 | 38.484 | 0
2020-11-02 17:45:00 | 2.7807 | 177.1067 | 2.966 | 180.3553 | 3.1073 | 172.526 | 3.344 | 181.2767 | 17.32 | 894 | 36.6587 | 3.1487
2020-11-02 18:00:00 | 3.004 | 180.4 | 3.106 | 173.638 | 3.35 | 176.432 | 3.44 | 174.522 | 16.58 | 894 | 34.758 | 6.814
2020-11-02 18:15:00 | 2.754 | 187.98 | 2.909 | 178.886 | 3.059 | 183.844 | 3.267 | 179.8 | 16.38 | 894 | 42.241 | 7.821
2020-11-02 18:30:00 | 3.503 | 195.17 | 3.704 | 176.716 | 3.832 | 192.069 | 4.117 | 177.618 | 16.07 | 894 | 44.742 | 11.966
2020-11-02 18:45:00 | 3.37 | 183.56 | 3.566 | 177.018 | 3.852 | 179.521 | 4.086 | 177.923 | 15.88 | 894 | 45.71 | 12.918
2020-11-02 19:00:00 | 3.318 | 183.26 | 3.512 | 165.32 | 3.784 | 179.23 | 4.02 | 166.168 | 15.68 | 894 | 46.258 | 14.374
2020-11-02 19:15:00 | 2.983 | 182.07 | 3.107 | 167.755 | 3.372 | 178.064 | 3.498 | 168.614 | 15.54 | 894 | 45.661 | 11.449
2020-11-02 19:30:00 | 2.686 | 173.9 | 2.748 | 170.25 | 2.944 | 170.075 | 2.986 | 171.12 | 15.42 | 894 | 46.252 | 8.896
2020-11-02 19:45:00 | 2.5573 | 165.9933 | 2.5973 | 153.102 | 2.852 | 162.3413 | 2.846 | 153.8847 | 15.3667 | 894 | 47.6853 | 7.5733
2020-11-02 20:00:00 | 2.556 | 161.84 | 2.658 | 171.112 | 2.948 | 158.28 | 3.033 | 171.985 | 15.16 | 894 | 48.752 | 7.667
2020-11-02 20:15:00 | 2.348 | 171.97 | 2.39 | 160.208 | 2.447 | 168.187 | 2.499 | 161.024 | 15.13 | 894 | 49.894 | 5.055
2020-11-02 20:30:00 | 2.475 | 158.12 | 2.521 | 158.661 | 2.966 | 154.28 | 2.914 | 159.473 | 15.07 | 894.7 | 50.765 | 4.71
2020-11-02 20:45:00 | 2.4347 | 159.9 | 2.508 | 147.0847 | 2.6967 | 155.436 | 2.762 | 147.8373 | 14.9667 | 894.4667 | 50.9307 | 4.306
2020-11-02 21:00:00 | 2.321 | 169.38 | 2.404 | 155.218 | 2.723 | 165.801 | 2.764 | 156.011 | 14.89 | 895 | 50.782 | 4.489
2020-11-02 21:15:00 | 1.885 | 160.84 | 1.932 | 162.25 | 2.127 | 157.3 | 2.144 | 163.08 | 14.91 | 895 | 50.468 | 2.94
2020-11-02 21:30:00 | 1.707 | 163.22 | 1.762 | 163.699 | 1.911 | 159.63 | 1.961 | 164.534 | 14.84 | 895 | 51.2 | 2.709
2020-11-02 21:45:00 | 1.782 | 159.14 | 1.818 | 178.838 | 1.938 | 155.638 | 1.962 | 179.75 | 14.88 | 895 | 52.482 | 3.096
2020-11-02 22:00:00 | 1.531 | 176.8 | 1.541 | 173.233 | 1.608 | 172.91 | 1.605 | 174.119 | 14.81 | 895 | 51.682 | 2.103
2020-11-02 22:15:00 | 1.578 | 185.03 | 1.576 | 179.64 | 1.638 | 180.245 | 1.621 | 180.557 | 14.81 | 895 | 51.689 | 1.201
2020-11-02 22:30:00 | 1.6467 | 188.34 | 1.6667 | 174.496 | 1.6493 | 184.0913 | 1.6887 | 175.386 | 14.9 | 895 | 52.0027 | 0.72067
2020-11-02 22:45:00 | 1.3533 | 194.6444 | 1.3589 | 171.5511 | 1.3222 | 190.3622 | 1.3478 | 172.43 | 14.9444 | 895 | 51.84 | 0.16
2020-11-02 23:00:00 | 1.194 | 148.25 | 1.223 | 148.432 | 1.233 | 144.988 | 1.277 | 149.191 | 14.99 | 895 | 51.434 | 0.014
2020-11-02 23:15:00 | 1.328 | 172.82 | 1.35 | 148.275 | 1.437 | 169.086 | 1.447 | 149.032 | 14.93 | 895 | 50.949 | 0
2020-11-02 23:30:00 | 1.3813 | 150.8 | 1.434 | 146.3407 | 1.5427 | 147.4827 | 1.5973 | 147.0907 | 14.7733 | 895 | 51.5513 | 0.028667
2020-11-02 23:45:00 | 1.108 | 167.12 | 1.17 | 145.332 | 1.33 | 163.442 | 1.392 | 146.072 | 14.56 | 895 | 52.018 | 0