## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-03 00:00:00 | 0.955 | 161.6 | 1 | 175.229 | 1.261 | 158.044 | 1.257 | 176.125 | 14.76 | 895.7 | 52.398 | 0
2020-11-03 00:15:00 | 0.386 | 110.48 | 0.424 | 149.832 | 0.692 | 108.05 | 0.672 | 150.598 | 14.9 | 896 | 52.41 | 0
2020-11-03 00:30:00 | 0.22 | 205.1 | 0.214 | 190.807 | 0.222 | 200.588 | 0.213 | 191.781 | 14.98 | 896 | 53.196 | 0
2020-11-03 00:45:00 | 0.468 | 40.72 | 0.522 | 269.614 | 0.486 | 39.824 | 0.578 | 270.994 | 15 | 896 | 53.47 | 0
2020-11-03 01:00:00 | 0.677 | 35.19 | 0.704 | 27.209 | 0.751 | 34.611 | 0.784 | 27.347 | 14.94 | 895.7 | 54.412 | 0
2020-11-03 01:15:00 | 0.748 | 29.08 | 0.806 | 23.374 | 0.766 | 28.44 | 0.866 | 23.492 | 14.8 | 895 | 56.572 | 0
2020-11-03 01:30:00 | 1.009 | 61.12 | 0.998 | 8.008 | 0.977 | 59.774 | 0.969 | 8.051 | 14.77 | 895 | 56.386 | 0
2020-11-03 01:45:00 | 0.891 | 134.69 | 0.92 | 45.701 | 0.862 | 130.916 | 0.926 | 45.936 | 14.65 | 895 | 56.1 | 0
2020-11-03 02:00:00 | 1.766 | 198.96 | 1.93 | 182.4 | 1.984 | 194.582 | 2.238 | 183.328 | 14.42 | 895 | 54.34 | 0
2020-11-03 02:15:00 | 0.928 | 174.96 | 1.03 | 168.88 | 1.168 | 171.11 | 1.288 | 169.746 | 14.62 | 895 | 58.164 | 0
2020-11-03 02:30:00 | 1.86 | 330.55 | 2.023 | 312.939 | 1.9 | 323.278 | 2.193 | 314.542 | 15.02 | 895 | 56.55 | 0
2020-11-03 02:45:00 | 2.502 | 270.14 | 2.526 | 319.17 | 3.173 | 264.198 | 3.027 | 320.802 | 14.55 | 895 | 59.528 | 0
2020-11-03 03:00:00 | 2.708 | 293 | 2.768 | 293.164 | 3.36 | 287.162 | 3.258 | 294.664 | 14.22 | 895 | 62.122 | 1.882
2020-11-03 03:15:00 | 2.47 | 247.02 | 2.474 | 315.19 | 3.062 | 241.584 | 2.894 | 316.802 | 14 | 895 | 72.452 | 1.11
2020-11-03 03:30:00 | 2.194 | 335 | 2.374 | 266.722 | 2.748 | 327.628 | 2.93 | 268.084 | 14.02 | 895 | 72.556 | 0.878
2020-11-03 03:45:00 | 1.316 | 280.82 | 1.478 | 244.286 | 1.69 | 274.642 | 1.886 | 245.534 | 14.02 | 895 | 76.386 | 0
2020-11-03 04:00:00 | 1.348 | 136.52 | 1.462 | 264.55 | 2.034 | 133.516 | 2.044 | 265.902 | 13.38 | 895 | 75.016 | 0
2020-11-03 04:15:00 | 2.3507 | 277.1267 | 2.454 | 278.698 | 2.856 | 271.0307 | 2.9067 | 280.1227 | 13.04 | 895 | 78.74 | 0.16267
2020-11-03 04:30:00 | 2.405 | 325.27 | 2.547 | 297.242 | 2.889 | 318.114 | 3.02 | 298.763 | 12.63 | 895 | 81.09 | 0.703
2020-11-03 04:45:00 | 2.0964 | 314.8857 | 2.195 | 320.9086 | 2.4743 | 308.8464 | 2.5493 | 322.5507 | 12.5 | 895 | 83.4143 | 0
2020-11-03 05:00:00 | 2.47 | 350.08 | 2.614 | 327.434 | 2.952 | 342.382 | 3.09 | 329.108 | 12.14 | 895 | 87.92 | 0.47
2020-11-03 05:15:00 | 2.631 | 307.82 | 2.788 | 301.606 | 3.115 | 301.047 | 3.272 | 303.148 | 11.69 | 895 | 92.66 | 1.161
2020-11-03 05:30:00 | 3.694 | 347.46 | 3.996 | 317.712 | 4.296 | 338.7 | 4.69 | 317.214 | 11.04 | 895 | 91.6 | 7.794
2020-11-03 05:45:00 | 5.521 | 329.87 | 5.927 | 320.002 | 6.4 | 322.613 | 6.915 | 321.637 | 10.68 | 894 | 96.33 | 25.646
2020-11-03 06:00:00 | 4.8736 | 341.6 | 5.345 | 332.29 | 5.7157 | 334.0836 | 6.3629 | 333.9886 | 10.0357 | 894 | 97.5071 | 22.4347
2020-11-03 06:15:00 | 4.774 | 335.08 | 5.344 | 339.266 | 5.94 | 327.71 | 6.678 | 341.002 | 9.72 | 894 | 98.08 | 22.702
2020-11-03 06:30:00 | 5.196 | 341.8 | 5.593 | 329.567 | 5.872 | 333.839 | 6.436 | 331.252 | 10.07 | 894 | 98.51 | 19.543
2020-11-03 06:45:00 | 4.7 | 334.68 | 5.124 | 318.008 | 5.51 | 327.314 | 6.072 | 319.634 | 10.04 | 894 | 98.9 | 15.728
2020-11-03 07:00:00 | 4.876 | 349 | 5.301 | 329.449 | 5.656 | 341.321 | 6.238 | 331.132 | 9.71 | 894 | 99.34 | 18.102
2020-11-03 07:15:00 | 4.3133 | 281.6467 | 4.6707 | 333.5047 | 5.0793 | 275.45 | 5.5373 | 335.2107 | 9.5933 | 894 | 99.6467 | 13.868
2020-11-03 07:30:00 | 4.251 | 283.57 | 4.611 | 336.461 | 4.987 | 277.332 | 5.457 | 338.179 | 9.82 | 894.7 | 99.77 | 12.926
2020-11-03 07:45:00 | 3.986 | 283.62 | 4.32 | 341.332 | 4.681 | 277.381 | 5.116 | 343.076 | 10.08 | 895 | 99.6 | 11.614
2020-11-03 08:00:00 | 4.531 | 313.04 | 4.857 | 337.302 | 5.229 | 306.152 | 5.644 | 339.027 | 10.49 | 895 | 99.67 | 15.346
2020-11-03 08:15:00 | 3.454 | 346.82 | 3.61 | 340.226 | 4.24 | 339.19 | 4.306 | 341.966 | 10.16 | 895 | 99.5 | 8.194
2020-11-03 08:30:00 | 3.472 | 112.45 | 3.585 | 339.365 | 3.956 | 111.16 | 4.029 | 341.101 | 10.28 | 895 | 99.91 | 6.446
2020-11-03 08:45:00 | 2.664 | 137.28 | 2.638 | 328.7573 | 3.2527 | 134.2607 | 3.0373 | 330.438 | 10.02 | 895 | 100 | 2.8013
2020-11-03 09:00:00 | 2.235 | 286.93 | 2.164 | 316.365 | 2.724 | 280.618 | 2.452 | 317.98 | 9.82 | 895 | 100 | 1.56
2020-11-03 09:15:00 | 2.284 | 262.85 | 2.286 | 322.66 | 2.716 | 257.067 | 2.594 | 324.311 | 10.22 | 896 | 100 | 0.56
2020-11-03 09:30:00 | 2.61 | 76.26 | 2.648 | 318.048 | 3.078 | 74.582 | 3.018 | 319.672 | 10.34 | 896 | 100 | 1.204
2020-11-03 09:45:00 | 1.709 | 148.14 | 1.662 | 308.178 | 1.946 | 144.882 | 1.795 | 309.752 | 10.54 | 896 | 100 | 0
2020-11-03 10:00:00 | 1.113 | 132.87 | 1.068 | 264.335 | 1.305 | 129.947 | 1.169 | 265.685 | 10.7 | 896 | 100 | 0
2020-11-03 10:15:00 | 0.49 | 137.02 | 0.521 | 166.436 | 0.544 | 134.006 | 0.59 | 167.287 | 10.91 | 896 | 100 | 0
2020-11-03 10:30:00 | 0.42 | 60.3133 | 0.43667 | 106.7067 | 0.44733 | 58.9867 | 0.472 | 107.2527 | 10.8733 | 896 | 100 | 0
2020-11-03 10:45:00 | 0.74 | 71.38 | 0.82 | 91.286 | 0.798 | 69.81 | 0.928 | 91.754 | 11 | 896 | 100 | 0
2020-11-03 11:00:00 | 1.588 | 107.36 | 1.656 | 110.132 | 1.757 | 104.91 | 1.834 | 110.696 | 11.03 | 896 | 96.67 | 0
2020-11-03 11:15:00 | 1.42 | 140.84 | 1.511 | 127.474 | 1.478 | 137.74 | 1.632 | 128.124 | 11.01 | 896 | 96.61 | 0
2020-11-03 11:30:00 | 0.686 | 143.84 | 0.73 | 117.576 | 0.73 | 140.674 | 0.796 | 118.174 | 11 | 896 | 97.1 | 0
2020-11-03 11:45:00 | 0.796 | 195.01 | 0.792 | 163.52 | 0.861 | 190.72 | 0.834 | 164.357 | 11.05 | 896 | 99.1 | 0
2020-11-03 12:00:00 | 0.845 | 183.59 | 0.896 | 193.379 | 0.838 | 179.55 | 0.939 | 194.367 | 10.81 | 895.3 | 99.47 | 0
2020-11-03 12:15:00 | 1.1227 | 258.52 | 1.188 | 244.552 | 1.2507 | 252.8313 | 1.3347 | 245.8033 | 10.7933 | 895 | 99.6467 | 0
2020-11-03 12:30:00 | 1.12 | 205.96 | 1.088 | 199.532 | 1.17 | 201.428 | 1.09 | 200.552 | 10.94 | 895 | 99.46 | 0
2020-11-03 12:45:00 | 0.582 | 223.44 | 0.559 | 217.887 | 0.548 | 218.526 | 0.513 | 219.003 | 10.82 | 895 | 97.8 | 0
2020-11-03 13:00:00 | 0.788 | 307.36 | 0.784 | 269.713 | 0.956 | 300.598 | 0.898 | 271.092 | 10.96 | 895 | 97.47 | 0
2020-11-03 13:15:00 | 0.439 | 271.45 | 0.441 | 307.709 | 0.55 | 265.762 | 0.526 | 309.28 | 10.94 | 894.8 | 98.31 | 0
2020-11-03 13:30:00 | 0.68857 | 196.8786 | 0.72714 | 200.4907 | 0.75357 | 192.5479 | 0.81 | 201.5157 | 10.9143 | 894 | 98.66 | 0
2020-11-03 13:45:00 | 0.83267 | 206.2733 | 0.83733 | 167.4847 | 0.92933 | 201.7353 | 0.91 | 168.3407 | 10.9267 | 894 | 97.9467 | 0
2020-11-03 14:00:00 | 0.706 | 236.82 | 0.682 | 186.406 | 0.807 | 231.609 | 0.735 | 187.361 | 11.01 | 894 | 98.54 | 0
2020-11-03 14:15:00 | 0.862 | 216.39 | 0.881 | 202.261 | 0.991 | 211.629 | 0.988 | 203.293 | 11.03 | 893.8 | 97.37 | 0
2020-11-03 14:30:00 | 1.0613 | 200.4667 | 1.0753 | 194.5313 | 1.256 | 195.946 | 1.2247 | 195.5253 | 10.8067 | 893 | 96.5333 | 0
2020-11-03 14:45:00 | 1.332 | 176.43 | 1.351 | 165.284 | 1.449 | 172.548 | 1.457 | 166.126 | 10.68 | 893 | 97.79 | 0
2020-11-03 15:00:00 | 1.167 | 175.26 | 1.194 | 163.101 | 1.271 | 171.404 | 1.288 | 163.934 | 10.67 | 893 | 99.34 | 0
2020-11-03 15:15:00 | 1.1933 | 171.6667 | 1.2547 | 177.776 | 1.4887 | 167.8907 | 1.5173 | 178.6827 | 10.78 | 893 | 99.46 | 0
2020-11-03 15:30:00 | 0.836 | 171.96 | 0.822 | 176.156 | 0.98 | 168.178 | 0.912 | 177.058 | 10.84 | 893 | 97.88 | 0
2020-11-03 15:45:00 | 0.777 | 53.46 | 0.792 | 198.574 | 0.756 | 52.284 | 0.797 | 199.587 | 11.02 | 892.8 | 97.14 | 0
2020-11-03 16:00:00 | 0.543 | 140.91 | 0.618 | 141.879 | 0.585 | 137.702 | 0.719 | 142.604 | 11.34 | 892 | 97.52 | 0
2020-11-03 16:15:00 | 0.216 | 83.77 | 0.208 | 117.78 | 0.232 | 81.928 | 0.213 | 118.383 | 11.64 | 893 | 93.48 | 0
2020-11-03 16:30:00 | 0.32933 | 122.7067 | 0.324 | 51.1287 | 0.392 | 120.006 | 0.36333 | 51.3913 | 11.6333 | 893 | 95.1667 | 0
2020-11-03 16:45:00 | 0.61 | 37.19 | 0.683 | 76.469 | 0.642 | 36.371 | 0.764 | 76.86 | 11.4 | 893 | 92.27 | 0
2020-11-03 17:00:00 | 0.646 | 22.91 | 0.714 | 295.072 | 0.734 | 22.405 | 0.836 | 296.58 | 11.7 | 892.3 | 93.16 | 0
2020-11-03 17:15:00 | 0.61667 | 70.22 | 0.62733 | 302.522 | 0.774 | 68.674 | 0.74733 | 304.068 | 11.3467 | 892 | 93.7733 | 0
2020-11-03 17:30:00 | 0.364 | 59.2 | 0.38 | 97.096 | 0.558 | 57.898 | 0.526 | 97.592 | 11.74 | 892 | 95.64 | 0
2020-11-03 17:45:00 | 0.733 | 40.79 | 0.766 | 126.796 | 0.778 | 39.892 | 0.826 | 127.446 | 11.44 | 892 | 96.16 | 0
2020-11-03 18:00:00 | 0.672 | 64.45 | 0.647 | 327.386 | 1.035 | 63.404 | 0.875 | 329.057 | 11.18 | 892 | 95.98 | 0
2020-11-03 18:15:00 | 0.48 | 113.9 | 0.526 | 103.415 | 0.495 | 111.394 | 0.576 | 103.942 | 11.48 | 892 | 95 | 0
2020-11-03 18:30:00 | 0.776 | 84.62 | 0.79267 | 106.686 | 0.748 | 82.758 | 0.78333 | 107.2327 | 11.3133 | 892 | 92.0333 | 0
2020-11-03 18:45:00 | 1.15 | 122.4 | 1.186 | 126.162 | 1.166 | 119.708 | 1.236 | 126.806 | 11.22 | 892 | 90.2 | 0
2020-11-03 19:00:00 | 1.312 | 66.64 | 1.393 | 83.903 | 1.387 | 64.509 | 1.522 | 84.331 | 11.27 | 892 | 87.95 | 0
2020-11-03 19:15:00 | 0.445 | 71.98 | 0.482 | 162.915 | 0.533 | 70.396 | 0.576 | 163.748 | 11.3 | 891.2 | 91.63 | 0
2020-11-03 19:30:00 | 0.296 | 154.74 | 0.348 | 79.1 | 0.406 | 151.336 | 0.472 | 79.504 | 11.36 | 892 | 92.32 | 0
2020-11-03 19:45:00 | 0.506 | 65.45 | 0.508 | 46.963 | 0.564 | 64.008 | 0.555 | 47.203 | 11.49 | 892 | 91.18 | 0
2020-11-03 20:00:00 | 0.483 | 132.94 | 0.485 | 69.546 | 0.814 | 130.014 | 0.722 | 69.902 | 11.44 | 892 | 92.62 | 0
2020-11-03 20:15:00 | 1.0227 | 319.94 | 1.012 | 303.9633 | 1.5233 | 312.9013 | 1.358 | 305.5167 | 11.26 | 892.4667 | 95.0133 | 0
2020-11-03 20:30:00 | 0.729 | 161.54 | 0.741 | 186.064 | 1.299 | 157.987 | 1.157 | 187.017 | 11.39 | 893 | 96.2 | 0
2020-11-03 20:45:00 | 0.537 | 189.09 | 0.562 | 117.947 | 1.004 | 184.656 | 0.919 | 118.55 | 11.77 | 893 | 96.82 | 0
2020-11-03 21:00:00 | 0.35 | 138.18 | 0.382 | 234.839 | 0.625 | 135.141 | 0.603 | 236.039 | 11.68 | 893 | 97.74 | 0
2020-11-03 21:15:00 | 0.48333 | 198.78 | 0.484 | 190.1493 | 0.56667 | 194.4067 | 0.54133 | 191.1227 | 11.6467 | 893 | 98.1 | 0
2020-11-03 21:30:00 | 0.443 | 226.35 | 0.441 | 191.963 | 0.62 | 221.371 | 0.564 | 192.943 | 11.53 | 893 | 98.16 | 0
2020-11-03 21:45:00 | 0.168 | 241.8 | 0.159 | 237.155 | 0.224 | 236.92 | 0.194 | 238.367 | 11.71 | 893 | 97.25 | 0
2020-11-03 22:00:00 | 0.478 | 145.07 | 0.501 | 167.051 | 0.433 | 141.877 | 0.495 | 167.906 | 11.61 | 893 | 97.21 | 0
2020-11-03 22:15:00 | 0.788 | 165.3 | 0.786 | 162.23 | 0.658 | 161.666 | 0.69 | 163.062 | 11.26 | 893 | 96.84 | 0
2020-11-03 22:30:00 | 0.94 | 316.47 | 0.931 | 294.75 | 1.28 | 309.507 | 1.164 | 296.256 | 11.14 | 893 | 96.91 | 0
2020-11-03 22:45:00 | 1.2387 | 323.3133 | 1.2587 | 308.488 | 1.696 | 316.2007 | 1.5993 | 310.064 | 11.2333 | 893 | 98.6867 | 0
2020-11-03 23:00:00 | 1.312 | 139.76 | 1.32 | 314.312 | 1.968 | 135.394 | 1.802 | 315.918 | 11.46 | 893 | 99.56 | 0
2020-11-03 23:15:00 | 1.079 | 24.49 | 1.055 | 321.664 | 1.257 | 23.952 | 1.163 | 323.309 | 11.31 | 893 | 100 | 0
2020-11-03 23:30:00 | 1.553 | 273.16 | 1.503 | 311.58 | 2.103 | 267.152 | 1.851 | 313.176 | 10.98 | 893 | 100 | 0
2020-11-03 23:45:00 | 1.336 | 296.04 | 1.312 | 310.104 | 1.8147 | 289.612 | 1.6227 | 311.69 | 11.04 | 893 | 100 | 0