## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-04 00:00:00 | 1.424 | 277.56 | 1.424 | 311.904 | 1.866 | 271.454 | 1.734 | 313.5 | 11 | 893 | 100 | 0
2020-11-04 00:15:00 | 1.8767 | 328.7133 | 1.8687 | 320.3333 | 2.3313 | 321.482 | 2.188 | 321.9727 | 11.0467 | 893 | 100 | 0
2020-11-04 00:30:00 | 2.0533 | 326.72 | 2.164 | 326.6327 | 2.446 | 319.5313 | 2.5413 | 328.3027 | 10.9733 | 893 | 100 | 0
2020-11-04 00:45:00 | 2.3467 | 337.9267 | 2.468 | 328.268 | 2.798 | 330.492 | 2.8953 | 329.9473 | 10.8133 | 893 | 99.9533 | 0.16067
2020-11-04 01:00:00 | 2.0073 | 308.7133 | 1.98 | 333.5173 | 2.5653 | 301.922 | 2.352 | 335.2233 | 10.7667 | 893 | 99.98 | 0.538
2020-11-04 01:15:00 | 2.1233 | 208.32 | 2.0807 | 331.0533 | 2.718 | 202.094 | 2.4673 | 332.7453 | 10.74 | 892.5333 | 100 | 0.846
2020-11-04 01:30:00 | 2.258 | 235.1133 | 2.2673 | 333.6533 | 2.778 | 229.9393 | 2.6453 | 335.3607 | 10.7533 | 892 | 100 | 0.79
2020-11-04 01:45:00 | 2.0373 | 255.5667 | 2.0127 | 334.182 | 2.5633 | 249.944 | 2.3667 | 335.8893 | 10.6067 | 892 | 100 | 0.49867
2020-11-04 02:00:00 | 1.7513 | 119.3267 | 1.72 | 347.0207 | 2.1593 | 116.7013 | 1.984 | 348.7953 | 10.78 | 892 | 100 | 0
2020-11-04 02:15:00 | 1.9813 | 71.4733 | 2.0367 | 315.8873 | 2.4567 | 69.9 | 2.424 | 317.5013 | 10.74 | 892 | 100 | 0
2020-11-04 02:30:00 | 2.1947 | 141.56 | 2.2587 | 320.634 | 2.6587 | 138.4467 | 2.6473 | 322.274 | 10.6867 | 892 | 100 | 0.086
2020-11-04 02:45:00 | 1.8467 | 124.0733 | 1.8907 | 316.918 | 2.224 | 121.344 | 2.2033 | 318.5373 | 10.8667 | 892 | 100 | 0
2020-11-04 03:00:00 | 2.0093 | 76.44 | 2.0707 | 332.6173 | 2.376 | 73.1093 | 2.3873 | 334.318 | 10.68 | 892 | 100 | 0
2020-11-04 03:15:00 | 1.5027 | 186.2067 | 1.48 | 330.708 | 1.8507 | 203.5673 | 1.708 | 332.398 | 10.92 | 892 | 100 | 0
2020-11-04 03:30:00 | 0.73267 | 175.28 | 0.70067 | 322.6747 | 0.812 | 171.424 | 0.72867 | 324.3233 | 11.4267 | 892 | 100 | 0
2020-11-04 03:45:00 | 0.40133 | 56.3267 | 0.41133 | 120.1373 | 0.35867 | 55.0867 | 0.38933 | 120.752 | 11.7 | 892 | 100 | 0
2020-11-04 04:00:00 | 1.258 | 216.92 | 1.2673 | 296.0333 | 1.4307 | 212.1467 | 1.396 | 297.548 | 11.3667 | 891.8667 | 100 | 0
2020-11-04 04:15:00 | 1.2353 | 137.7467 | 1.2533 | 273.846 | 1.4873 | 134.716 | 1.4453 | 275.2467 | 11.2267 | 891 | 100 | 0
2020-11-04 04:30:00 | 1.5887 | 226.26 | 1.6147 | 319.2713 | 1.97 | 221.2813 | 1.9073 | 320.9033 | 11.1333 | 891 | 100 | 0
2020-11-04 04:45:00 | 0.67467 | 119.4933 | 0.68467 | 276.866 | 0.918 | 116.8653 | 0.86533 | 278.2807 | 11.5267 | 891 | 100 | 0
2020-11-04 05:00:00 | 0.50667 | 54.4933 | 0.52133 | 90.9407 | 0.54867 | 53.954 | 0.566 | 91.4053 | 11.6533 | 891 | 100 | 0
2020-11-04 05:15:00 | 0.41067 | 44.46 | 0.43067 | 78.9447 | 0.422 | 43.482 | 0.45667 | 79.348 | 11.34 | 891 | 100 | 0
2020-11-04 05:30:00 | 0.594 | 147.02 | 0.622 | 173.6733 | 0.85133 | 143.786 | 0.83067 | 174.5593 | 11.14 | 891 | 100 | 0
2020-11-04 05:45:00 | 0.24533 | 214.8067 | 0.258 | 237.0467 | 0.44867 | 210.0813 | 0.41267 | 238.2593 | 11.4 | 891 | 100 | 0
2020-11-04 06:00:00 | 0.242 | 162.5133 | 0.276 | 201.0427 | 0.338 | 158.82 | 0.37 | 202.072 | 11.5667 | 891 | 100 | 0
2020-11-04 06:15:00 | 0.16267 | 128 | 0.16 | 142.2407 | 0.196 | 126.814 | 0.17667 | 142.9667 | 11.48 | 891 | 100 | 0
2020-11-04 06:30:00 | 0.468 | 30.1667 | 0.48533 | 75.6067 | 0.61133 | 29.5013 | 0.60067 | 75.9933 | 11.3733 | 891 | 100 | 0
2020-11-04 06:45:00 | 1.1933 | 111.9 | 1.156 | 317.9733 | 1.446 | 108.7727 | 1.296 | 319.6007 | 11.02 | 891 | 100 | 0
2020-11-04 07:00:00 | 0.746 | 116.5733 | 0.70933 | 278.2807 | 0.91733 | 114.0087 | 0.798 | 279.702 | 11.12 | 891 | 100 | 0
2020-11-04 07:15:00 | 0.35067 | 121.92 | 0.364 | 122.948 | 0.406 | 119.238 | 0.41467 | 123.576 | 11.2867 | 891 | 100 | 0
2020-11-04 07:30:00 | 0.32 | 143.7467 | 0.33467 | 86.996 | 0.31867 | 140.584 | 0.34867 | 87.4407 | 11.22 | 891 | 100 | 0
2020-11-04 07:45:00 | 0.44 | 152.3267 | 0.49 | 113.8073 | 0.44067 | 148.9747 | 0.53467 | 114.3893 | 11.24 | 891 | 100 | 0
2020-11-04 08:00:00 | 0.65467 | 167.86 | 0.69267 | 164.4273 | 0.59933 | 164.168 | 0.68667 | 165.2693 | 11.2133 | 891 | 100 | 0
2020-11-04 08:15:00 | 0.48533 | 187.0133 | 0.466 | 183.478 | 0.47267 | 182.8987 | 0.43867 | 184.4167 | 11.2067 | 891 | 100 | 0
2020-11-04 08:30:00 | 0.378 | 188.7533 | 0.40267 | 162.966 | 0.39067 | 184.6007 | 0.434 | 163.8007 | 11.5133 | 891 | 100 | 0
2020-11-04 08:45:00 | 0.188 | 219.7867 | 0.19 | 167.9427 | 0.21667 | 214.9527 | 0.21533 | 168.8013 | 11.6867 | 891.4667 | 100 | 0
2020-11-04 09:00:00 | 0.154 | 200.7067 | 0.15933 | 97.1093 | 0.31867 | 196.2907 | 0.28067 | 97.606 | 12.06 | 892 | 100 | 0
2020-11-04 09:15:00 | 0.31467 | 263.18 | 0.33133 | 194.4467 | 0.50733 | 257.3893 | 0.48267 | 195.44 | 12.2133 | 892 | 100 | 0
2020-11-04 09:30:00 | 0.64333 | 225.68 | 0.64733 | 181.1713 | 0.78133 | 220.7153 | 0.746 | 182.0987 | 12.0267 | 892 | 100 | 0
2020-11-04 09:45:00 | 0.68533 | 207.6733 | 0.70067 | 152.7767 | 0.774 | 202.8433 | 0.78133 | 153.558 | 12.0267 | 892 | 100 | 0
2020-11-04 10:00:00 | 0.906 | 182.9867 | 0.91533 | 163.438 | 0.992 | 178.9613 | 0.98667 | 164.2727 | 12.02 | 892.8 | 100 | 0
2020-11-04 10:15:00 | 0.98733 | 170.6 | 0.978 | 156.1993 | 1.128 | 166.8453 | 1.074 | 156.998 | 12.2733 | 893 | 99.96 | 0
2020-11-04 10:30:00 | 1.4107 | 180.8133 | 1.4067 | 154.8833 | 1.6413 | 176.7833 | 1.5707 | 155.4713 | 12.0267 | 893 | 98.8467 | 0.053571
2020-11-04 10:45:00 | 1.5947 | 158.8667 | 1.5827 | 151.876 | 1.822 | 155.3707 | 1.7347 | 152.6533 | 11.8 | 893 | 98.6333 | 0.032667
2020-11-04 11:00:00 | 1.5213 | 149.9733 | 1.5247 | 151.5 | 1.8327 | 146.6727 | 1.7493 | 152.2733 | 11.66 | 893 | 97.6 | 0.020667
2020-11-04 11:15:00 | 1.598 | 147.1867 | 1.6033 | 145.9367 | 1.856 | 143.9487 | 1.792 | 146.6833 | 11.84 | 893 | 96.3133 | 0
2020-11-04 11:30:00 | 1.6073 | 156.74 | 1.6013 | 144.652 | 1.7433 | 154.0607 | 1.702 | 145.3907 | 12.2067 | 892.2 | 92.8333 | 0
2020-11-04 11:45:00 | 1.7247 | 175.0467 | 1.74 | 163.182 | 1.9373 | 171.196 | 1.9033 | 164.016 | 12.1667 | 892.4667 | 88.6933 | 0.16267
2020-11-04 12:00:00 | 1.4913 | 168.9667 | 1.5613 | 163.9913 | 1.5653 | 165.2487 | 1.6767 | 164.8293 | 12.2467 | 892.8667 | 88.5733 | 0.19133
2020-11-04 12:15:00 | 1.474 | 179.3733 | 1.58 | 162.504 | 1.5113 | 175.1007 | 1.694 | 163.336 | 12.2133 | 892 | 88.46 | 0.054667
2020-11-04 12:30:00 | 1.4387 | 197.7133 | 1.474 | 167.8693 | 1.44 | 193.3647 | 1.5107 | 168.7287 | 12.1467 | 892 | 88.4 | 0.22333
2020-11-04 12:45:00 | 1.6907 | 197.6267 | 1.7493 | 171.8 | 1.8973 | 193.2793 | 1.9493 | 172.6807 | 11.9867 | 892 | 89.44 | 0.36533
2020-11-04 13:00:00 | 1.7227 | 185.06 | 1.8027 | 173.002 | 2 | 180.9113 | 2.0653 | 173.8887 | 11.94 | 891.8667 | 89.96 | 0.412
2020-11-04 13:15:00 | 1.3833 | 160.4333 | 1.4373 | 162.0613 | 1.6013 | 156.9033 | 1.6407 | 162.8907 | 11.88 | 891 | 90.4667 | 0
2020-11-04 13:30:00 | 1.4973 | 142.1867 | 1.506 | 146.2367 | 1.754 | 139.058 | 1.6913 | 146.984 | 11.8 | 891 | 91.9933 | 0
2020-11-04 13:45:00 | 1.6927 | 147.6133 | 1.7727 | 146.868 | 1.86 | 144.294 | 1.974 | 147.6207 | 11.8267 | 890.5333 | 91.1 | 0
2020-11-04 14:00:00 | 1.964 | 148.1467 | 1.9933 | 152.6467 | 2.1453 | 144.886 | 2.1527 | 153.4267 | 11.8267 | 890 | 90.54 | 0
2020-11-04 14:15:00 | 1.872 | 132.44 | 1.9033 | 148.42 | 2.026 | 128.6907 | 2.05 | 149.1787 | 11.74 | 890 | 90.5467 | 0
2020-11-04 14:30:00 | 2.024 | 135.12 | 2.0753 | 141.0027 | 2.1453 | 132.1473 | 2.208 | 141.722 | 11.58 | 890 | 91.3 | 0
2020-11-04 14:45:00 | 2.142 | 135.0067 | 2.202 | 138.692 | 2.1707 | 132.0367 | 2.2793 | 139.4033 | 11.5867 | 889.5333 | 91.6933 | 0.078667
2020-11-04 15:00:00 | 1.6827 | 134.58 | 1.7413 | 141.8053 | 1.83 | 131.6187 | 1.8987 | 142.5293 | 11.6067 | 889 | 91.1933 | 0
2020-11-04 15:15:00 | 1.7947 | 138.5533 | 1.882 | 141.25 | 2.0213 | 135.504 | 2.1253 | 141.9713 | 11.7133 | 889 | 91.42 | 0
2020-11-04 15:30:00 | 1.576 | 136.3533 | 1.7053 | 145.01 | 1.858 | 133.352 | 2.0213 | 145.7533 | 11.8467 | 889 | 91.3267 | 0
2020-11-04 15:45:00 | 1.38 | 115.22 | 1.4647 | 136.5427 | 1.3993 | 112.686 | 1.5533 | 137.2407 | 11.7 | 889 | 90.4533 | 0
2020-11-04 16:00:00 | 1.0367 | 132.5533 | 1.0953 | 131.4887 | 1.2093 | 129.6387 | 1.272 | 132.1613 | 11.7467 | 889 | 90.6267 | 0
2020-11-04 16:15:00 | 1.0507 | 168.44 | 1.162 | 141.6007 | 1.3767 | 164.7347 | 1.4873 | 142.3247 | 11.7933 | 889 | 90.34 | 0
2020-11-04 16:30:00 | 0.65 | 123.86 | 0.68467 | 146.5827 | 0.78867 | 121.1347 | 0.816 | 147.332 | 11.88 | 889 | 89.3867 | 0
2020-11-04 16:45:00 | 0.63067 | 98.1 | 0.614 | 136.606 | 0.59667 | 95.942 | 0.57533 | 137.306 | 11.8933 | 889 | 87.8533 | 0
2020-11-04 17:00:00 | 0.54667 | 105.36 | 0.594 | 100.9947 | 0.52333 | 103.0413 | 0.622 | 101.5107 | 11.96 | 889 | 88.9467 | 0
2020-11-04 17:15:00 | 0.506 | 57.8333 | 0.52667 | 72.02 | 0.54867 | 56.5607 | 0.57267 | 72.3887 | 11.9933 | 889 | 93.8133 | 0
2020-11-04 17:30:00 | 0.48667 | 96.8 | 0.51933 | 129.292 | 0.522 | 94.67 | 0.57267 | 129.952 | 11.8333 | 888.2 | 94.7867 | 0
2020-11-04 17:45:00 | 0.53533 | 147.5667 | 0.584 | 122.152 | 0.65267 | 144.1693 | 0.71467 | 122.7773 | 11.84 | 888 | 95.3733 | 0
2020-11-04 18:00:00 | 0.74067 | 211.7933 | 0.71133 | 252.526 | 1.1087 | 207.134 | 0.94733 | 253.8167 | 11.6067 | 888 | 96.0533 | 0
2020-11-04 18:15:00 | 1.0427 | 312.7533 | 1.0247 | 343.8467 | 1.514 | 305.872 | 1.3393 | 345.6027 | 11.4733 | 888 | 96.42 | 0
2020-11-04 18:30:00 | 0.76333 | 253.5733 | 0.77533 | 303.798 | 1.046 | 247.9947 | 0.986 | 305.3533 | 11.5667 | 888 | 96.7333 | 0
2020-11-04 18:45:00 | 0.55733 | 210.56 | 0.632 | 250.524 | 0.76533 | 205.9267 | 0.84933 | 251.8047 | 11.7333 | 888 | 95.8267 | 0
2020-11-04 19:00:00 | 0.61267 | 196.0533 | 0.658 | 231.2387 | 0.99267 | 191.74 | 0.97 | 232.4193 | 11.6867 | 888 | 95.5 | 0
2020-11-04 19:15:00 | 0.37133 | 198.7067 | 0.41667 | 181.7053 | 0.56533 | 194.3333 | 0.596 | 182.6353 | 11.72 | 888 | 96.76 | 0
2020-11-04 19:30:00 | 0.338 | 200.84 | 0.39533 | 229.054 | 0.40867 | 196.422 | 0.494 | 230.2247 | 11.8 | 888.8 | 96.3467 | 0
2020-11-04 19:45:00 | 0.596 | 201.4 | 0.646 | 209.174 | 0.69333 | 196.9693 | 0.758 | 210.244 | 11.7067 | 889 | 94.94 | 0
2020-11-04 20:00:00 | 0.96667 | 284.5733 | 0.94933 | 339.9013 | 1.262 | 278.3133 | 1.142 | 341.6393 | 11.4667 | 889 | 95.38 | 0
2020-11-04 20:15:00 | 1.0607 | 326.14 | 1.08 | 322.6493 | 1.494 | 318.9647 | 1.404 | 324.2993 | 11.38 | 889 | 98.3333 | 0
2020-11-04 20:30:00 | 1.1593 | 289.28 | 1.1593 | 334.92 | 1.6107 | 282.9153 | 1.48 | 336.632 | 11.3333 | 889 | 99.1133 | 0
2020-11-04 20:45:00 | 1.5233 | 192.78 | 1.5913 | 341.5193 | 1.9373 | 188.538 | 1.9447 | 343.2633 | 11.18 | 889 | 98.8067 | 0
2020-11-04 21:00:00 | 1.7707 | 234.4267 | 1.7887 | 343.9507 | 2.1313 | 229.27 | 2.062 | 345.708 | 11.08 | 889 | 98.6467 | 0
2020-11-04 21:15:00 | 2.5127 | 333.84 | 2.6593 | 327.5247 | 3.0567 | 326.4953 | 3.1767 | 329.2 | 10.8533 | 889 | 98.2533 | 0.412
2020-11-04 21:30:00 | 1.9167 | 330.7067 | 1.9507 | 334.4233 | 2.326 | 323.4307 | 2.2713 | 336.132 | 10.84 | 889 | 98.48 | 0
2020-11-04 21:45:00 | 1.596 | 290.3133 | 1.5807 | 321.344 | 2.0347 | 283.926 | 1.882 | 322.9873 | 10.9933 | 889 | 98.5867 | 0
2020-11-04 22:00:00 | 2.46 | 307.2733 | 2.5693 | 311.2307 | 3.0253 | 300.514 | 3.072 | 312.8227 | 11.0933 | 889.8 | 98.12 | 0.20267
2020-11-04 22:15:00 | 2.342 | 320.9533 | 2.4287 | 310.104 | 2.9433 | 313.894 | 2.934 | 311.6887 | 11.34 | 890 | 98.1933 | 0.812
2020-11-04 22:30:00 | 2.0947 | 320.8933 | 2.1627 | 284.0307 | 2.6247 | 313.834 | 2.602 | 285.4827 | 11.3533 | 890 | 98 | 0.33533
2020-11-04 22:45:00 | 1.726 | 296.5733 | 1.8107 | 330.864 | 2.0373 | 290.048 | 2.108 | 332.5547 | 11.42 | 890 | 98.16 | 0
2020-11-04 23:00:00 | 1.5813 | 255.8667 | 1.7007 | 268.7807 | 1.906 | 250.17 | 2.034 | 270.1553 | 11.2667 | 890 | 98.6067 | 0
2020-11-04 23:15:00 | 1.68 | 244.9667 | 1.714 | 271.0227 | 2.0533 | 239.5773 | 2.0113 | 272.4087 | 11.0667 | 890 | 98.7133 | 0
2020-11-04 23:30:00 | 2.2927 | 325.5067 | 2.3893 | 332.1547 | 2.754 | 318.3007 | 2.8 | 333.852 | 10.9067 | 889.3333 | 97.9133 | 0
2020-11-04 23:45:00 | 3.1687 | 289.4333 | 3.3147 | 322.5513 | 3.866 | 283.4767 | 3.9327 | 324.2 | 10.44 | 890 | 98.6867 | 3.192