## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-05 00:00:00 | 3.346 | 312.96 | 3.564 | 322.87 | 4.0227 | 306.0747 | 4.242 | 324.5207 | 10.4867 | 890 | 99.7467 | 5.086
2020-11-05 00:15:00 | 3.3167 | 335.4467 | 3.618 | 310.9127 | 3.9513 | 328.068 | 4.338 | 312.502 | 10.4533 | 890 | 100 | 5.232
2020-11-05 00:30:00 | 3.3433 | 330.4067 | 3.6467 | 302.9707 | 3.8847 | 323.138 | 4.3027 | 304.5193 | 10.6067 | 890 | 100 | 5.6047
2020-11-05 00:45:00 | 3.422 | 333.9533 | 3.73 | 318.5807 | 4.03 | 326.6053 | 4.4413 | 320.2073 | 10.7 | 890 | 100 | 4.824
2020-11-05 01:00:00 | 3.512 | 337.4267 | 3.8313 | 320.2027 | 4.1513 | 330.004 | 4.574 | 321.8413 | 10.52 | 890 | 100 | 5.808
2020-11-05 01:15:00 | 3.644 | 335.6267 | 3.9953 | 319.1287 | 4.2993 | 328.2427 | 4.776 | 320.76 | 10.26 | 890 | 100 | 6.9213
2020-11-05 01:30:00 | 3.9627 | 325.58 | 4.2713 | 324.462 | 4.7187 | 318.4187 | 5.0827 | 326.12 | 10.12 | 890 | 100 | 9.4867
2020-11-05 01:45:00 | 4.3193 | 325.9733 | 4.6213 | 314.4133 | 5.1393 | 318.3187 | 5.4713 | 316.0213 | 10.1933 | 890 | 100 | 14.2573
2020-11-05 02:00:00 | 4.688 | 328.74 | 5.0273 | 310.834 | 5.3413 | 322.942 | 5.79 | 312.424 | 10.1933 | 890 | 100 | 16.6627
2020-11-05 02:15:00 | 4.4493 | 338.16 | 4.8773 | 323.1707 | 5.0367 | 330.7207 | 5.6793 | 324.8233 | 10.2467 | 889.5333 | 100 | 13.296
2020-11-05 02:30:00 | 4.3067 | 343.42 | 4.78 | 326.6707 | 5.0713 | 336.3207 | 5.75 | 328.3413 | 10.0933 | 889 | 100 | 13.1407
2020-11-05 02:45:00 | 4.2147 | 343.6933 | 4.6613 | 335.48 | 5.0027 | 336.1327 | 5.618 | 337.1953 | 9.8933 | 889 | 100 | 13.8733
2020-11-05 03:00:00 | 4.2827 | 343.6267 | 4.712 | 327.9287 | 5.0473 | 336.0667 | 5.6387 | 329.606 | 9.6467 | 889 | 100 | 14.1227
2020-11-05 03:15:00 | 4.802 | 335.9133 | 5.2413 | 321.332 | 5.5473 | 328.8173 | 6.1713 | 322.974 | 9.6867 | 889 | 100 | 17.78
2020-11-05 03:30:00 | 5.2233 | 339.7067 | 5.6927 | 306.466 | 5.918 | 332.2333 | 6.6053 | 308.0333 | 9.8133 | 889 | 100 | 21.0253
2020-11-05 03:45:00 | 5.3973 | 341.5533 | 5.83 | 327.8927 | 5.996 | 334.0373 | 6.6433 | 329.568 | 9.7667 | 889 | 100 | 23.0033
2020-11-05 04:00:00 | 4.9467 | 340.28 | 5.3487 | 329.2473 | 5.4927 | 332.7933 | 6.0987 | 330.9287 | 9.8533 | 889 | 100 | 18.6147
2020-11-05 04:15:00 | 4.8593 | 339.6867 | 5.2693 | 327.0233 | 5.4633 | 332.214 | 6.0653 | 328.6953 | 9.8533 | 889 | 100 | 17.8453
2020-11-05 04:30:00 | 4.9113 | 343.2933 | 5.3227 | 328.4127 | 5.6093 | 336.5747 | 6.1907 | 330.0927 | 9.82 | 889 | 100 | 19.586
2020-11-05 04:45:00 | 5.1393 | 345.04 | 5.5573 | 322.734 | 5.816 | 337.494 | 6.4107 | 324.3833 | 9.6733 | 889 | 100 | 21.4207
2020-11-05 05:00:00 | 5.396 | 342.8667 | 5.822 | 326.854 | 6.0273 | 335.3227 | 6.6513 | 328.526 | 9.6267 | 889 | 100 | 24.4907
2020-11-05 05:15:00 | 5.2313 | 341.9733 | 5.6367 | 326.3313 | 5.9553 | 334.4493 | 6.5113 | 328.0007 | 9.5333 | 889 | 100 | 22.7073
2020-11-05 05:30:00 | 4.8433 | 343.96 | 5.2073 | 329.4887 | 5.5913 | 336.394 | 6.0653 | 331.1733 | 9.5867 | 889 | 100 | 18.758
2020-11-05 05:45:00 | 4.57 | 347.4533 | 4.9447 | 326.2867 | 5.2147 | 339.808 | 5.7413 | 327.956 | 9.5933 | 889 | 100 | 15.7333
2020-11-05 06:00:00 | 4.8293 | 346.9267 | 5.212 | 323.8347 | 5.402 | 339.2947 | 5.9627 | 325.4907 | 9.5467 | 889 | 100 | 18.802
2020-11-05 06:15:00 | 5.092 | 341.4133 | 5.4407 | 327.4133 | 5.594 | 333.9007 | 6.114 | 329.088 | 9.52 | 889 | 100 | 20.06
2020-11-05 06:30:00 | 4.9693 | 339.5667 | 5.338 | 326.0907 | 5.5987 | 332.0967 | 6.1153 | 327.758 | 9.4867 | 889 | 100 | 18.1767
2020-11-05 06:45:00 | 4.9773 | 341.2533 | 5.3467 | 326.1553 | 5.632 | 333.746 | 6.1427 | 327.8233 | 9.4733 | 889 | 100 | 18.504
2020-11-05 07:00:00 | 4.6587 | 306.12 | 5.0273 | 327.362 | 5.298 | 322.3407 | 5.8093 | 329.036 | 9.48 | 889 | 100 | 15.952
2020-11-05 07:15:00 | 4.6307 | 349.9667 | 4.9833 | 325.0407 | 5.3653 | 342.268 | 5.8187 | 326.7047 | 9.5467 | 889 | 100 | 14.994
2020-11-05 07:30:00 | 4.662 | 308.2733 | 5.0353 | 328.5813 | 5.4207 | 301.492 | 5.9107 | 330.262 | 9.5333 | 889 | 100 | 16.2707
2020-11-05 07:45:00 | 4.768 | 303.6867 | 5.148 | 325.282 | 5.554 | 297.0053 | 6.0467 | 326.9453 | 9.4333 | 889 | 100 | 17.7447
2020-11-05 08:00:00 | 4.562 | 327.5667 | 4.9353 | 325.694 | 5.276 | 320.3593 | 5.7747 | 327.3593 | 9.4067 | 889 | 100 | 15.426
2020-11-05 08:15:00 | 4.176 | 300.2133 | 4.51 | 323.0793 | 4.942 | 293.608 | 5.358 | 324.7313 | 9.4067 | 889 | 100 | 12.428
2020-11-05 08:30:00 | 4.3813 | 303.5867 | 4.6867 | 320.328 | 5.2167 | 296.908 | 5.5553 | 321.9647 | 9.5733 | 889.1333 | 100 | 13.214
2020-11-05 08:45:00 | 4.3193 | 340.5667 | 4.592 | 321.7607 | 5.1647 | 333.4593 | 5.442 | 323.4073 | 9.6733 | 890 | 100 | 12.6467
2020-11-05 09:00:00 | 4.1493 | 345.1267 | 4.4247 | 325.166 | 4.8093 | 337.5347 | 5.1393 | 326.8293 | 10.1 | 890.1333 | 100 | 11.364
2020-11-05 09:15:00 | 4.034 | 338.7267 | 4.2473 | 323.3527 | 4.7793 | 331.274 | 4.9653 | 325.0067 | 10.2 | 891 | 100 | 10.7
2020-11-05 09:30:00 | 3.9933 | 343.16 | 4.1813 | 323.308 | 4.7847 | 335.3827 | 4.912 | 324.9607 | 10.0667 | 891 | 100 | 10.5947
2020-11-05 09:45:00 | 4.4093 | 339.4333 | 4.6707 | 320.9273 | 5.1547 | 331.9673 | 5.434 | 322.5687 | 10.52 | 891 | 100 | 10.3607
2020-11-05 10:00:00 | 4.2033 | 320.48 | 4.4613 | 325.2367 | 4.8913 | 313.428 | 5.1773 | 326.8993 | 11.0933 | 891.1333 | 99.7733 | 9.6167
2020-11-05 10:15:00 | 4.2353 | 340.5133 | 4.542 | 330.7533 | 4.98 | 333.088 | 5.3447 | 332.444 | 11.3933 | 892 | 94.24 | 8.776
2020-11-05 10:30:00 | 3.554 | 318.2467 | 3.762 | 326.346 | 4.074 | 311.2453 | 4.3193 | 328.0133 | 11.7 | 892 | 85.8 | 5.4307
2020-11-05 10:45:00 | 3.3367 | 341.8267 | 3.51 | 320.262 | 3.9453 | 334.3047 | 4.1007 | 321.9007 | 11.7933 | 892.4667 | 86.7133 | 4.236
2020-11-05 11:00:00 | 3.1127 | 338.42 | 3.282 | 319.7213 | 3.744 | 330.9747 | 3.8813 | 321.3573 | 11.8733 | 892.8667 | 87.0467 | 3.824
2020-11-05 11:15:00 | 3.0627 | 327.0067 | 3.2067 | 321.8467 | 3.604 | 319.8133 | 3.72 | 323.492 | 12.0867 | 892 | 87.6267 | 2.774
2020-11-05 11:30:00 | 2.4167 | 304.6333 | 2.488 | 321.9313 | 2.8427 | 297.932 | 2.8567 | 323.5773 | 12.46 | 892 | 87.14 | 0.89867
2020-11-05 11:45:00 | 1.682 | 268.72 | 1.6527 | 302.254 | 2.034 | 262.8067 | 1.8753 | 303.7993 | 12.64 | 892 | 84.7133 | 0
2020-11-05 12:00:00 | 1.7493 | 282.4867 | 1.78 | 310.9847 | 2.2427 | 276.2713 | 2.1593 | 312.5753 | 13.1733 | 892 | 81.5133 | 0
2020-11-05 12:15:00 | 2.466 | 267.48 | 2.562 | 331.9333 | 2.8267 | 261.6853 | 2.9093 | 333.6287 | 13.1067 | 892 | 82.0667 | 0.44333
2020-11-05 12:30:00 | 2.8873 | 334.3467 | 3.118 | 268.108 | 3.5073 | 326.99 | 3.766 | 269.478 | 13.0533 | 892 | 80.8427 | 1.9113
2020-11-05 12:45:00 | 2.9627 | 335.2933 | 3.182 | 310.0393 | 3.614 | 327.9167 | 3.8427 | 311.6233 | 13.1867 | 892 | 77.3707 | 2.6213
2020-11-05 13:00:00 | 2.8747 | 314.5867 | 3.1293 | 286.5407 | 3.522 | 307.666 | 3.82 | 288.006 | 13.5533 | 892 | 74.098 | 2.4567
2020-11-05 13:15:00 | 2.644 | 250.32 | 2.7707 | 311.852 | 3.1493 | 244.8127 | 3.2467 | 313.4467 | 13.78 | 892 | 71.2013 | 1.3387
2020-11-05 13:30:00 | 2.8433 | 307.8 | 3.014 | 308.7153 | 3.268 | 301.028 | 3.47 | 310.294 | 13.8067 | 892 | 71.7313 | 1.716
2020-11-05 13:45:00 | 2.552 | 288.1133 | 2.72 | 311.2007 | 3.186 | 281.364 | 3.3247 | 312.792 | 13.96 | 892 | 69.0827 | 1.1687
2020-11-05 14:00:00 | 2.0633 | 283.1733 | 2.2053 | 264.9733 | 2.6327 | 276.9447 | 2.7353 | 266.328 | 14.1667 | 891.2 | 67.7013 | 0
2020-11-05 14:15:00 | 1.338 | 224.62 | 1.3967 | 177.918 | 1.6927 | 219.522 | 1.7007 | 178.8273 | 14.6 | 891 | 64.3627 | 0
2020-11-05 14:30:00 | 1.2753 | 310.7533 | 1.334 | 302.124 | 1.5313 | 303.9173 | 1.568 | 303.6687 | 14.7467 | 891 | 63.5547 | 0
2020-11-05 14:45:00 | 1.452 | 168.46 | 1.4987 | 309.3213 | 1.816 | 164.7533 | 1.8 | 310.9033 | 14.5533 | 891 | 63.9833 | 0
2020-11-05 15:00:00 | 0.79467 | 108.2933 | 0.886 | 209.5587 | 0.962 | 105.9107 | 1.0873 | 210.6307 | 14.94 | 890.2 | 63.312 | 0
2020-11-05 15:15:00 | 0.48667 | 95.68 | 0.46867 | 195.6847 | 0.56733 | 93.5747 | 0.508 | 196.6853 | 15.6667 | 890 | 59.3133 | 0
2020-11-05 15:30:00 | 0.728 | 298.8133 | 0.73067 | 223.2633 | 0.61867 | 292.24 | 0.65733 | 224.4067 | 16.0133 | 890 | 47.964 | 0
2020-11-05 15:45:00 | 1.226 | 258.2933 | 1.2913 | 266.6693 | 1.282 | 252.6113 | 1.392 | 268.03 | 15.9933 | 890.4667 | 41.354 | 0
2020-11-05 16:00:00 | 1.466 | 320.4667 | 1.562 | 333.172 | 1.8613 | 313.4153 | 1.928 | 334.8753 | 15.2933 | 891 | 48.7533 | 0
2020-11-05 16:15:00 | 1.3987 | 307.1467 | 1.5527 | 311.5847 | 1.7673 | 300.3887 | 1.9527 | 313.1767 | 15.1867 | 891 | 56.0913 | 0
2020-11-05 16:30:00 | 1.3 | 294.8333 | 1.362 | 322.1913 | 1.544 | 288.3487 | 1.586 | 323.8407 | 15.1333 | 890.2 | 59.4407 | 0
2020-11-05 16:45:00 | 1.3193 | 271.76 | 1.3267 | 241.8793 | 1.5693 | 265.7833 | 1.5107 | 243.1147 | 15.2267 | 890.4667 | 61.6087 | 0
2020-11-05 17:00:00 | 1.384 | 341.7733 | 1.454 | 294.2807 | 1.5113 | 334.2547 | 1.606 | 295.784 | 15.08 | 890.8667 | 62.5047 | 0
2020-11-05 17:15:00 | 1.476 | 339.8533 | 1.57 | 313.4433 | 1.7833 | 332.3753 | 1.8707 | 315.0447 | 14.7867 | 890.4667 | 63.5387 | 0
2020-11-05 17:30:00 | 1.6953 | 345.8333 | 1.842 | 206.4813 | 2.0513 | 338.4853 | 2.2187 | 207.5373 | 14.62 | 890.2 | 67.388 | 0
2020-11-05 17:45:00 | 1.72 | 236.08 | 1.84 | 333.668 | 2.0307 | 253.7393 | 2.1613 | 335.3747 | 14.4867 | 890 | 70.9433 | 0
2020-11-05 18:00:00 | 1.904 | 326.52 | 2.012 | 341.5447 | 2.142 | 319.1273 | 2.282 | 343.2893 | 14.34 | 890 | 70.7187 | 0
2020-11-05 18:15:00 | 1.7873 | 212.8333 | 1.926 | 316.734 | 2.1573 | 208.15 | 2.3107 | 318.354 | 14.2667 | 890 | 71.026 | 0
2020-11-05 18:30:00 | 1.7467 | 253.9667 | 1.8873 | 320.288 | 2.1673 | 248.38 | 2.3147 | 321.9267 | 14.1933 | 890 | 72.1467 | 0
2020-11-05 18:45:00 | 2.022 | 213.3733 | 2.1707 | 330.9947 | 2.346 | 208.8873 | 2.5353 | 332.686 | 14.0933 | 890 | 73.2127 | 0
2020-11-05 19:00:00 | 2.0513 | 214.18 | 2.2027 | 331.3267 | 2.39 | 231.6753 | 2.5507 | 333.0213 | 13.9867 | 890 | 75.742 | 0.23867
2020-11-05 19:15:00 | 2.048 | 253.56 | 2.234 | 334.6527 | 2.4707 | 247.982 | 2.6967 | 336.362 | 13.8 | 890 | 77.9973 | 0.578
2020-11-05 19:30:00 | 2.0607 | 210.7 | 2.1773 | 318.41 | 2.434 | 228.7727 | 2.5473 | 320.0387 | 13.7067 | 890.8 | 80.642 | 0.618
2020-11-05 19:45:00 | 1.88 | 60.62 | 1.9673 | 210.8893 | 2.1793 | 59.2873 | 2.258 | 211.9687 | 13.76 | 891 | 81.6867 | 0.25333
2020-11-05 20:00:00 | 1.8813 | 121.2533 | 1.9473 | 54.0493 | 2.036 | 118.5867 | 2.1147 | 54.3273 | 13.8133 | 891 | 82.2 | 0.078
2020-11-05 20:15:00 | 1.888 | 125.5267 | 2.0013 | 209.24 | 2.352 | 122.764 | 2.4313 | 210.3093 | 13.8 | 891 | 80.704 | 0
2020-11-05 20:30:00 | 1.686 | 103.2533 | 1.734 | 309.7193 | 2.1153 | 100.9813 | 2.084 | 311.3033 | 13.7067 | 891.1333 | 80.8127 | 0
2020-11-05 20:45:00 | 2.0127 | 125.0667 | 2.0893 | 251.4373 | 2.4253 | 122.6147 | 2.4553 | 252.724 | 13.6467 | 892 | 81.38 | 0.37067
2020-11-05 21:00:00 | 2.3753 | 85.9533 | 2.458 | 253.894 | 2.6667 | 84.062 | 2.7393 | 255.192 | 13.5933 | 892 | 82.5467 | 1.2073
2020-11-05 21:15:00 | 2.374 | 60.0667 | 2.4633 | 342.7767 | 2.644 | 58.7467 | 2.734 | 344.5267 | 13.44 | 892 | 84.1 | 2.1927
2020-11-05 21:30:00 | 2.0973 | 40.8667 | 2.2087 | 325.668 | 2.5527 | 39.9673 | 2.6327 | 327.3313 | 13.22 | 892 | 85.0067 | 1.628
2020-11-05 21:45:00 | 2.0293 | 102.8667 | 2.148 | 334.8873 | 2.3113 | 100.604 | 2.4547 | 336.5987 | 13.2533 | 892 | 84.6 | 1.0127
2020-11-05 22:00:00 | 2.3413 | 80.8867 | 2.522 | 334.3207 | 2.7053 | 79.1073 | 2.9427 | 336.03 | 13.0333 | 892.8 | 83.38 | 1.8493
2020-11-05 22:15:00 | 2.7947 | 234.6733 | 2.9847 | 320.986 | 3.1787 | 229.5107 | 3.428 | 322.6267 | 13.0467 | 893 | 84.1667 | 3.7727
2020-11-05 22:30:00 | 2.9573 | 279.6067 | 3.1427 | 321.0067 | 3.3833 | 273.4553 | 3.6067 | 322.6473 | 13.0533 | 893 | 86.6133 | 5.0073
2020-11-05 22:45:00 | 2.852 | 325.66 | 3.066 | 335.0553 | 3.3107 | 318.4967 | 3.5827 | 336.7693 | 12.8467 | 893 | 88.5 | 4.67
2020-11-05 23:00:00 | 2.882 | 257.88 | 3.1593 | 331.4887 | 3.4307 | 253.0013 | 3.7973 | 333.1853 | 12.68 | 893 | 89.78 | 4.514
2020-11-05 23:15:00 | 2.758 | 324.1467 | 2.9687 | 325.85 | 3.27 | 317.0147 | 3.5193 | 327.5153 | 12.7 | 893 | 90.22 | 3.9927
2020-11-05 23:30:00 | 2.036 | 257.1067 | 2.1533 | 333.524 | 2.4713 | 251.4507 | 2.568 | 335.2287 | 12.9933 | 893 | 90.6933 | 1.3413
2020-11-05 23:45:00 | 2.5893 | 300.26 | 2.7233 | 308.8787 | 2.9207 | 271.7793 | 3.09 | 310.4573 | 13.1867 | 893 | 90.04 | 2.0913