## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-06 00:00:00 | 3.258 | 340.1333 | 3.4387 | 319.1547 | 3.6993 | 333.1127 | 3.914 | 320.786 | 13.36 | 893.1333 | 90.78 | 5.298
2020-11-06 00:15:00 | 3.1807 | 344.56 | 3.3867 | 321.502 | 3.6373 | 336.9793 | 3.9027 | 323.1447 | 13.3267 | 894 | 91.42 | 5.18
2020-11-06 00:30:00 | 2.776 | 319.9333 | 3.0093 | 319.8053 | 3.2533 | 312.896 | 3.5553 | 321.44 | 13.2067 | 894 | 92.5467 | 3.598
2020-11-06 00:45:00 | 2.4893 | 325.66 | 2.734 | 327.3873 | 3.0713 | 318.496 | 3.3687 | 329.0627 | 13.0533 | 894 | 92.98 | 3.0987
2020-11-06 01:00:00 | 2.7013 | 323.1867 | 2.9107 | 330.87 | 3.186 | 316.076 | 3.4513 | 332.562 | 13.0067 | 894 | 93.0533 | 3.4007
2020-11-06 01:15:00 | 2.88 | 303.6667 | 3.084 | 332.004 | 3.2713 | 297.2853 | 3.5407 | 333.7007 | 13.0867 | 894 | 93.44 | 3.784
2020-11-06 01:30:00 | 3.472 | 348.9667 | 3.6873 | 336.2233 | 3.926 | 341.29 | 4.204 | 337.942 | 13.1267 | 894 | 93.42 | 6.8347
2020-11-06 01:45:00 | 3.6427 | 346.6733 | 3.8567 | 322.9947 | 4.188 | 339.8407 | 4.4367 | 324.6453 | 13.1933 | 894 | 93.52 | 8.2847
2020-11-06 02:00:00 | 3.5447 | 324.06 | 3.7647 | 328.158 | 4.1047 | 316.9313 | 4.364 | 329.8353 | 12.84 | 893.8667 | 93.8267 | 10.002
2020-11-06 02:15:00 | 3.6873 | 258.3667 | 3.9107 | 329.162 | 4.1847 | 252.9493 | 4.4667 | 330.8453 | 12.46 | 893 | 94.16 | 11.1713
2020-11-06 02:30:00 | 4.1073 | 350.6867 | 4.3767 | 327.316 | 4.482 | 342.9693 | 4.8887 | 328.99 | 12.32 | 893 | 94.2 | 14.688
2020-11-06 02:45:00 | 4.6567 | 345.5667 | 4.9213 | 331.3147 | 5.12 | 337.9633 | 5.4847 | 333.0087 | 12.4867 | 893 | 94.0533 | 20.4407
2020-11-06 03:00:00 | 5.068 | 340.3733 | 5.406 | 328.588 | 5.7967 | 333.33 | 6.23 | 330.268 | 12.2733 | 893 | 94.78 | 26.552
2020-11-06 03:15:00 | 5.5267 | 342.62 | 5.8893 | 330.088 | 6.214 | 335.0827 | 6.7027 | 331.7767 | 12.1533 | 893 | 96.1867 | 33.3053
2020-11-06 03:30:00 | 5.6687 | 303.4133 | 5.992 | 335.3293 | 6.2527 | 273.3973 | 6.7007 | 337.0447 | 12.32 | 893 | 96.7533 | 36.2933
2020-11-06 03:45:00 | 5.2927 | 341.2667 | 5.618 | 332.97 | 5.84 | 333.7593 | 6.3007 | 334.672 | 12.2733 | 893 | 97.4333 | 37.188
2020-11-06 04:00:00 | 5.072 | 340.8467 | 5.3933 | 309.4453 | 5.3753 | 333.348 | 5.8973 | 311.0287 | 12.34 | 893 | 97.88 | 35.242
2020-11-06 04:15:00 | 5.238 | 323.1533 | 5.4913 | 336.3407 | 5.6727 | 316.0453 | 6.0313 | 338.0607 | 12.52 | 893 | 97.8533 | 34.7173
2020-11-06 04:30:00 | 5.2947 | 300.5133 | 5.476 | 336.7847 | 5.6413 | 293.9027 | 5.8893 | 338.5067 | 12.5667 | 893 | 97.3867 | 35.4373
2020-11-06 04:45:00 | 5.3153 | 347.46 | 5.59 | 329.3247 | 5.552 | 339.0013 | 6.0133 | 331.0087 | 12.5467 | 893 | 94.9867 | 35.3233
2020-11-06 05:00:00 | 5.3793 | 302.52 | 5.6727 | 332.5647 | 5.7187 | 295.8647 | 6.1753 | 334.268 | 12.74 | 893 | 91.88 | 32.292
2020-11-06 05:15:00 | 5.6733 | 350.58 | 5.994 | 330.102 | 6.1433 | 342.868 | 6.6193 | 331.788 | 12.9333 | 893 | 89.2133 | 33.564
2020-11-06 05:30:00 | 6.4067 | 347.7467 | 6.7713 | 330.9687 | 6.9713 | 340.0967 | 7.504 | 332.66 | 13.06 | 893 | 87.5267 | 40.4253
2020-11-06 05:45:00 | 7.0093 | 343.4467 | 7.3813 | 331.7053 | 7.686 | 335.8927 | 8.1973 | 333.3993 | 12.92 | 893 | 85.9733 | 45.6987
2020-11-06 06:00:00 | 6.7733 | 340.8267 | 7.2293 | 329.99 | 7.5527 | 333.328 | 8.1933 | 331.6767 | 12.8533 | 893.8 | 85.02 | 48.452
2020-11-06 06:15:00 | 6.7607 | 321.08 | 7.2073 | 330.576 | 7.5913 | 313.808 | 8.2 | 332.2667 | 12.7067 | 894 | 85.14 | 51.848
2020-11-06 06:30:00 | 6.5033 | 337.0667 | 6.966 | 326.724 | 6.942 | 329.652 | 7.692 | 328.394 | 12.5933 | 894 | 86.5533 | 50.312
2020-11-06 06:45:00 | 6.5507 | 340.7533 | 6.9693 | 329.852 | 7.1107 | 333.2567 | 7.7447 | 331.5387 | 12.36 | 894 | 86.3067 | 48.5387
2020-11-06 07:00:00 | 6.4007 | 343.5467 | 6.762 | 328.0467 | 6.8173 | 335.99 | 7.3853 | 329.7253 | 12.2867 | 894 | 82.4867 | 48.478
2020-11-06 07:15:00 | 6.1193 | 343.4267 | 6.4933 | 327.3233 | 6.6533 | 335.514 | 7.2 | 328.9967 | 12.22 | 894 | 81.4067 | 47.2227
2020-11-06 07:30:00 | 6.3433 | 342.6733 | 6.6947 | 328.8827 | 6.7327 | 335.134 | 7.284 | 330.5627 | 12.3067 | 894 | 80.0067 | 45.91
2020-11-06 07:45:00 | 6.34 | 319.3333 | 6.6807 | 326.4433 | 6.77 | 312.4393 | 7.2927 | 328.1127 | 12.2933 | 894 | 79.1147 | 44.7093
2020-11-06 08:00:00 | 6.0507 | 318.9067 | 6.324 | 329.2727 | 6.43 | 311.8913 | 6.8393 | 330.9567 | 12.2333 | 894.1333 | 76.9327 | 41.282
2020-11-06 08:15:00 | 6.3533 | 343.5533 | 6.598 | 327.688 | 6.6693 | 335.996 | 7.0433 | 329.3633 | 12.4133 | 895 | 74.5853 | 42.9887
2020-11-06 08:30:00 | 6.3587 | 251.66 | 6.5953 | 329.9713 | 6.878 | 246.1247 | 7.1833 | 331.6587 | 12.4067 | 895 | 73.936 | 45.0187
2020-11-06 08:45:00 | 6.368 | 318.6133 | 6.6673 | 333.3927 | 7.06 | 311.604 | 7.426 | 335.0987 | 12.2733 | 895 | 72.9813 | 45.8367
2020-11-06 09:00:00 | 6.1267 | 343.9133 | 6.4133 | 327.5067 | 6.472 | 336.348 | 6.92 | 329.1813 | 12.4467 | 895.8 | 71.3473 | 42.4833
2020-11-06 09:15:00 | 5.6907 | 318.4533 | 5.9987 | 327.6693 | 6.226 | 311.446 | 6.656 | 329.344 | 12.5933 | 896.4667 | 64.4427 | 40.5633
2020-11-06 09:30:00 | 5.852 | 295.34 | 6.1047 | 328.972 | 6.442 | 288.8413 | 6.7547 | 330.6547 | 12.9133 | 897 | 58.184 | 39.4907
2020-11-06 09:45:00 | 6 | 298.2133 | 6.3773 | 311.6427 | 6.7487 | 291.6527 | 7.2513 | 313.2367 | 13 | 897.4667 | 53.5507 | 40.3993
2020-11-06 10:00:00 | 5.9187 | 232.16 | 6.2867 | 331.1327 | 6.6867 | 227.052 | 7.1647 | 332.8253 | 13.08 | 898 | 51.0993 | 39.1473
2020-11-06 10:15:00 | 5.9247 | 296.4133 | 6.3807 | 309.986 | 6.82 | 289.8913 | 7.4267 | 311.5727 | 13.34 | 898.4667 | 48.2953 | 37.3713
2020-11-06 10:30:00 | 6.0093 | 319.44 | 6.4513 | 337.2533 | 6.832 | 311.67 | 7.43 | 338.9773 | 13.5333 | 898.8667 | 46.1187 | 37.5487
2020-11-06 10:45:00 | 6.0487 | 320.7667 | 6.54 | 311.298 | 6.952 | 313.71 | 7.6227 | 312.89 | 13.6933 | 898 | 44.9293 | 38.0067
2020-11-06 11:00:00 | 5.7733 | 320.92 | 6.1307 | 309.7973 | 6.3907 | 313.8587 | 6.892 | 311.3813 | 13.92 | 898 | 44.5327 | 34.0167
2020-11-06 11:15:00 | 4.6727 | 336.52 | 4.9833 | 333.3153 | 5.3147 | 329.116 | 5.7187 | 335.02 | 14.3267 | 898 | 43.4653 | 22.7667
2020-11-06 11:30:00 | 4.638 | 320.0467 | 4.9333 | 321.138 | 5.098 | 313.006 | 5.5267 | 322.7773 | 14.4133 | 898 | 43.0153 | 16.3887
2020-11-06 11:45:00 | 4.3373 | 336.8467 | 4.6093 | 328.8307 | 4.7973 | 329.4367 | 5.1833 | 330.5107 | 14.6733 | 898 | 43.188 | 13.644
2020-11-06 12:00:00 | 3.8807 | 314.4267 | 4.1213 | 299.3527 | 4.5007 | 307.5087 | 4.7773 | 300.884 | 14.9467 | 897.8667 | 42.206 | 10.0067
2020-11-06 12:15:00 | 3.432 | 273.5333 | 3.6133 | 322.2513 | 3.9127 | 266.734 | 4.1187 | 323.8973 | 15.3067 | 897 | 41.1113 | 8.1147
2020-11-06 12:30:00 | 3.2393 | 274.1667 | 3.3993 | 288.908 | 3.6653 | 268.134 | 3.8467 | 290.386 | 15.6133 | 897 | 40.1413 | 6.8927
2020-11-06 12:45:00 | 3.53 | 231.42 | 3.686 | 334.874 | 3.8793 | 226.3287 | 4.0767 | 336.586 | 15.76 | 897 | 39.1147 | 7.6807
2020-11-06 13:00:00 | 3.2207 | 235.0533 | 3.4087 | 266.512 | 3.5767 | 229.882 | 3.8347 | 267.8747 | 16.0067 | 897 | 36.548 | 6.5367
2020-11-06 13:15:00 | 2.932 | 310.56 | 3.198 | 103.8707 | 3.21 | 303.7273 | 3.6333 | 104.3993 | 16.28 | 897 | 36.1793 | 3.814
2020-11-06 13:30:00 | 2.8447 | 207.0933 | 3.074 | 207.316 | 3.26 | 179.9567 | 3.5713 | 208.3767 | 16.6333 | 897 | 35.3067 | 3.5127
2020-11-06 13:45:00 | 2.682 | 250.5 | 2.8993 | 186.014 | 3.0147 | 244.9907 | 3.3307 | 186.9667 | 16.8667 | 897 | 34.0873 | 3.0813
2020-11-06 14:00:00 | 2.5433 | 188.72 | 2.804 | 211.1187 | 2.9167 | 184.4253 | 3.3013 | 212.1973 | 17.2533 | 897 | 33.054 | 2.1927
2020-11-06 14:15:00 | 2.404 | 257 | 2.53 | 120.1053 | 2.6093 | 251.3473 | 2.7867 | 120.7193 | 17.22 | 897 | 32.874 | 1.176
2020-11-06 14:30:00 | 2.6573 | 321.2733 | 2.8427 | 188.6227 | 2.9753 | 314.2047 | 3.2367 | 189.5873 | 17.4 | 896.2 | 31.834 | 1.1893
2020-11-06 14:45:00 | 2.2333 | 289.66 | 2.384 | 230.3393 | 2.44 | 283.2887 | 2.666 | 231.5173 | 17.64 | 896 | 31.4267 | 0.156
2020-11-06 15:00:00 | 2.3247 | 274.4933 | 2.468 | 184.946 | 2.5873 | 268.454 | 2.7867 | 185.8927 | 17.88 | 896 | 30.812 | 0
2020-11-06 15:15:00 | 2.0433 | 330.6067 | 2.1493 | 261.8633 | 2.358 | 323.334 | 2.4693 | 263.2 | 18.2467 | 896 | 31.5453 | 0
2020-11-06 15:30:00 | 2.0093 | 305.26 | 2.0867 | 260.1087 | 2.3347 | 298.5447 | 2.388 | 261.4393 | 18.4867 | 896 | 31.372 | 0
2020-11-06 15:45:00 | 1.61 | 311.8 | 1.788 | 254.4687 | 1.9247 | 304.9413 | 2.1667 | 255.77 | 18.76 | 896 | 31.2787 | 0
2020-11-06 16:00:00 | 1.2453 | 224.1467 | 1.4347 | 214.2013 | 1.5327 | 219.2153 | 1.8087 | 215.2967 | 19.12 | 896 | 31.002 | 0
2020-11-06 16:15:00 | 0.964 | 173.74 | 1.06 | 179.6973 | 1.1527 | 169.918 | 1.2833 | 180.6153 | 18.92 | 896 | 30.054 | 0
2020-11-06 16:30:00 | 0.80133 | 172.56 | 0.84333 | 151.048 | 0.90267 | 168.762 | 0.948 | 151.8193 | 18.8733 | 895.2 | 28.1407 | 0
2020-11-06 16:45:00 | 0.54267 | 180.7733 | 0.64733 | 138.322 | 0.618 | 176.7953 | 0.794 | 139.0287 | 19.28 | 895 | 29.86 | 0
2020-11-06 17:00:00 | 1.0127 | 199.3067 | 1.1287 | 180.4547 | 1.0813 | 194.9233 | 1.2807 | 181.3767 | 18.7067 | 895 | 32.176 | 0
2020-11-06 17:15:00 | 1.3907 | 186.28 | 1.5127 | 179.8667 | 1.58 | 182.1813 | 1.7533 | 180.7867 | 18.2067 | 895 | 36.468 | 0
2020-11-06 17:30:00 | 1.5527 | 192.6133 | 1.6713 | 177.4013 | 1.828 | 188.3753 | 1.9727 | 178.3087 | 17.82 | 894.2 | 40.8107 | 0
2020-11-06 17:45:00 | 1.052 | 193.2533 | 1.174 | 185.3107 | 1.3133 | 189.0027 | 1.466 | 186.2587 | 17.7133 | 894 | 41.6533 | 0
2020-11-06 18:00:00 | 1.0987 | 184.22 | 1.1873 | 184.9333 | 1.2233 | 180.168 | 1.354 | 185.88 | 17.4533 | 894 | 40.538 | 0
2020-11-06 18:15:00 | 1.26 | 172.98 | 1.316 | 179.306 | 1.288 | 169.1733 | 1.3867 | 180.222 | 17.3667 | 894 | 40.3413 | 0
2020-11-06 18:30:00 | 1.2153 | 155.7533 | 1.2513 | 185.5773 | 1.4213 | 152.3267 | 1.4327 | 186.528 | 17.2667 | 894 | 40.086 | 0
2020-11-06 18:45:00 | 1.2493 | 163.8067 | 1.2847 | 170.14 | 1.4067 | 160.204 | 1.428 | 171.008 | 17.2467 | 894 | 39.376 | 0
2020-11-06 19:00:00 | 1.3227 | 150.8933 | 1.3447 | 163.17 | 1.4607 | 147.756 | 1.454 | 164.004 | 17.22 | 894 | 39.0307 | 0
2020-11-06 19:15:00 | 1.388 | 165.8333 | 1.4067 | 165.0547 | 1.52 | 162.1853 | 1.5173 | 165.8973 | 17.1667 | 894 | 38.8833 | 0
2020-11-06 19:30:00 | 1.2793 | 179.32 | 1.3313 | 176.4633 | 1.416 | 175.3753 | 1.478 | 177.3667 | 17.0667 | 894 | 39.3387 | 0
2020-11-06 19:45:00 | 1.072 | 194.62 | 1.1173 | 186.7467 | 1.004 | 190.2267 | 1.118 | 187.7 | 16.9733 | 894 | 39.498 | 0
2020-11-06 20:00:00 | 0.99533 | 200.64 | 1.0293 | 192.3987 | 1.0033 | 196.226 | 1.0707 | 193.382 | 16.96 | 894 | 39.5027 | 0
2020-11-06 20:15:00 | 0.914 | 209.7667 | 0.93 | 192.1313 | 0.952 | 205.15 | 0.972 | 193.1147 | 16.9333 | 894.4667 | 40.966 | 0
2020-11-06 20:30:00 | 1.1733 | 204.4867 | 1.196 | 192.79 | 1.1853 | 199.9887 | 1.226 | 193.7753 | 16.8333 | 895 | 42.0633 | 0
2020-11-06 20:45:00 | 1.306 | 201.1333 | 1.33 | 191.1087 | 1.2753 | 196.7087 | 1.3333 | 192.086 | 16.8667 | 895 | 43.2513 | 0
2020-11-06 21:00:00 | 1.0793 | 171.94 | 1.0767 | 182.2273 | 1.0267 | 168.1567 | 1.0367 | 183.1593 | 16.76 | 895 | 44.5167 | 0
2020-11-06 21:15:00 | 0.90333 | 136.5733 | 0.90333 | 152.3527 | 1.0607 | 133.568 | 1.014 | 153.1327 | 16.1733 | 895 | 48.742 | 0
2020-11-06 21:30:00 | 1.9013 | 140.9933 | 2.0433 | 151.0027 | 2.1073 | 137.892 | 2.318 | 151.7753 | 15.66 | 895 | 51.072 | 0
2020-11-06 21:45:00 | 2.3287 | 137.18 | 2.4167 | 132.8393 | 2.46 | 134.1613 | 2.5893 | 133.5173 | 15.4267 | 895 | 48.948 | 0.282
2020-11-06 22:00:00 | 2.096 | 133.38 | 2.1667 | 134.4373 | 2.276 | 130.4467 | 2.36 | 135.122 | 15.36 | 895 | 48.3147 | 0.344
2020-11-06 22:15:00 | 2.2207 | 157.52 | 2.3327 | 142.148 | 2.5553 | 154.0547 | 2.672 | 142.8767 | 15.14 | 895 | 48.78 | 0.77
2020-11-06 22:30:00 | 2.2573 | 146.5533 | 2.3453 | 141.628 | 2.506 | 143.3493 | 2.602 | 142.352 | 14.9267 | 895 | 49.8527 | 1.3133
2020-11-06 22:45:00 | 2.2827 | 145.98 | 2.3927 | 141.7573 | 2.6133 | 142.7673 | 2.726 | 142.484 | 14.86 | 895 | 51.3653 | 1.43
2020-11-06 23:00:00 | 2.246 | 139.8267 | 2.3553 | 137.1613 | 2.5073 | 136.7507 | 2.634 | 137.862 | 14.7667 | 895.1333 | 53.196 | 1.2087
2020-11-06 23:15:00 | 2.19 | 138.1733 | 2.2713 | 140.5913 | 2.4253 | 135.134 | 2.5107 | 141.3093 | 14.6733 | 896 | 55.6127 | 1.254
2020-11-06 23:30:00 | 1.8907 | 130.04 | 2.0047 | 131.762 | 2.2447 | 127.1787 | 2.358 | 132.434 | 14.6333 | 896 | 57.0513 | 0.17667
2020-11-06 23:45:00 | 1.8287 | 119.2933 | 1.94 | 130.9213 | 2.3373 | 116.6687 | 2.3973 | 131.59 | 14.6 | 896 | 58.1107 | 0