## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-07 00:00:00 | 1.8353 | 121.5867 | 1.98 | 122.53 | 2.274 | 118.9113 | 2.42 | 123.158 | 14.5733 | 896 | 59.7473 | 0
2020-11-07 00:15:00 | 1.735 | 118.45 | 1.875 | 109.967 | 1.965 | 116.285 | 2.17 | 110.528 | 14.51 | 896 | 62.69 | 0
2020-11-07 00:30:00 | 2.206 | 121.37 | 2.367 | 125.419 | 2.404 | 118.699 | 2.651 | 126.059 | 14.39 | 896 | 64.278 | 0
2020-11-07 00:45:00 | 2.012 | 128.1 | 2.152 | 123.598 | 2.308 | 125.28 | 2.488 | 124.23 | 14.3 | 896 | 63.124 | 0.072
2020-11-07 01:00:00 | 1.997 | 117.76 | 2.098 | 121.625 | 2.309 | 115.169 | 2.411 | 122.246 | 14.41 | 896 | 59.398 | 0
2020-11-07 01:15:00 | 1.314 | 113.7 | 1.438 | 103.443 | 1.447 | 111.198 | 1.647 | 103.972 | 14.46 | 896 | 59.837 | 0
2020-11-07 01:30:00 | 1.146 | 116.64 | 1.26 | 102.476 | 1.286 | 114.074 | 1.458 | 103 | 14.46 | 895.6 | 63.118 | 0
2020-11-07 01:45:00 | 0.795 | 83.26 | 0.927 | 78.797 | 0.83 | 81.43 | 1.067 | 79.2 | 14.21 | 895 | 63.181 | 0
2020-11-07 02:00:00 | 0.818 | 70.04 | 0.909 | 58.602 | 0.942 | 68.499 | 1.079 | 58.902 | 14.28 | 895 | 65.664 | 0
2020-11-07 02:15:00 | 1.4107 | 34.7467 | 1.416 | 140.6247 | 1.8267 | 33.9027 | 1.7233 | 141.344 | 13.7333 | 895 | 67.15 | 0
2020-11-07 02:30:00 | 1.904 | 210.72 | 1.882 | 332.656 | 2.726 | 206.084 | 2.44 | 334.356 | 13.24 | 895 | 68.24 | 0
2020-11-07 02:45:00 | 1.817 | 307.63 | 1.783 | 319.111 | 2.437 | 300.864 | 2.194 | 320.745 | 13.34 | 895 | 67.879 | 0.293
2020-11-07 03:00:00 | 2.036 | 82.42 | 2.008 | 325.614 | 2.78 | 80.608 | 2.516 | 327.28 | 13.26 | 895 | 69.574 | 0.658
2020-11-07 03:15:00 | 2.458 | 334.6 | 2.532 | 314.406 | 3.132 | 329.056 | 3.094 | 316.016 | 13.18 | 895 | 69.352 | 1.374
2020-11-07 03:30:00 | 2.402 | 200.8 | 2.457 | 327.971 | 3.097 | 196.382 | 3.002 | 329.649 | 12.88 | 895 | 69.488 | 1.658
2020-11-07 03:45:00 | 2.536 | 279.6 | 2.61 | 329.468 | 3.154 | 273.45 | 3.122 | 331.152 | 12.7 | 895 | 69.242 | 1.68
2020-11-07 04:00:00 | 2.9044 | 345.5333 | 2.9567 | 330.3022 | 3.6033 | 337.9322 | 3.5044 | 331.9933 | 12.5667 | 895 | 68.1333 | 2.799
2020-11-07 04:15:00 | 3.02 | 110.26 | 3.131 | 326.202 | 3.691 | 107.834 | 3.708 | 327.87 | 12.7 | 895 | 70.098 | 3.15
2020-11-07 04:30:00 | 2.9493 | 324.8667 | 3.0633 | 327.0307 | 3.6753 | 317.72 | 3.68 | 328.7027 | 12.8467 | 895 | 72.5693 | 2.988
2020-11-07 04:45:00 | 2.748 | 349.26 | 2.888 | 331.346 | 3.522 | 341.578 | 3.564 | 333.04 | 12.7 | 895 | 72.08 | 2.524
2020-11-07 05:00:00 | 3.3822 | 340.5778 | 3.49 | 319.4256 | 4.3089 | 331.9878 | 4.2489 | 321.0611 | 12.5222 | 895 | 72.9733 | 5.917
2020-11-07 05:15:00 | 3.764 | 347.87 | 3.908 | 327.709 | 4.53 | 340.218 | 4.582 | 329.383 | 12.21 | 894.8 | 77.028 | 6.749
2020-11-07 05:30:00 | 3.841 | 343.27 | 3.986 | 326.065 | 4.64 | 335.718 | 4.688 | 327.733 | 12.27 | 894 | 79.77 | 7.629
2020-11-07 05:45:00 | 3.863 | 335.8 | 3.973 | 323.62 | 4.709 | 328.412 | 4.673 | 325.273 | 12.16 | 894 | 81.34 | 7.449
2020-11-07 06:00:00 | 4.586 | 348.25 | 4.852 | 327.455 | 5.476 | 340.432 | 5.724 | 329.128 | 12.13 | 894 | 82.28 | 11.624
2020-11-07 06:15:00 | 4.8967 | 345.62 | 5.1713 | 328.7133 | 5.9913 | 338.016 | 6.192 | 330.3933 | 11.04 | 894 | 85.7333 | 17.0813
2020-11-07 06:30:00 | 4.996 | 348.38 | 5.29 | 334.378 | 6 | 340.716 | 6.262 | 336.088 | 10.98 | 894.4 | 87.38 | 18.75
2020-11-07 06:45:00 | 4.803 | 316.53 | 5.04 | 330.563 | 5.861 | 309.567 | 6.005 | 332.253 | 10.23 | 895 | 86.1 | 20.365
2020-11-07 07:00:00 | 4.916 | 282.73 | 5.183 | 335.082 | 5.79 | 276.509 | 6.045 | 336.796 | 10.46 | 895 | 81.33 | 20.677
2020-11-07 07:15:00 | 5.102 | 237.5667 | 5.372 | 329.8473 | 6.0167 | 232.3387 | 6.266 | 331.5333 | 10.1133 | 895 | 81.12 | 24.664
2020-11-07 07:30:00 | 5.512 | 280.62 | 5.83 | 331.874 | 6.508 | 274.446 | 6.818 | 333.57 | 10.26 | 895 | 81.4 | 28.124
2020-11-07 07:45:00 | 5.358 | 349.39 | 5.617 | 329.988 | 6.425 | 341.705 | 6.608 | 331.673 | 10.53 | 895 | 83.84 | 24.314
2020-11-07 08:00:00 | 5.128 | 311.86 | 5.272 | 328.559 | 6.176 | 305 | 6.148 | 330.238 | 10.32 | 895 | 83.61 | 22.993
2020-11-07 08:15:00 | 5.158 | 212.8 | 5.374 | 325.724 | 6.09 | 208.118 | 6.225 | 327.388 | 10.65 | 895 | 82.1 | 22.317
2020-11-07 08:30:00 | 5.215 | 212.06 | 5.523 | 321.664 | 6.223 | 207.394 | 6.515 | 323.31 | 10.81 | 895.7 | 80.748 | 22.885
2020-11-07 08:45:00 | 4.86 | 343.62 | 5.121 | 323.122 | 5.857 | 336.059 | 6.062 | 324.774 | 10.77 | 896.2 | 75.236 | 19.478
2020-11-07 09:00:00 | 5.224 | 345.82 | 5.522 | 330.896 | 6.02 | 338.212 | 6.358 | 332.588 | 10.72 | 897 | 74.494 | 20.58
2020-11-07 09:15:00 | 5.689 | 343.36 | 6.057 | 326.349 | 6.516 | 335.806 | 6.975 | 328.017 | 10.93 | 897.2 | 70.281 | 24.589
2020-11-07 09:30:00 | 5.678 | 346.19 | 5.998 | 327.209 | 6.607 | 338.572 | 6.945 | 328.882 | 11.03 | 898 | 70.311 | 25.009
2020-11-07 09:45:00 | 4.948 | 339.99 | 5.099 | 324.118 | 5.67 | 332.511 | 5.751 | 325.776 | 11.17 | 898 | 69.815 | 17.684
2020-11-07 10:00:00 | 4.628 | 342.66 | 4.825 | 323.562 | 5.225 | 335.122 | 5.422 | 325.216 | 11.61 | 898.7 | 65.589 | 13.308
2020-11-07 10:15:00 | 4.144 | 339.23 | 4.334 | 300.812 | 4.844 | 330.986 | 5.003 | 302.35 | 12.14 | 899 | 66.107 | 9.984
2020-11-07 10:30:00 | 4.086 | 298.32 | 4.256 | 330.32 | 4.736 | 291.756 | 4.872 | 332.008 | 12.59 | 899 | 65.225 | 8.295
2020-11-07 10:45:00 | 4.0671 | 338.2643 | 4.2436 | 329.25 | 4.6729 | 330.8207 | 4.835 | 330.9336 | 12.8071 | 899 | 65.2193 | 7.9413
2020-11-07 11:00:00 | 3.5933 | 268.38 | 3.7487 | 315.3393 | 4.2687 | 262.474 | 4.368 | 316.9533 | 13.2467 | 899 | 62.6373 | 6.002
2020-11-07 11:15:00 | 3.374 | 342.1 | 3.528 | 324.46 | 3.804 | 334.574 | 3.968 | 326.122 | 13.64 | 899 | 60.346 | 4.002
2020-11-07 11:30:00 | 3.022 | 336.89 | 3.158 | 328.578 | 3.381 | 329.478 | 3.536 | 330.258 | 14.18 | 899 | 56.546 | 2.772
2020-11-07 11:45:00 | 2.016 | 225.5 | 1.983 | 317.646 | 2.39 | 220.021 | 2.217 | 319.269 | 14.88 | 899 | 51.535 | 1.435
2020-11-07 12:00:00 | 1.941 | 290.64 | 2.024 | 325.39 | 2.316 | 284.246 | 2.368 | 327.052 | 15.22 | 899 | 52.742 | 0.304
2020-11-07 12:15:00 | 1.691 | 295.98 | 1.781 | 193.271 | 2.024 | 289.783 | 2.116 | 194.261 | 16.02 | 898.8 | 52.023 | 0
2020-11-07 12:30:00 | 1.604 | 202.35 | 1.679 | 293.713 | 1.845 | 197.9 | 1.92 | 295.215 | 16.58 | 898 | 50.849 | 0
2020-11-07 12:45:00 | 0.883 | 200.77 | 0.864 | 263.433 | 1.183 | 196.353 | 1.059 | 264.78 | 17.35 | 898 | 47.972 | 0
2020-11-07 13:00:00 | 0.621 | 99.95 | 0.659 | 210.299 | 0.776 | 97.749 | 0.797 | 211.374 | 18.05 | 898 | 47.713 | 0
2020-11-07 13:15:00 | 1.16 | 126.85 | 1.273 | 115.119 | 1.259 | 124.058 | 1.447 | 115.708 | 18.19 | 898 | 45.69 | 0
2020-11-07 13:30:00 | 1.586 | 170.44 | 1.775 | 136.265 | 1.826 | 166.301 | 2.117 | 136.963 | 18.37 | 898 | 43.913 | 0
2020-11-07 13:45:00 | 1.5093 | 168.4267 | 1.5293 | 137.3307 | 1.794 | 175.33 | 1.748 | 138.0333 | 17.9533 | 898 | 45.8893 | 0
2020-11-07 14:00:00 | 1.9607 | 178.9533 | 2.012 | 139.6773 | 2.2547 | 174.6907 | 2.2607 | 140.3907 | 17.78 | 898 | 50.4247 | 0
2020-11-07 14:15:00 | 1.7747 | 181.5 | 1.8193 | 145.9573 | 2.1293 | 177.506 | 2.112 | 146.702 | 17.9 | 898 | 51.532 | 0
2020-11-07 14:30:00 | 1.518 | 185.66 | 1.716 | 180.362 | 1.906 | 182.34 | 2.15 | 181.286 | 17.9 | 897.6 | 50.24 | 0
2020-11-07 14:45:00 | 1.928 | 217.32 | 1.974 | 157.556 | 2.106 | 212.54 | 2.144 | 158.36 | 18.14 | 897 | 47.45 | 0
2020-11-07 15:00:00 | 1.577 | 191.81 | 1.728 | 135.258 | 1.982 | 187.59 | 2.155 | 135.948 | 18.17 | 897 | 46.369 | 0.156
2020-11-07 15:15:00 | 1.61 | 163.47 | 1.716 | 176.423 | 1.896 | 159.873 | 2.016 | 177.323 | 18.14 | 897 | 42.766 | 0.066667
2020-11-07 15:30:00 | 1.78 | 190.94 | 1.791 | 160.929 | 2.089 | 186.74 | 2.024 | 161.752 | 18.41 | 897 | 39.865 | 0.171
2020-11-07 15:45:00 | 1.447 | 179.38 | 1.509 | 162.231 | 1.759 | 175.433 | 1.789 | 163.059 | 18.36 | 897 | 39.335 | 0.037
2020-11-07 16:00:00 | 1.765 | 182.06 | 1.892 | 165.849 | 1.98 | 178.055 | 2.159 | 166.697 | 18.44 | 897 | 40.681 | 0.162
2020-11-07 16:15:00 | 1.859 | 187.27 | 1.965 | 154.612 | 2.167 | 183.149 | 2.28 | 155.403 | 18.28 | 897 | 41.065 | 0.33
2020-11-07 16:30:00 | 2.025 | 185.19 | 2.074 | 155.561 | 2.342 | 181.116 | 2.347 | 156.354 | 18.23 | 897 | 42.922 | 1.003
2020-11-07 16:45:00 | 2.032 | 179.47 | 2.111 | 156.303 | 2.245 | 175.521 | 2.341 | 157.104 | 18.2 | 896 | 44.9 | 1.614
2020-11-07 17:00:00 | 1.625 | 190.74 | 1.657 | 180.469 | 1.803 | 184.176 | 1.798 | 181.393 | 18.1 | 896 | 46.724 | 1.792
2020-11-07 17:15:00 | 1.6227 | 172.5667 | 1.6613 | 175.4073 | 1.794 | 168.77 | 1.8213 | 176.3047 | 17.9533 | 896 | 49.2913 | 0.808
2020-11-07 17:30:00 | 1.5253 | 179.1067 | 1.6013 | 178.3213 | 1.8613 | 175.036 | 1.9007 | 179.2347 | 17.8667 | 896 | 50.4373 | 0.77867
2020-11-07 17:45:00 | 1.6733 | 177.0933 | 1.762 | 176.2153 | 2.0293 | 173.198 | 2.0987 | 177.116 | 17.7 | 895.5333 | 51.872 | 1.2127
2020-11-07 18:00:00 | 1.9827 | 177.72 | 2.0413 | 171 | 2.2267 | 173.81 | 2.2673 | 171.8747 | 17.5533 | 895 | 53.2233 | 2.2347
2020-11-07 18:15:00 | 1.818 | 165.26 | 1.85 | 169.43 | 2.004 | 161.624 | 2.018 | 170.298 | 17.52 | 895 | 53.81 | 2.228
2020-11-07 18:30:00 | 1.792 | 152.74 | 1.862 | 156.07 | 1.998 | 149.38 | 2.08 | 156.868 | 17.42 | 895 | 53.42 | 2.324
2020-11-07 18:45:00 | 1.814 | 169.03 | 1.863 | 161.594 | 1.977 | 165.311 | 2.021 | 162.42 | 17.42 | 895 | 52.44 | 1.781
2020-11-07 19:00:00 | 2.134 | 161.3 | 2.183 | 152.813 | 2.306 | 159.316 | 2.371 | 153.595 | 17.37 | 895 | 52.286 | 2.014
2020-11-07 19:15:00 | 2.29 | 166.18 | 2.338 | 144.451 | 2.429 | 162.525 | 2.48 | 145.188 | 17.25 | 895 | 52.469 | 2.406
2020-11-07 19:30:00 | 2.205 | 165.75 | 2.308 | 145.596 | 2.472 | 162.104 | 2.587 | 146.339 | 17.1 | 895 | 51.72 | 1.838
2020-11-07 19:45:00 | 1.966 | 158.5667 | 2.0987 | 153.148 | 2.1653 | 154.6233 | 2.3553 | 153.9313 | 17.1133 | 895.4667 | 51.506 | 1.7367
2020-11-07 20:00:00 | 1.77 | 154.92 | 1.8693 | 162.334 | 1.8593 | 151.5113 | 2.0273 | 163.164 | 17.1133 | 896 | 52.586 | 1.7553
2020-11-07 20:15:00 | 1.884 | 164.68 | 2.018 | 171.012 | 2.082 | 161.056 | 2.28 | 171.888 | 17.02 | 896 | 53.338 | 1.61
2020-11-07 20:30:00 | 1.512 | 165.33 | 1.651 | 171.364 | 1.74 | 161.692 | 1.935 | 172.24 | 16.81 | 896 | 54.584 | 1.341
2020-11-07 20:45:00 | 1.37 | 162.17 | 1.479 | 168.607 | 1.706 | 158.602 | 1.813 | 169.469 | 16.7 | 896 | 55.414 | 0.521
2020-11-07 21:00:00 | 1.826 | 148.83 | 1.944 | 176.96 | 2.125 | 145.556 | 2.259 | 177.865 | 16.53 | 896 | 54.328 | 0.722
2020-11-07 21:15:00 | 2.193 | 140.86 | 2.343 | 146.709 | 2.544 | 137.76 | 2.729 | 147.459 | 16.4 | 896 | 54.961 | 0.969
2020-11-07 21:30:00 | 2.1987 | 123.9333 | 2.336 | 143.9227 | 2.4567 | 121.2067 | 2.642 | 144.658 | 16.2933 | 896 | 56.1833 | 1.2933
2020-11-07 21:45:00 | 2.034 | 130.7733 | 2.1707 | 138.8687 | 2.282 | 127.896 | 2.4727 | 139.5787 | 16.0267 | 896 | 58.25 | 0.46733
2020-11-07 22:00:00 | 2.1222 | 128.9778 | 2.29 | 128.6167 | 2.3933 | 126.14 | 2.6389 | 129.2767 | 15.8333 | 896.6667 | 60.2644 | 0.186
2020-11-07 22:15:00 | 1.886 | 129.51 | 2.009 | 127.051 | 2.252 | 126.662 | 2.382 | 127.701 | 15.67 | 897 | 61.582 | 0
2020-11-07 22:30:00 | 1.705 | 128.44 | 1.852 | 127.668 | 1.962 | 125.614 | 2.169 | 128.32 | 15.68 | 897 | 61.531 | 0
2020-11-07 22:45:00 | 1.458 | 122.11 | 1.61 | 121.194 | 1.735 | 119.423 | 1.946 | 121.814 | 15.48 | 897 | 62.375 | 0
2020-11-07 23:00:00 | 1.523 | 132.44 | 1.635 | 122.64 | 1.746 | 129.526 | 1.892 | 123.269 | 15.4 | 897 | 63.888 | 0
2020-11-07 23:15:00 | 1.413 | 146.2 | 1.535 | 132.372 | 1.633 | 142.985 | 1.8 | 133.049 | 15.37 | 897 | 64.35 | 0
2020-11-07 23:30:00 | 1.4587 | 138.44 | 1.5493 | 135.8387 | 1.636 | 135.3947 | 1.758 | 136.532 | 15.2667 | 897 | 65.334 | 0
2020-11-07 23:45:00 | 1.464 | 136.56 | 1.566 | 125.594 | 1.73 | 133.554 | 1.848 | 126.236 | 15.18 | 897 | 65.79 | 0