## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-08 00:00:00 | 0.903 | 93.19 | 0.944 | 86.807 | 1.178 | 95.129 | 1.178 | 87.251 | 15.11 | 897 | 66.284 | 0
2020-11-08 00:15:00 | 0.852 | 69.32 | 0.956 | 58.428 | 1.01 | 67.794 | 1.156 | 58.724 | 15.22 | 897 | 67.02 | 0
2020-11-08 00:30:00 | 0.477 | 76.35 | 0.527 | 69.986 | 0.596 | 74.67 | 0.66 | 70.345 | 15.35 | 897 | 71.03 | 0
2020-11-08 00:45:00 | 0.538 | 53.4 | 0.58 | 23.258 | 0.526 | 52.226 | 0.61 | 23.376 | 15.4 | 897 | 72.011 | 0
2020-11-08 01:00:00 | 1.313 | 26.28 | 1.324 | 208.851 | 1.721 | 25.898 | 1.629 | 209.919 | 15.04 | 897 | 72.737 | 0
2020-11-08 01:15:00 | 2.0407 | 121.88 | 2.0213 | 330.876 | 2.6007 | 119.1987 | 2.406 | 332.5673 | 14.7467 | 897 | 73.266 | 0
2020-11-08 01:30:00 | 2.426 | 285.46 | 2.522 | 312.198 | 2.904 | 279.18 | 2.952 | 313.794 | 14.68 | 897 | 73.702 | 0.608
2020-11-08 01:45:00 | 2.355 | 177.15 | 2.36 | 336.176 | 2.888 | 173.253 | 2.746 | 337.895 | 14.53 | 897 | 74.671 | 1.505
2020-11-08 02:00:00 | 2.7093 | 245.7714 | 2.7543 | 336.9993 | 3.1329 | 240.3643 | 3.0964 | 338.7207 | 14.55 | 897 | 74.61 | 1.5767
2020-11-08 02:15:00 | 3.328 | 140.68 | 3.492 | 323.19 | 3.844 | 137.582 | 4.004 | 324.84 | 14.32 | 897 | 74.678 | 3.528
2020-11-08 02:30:00 | 3.2711 | 45.4 | 3.4044 | 331.5967 | 3.9811 | 45.5967 | 4.0289 | 333.2911 | 14.2333 | 897 | 75.4967 | 4.806
2020-11-08 02:45:00 | 3.47 | 113.36 | 3.59 | 325.723 | 4.221 | 110.866 | 4.237 | 327.387 | 13.78 | 896 | 75.838 | 6.218
2020-11-08 03:00:00 | 3.529 | 106.11 | 3.629 | 325.028 | 4.272 | 137.928 | 4.253 | 326.69 | 13.5 | 896 | 76.435 | 7.21
2020-11-08 03:15:00 | 3.274 | 334.6 | 3.34 | 317.498 | 4.036 | 327.24 | 3.938 | 319.12 | 13.2 | 896 | 77.3 | 5.718
2020-11-08 03:30:00 | 3.37 | 294.7867 | 3.4267 | 320.118 | 4.1273 | 288.302 | 4.018 | 321.7553 | 13.4533 | 896 | 76.786 | 6.4253
2020-11-08 03:45:00 | 3.312 | 326.2 | 3.29 | 329.586 | 4.114 | 319.022 | 3.84 | 331.268 | 13.4 | 896 | 75.562 | 7.38
2020-11-08 04:00:00 | 4.009 | 336.72 | 4.106 | 331.894 | 5.041 | 329.311 | 4.926 | 333.591 | 13.28 | 896 | 77.911 | 10.49
2020-11-08 04:15:00 | 4.029 | 276.99 | 4.205 | 327.444 | 5.049 | 269.82 | 5.094 | 329.119 | 13.43 | 896 | 78.984 | 10.785
2020-11-08 04:30:00 | 4.1593 | 305.0333 | 4.3213 | 327.252 | 5.144 | 298.3227 | 5.1667 | 328.926 | 13.4667 | 896 | 79.7147 | 11.4273
2020-11-08 04:45:00 | 4.1447 | 282.46 | 4.2833 | 324.5713 | 5.1587 | 276.246 | 5.1307 | 326.2313 | 12.9933 | 896 | 81.3 | 12.1573
2020-11-08 05:00:00 | 4.27 | 74.58 | 4.454 | 335.748 | 5.284 | 72.938 | 5.338 | 337.464 | 12.76 | 895.6 | 81.44 | 13.5
2020-11-08 05:15:00 | 4.671 | 212.95 | 4.883 | 325.85 | 5.846 | 208.264 | 5.902 | 327.515 | 12.49 | 895 | 81.84 | 18.815
2020-11-08 05:30:00 | 4.807 | 316.13 | 5.019 | 328.374 | 5.968 | 309.174 | 6.035 | 330.052 | 12.34 | 895 | 84.54 | 18.154
2020-11-08 05:45:00 | 4.585 | 212.6 | 4.824 | 321.703 | 5.787 | 207.923 | 5.893 | 323.348 | 12.37 | 895 | 84.07 | 17.034
2020-11-08 06:00:00 | 4.518 | 349 | 4.778 | 326.126 | 5.724 | 341.322 | 5.866 | 327.79 | 12.44 | 895 | 83.32 | 16.32
2020-11-08 06:15:00 | 4.616 | 282.08 | 4.867 | 321.35 | 5.808 | 275.874 | 5.941 | 322.995 | 12.24 | 895 | 85.87 | 16.442
2020-11-08 06:30:00 | 4.542 | 279.03 | 4.812 | 320.922 | 5.681 | 272.891 | 5.865 | 322.562 | 12.46 | 895 | 87.91 | 16.273
2020-11-08 06:45:00 | 4.639 | 109.02 | 4.848 | 321.371 | 5.694 | 106.623 | 5.783 | 323.014 | 12.41 | 895 | 85.61 | 15.316
2020-11-08 07:00:00 | 4.6447 | 301.4467 | 4.8607 | 320.8427 | 5.8127 | 295.3353 | 5.884 | 322.482 | 12.5 | 895.8 | 85.1467 | 15.294
2020-11-08 07:15:00 | 4.994 | 344.18 | 5.332 | 320.648 | 6.042 | 336.608 | 6.38 | 322.288 | 12.84 | 896 | 86.08 | 16.774
2020-11-08 07:30:00 | 3.865 | 212.56 | 4.016 | 318.143 | 5.175 | 207.787 | 5.082 | 319.77 | 12.73 | 896 | 88.9 | 12.026
2020-11-08 07:45:00 | 3.992 | 310.92 | 4.222 | 313.215 | 5.065 | 304.227 | 5.19 | 314.815 | 12.76 | 896 | 89.31 | 10.026
2020-11-08 08:00:00 | 3.828 | 346.78 | 4.01 | 319.816 | 4.687 | 339.149 | 4.783 | 321.45 | 12.87 | 896 | 88.13 | 9.101
2020-11-08 08:15:00 | 4.39 | 343.6867 | 4.6253 | 324.52 | 4.856 | 336.1247 | 5.172 | 326.1787 | 12.6067 | 897 | 83.7133 | 12.068
2020-11-08 08:30:00 | 4.674 | 344.86 | 4.948 | 326.982 | 5.226 | 337.274 | 5.586 | 328.656 | 12.6 | 897 | 82.06 | 14.06
2020-11-08 08:45:00 | 4.9589 | 351.1333 | 5.2789 | 323.4022 | 5.7089 | 343.4078 | 6.1 | 325.0578 | 12.4556 | 897 | 80.5444 | 17.023
2020-11-08 09:00:00 | 4.931 | 314.76 | 5.243 | 327.962 | 5.69 | 307.836 | 6.065 | 329.637 | 12.34 | 897.7 | 82.39 | 18.037
2020-11-08 09:15:00 | 4.834 | 352.29 | 5.127 | 326.035 | 5.676 | 344.541 | 5.991 | 327.701 | 11.88 | 898 | 81.286 | 18.903
2020-11-08 09:30:00 | 5.152 | 316.43 | 5.471 | 330.465 | 6.038 | 309.468 | 6.384 | 332.155 | 12.43 | 898 | 79.08 | 20.541
2020-11-08 09:45:00 | 5.13 | 351.38 | 5.501 | 325.752 | 6.028 | 343.651 | 6.47 | 327.419 | 12.25 | 898 | 78.418 | 21.547
2020-11-08 10:00:00 | 5.152 | 344.78 | 5.484 | 326.662 | 6.172 | 337.538 | 6.511 | 328.333 | 12.16 | 898.7 | 77.843 | 21.267
2020-11-08 10:15:00 | 5.31 | 337.65 | 5.675 | 322.007 | 6.285 | 329.33 | 6.689 | 323.654 | 12.62 | 899 | 75.615 | 21.238
2020-11-08 10:30:00 | 5.513 | 343.16 | 5.935 | 323.845 | 6.505 | 335.611 | 7.017 | 325.502 | 13.26 | 899 | 74.57 | 21.986
2020-11-08 10:45:00 | 4.9393 | 341.9933 | 5.2967 | 321.266 | 5.9453 | 334.4693 | 6.332 | 322.91 | 13.22 | 899 | 72.31 | 17.6133
2020-11-08 11:00:00 | 4.6107 | 335.8667 | 4.8807 | 322.414 | 5.6627 | 328.4787 | 5.87 | 324.064 | 13.3133 | 899 | 71.1427 | 14.676
2020-11-08 11:15:00 | 4.2653 | 330.3133 | 4.5153 | 319.8787 | 5.1793 | 323.0453 | 5.3867 | 321.514 | 13.5733 | 899 | 69.5193 | 10.9593
2020-11-08 11:30:00 | 3.78 | 324.84 | 4.002 | 317.166 | 4.49 | 321.526 | 4.698 | 318.786 | 13.74 | 899 | 67.324 | 7.256
2020-11-08 11:45:00 | 3.56 | 338 | 3.766 | 319.728 | 4.148 | 330.564 | 4.362 | 321.364 | 14.08 | 899 | 65.414 | 5.298
2020-11-08 12:00:00 | 2.4611 | 327.1778 | 2.5367 | 314.5022 | 2.9589 | 319.98 | 2.9678 | 316.1111 | 14.3333 | 899 | 63.6 | 1.106
2020-11-08 12:15:00 | 2.075 | 162.12 | 2.12 | 313.469 | 2.451 | 158.552 | 2.426 | 315.072 | 14.56 | 899 | 64.637 | 0
2020-11-08 12:30:00 | 1.783 | 272.99 | 1.827 | 321.116 | 2.213 | 266.983 | 2.17 | 322.758 | 15.05 | 899 | 67.57 | 0
2020-11-08 12:45:00 | 1.752 | 332.91 | 1.738 | 320.598 | 2.347 | 325.586 | 2.145 | 322.237 | 15.17 | 899 | 64.773 | 0
2020-11-08 13:00:00 | 1.689 | 200.44 | 1.684 | 317.066 | 2.223 | 196.03 | 2.064 | 318.689 | 15.21 | 899 | 64.057 | 0
2020-11-08 13:15:00 | 1.561 | 328.62 | 1.563 | 336.421 | 1.781 | 321.391 | 1.72 | 338.142 | 15.04 | 898 | 63.222 | 0
2020-11-08 13:30:00 | 1.486 | 306.76 | 1.447 | 302.359 | 1.787 | 300.011 | 1.631 | 303.904 | 15.08 | 898 | 61.693 | 0
2020-11-08 13:45:00 | 1.182 | 232.06 | 1.199 | 210.308 | 1.556 | 226.809 | 1.475 | 211.383 | 15.13 | 898 | 61.035 | 0
2020-11-08 14:00:00 | 1.052 | 317.86 | 1.0907 | 264.66 | 1.3073 | 310.8667 | 1.304 | 266.0133 | 15.0267 | 897.8667 | 61.9853 | 0
2020-11-08 14:15:00 | 1.356 | 320.1267 | 1.446 | 309.9287 | 1.5753 | 313.084 | 1.68 | 311.5133 | 15.12 | 897 | 61.7987 | 0
2020-11-08 14:30:00 | 1.326 | 209.18 | 1.39 | 197.204 | 1.64 | 204.578 | 1.672 | 198.212 | 15.5 | 897 | 60.896 | 0
2020-11-08 14:45:00 | 1.164 | 147.85 | 1.205 | 314.397 | 1.367 | 144.596 | 1.386 | 316.005 | 15.7 | 897 | 57.418 | 0
2020-11-08 15:00:00 | 0.573 | 60.15 | 0.541 | 76.499 | 0.607 | 58.827 | 0.539 | 76.89 | 16.11 | 897 | 56.65 | 0
2020-11-08 15:15:00 | 0.498 | 245.31 | 0.494 | 118.475 | 0.665 | 239.912 | 0.61 | 119.081 | 17.01 | 897 | 53.66 | 0
2020-11-08 15:30:00 | 0.47 | 82.54 | 0.478 | 99.286 | 0.396 | 80.724 | 0.432 | 99.794 | 17.54 | 897 | 49.798 | 0
2020-11-08 15:45:00 | 0.984 | 164.32 | 1.092 | 152.058 | 1.07 | 160.704 | 1.248 | 152.838 | 17.78 | 897 | 45.872 | 0
2020-11-08 16:00:00 | 0.692 | 173.75 | 0.726 | 93.087 | 1.024 | 169.927 | 0.992 | 93.563 | 17.67 | 897 | 53.597 | 0
2020-11-08 16:15:00 | 0.883 | 179.18 | 0.983 | 133.81 | 1.135 | 175.874 | 1.252 | 134.494 | 17.65 | 897 | 56.635 | 0
2020-11-08 16:30:00 | 0.448 | 193.19 | 0.529 | 165.761 | 0.614 | 188.94 | 0.72 | 166.61 | 18.05 | 897 | 59.143 | 0
2020-11-08 16:45:00 | 0.482 | 187.02 | 0.569 | 171.237 | 0.685 | 182.906 | 0.792 | 172.113 | 18.28 | 897.8 | 61.686 | 0
2020-11-08 17:00:00 | 0.366 | 217 | 0.454 | 215.248 | 0.47 | 212.353 | 0.597 | 216.348 | 18.5 | 897.7 | 61.099 | 0
2020-11-08 17:15:00 | 0.345 | 225.18 | 0.39 | 256.949 | 0.45 | 220.228 | 0.502 | 258.264 | 18.13 | 897 | 64.797 | 0
2020-11-08 17:30:00 | 0.627 | 251.92 | 0.674 | 242.964 | 0.676 | 246.378 | 0.752 | 244.205 | 17.66 | 897 | 66.242 | 0
2020-11-08 17:45:00 | 1.153 | 246.77 | 1.204 | 224.432 | 1.19 | 241.341 | 1.273 | 225.578 | 16.49 | 896.8 | 66.422 | 0
2020-11-08 18:00:00 | 1.2273 | 245.3333 | 1.2193 | 195.8853 | 1.2447 | 239.9373 | 1.2267 | 196.8887 | 16.2333 | 896.6667 | 69.972 | 0
2020-11-08 18:15:00 | 0.884 | 220.8667 | 0.906 | 191.7073 | 0.88733 | 216.0073 | 0.93 | 192.6887 | 16.3933 | 896 | 72.5173 | 0
2020-11-08 18:30:00 | 0.66133 | 201.44 | 0.694 | 190.9853 | 0.66933 | 197.01 | 0.72933 | 191.9587 | 16.46 | 896 | 72.9127 | 0
2020-11-08 18:45:00 | 0.662 | 197.78 | 0.706 | 185.39 | 0.754 | 193.428 | 0.812 | 186.336 | 16.42 | 896 | 71.722 | 0
2020-11-08 19:00:00 | 0.413 | 192.31 | 0.436 | 175.267 | 0.555 | 188.08 | 0.552 | 176.163 | 16.46 | 896 | 68.902 | 0
2020-11-08 19:15:00 | 0.264 | 214.71 | 0.282 | 269.702 | 0.502 | 209.986 | 0.471 | 271.082 | 16.56 | 896 | 69.234 | 0
2020-11-08 19:30:00 | 0.438 | 131.29 | 0.428 | 139.032 | 0.605 | 128.401 | 0.536 | 139.744 | 16.37 | 896.7 | 70.453 | 0
2020-11-08 19:45:00 | 1.184 | 21.1 | 1.164 | 336.265 | 1.675 | 20.635 | 1.493 | 337.984 | 15.6 | 897 | 73.218 | 0
2020-11-08 20:00:00 | 1.335 | 188.66 | 1.269 | 332.21 | 1.645 | 184.509 | 1.432 | 333.905 | 15.47 | 897 | 73.96 | 0
2020-11-08 20:15:00 | 2.734 | 304.84 | 2.722 | 323.904 | 3.393 | 298.134 | 3.182 | 325.559 | 15.07 | 897 | 74.366 | 1.291
2020-11-08 20:30:00 | 2.992 | 340.21 | 3.118 | 328.911 | 3.716 | 332.725 | 3.747 | 330.592 | 15.07 | 897 | 74.89 | 3.249
2020-11-08 20:45:00 | 2.86 | 168.3067 | 3.0407 | 333.7327 | 3.414 | 164.6047 | 3.5987 | 335.4393 | 15.06 | 897 | 73.6807 | 2.3667
2020-11-08 21:00:00 | 2.9827 | 211.62 | 3.126 | 333.5053 | 3.572 | 206.9627 | 3.6747 | 335.21 | 15.0333 | 897 | 73.7933 | 3.4133
2020-11-08 21:15:00 | 3.33 | 3.76 | 3.578 | 322.954 | 3.994 | 3.678 | 4.276 | 324.608 | 14.74 | 897 | 74.916 | 4.716
2020-11-08 21:30:00 | 1.617 | 119.83 | 1.689 | 83.444 | 1.984 | 117.194 | 2.014 | 83.87 | 16 | 897 | 73.428 | 0
2020-11-08 21:45:00 | 1.047 | 24.38 | 1.083 | 83.063 | 1.06 | 23.846 | 1.128 | 83.487 | 15.57 | 897 | 70.772 | 0
2020-11-08 22:00:00 | 1.493 | 89.63 | 1.523 | 235.307 | 2.215 | 87.659 | 2.063 | 236.509 | 15.6 | 897 | 73.1 | 0
2020-11-08 22:15:00 | 2.9 | 324.85 | 2.94 | 306.036 | 3.776 | 317.704 | 3.602 | 307.6 | 15.09 | 897 | 74.951 | 1.152
2020-11-08 22:30:00 | 3.263 | 330.64 | 3.481 | 307.199 | 4.013 | 323.365 | 4.209 | 308.771 | 14.59 | 897 | 79.416 | 4.702
2020-11-08 22:45:00 | 3.292 | 345.81 | 3.511 | 316.011 | 3.918 | 338.203 | 4.152 | 317.628 | 14.81 | 897 | 82.81 | 4.586
2020-11-08 23:00:00 | 3.436 | 333.91 | 3.688 | 317.088 | 4.16 | 327.433 | 4.434 | 318.709 | 14.97 | 897 | 83.47 | 4.979
2020-11-08 23:15:00 | 3.499 | 350.12 | 3.727 | 323.913 | 4.172 | 341.782 | 4.418 | 325.568 | 14.93 | 897 | 82.84 | 4.994
2020-11-08 23:30:00 | 3.5107 | 320.4533 | 3.7327 | 326.5673 | 4.2927 | 313.4033 | 4.4873 | 328.2367 | 14.8533 | 897 | 82.5533 | 5.6147
2020-11-08 23:45:00 | 3.454 | 346.44 | 3.7133 | 325.8053 | 4.214 | 338.8187 | 4.4807 | 327.4707 | 14.88 | 897 | 81.8333 | 4.9847