## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-09 00:00:00 | 3.332 | 277.78 | 3.554 | 327.63 | 4.108 | 271.668 | 4.302 | 329.306 | 14.9 | 897 | 81.44 | 4.364
2020-11-09 00:15:00 | 3.018 | 315.51 | 3.141 | 326.28 | 3.626 | 308.571 | 3.689 | 327.949 | 15.01 | 897 | 80.666 | 2.725
2020-11-09 00:30:00 | 2.764 | 139.69 | 2.767 | 324.07 | 3.321 | 139.072 | 3.166 | 325.728 | 14.88 | 897 | 80.8 | 2.477
2020-11-09 00:45:00 | 2.824 | 274.68 | 2.844 | 322.446 | 3.264 | 268.636 | 3.174 | 324.096 | 14.6 | 896 | 81.26 | 2.566
2020-11-09 01:00:00 | 2.8178 | 198.7667 | 2.8656 | 326.7722 | 3.2722 | 232.35 | 3.2322 | 328.4433 | 14.5222 | 896 | 84.1889 | 2.244
2020-11-09 01:15:00 | 2.744 | 152.38 | 2.761 | 331.072 | 3.297 | 149.027 | 3.168 | 332.763 | 14.48 | 896 | 85.34 | 2.337
2020-11-09 01:30:00 | 2.9713 | 341.66 | 3.0573 | 324.2267 | 3.6807 | 333.0927 | 3.6467 | 325.884 | 14.5267 | 896 | 85.6667 | 3.1813
2020-11-09 01:45:00 | 3.045 | 334.61 | 3.103 | 322.945 | 3.902 | 327.25 | 3.761 | 324.596 | 14.2 | 896 | 86.04 | 3.941
2020-11-09 02:00:00 | 2.71 | 299.8 | 2.653 | 319.591 | 3.564 | 293.205 | 3.208 | 321.224 | 14.26 | 895.3 | 86.98 | 3.281
2020-11-09 02:15:00 | 2.6413 | 286.9667 | 2.5647 | 318.8087 | 3.4473 | 280.6533 | 3.0687 | 320.4373 | 14.26 | 895 | 88.8467 | 2.852
2020-11-09 02:30:00 | 2.628 | 341.38 | 2.642 | 315.676 | 3.336 | 333.872 | 3.154 | 317.296 | 14.24 | 895 | 90.22 | 2.168
2020-11-09 02:45:00 | 2.318 | 144.16 | 2.256 | 314.251 | 3.007 | 140.988 | 2.693 | 315.857 | 13.82 | 895 | 89.76 | 1.869
2020-11-09 03:00:00 | 2.276 | 300.72 | 2.188 | 306.818 | 3.092 | 294.108 | 2.69 | 308.386 | 13.64 | 895 | 91.24 | 1.774
2020-11-09 03:15:00 | 1.777 | 151.19 | 1.675 | 308.413 | 2.476 | 181.634 | 2.082 | 309.989 | 13.06 | 895 | 92.6 | 0.622
2020-11-09 03:30:00 | 1.614 | 200.28 | 1.574 | 295.826 | 2.204 | 195.872 | 1.958 | 297.336 | 13.06 | 895 | 92.46 | 0
2020-11-09 03:45:00 | 2.06 | 270.36 | 2.062 | 306.828 | 2.635 | 264.412 | 2.474 | 308.398 | 12.98 | 895 | 91.67 | 0.636
2020-11-09 04:00:00 | 2.402 | 326.29 | 2.417 | 312.657 | 3.219 | 284.704 | 3.018 | 314.255 | 12.92 | 895 | 92.36 | 2.162
2020-11-09 04:15:00 | 2.369 | 327.33 | 2.423 | 315.327 | 3.133 | 320.127 | 3.021 | 316.939 | 12.79 | 894 | 91.94 | 1.515
2020-11-09 04:30:00 | 2.0913 | 259.2533 | 2.0927 | 317.7053 | 2.8393 | 253.5487 | 2.6253 | 319.3293 | 13.0467 | 894 | 91.2733 | 0.862
2020-11-09 04:45:00 | 1.778 | 202.64 | 1.712 | 308.972 | 2.522 | 198.182 | 2.18 | 310.552 | 12.8 | 894 | 91.12 | 0.51
2020-11-09 05:00:00 | 1.879 | 279.7 | 1.78 | 310.779 | 2.594 | 273.546 | 2.203 | 312.369 | 12.45 | 894 | 92.49 | 0.866
2020-11-09 05:15:00 | 2.191 | 303.43 | 2.144 | 313.968 | 2.941 | 296.754 | 2.64 | 315.573 | 12.06 | 894 | 93.76 | 1.462
2020-11-09 05:30:00 | 2.029 | 177.24 | 1.971 | 313.038 | 2.875 | 173.341 | 2.519 | 314.639 | 11.99 | 894 | 93.4 | 1.424
2020-11-09 05:45:00 | 2.25 | 334.97 | 2.274 | 310.739 | 2.961 | 327.601 | 2.802 | 312.329 | 11.76 | 894 | 93.93 | 1.149
2020-11-09 06:00:00 | 2.6987 | 299.56 | 2.7967 | 311.9687 | 3.474 | 292.8527 | 3.438 | 313.5633 | 11.6667 | 894 | 94.32 | 2.4973
2020-11-09 06:15:00 | 2.824 | 337.66 | 2.986 | 318.122 | 3.494 | 330.232 | 3.606 | 319.75 | 11.66 | 894 | 94.68 | 2.984
2020-11-09 06:30:00 | 2.796 | 292.45 | 2.847 | 324.09 | 3.625 | 286.015 | 3.483 | 325.748 | 11.61 | 894 | 93.94 | 3.306
2020-11-09 06:45:00 | 3.207 | 240.27 | 3.367 | 324.178 | 3.981 | 233.525 | 4.039 | 325.835 | 11.48 | 894 | 93.88 | 4.225
2020-11-09 07:00:00 | 3.165 | 342.63 | 3.28 | 318.926 | 3.892 | 335.093 | 3.897 | 320.556 | 11.13 | 894 | 93.73 | 4.227
2020-11-09 07:15:00 | 2.82 | 263.2643 | 2.8893 | 328.9771 | 3.5521 | 258.36 | 3.4814 | 330.6593 | 11.5571 | 894 | 93.85 | 3.0879
2020-11-09 07:30:00 | 2.62 | 325.32 | 2.558 | 328.53 | 3.454 | 318.162 | 3.104 | 330.208 | 11.28 | 894 | 93.7 | 3.318
2020-11-09 07:45:00 | 2.266 | 183.8 | 2.326 | 331.112 | 2.923 | 179.757 | 2.846 | 332.805 | 11.8 | 894 | 93.21 | 1.093
2020-11-09 08:00:00 | 2.832 | 248.58 | 2.915 | 320.93 | 3.474 | 243.895 | 3.453 | 323.368 | 11.38 | 894 | 92.26 | 2.911
2020-11-09 08:15:00 | 2.93 | 213.41 | 2.991 | 326.761 | 3.678 | 208.715 | 3.576 | 328.429 | 11.46 | 894.2 | 91.18 | 3.377
2020-11-09 08:30:00 | 2.605 | 212.79 | 2.599 | 325.381 | 3.262 | 208.108 | 3.066 | 327.044 | 11.74 | 895 | 90.32 | 2.761
2020-11-09 08:45:00 | 2.5507 | 251.1 | 2.5547 | 328.9487 | 3.1267 | 245.5767 | 2.97 | 330.628 | 11.6467 | 895 | 91.34 | 2.6573
2020-11-09 09:00:00 | 2.412 | 148.7533 | 2.448 | 318.404 | 2.7707 | 145.4807 | 2.7367 | 320.032 | 11.6867 | 895.8 | 88.9867 | 1.4747
2020-11-09 09:15:00 | 1.924 | 104.8533 | 1.95 | 326.0053 | 2.276 | 103.0213 | 2.2267 | 327.6733 | 12.1533 | 896 | 87.8933 | 0.36267
2020-11-09 09:30:00 | 1.848 | 271.8667 | 1.8467 | 324.728 | 2.2953 | 265.8867 | 2.166 | 326.3887 | 12.1467 | 896 | 86.7267 | 0.43133
2020-11-09 09:45:00 | 2.042 | 273.46 | 2.074 | 325.302 | 2.616 | 267.442 | 2.51 | 326.966 | 11.8 | 896 | 85.44 | 0.722
2020-11-09 10:00:00 | 1.533 | 154.12 | 1.489 | 336.803 | 1.942 | 150.728 | 1.743 | 338.525 | 13.3 | 897 | 84.83 | 0
2020-11-09 10:15:00 | 1.144 | 238.07 | 1.117 | 271.807 | 1.499 | 235.237 | 1.342 | 273.195 | 13.92 | 897 | 83.13 | 0
2020-11-09 10:30:00 | 1.47 | 240.75 | 1.438 | 327.033 | 1.859 | 233.047 | 1.642 | 328.706 | 13.65 | 897 | 81.02 | 0
2020-11-09 10:45:00 | 0.689 | 222.5 | 0.747 | 32.058 | 0.982 | 217.605 | 1.007 | 32.223 | 14.91 | 897 | 79.643 | 0
2020-11-09 11:00:00 | 0.429 | 105.15 | 0.428 | 154.672 | 0.566 | 102.154 | 0.527 | 155.463 | 15.52 | 897 | 74.82 | 0
2020-11-09 11:15:00 | 0.886 | 157.72 | 0.84 | 142.689 | 0.852 | 154.249 | 0.777 | 143.419 | 15.5 | 896 | 70.59 | 0
2020-11-09 11:30:00 | 1.366 | 162.43 | 1.384 | 126.191 | 1.353 | 158.856 | 1.39 | 126.837 | 15.54 | 896 | 69.616 | 0
2020-11-09 11:45:00 | 1.321 | 159.78 | 1.36 | 138.132 | 1.612 | 156.265 | 1.606 | 138.838 | 15.52 | 896 | 70.06 | 0
2020-11-09 12:00:00 | 1.559 | 156.53 | 1.559 | 144.616 | 1.884 | 153.086 | 1.796 | 145.355 | 15.47 | 896 | 67.2 | 0
2020-11-09 12:15:00 | 1.748 | 143.49 | 1.749 | 140.295 | 2.094 | 140.334 | 2 | 141.011 | 15.54 | 896 | 69.713 | 0.141
2020-11-09 12:30:00 | 1.937 | 144.57 | 2.01 | 130.982 | 2.238 | 141.391 | 2.291 | 131.653 | 15.59 | 896 | 68.816 | 0.913
2020-11-09 12:45:00 | 2.026 | 149.76 | 2.12 | 147.796 | 2.421 | 146.465 | 2.49 | 148.549 | 15.86 | 896 | 67.326 | 1.474
2020-11-09 13:00:00 | 2.543 | 161.42 | 2.582 | 133.516 | 2.822 | 157.869 | 2.817 | 134.197 | 15.74 | 896 | 63.658 | 3.139
2020-11-09 13:15:00 | 2.836 | 169.48 | 2.939 | 143.758 | 3.307 | 165.751 | 3.37 | 144.491 | 15.83 | 895 | 63.646 | 4.237
2020-11-09 13:30:00 | 2.4727 | 167.1467 | 2.5313 | 135.8313 | 2.8367 | 163.468 | 2.8433 | 136.5253 | 16.0333 | 895 | 65.814 | 4.1427
2020-11-09 13:45:00 | 2.322 | 184.2467 | 2.392 | 143.132 | 2.7567 | 180.1933 | 2.764 | 143.8653 | 16.3667 | 895 | 66.9387 | 3.9713
2020-11-09 14:00:00 | 2.4013 | 195.1867 | 2.4893 | 145.5793 | 2.6633 | 190.678 | 2.758 | 146.322 | 16.62 | 895 | 67.1427 | 4.4093
2020-11-09 14:15:00 | 2.208 | 185.7333 | 2.3007 | 161.2767 | 2.4493 | 181.6473 | 2.5573 | 162.1033 | 16.8933 | 895 | 67.0147 | 4.044
2020-11-09 14:30:00 | 2.2167 | 194.3467 | 2.3073 | 150.2387 | 2.2713 | 190.0707 | 2.4307 | 151.0073 | 16.9467 | 895 | 67.1013 | 4.0847
2020-11-09 14:45:00 | 2.168 | 178.62 | 2.226 | 141.81 | 2.416 | 174.69 | 2.454 | 142.536 | 17.04 | 895 | 66.65 | 4.356
2020-11-09 15:00:00 | 2.48 | 186.36 | 2.566 | 159.766 | 2.761 | 182.259 | 2.838 | 160.582 | 17.09 | 894.3 | 66.973 | 5.049
2020-11-09 15:15:00 | 2.5807 | 185.1867 | 2.67 | 150.358 | 2.834 | 181.112 | 2.9293 | 151.128 | 16.6867 | 894 | 68.0847 | 5.358
2020-11-09 15:30:00 | 2.0387 | 179.26 | 2.102 | 150.7093 | 2.2493 | 175.3147 | 2.3093 | 151.4807 | 16.44 | 894 | 71.838 | 4.0693
2020-11-09 15:45:00 | 1.7547 | 161.4067 | 1.8053 | 147.324 | 1.8613 | 157.5747 | 1.9293 | 148.0787 | 16.5133 | 894 | 73.46 | 2.36
2020-11-09 16:00:00 | 1.4622 | 170.2778 | 1.4867 | 176.56 | 1.7711 | 166.5322 | 1.7267 | 177.4622 | 16.5444 | 893.3333 | 73.1444 | 2.106
2020-11-09 16:15:00 | 1.565 | 174.17 | 1.599 | 155.785 | 1.78 | 170.337 | 1.784 | 156.583 | 16.57 | 893 | 73.564 | 2.409
2020-11-09 16:30:00 | 2.094 | 191.54 | 2.201 | 170.954 | 2.412 | 187.327 | 2.524 | 171.828 | 16.65 | 893 | 74.161 | 2.903
2020-11-09 16:45:00 | 2.52 | 171.19 | 2.687 | 165.683 | 2.925 | 167.423 | 3.126 | 166.53 | 16.6 | 893 | 73.606 | 4.053
2020-11-09 17:00:00 | 2.334 | 158.34 | 2.41 | 158.366 | 2.433 | 154.856 | 2.55 | 159.177 | 16.49 | 893 | 73.22 | 5.576
2020-11-09 17:15:00 | 2.757 | 178.33 | 2.876 | 169.643 | 3.153 | 174.406 | 3.26 | 170.511 | 16.37 | 893 | 73.484 | 7.14
2020-11-09 17:30:00 | 3.046 | 184 | 3.195 | 173.683 | 3.399 | 179.953 | 3.579 | 174.571 | 16.21 | 893 | 73.947 | 9.691
2020-11-09 17:45:00 | 3.092 | 188.24 | 3.288 | 181.351 | 3.512 | 184.099 | 3.762 | 182.277 | 16.19 | 893 | 74.778 | 11.347
2020-11-09 18:00:00 | 3.16 | 193.5 | 3.384 | 177.947 | 3.564 | 189.244 | 3.873 | 178.857 | 16.18 | 893 | 75.132 | 12.138
2020-11-09 18:15:00 | 3.26 | 190.93 | 3.473 | 176.518 | 3.697 | 186.241 | 3.971 | 177.42 | 16.11 | 893 | 74.91 | 11.029
2020-11-09 18:30:00 | 3.069 | 187.18 | 3.291 | 176.403 | 3.57 | 183.063 | 3.847 | 177.305 | 16.16 | 893 | 75.291 | 9.99
2020-11-09 18:45:00 | 2.966 | 191.18 | 3.126 | 171.287 | 3.323 | 186.975 | 3.525 | 172.162 | 16.23 | 893 | 75.77 | 8.123
2020-11-09 19:00:00 | 2.877 | 195.45 | 2.985 | 173.205 | 3.161 | 191.151 | 3.283 | 174.089 | 16.19 | 893 | 75.92 | 7.263
2020-11-09 19:15:00 | 2.829 | 190.02 | 3.008 | 173.127 | 3.168 | 186.593 | 3.407 | 174.01 | 16.12 | 893 | 76.323 | 7.853
2020-11-09 19:30:00 | 2.832 | 189.92 | 2.9547 | 177.9507 | 3.174 | 185.742 | 3.3087 | 178.8593 | 16.08 | 893 | 76.6467 | 7.002
2020-11-09 19:45:00 | 2.822 | 188.14 | 2.9433 | 174.54 | 3.0567 | 184 | 3.2207 | 175.4327 | 16 | 893.4667 | 77.092 | 7.138
2020-11-09 20:00:00 | 2.8773 | 183.6467 | 3.0167 | 163.7307 | 3.2447 | 179.6047 | 3.4067 | 164.5673 | 15.9 | 894 | 77.8053 | 6.7187
2020-11-09 20:15:00 | 2.8147 | 174.2533 | 2.924 | 163.346 | 3.0033 | 170.4193 | 3.16 | 164.18 | 15.9333 | 894 | 78.3373 | 7.2673
2020-11-09 20:30:00 | 2.702 | 166.02 | 2.776 | 151.198 | 2.808 | 162.366 | 2.918 | 151.972 | 15.76 | 894 | 78.408 | 7.39
2020-11-09 20:45:00 | 2.688 | 164.84 | 2.736 | 158.182 | 2.836 | 161.214 | 2.884 | 158.99 | 15.76 | 894 | 79.578 | 5.908
2020-11-09 21:00:00 | 2.986 | 155.54 | 3.081 | 146.268 | 3.242 | 152.119 | 3.353 | 147.017 | 15.6 | 894 | 79.604 | 7.73
2020-11-09 21:15:00 | 3.111 | 148.47 | 3.213 | 149.107 | 3.453 | 145.203 | 3.555 | 149.869 | 15.64 | 894 | 79.424 | 7.138
2020-11-09 21:30:00 | 3.462 | 148.73 | 3.592 | 140.901 | 3.837 | 145.457 | 3.977 | 141.621 | 15.63 | 894 | 79.458 | 9.123
2020-11-09 21:45:00 | 3.584 | 148.73 | 3.781 | 135.433 | 3.927 | 145.458 | 4.202 | 136.124 | 15.56 | 894 | 80.19 | 9.408
2020-11-09 22:00:00 | 3.79 | 151.26 | 3.942 | 141.088 | 4.006 | 147.933 | 4.23 | 141.808 | 15.6 | 894 | 79.902 | 10.315
2020-11-09 22:15:00 | 3.336 | 145.04 | 3.393 | 145.995 | 3.632 | 141.848 | 3.654 | 146.743 | 15.49 | 894 | 81.17 | 8.207
2020-11-09 22:30:00 | 3.182 | 141 | 3.298 | 138.943 | 3.586 | 137.898 | 3.697 | 139.656 | 15.34 | 894 | 81.29 | 6.519
2020-11-09 22:45:00 | 3.038 | 140.43 | 3.185 | 132.452 | 3.462 | 137.34 | 3.617 | 133.129 | 15.07 | 894 | 82.47 | 4.962
2020-11-09 23:00:00 | 2.7873 | 148.0333 | 2.9173 | 138.4327 | 3.1427 | 144.5107 | 3.286 | 139.1413 | 15.04 | 894 | 83.5867 | 3.7047
2020-11-09 23:15:00 | 2.558 | 144.92 | 2.67 | 143.068 | 2.816 | 141.732 | 2.9533 | 143.7987 | 15.0333 | 894 | 83.8467 | 3.6527
2020-11-09 23:30:00 | 2.554 | 144.68 | 2.648 | 141.242 | 2.852 | 141.498 | 2.946 | 141.964 | 15.04 | 894 | 83.94 | 4.702
2020-11-09 23:45:00 | 2.586 | 148.38 | 2.67 | 134.2 | 2.902 | 145.118 | 2.974 | 134.888 | 14.98 | 894 | 84.68 | 5.706