## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-10 00:00:00 | 2.8911 | 149.3 | 2.9567 | 138.3656 | 3.2044 | 146.0156 | 3.2422 | 139.0733 | 15 | 894 | 85.3556 | 6.291
2020-11-10 00:15:00 | 2.572 | 137.6 | 2.614 | 138.788 | 2.989 | 134.573 | 2.949 | 139.495 | 14.93 | 894 | 86.3 | 5.767
2020-11-10 00:30:00 | 2.858 | 146.34 | 2.95 | 125.03 | 3.336 | 143.12 | 3.374 | 125.668 | 14.6 | 894 | 86.7769 | 5.914
2020-11-10 00:45:00 | 3.097 | 141.58 | 3.199 | 135.502 | 3.643 | 138.464 | 3.68 | 136.194 | 14.51 | 894 | 87.4 | 5.761
2020-11-10 01:00:00 | 2.979 | 133.03 | 3.105 | 132.02 | 3.468 | 130.103 | 3.566 | 132.695 | 14.39 | 894 | 86.8 | 5.286
2020-11-10 01:15:00 | 2.841 | 145.09 | 2.933 | 133.594 | 3.15 | 142.016 | 3.23 | 134.277 | 14.45 | 893 | 86.62 | 5.519
2020-11-10 01:30:00 | 2.83 | 147.38 | 2.964 | 135.844 | 3.11 | 144.138 | 3.286 | 136.538 | 14.22 | 893 | 86.68 | 5.15
2020-11-10 01:45:00 | 2.964 | 144.51 | 3.079 | 140.783 | 3.222 | 141.331 | 3.367 | 141.503 | 14.37 | 893 | 86.19 | 6.609
2020-11-10 02:00:00 | 3.348 | 137.04 | 3.47 | 142.592 | 3.812 | 134.026 | 3.908 | 143.32 | 14.58 | 893 | 85.44 | 7.976
2020-11-10 02:15:00 | 3.257 | 143.19 | 3.391 | 135.775 | 3.672 | 140.039 | 3.811 | 136.471 | 14.32 | 893 | 85.3 | 7.538
2020-11-10 02:30:00 | 3.208 | 139.12 | 3.36 | 140.676 | 3.546 | 136.06 | 3.738 | 141.394 | 14.32 | 893 | 84.64 | 7.044
2020-11-10 02:45:00 | 3.074 | 136.38 | 3.19 | 138.113 | 3.222 | 133.377 | 3.404 | 138.818 | 14.31 | 893 | 86.52 | 5.75
2020-11-10 03:00:00 | 2.938 | 146.38 | 3.072 | 146.524 | 3.182 | 143.16 | 3.366 | 147.274 | 14.04 | 893 | 86.38 | 4.538
2020-11-10 03:15:00 | 2.834 | 151.76 | 2.956 | 140.402 | 3.114 | 148.42 | 3.268 | 141.12 | 13.74 | 893 | 88.16 | 5.612
2020-11-10 03:30:00 | 2.834 | 151.76 | 2.956 | 140.402 | 3.114 | 148.42 | 3.268 | 141.12 | 13.74 | 893 | 88.16 | 5.612
2020-11-10 03:45:00 | 3.272 | 151.27 | 3.411 | 149.457 | 3.588 | 147.942 | 3.763 | 150.224 | 13.76 | 892.8 | 88.85 | 8.219
2020-11-10 04:00:00 | 3.3727 | 142.2467 | 3.5373 | 137.096 | 3.8693 | 139.1173 | 4.0407 | 137.7973 | 13.6867 | 892 | 88.3 | 10.0433
2020-11-10 04:15:00 | 3.126 | 145.92 | 3.29 | 135.766 | 3.63 | 142.708 | 3.796 | 136.46 | 13.68 | 892 | 87.96 | 8.57
2020-11-10 04:30:00 | 2.655 | 150.47 | 2.78 | 147.071 | 2.748 | 147.159 | 2.96 | 147.825 | 13.66 | 892 | 88.86 | 6.515
2020-11-10 04:45:00 | 2.761 | 155.47 | 2.826 | 157.645 | 2.879 | 152.049 | 2.974 | 158.448 | 13.86 | 892 | 89.89 | 7.791
2020-11-10 05:00:00 | 2.784 | 161.57 | 2.864 | 150.142 | 2.882 | 158.015 | 3.006 | 150.911 | 13.89 | 892 | 90.75 | 7.056
2020-11-10 05:15:00 | 2.9273 | 158.02 | 2.9727 | 147.848 | 3.0407 | 154.5447 | 3.0987 | 148.6033 | 13.9867 | 892 | 91.7533 | 8.44
2020-11-10 05:30:00 | 3.082 | 154.9 | 3.14 | 143.1167 | 3.2313 | 151.492 | 3.3 | 143.8447 | 14.02 | 892 | 92.1 | 7.3507
2020-11-10 05:45:00 | 3.102 | 151.26 | 3.178 | 142.27 | 3.307 | 147.932 | 3.399 | 142.997 | 14 | 892 | 92.04 | 6.881
2020-11-10 06:00:00 | 2.78 | 165.96 | 2.847 | 152.508 | 2.92 | 162.651 | 3.009 | 153.287 | 13.96 | 892 | 91.66 | 6.116
2020-11-10 06:15:00 | 3.194 | 148.8533 | 3.292 | 151.4853 | 3.414 | 145.578 | 3.5367 | 152.26 | 13.8133 | 892 | 92.3067 | 6.7047
2020-11-10 06:30:00 | 3.088 | 158.48 | 3.168 | 148.422 | 3.254 | 154.992 | 3.366 | 149.18 | 13.92 | 892.4 | 92.64 | 6.054
2020-11-10 06:45:00 | 2.722 | 159.72 | 2.814 | 158.329 | 2.966 | 156.207 | 3.073 | 159.137 | 13.92 | 893 | 92.18 | 8.006
2020-11-10 07:00:00 | 3.018 | 158.8 | 3.104 | 145.204 | 3.143 | 155.307 | 3.272 | 145.945 | 13.9 | 893 | 90.83 | 8.624
2020-11-10 07:15:00 | 2.864 | 156.2 | 2.924 | 153.252 | 3.098 | 152.764 | 3.146 | 154.036 | 13.88 | 893 | 92 | 7.825
2020-11-10 07:30:00 | 3.087 | 159.68 | 3.16 | 147.922 | 3.138 | 156.166 | 3.266 | 148.68 | 13.92 | 893 | 92.7 | 8.028
2020-11-10 07:45:00 | 2.9947 | 154.1667 | 3.106 | 145.5193 | 3.1347 | 150.776 | 3.304 | 146.2647 | 13.7 | 893 | 93 | 7.8767
2020-11-10 08:00:00 | 2.958 | 154.4667 | 3.028 | 145.2713 | 3.0633 | 151.0687 | 3.17 | 146.0133 | 13.7 | 893.1333 | 93.4 | 6.586
2020-11-10 08:15:00 | 2.884 | 151.72 | 2.948 | 152.136 | 3.048 | 148.38 | 3.128 | 152.916 | 13.7 | 894 | 93.7 | 6.094
2020-11-10 08:30:00 | 2.727 | 150.53 | 2.8 | 154.837 | 2.816 | 147.218 | 2.927 | 155.629 | 13.72 | 894 | 93.36 | 7.03
2020-11-10 08:45:00 | 2.892 | 164.13 | 2.897 | 148.382 | 2.944 | 159.669 | 2.943 | 149.14 | 13.92 | 894 | 93.56 | 8.486
2020-11-10 09:00:00 | 2.687 | 159.27 | 2.678 | 157.261 | 2.859 | 155.766 | 2.796 | 158.066 | 13.78 | 894 | 93.63 | 7.7
2020-11-10 09:15:00 | 2.39 | 148.58 | 2.378 | 155.481 | 2.661 | 145.312 | 2.566 | 156.278 | 13.58 | 894 | 93.3 | 6.831
2020-11-10 09:30:00 | 2.2727 | 175.58 | 2.316 | 156.284 | 2.4993 | 170.8827 | 2.52 | 157.084 | 13.6067 | 894.1333 | 92.8467 | 7.522
2020-11-10 09:45:00 | 2.2533 | 170.68 | 2.272 | 161.534 | 2.5007 | 167.394 | 2.4653 | 162.358 | 13.58 | 895 | 92.7667 | 7.4733
2020-11-10 10:00:00 | 2.4873 | 164.1467 | 2.5527 | 156.2313 | 2.5553 | 160.536 | 2.6613 | 157.0313 | 13.72 | 895 | 92.46 | 7.1493
2020-11-10 10:15:00 | 2.706 | 172.82 | 2.732 | 159.688 | 2.75 | 169.018 | 2.786 | 160.504 | 13.84 | 895 | 92.3 | 7.66
2020-11-10 10:30:00 | 2.8856 | 154.4333 | 2.9278 | 144.5056 | 2.9056 | 151.0344 | 2.9833 | 145.2433 | 13.9333 | 895 | 91.825 | 9.8344
2020-11-10 10:45:00 | 2.776 | 156.85 | 2.856 | 155.501 | 2.882 | 153.633 | 2.994 | 156.298 | 14.03 | 895 | 91.78 | 11.17
2020-11-10 11:00:00 | 3.149 | 145.68 | 3.234 | 148.804 | 3.333 | 142.474 | 3.445 | 149.564 | 14.19 | 895 | 91.37 | 10.325
2020-11-10 11:15:00 | 3.223 | 150.92 | 3.326 | 151.004 | 3.384 | 147.599 | 3.532 | 151.775 | 14.14 | 895 | 90.88 | 10.242
2020-11-10 11:30:00 | 3.195 | 147.75 | 3.294 | 145.751 | 3.29 | 144.441 | 3.454 | 146.495 | 14.26 | 895 | 90.08 | 8.199
2020-11-10 11:45:00 | 2.76 | 160.48 | 2.858 | 165.106 | 2.88 | 156.948 | 3.037 | 165.951 | 14.19 | 895 | 90.36 | 6.372
2020-11-10 12:00:00 | 2.692 | 160.6 | 2.768 | 157.897 | 2.894 | 157.068 | 2.975 | 158.705 | 14.31 | 895 | 90.39 | 6.5
2020-11-10 12:15:00 | 2.608 | 171.7 | 2.678 | 155.366 | 2.8 | 167.923 | 2.882 | 156.159 | 14.43 | 895 | 88.12 | 4.882
2020-11-10 12:30:00 | 2.423 | 164.29 | 2.513 | 157.75 | 2.616 | 160.676 | 2.732 | 158.558 | 14.5 | 895 | 87.54 | 3.947
2020-11-10 12:45:00 | 2.1567 | 166.2133 | 2.2313 | 156.6507 | 2.3227 | 162.5567 | 2.4213 | 157.4507 | 14.8 | 895 | 85.5533 | 2.958
2020-11-10 13:00:00 | 1.96 | 167.5467 | 2.0233 | 162.5573 | 2.2007 | 162.414 | 2.26 | 163.3873 | 15.1933 | 895 | 84.8733 | 2.7073
2020-11-10 13:15:00 | 2.54 | 161.1733 | 2.516 | 147.4507 | 2.6793 | 157.6273 | 2.5953 | 148.2047 | 15.2733 | 895 | 83.2533 | 2.7967
2020-11-10 13:30:00 | 2.622 | 163.76 | 2.67 | 145.86 | 2.688 | 160.158 | 2.766 | 146.606 | 15.28 | 894.6 | 82.7 | 3.278
2020-11-10 13:45:00 | 2.784 | 181.06 | 2.82 | 149.576 | 2.992 | 177.078 | 3 | 150.338 | 15.34 | 894 | 81.86 | 3.304
2020-11-10 14:00:00 | 2.478 | 169.4 | 2.594 | 144.452 | 2.726 | 165.672 | 2.876 | 145.19 | 15.4 | 894 | 81.32 | 2.252
2020-11-10 14:15:00 | 2.0833 | 162.9 | 2.1833 | 137.0511 | 2.1678 | 159.3178 | 2.3378 | 137.7511 | 15.6111 | 894 | 80.7778 | 1.436
2020-11-10 14:30:00 | 2.411 | 165.65 | 2.459 | 138.27 | 2.624 | 162.005 | 2.652 | 138.976 | 15.64 | 894 | 81.44 | 1.285
2020-11-10 14:45:00 | 2.603 | 165.56 | 2.586 | 139.521 | 2.801 | 161.918 | 2.717 | 140.234 | 15.61 | 894 | 81.92 | 2.023
2020-11-10 15:00:00 | 2.354 | 164.42 | 2.377 | 141.584 | 2.504 | 160.803 | 2.508 | 142.31 | 15.72 | 894 | 81.18 | 1.765
2020-11-10 15:15:00 | 2.046 | 160.26 | 2.13 | 143.061 | 2.374 | 156.735 | 2.437 | 143.793 | 15.7 | 893 | 81.27 | 1.147
2020-11-10 15:30:00 | 1.789 | 168.85 | 1.914 | 163.552 | 2.315 | 167.277 | 2.401 | 164.388 | 15.77 | 893 | 81.22 | 0.304
2020-11-10 15:45:00 | 1.701 | 159.81 | 1.828 | 175.14 | 2.062 | 155.659 | 2.148 | 176.035 | 15.81 | 893 | 81.3 | 0.003
2020-11-10 16:00:00 | 1.699 | 171.97 | 1.794 | 174.426 | 2.003 | 168.186 | 2.097 | 175.318 | 15.9 | 893 | 81.2 | 0
2020-11-10 16:15:00 | 1.734 | 179.83 | 1.87 | 174.006 | 2.052 | 175.875 | 2.22 | 174.895 | 15.83 | 893 | 82.13 | 0
2020-11-10 16:30:00 | 2.0627 | 172.8133 | 2.1953 | 167.6747 | 2.5007 | 169.0107 | 2.6267 | 168.5333 | 15.7867 | 893 | 83.02 | 0
2020-11-10 16:45:00 | 1.9373 | 172.4867 | 2.036 | 159.7007 | 2.2233 | 168.6927 | 2.33 | 160.5167 | 15.8067 | 893 | 83.6667 | 0
2020-11-10 17:00:00 | 1.8753 | 181.66 | 1.9713 | 164.272 | 2.0807 | 177.5473 | 2.2007 | 165.112 | 15.8267 | 893 | 85.02 | 0
2020-11-10 17:15:00 | 1.884 | 179.34 | 1.98 | 164.558 | 1.998 | 175.394 | 2.148 | 165.398 | 15.84 | 893 | 86.04 | 0
2020-11-10 17:30:00 | 1.914 | 189.92 | 2.036 | 175.766 | 2.076 | 185.742 | 2.264 | 176.668 | 15.88 | 893 | 86.1 | 0
2020-11-10 17:45:00 | 1.5044 | 168.5333 | 1.53 | 155.7089 | 1.4967 | 164.8244 | 1.5478 | 156.5044 | 15.9778 | 893 | 86.5444 | 0
2020-11-10 18:00:00 | 1.629 | 175.24 | 1.687 | 156.626 | 1.64 | 171.384 | 1.748 | 157.428 | 15.93 | 893 | 87.95 | 0
2020-11-10 18:15:00 | 1.492 | 194.67 | 1.544 | 178.701 | 1.552 | 190.386 | 1.634 | 179.612 | 15.79 | 893 | 88.76 | 0.178
2020-11-10 18:30:00 | 1.116 | 196.5 | 1.135 | 183.931 | 1.126 | 192.175 | 1.159 | 184.872 | 15.84 | 893 | 87.64 | 0.309
2020-11-10 18:45:00 | 0.974 | 219.45 | 0.985 | 174.777 | 1.013 | 214.622 | 1.025 | 175.672 | 15.86 | 893 | 88.8 | 0.189
2020-11-10 19:00:00 | 0.965 | 203.05 | 0.962 | 193.39 | 0.915 | 197.427 | 0.932 | 194.378 | 15.81 | 893 | 88.64 | 0.19
2020-11-10 19:15:00 | 0.829 | 183.14 | 0.873 | 184.236 | 0.857 | 179.111 | 0.931 | 185.178 | 15.76 | 893 | 87.74 | 0.176
2020-11-10 19:30:00 | 1.072 | 191.17 | 1.117 | 183.484 | 1.159 | 186.964 | 1.216 | 184.42 | 15.75 | 893 | 87.25 | 0.077
2020-11-10 19:45:00 | 1.07 | 199.11 | 1.135 | 190.161 | 1.161 | 194.73 | 1.253 | 191.135 | 15.65 | 893 | 86.82 | 0.396
2020-11-10 20:00:00 | 1.308 | 201.43 | 1.364 | 193.459 | 1.323 | 197 | 1.422 | 194.447 | 15.63 | 893 | 87.67 | 0.504
2020-11-10 20:15:00 | 1.4307 | 203.0333 | 1.5073 | 193.09 | 1.3867 | 198.5667 | 1.548 | 194.0767 | 15.66 | 893.4667 | 89.2333 | 0.676
2020-11-10 20:30:00 | 1.438 | 202.88 | 1.512 | 198.044 | 1.3 | 198.67 | 1.486 | 199.058 | 15.7 | 894 | 90.82 | 0.9
2020-11-10 20:45:00 | 1.518 | 202.84 | 1.572 | 185.412 | 1.472 | 198.378 | 1.592 | 186.358 | 15.7 | 894 | 90 | 1.416
2020-11-10 21:00:00 | 1.853 | 204.61 | 1.924 | 177.418 | 1.939 | 200.109 | 2.049 | 178.326 | 15.75 | 894 | 90.12 | 1.937
2020-11-10 21:15:00 | 1.757 | 201.11 | 1.824 | 182.2 | 1.749 | 196.686 | 1.877 | 183.133 | 15.7 | 894 | 90.5 | 2.189
2020-11-10 21:30:00 | 1.71 | 205.25 | 1.786 | 182.866 | 1.62 | 200.782 | 1.798 | 183.802 | 15.63 | 894 | 90.69 | 1.873
2020-11-10 21:45:00 | 1.561 | 198.57 | 1.613 | 181.752 | 1.661 | 194.203 | 1.733 | 182.68 | 15.59 | 894 | 91.79 | 1.627
2020-11-10 22:00:00 | 1.419 | 176.82 | 1.438 | 162.836 | 1.558 | 172.931 | 1.561 | 163.668 | 15.6 | 894 | 91.86 | 1.156
2020-11-10 22:15:00 | 1.519 | 155 | 1.546 | 147.294 | 1.702 | 151.591 | 1.7 | 148.05 | 15.7 | 894 | 91.2 | 1.527
2020-11-10 22:30:00 | 1.525 | 155.19 | 1.571 | 153.156 | 1.804 | 151.777 | 1.809 | 153.937 | 15.67 | 894 | 91.36 | 1.915
2020-11-10 22:45:00 | 1.465 | 166.19 | 1.498 | 159.618 | 1.692 | 162.534 | 1.69 | 160.435 | 15.67 | 894 | 91.24 | 2.448
2020-11-10 23:00:00 | 1.4087 | 176.0867 | 1.4207 | 157.6727 | 1.58 | 172.21 | 1.558 | 158.48 | 15.6067 | 894 | 90.8467 | 2.44
2020-11-10 23:15:00 | 1.5607 | 175.3133 | 1.57 | 155.814 | 1.734 | 171.4553 | 1.702 | 156.6113 | 15.62 | 894 | 90.44 | 2.8687
2020-11-10 23:30:00 | 1.574 | 165.48 | 1.5987 | 175.2953 | 1.7627 | 160.8813 | 1.7553 | 176.192 | 15.6 | 894 | 90.1 | 3.096
2020-11-10 23:45:00 | 1.632 | 162.56 | 1.654 | 169.858 | 1.89 | 158.984 | 1.856 | 170.726 | 15.58 | 894 | 90.52 | 3.13