## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-11 00:00:00 | 1.72 | 184.36 | 1.774 | 178.036 | 1.86 | 180.304 | 1.926 | 178.944 | 15.5 | 894 | 90.94 | 3.382
2020-11-11 00:15:00 | 1.754 | 189.57 | 1.821 | 180.901 | 2.082 | 185.4 | 2.114 | 181.828 | 15.5 | 894 | 91.42 | 3.959
2020-11-11 00:30:00 | 1.838 | 185.87 | 1.91 | 181.644 | 2.095 | 181.782 | 2.158 | 182.573 | 15.46 | 894 | 92.8 | 4.03
2020-11-11 00:45:00 | 1.892 | 184.92 | 1.966 | 191.024 | 2.148 | 179.09 | 2.206 | 192 | 15.5 | 894 | 92.9 | 4.524
2020-11-11 01:00:00 | 2.077 | 203.41 | 2.131 | 185.996 | 2.334 | 198.936 | 2.361 | 186.946 | 15.51 | 894 | 93.26 | 4.895
2020-11-11 01:15:00 | 2.168 | 191.13 | 2.219 | 170.484 | 2.442 | 186.926 | 2.464 | 171.358 | 15.57 | 894 | 93.88 | 4.663
2020-11-11 01:30:00 | 1.916 | 169.13 | 1.927 | 169.301 | 2.009 | 165.409 | 2.006 | 170.167 | 15.51 | 894 | 95.39 | 4.187
2020-11-11 01:45:00 | 1.9787 | 173.3467 | 2.0073 | 168.8627 | 2.0787 | 169.5333 | 2.1013 | 169.7253 | 15.44 | 893 | 96.8067 | 4.7587
2020-11-11 02:00:00 | 1.882 | 172.06 | 1.862 | 172.206 | 1.936 | 168.276 | 1.888 | 173.086 | 15.46 | 893 | 96.94 | 5.374
2020-11-11 02:15:00 | 1.993 | 161.44 | 2.013 | 163.826 | 2.148 | 157.888 | 2.14 | 164.663 | 15.38 | 893 | 97.22 | 4.943
2020-11-11 02:30:00 | 2.055 | 165.89 | 2.096 | 162.261 | 2.119 | 162.241 | 2.181 | 163.09 | 15.24 | 893 | 97.57 | 4.549
2020-11-11 02:45:00 | 1.991 | 165.36 | 2.059 | 163.257 | 2.055 | 161.723 | 2.166 | 164.092 | 15.2 | 893 | 97.88 | 4.124
2020-11-11 03:00:00 | 1.976 | 163.8 | 2.046 | 163.424 | 2.156 | 160.198 | 2.24 | 164.26 | 15.1 | 893 | 97.96 | 5.064
2020-11-11 03:15:00 | 1.986 | 155.36 | 2.078 | 157.87 | 2.24 | 151.94 | 2.336 | 158.676 | 15.04 | 893 | 97.9 | 5.19
2020-11-11 03:30:00 | 1.932 | 166.91 | 1.997 | 160.627 | 2.131 | 163.239 | 2.199 | 161.447 | 14.94 | 893 | 97.9 | 5.326
2020-11-11 03:45:00 | 1.7487 | 157.6 | 1.794 | 159.8907 | 2.0113 | 154.1313 | 2.0233 | 160.7073 | 14.9133 | 893 | 97.9 | 5.3073
2020-11-11 04:00:00 | 1.674 | 166.38 | 1.702 | 160.234 | 1.848 | 162.72 | 1.856 | 161.056 | 14.94 | 893 | 97.78 | 5.154
2020-11-11 04:15:00 | 1.772 | 160.77 | 1.791 | 174.514 | 2.005 | 157.233 | 1.976 | 175.408 | 14.96 | 893 | 95.31 | 4.867
2020-11-11 04:30:00 | 1.93 | 151.96 | 2.029 | 175.521 | 2.279 | 148.372 | 2.362 | 176.419 | 14.86 | 893 | 93.33 | 5.103
2020-11-11 04:45:00 | 2.101 | 154.38 | 2.227 | 178.866 | 2.474 | 150.984 | 2.608 | 179.78 | 14.88 | 893 | 91.82 | 5.387
2020-11-11 05:00:00 | 2.1227 | 168.2333 | 2.1853 | 170.0553 | 2.2993 | 164.532 | 2.3733 | 170.9247 | 14.82 | 893 | 94.9 | 5.22
2020-11-11 05:15:00 | 1.882 | 168.4067 | 1.9553 | 167.642 | 2.0633 | 164.702 | 2.1493 | 168.4993 | 14.7267 | 893 | 95.2867 | 5.5233
2020-11-11 05:30:00 | 2.098 | 173 | 2.134 | 168.706 | 2.232 | 169.194 | 2.262 | 169.566 | 14.82 | 893 | 94.78 | 6.126
2020-11-11 05:45:00 | 2.194 | 166.64 | 2.232 | 167.16 | 2.436 | 162.976 | 2.446 | 168.014 | 15 | 893 | 94.62 | 6.294
2020-11-11 06:00:00 | 1.879 | 136.93 | 1.945 | 167.178 | 2.118 | 133.889 | 2.169 | 168.034 | 14.7 | 893 | 97.67 | 5.054
2020-11-11 06:15:00 | 1.86 | 135.59 | 1.943 | 161.39 | 2.226 | 132.606 | 2.28 | 162.213 | 14.48 | 893 | 97.7 | 5.452
2020-11-11 06:30:00 | 1.535 | 131.19 | 1.552 | 172.587 | 1.818 | 128.305 | 1.774 | 173.471 | 14.62 | 893 | 97.11 | 4.598
2020-11-11 06:45:00 | 1.307 | 179.06 | 1.245 | 179.258 | 1.544 | 175.121 | 1.357 | 180.174 | 14.68 | 893 | 95.34 | 4.817
2020-11-11 07:00:00 | 1.4247 | 201.72 | 1.3547 | 184.6007 | 1.814 | 197.054 | 1.5613 | 185.5433 | 14.7533 | 893 | 93.3333 | 5.292
2020-11-11 07:15:00 | 1.414 | 162.42 | 1.376 | 185.27 | 1.714 | 158.846 | 1.556 | 186.218 | 14.98 | 893 | 93.4 | 5.786
2020-11-11 07:30:00 | 1.746 | 161.65 | 1.681 | 169.524 | 2.08 | 158.094 | 1.86 | 170.393 | 15.03 | 893 | 92.45 | 5.602
2020-11-11 07:45:00 | 1.707 | 139.68 | 1.639 | 148.401 | 1.927 | 137.194 | 1.741 | 149.16 | 15.07 | 893 | 92 | 5.066
2020-11-11 08:00:00 | 1.838 | 175.54 | 1.826 | 155.17 | 2.027 | 171.677 | 1.951 | 155.962 | 15.26 | 893.7 | 91.44 | 4.886
2020-11-11 08:15:00 | 2.1253 | 181.54 | 2.1607 | 155.6847 | 2.2613 | 177.906 | 2.2987 | 156.4793 | 15.38 | 894 | 91.36 | 5.128
2020-11-11 08:30:00 | 2.07 | 184.86 | 2.086 | 157.868 | 2.122 | 180.792 | 2.14 | 158.678 | 15.32 | 894 | 91.56 | 5.872
2020-11-11 08:45:00 | 1.938 | 174.47 | 1.965 | 160.643 | 2.06 | 171.11 | 2.078 | 161.466 | 15.17 | 894 | 91.1 | 5.522
2020-11-11 09:00:00 | 2.284 | 172.43 | 2.346 | 156.175 | 2.498 | 168.638 | 2.557 | 156.975 | 15.08 | 894 | 90.7 | 5.37
2020-11-11 09:15:00 | 2.1714 | 182.9929 | 2.2129 | 163.8286 | 2.32 | 178.9664 | 2.3629 | 164.6657 | 15.1071 | 894 | 89.86 | 4.85
2020-11-11 09:30:00 | 2.05 | 184.04 | 2.128 | 174.006 | 2.142 | 179.992 | 2.26 | 174.896 | 15.06 | 894.4 | 88.84 | 4.104
2020-11-11 09:45:00 | 2.109 | 201.79 | 2.161 | 169.007 | 2.216 | 197.349 | 2.287 | 169.873 | 15.1 | 895 | 87.73 | 3.84
2020-11-11 10:00:00 | 2.248 | 188.3 | 2.284 | 166.504 | 2.363 | 184.158 | 2.401 | 167.356 | 15.19 | 895 | 86.4 | 3.727
2020-11-11 10:15:00 | 2.347 | 181.22 | 2.445 | 164.617 | 2.663 | 177.233 | 2.762 | 165.459 | 15.4 | 895.2 | 83.99 | 3.189
2020-11-11 10:30:00 | 1.926 | 180.59 | 1.969 | 169.878 | 2.089 | 176.616 | 2.125 | 170.747 | 15.59 | 896 | 80.328 | 2.178
2020-11-11 10:45:00 | 2.0787 | 187.0467 | 2.1 | 161.8393 | 2.108 | 183.18 | 2.1447 | 162.666 | 15.6933 | 896 | 76.1767 | 2.7427
2020-11-11 11:00:00 | 2.124 | 178.78 | 2.158 | 165.282 | 2.138 | 174.848 | 2.2 | 166.128 | 15.7 | 896 | 75.29 | 3.638
2020-11-11 11:15:00 | 2.518 | 185.39 | 2.646 | 166.593 | 2.768 | 181.311 | 2.94 | 167.445 | 15.81 | 896 | 74.13 | 3.924
2020-11-11 11:30:00 | 2.274 | 175.02 | 2.35 | 160.451 | 2.587 | 171.17 | 2.641 | 161.271 | 16.09 | 896 | 72.641 | 4.158
2020-11-11 11:45:00 | 2.013 | 179.03 | 2.112 | 164.05 | 2.12 | 176.851 | 2.314 | 164.888 | 16.49 | 896 | 74.125 | 2.83
2020-11-11 12:00:00 | 2.3053 | 163.2533 | 2.3513 | 143.7847 | 2.5007 | 159.6627 | 2.53 | 144.5207 | 16.34 | 896 | 75.6367 | 2.41
2020-11-11 12:15:00 | 2.734 | 154.58 | 2.782 | 138.702 | 3.008 | 151.18 | 3.02 | 139.41 | 16.14 | 896 | 73.986 | 2.214
2020-11-11 12:30:00 | 2.801 | 147.09 | 2.942 | 139.57 | 3.095 | 143.854 | 3.276 | 140.285 | 16.39 | 896 | 72.861 | 2.462
2020-11-11 12:45:00 | 2.498 | 135.96 | 2.596 | 138.936 | 2.74 | 131.944 | 2.864 | 139.644 | 16.62 | 895.8 | 68.792 | 1.78
2020-11-11 13:00:00 | 2.316 | 153.11 | 2.254 | 131.147 | 2.779 | 148.47 | 2.508 | 131.821 | 17.01 | 895 | 68.922 | 1.392
2020-11-11 13:15:00 | 2.353 | 153.58 | 2.366 | 133.107 | 2.822 | 150.202 | 2.711 | 133.787 | 17.27 | 895 | 66.472 | 2.038
2020-11-11 13:30:00 | 2.594 | 155.1 | 2.62 | 135.5767 | 2.9887 | 151.688 | 2.9253 | 136.2707 | 17.4467 | 895 | 66.374 | 2.0433
2020-11-11 13:45:00 | 2.4873 | 169.3733 | 2.5853 | 131.4567 | 2.9273 | 165.646 | 2.9893 | 132.13 | 17.6733 | 895 | 64.0733 | 1.5327
2020-11-11 14:00:00 | 2.176 | 159.36 | 2.24 | 125.928 | 2.72 | 155.854 | 2.682 | 126.572 | 17.72 | 895 | 63.162 | 1.254
2020-11-11 14:15:00 | 1.951 | 164.81 | 2.002 | 133.878 | 2.365 | 161.184 | 2.34 | 134.563 | 17.64 | 895 | 63.102 | 1.043
2020-11-11 14:30:00 | 1.594 | 172.58 | 1.56 | 136.217 | 1.86 | 168.783 | 1.717 | 136.914 | 17.78 | 895 | 62.39 | 0.963
2020-11-11 14:45:00 | 1.6653 | 165.9133 | 1.7307 | 151.7213 | 1.9307 | 162.2627 | 1.9813 | 152.498 | 18.0267 | 894 | 62.4373 | 0.58467
2020-11-11 15:00:00 | 1.7944 | 152.6333 | 1.8611 | 138.6144 | 2.0244 | 149.2756 | 2.09 | 139.3233 | 18.1556 | 894 | 62.7133 | 0.63333
2020-11-11 15:15:00 | 1.66 | 193.2 | 1.748 | 162.23 | 1.806 | 190.593 | 1.946 | 163.059 | 18.14 | 894 | 63.023 | 0.166
2020-11-11 15:30:00 | 1.435 | 168.5 | 1.52 | 145.33 | 1.643 | 164.959 | 1.741 | 146.074 | 18.25 | 894 | 64.086 | 0.075
2020-11-11 15:45:00 | 1.337 | 165.7 | 1.342 | 143.657 | 1.558 | 162.055 | 1.509 | 144.393 | 18.15 | 894 | 64.098 | 0.045
2020-11-11 16:00:00 | 1.445 | 172.68 | 1.472 | 162.974 | 1.635 | 168.881 | 1.632 | 163.807 | 18.14 | 894 | 64.932 | 0
2020-11-11 16:15:00 | 1.518 | 173.8933 | 1.5767 | 171.294 | 1.7773 | 170.068 | 1.8193 | 172.1693 | 18.0533 | 894 | 65.354 | 0
2020-11-11 16:30:00 | 1.656 | 177.16 | 1.77 | 167.828 | 1.688 | 173.26 | 1.894 | 168.684 | 18.14 | 894 | 66.444 | 0
2020-11-11 16:45:00 | 1.46 | 181.21 | 1.521 | 173.205 | 1.622 | 177.223 | 1.695 | 174.09 | 18.04 | 894 | 65.846 | 0
2020-11-11 17:00:00 | 1.471 | 179.99 | 1.533 | 174.514 | 1.788 | 176.032 | 1.813 | 175.406 | 17.91 | 894 | 66.76 | 0
2020-11-11 17:15:00 | 1.767 | 186.26 | 1.843 | 181.977 | 1.996 | 181.448 | 2.073 | 182.906 | 17.84 | 894 | 67.908 | 0
2020-11-11 17:30:00 | 1.776 | 193.97 | 1.873 | 189.047 | 2.058 | 189.704 | 2.158 | 190.014 | 17.94 | 894 | 69.444 | 0.445
2020-11-11 17:45:00 | 2.356 | 191.4333 | 2.5207 | 169.298 | 2.7493 | 187.2213 | 2.946 | 170.164 | 17.8733 | 893.4667 | 70.494 | 1.6633
2020-11-11 18:00:00 | 2.5733 | 169.7667 | 2.674 | 166.814 | 2.9347 | 165.8687 | 3.022 | 167.6667 | 17.7267 | 894 | 70.512 | 3.2673
2020-11-11 18:15:00 | 2.676 | 155.28 | 2.832 | 156.11 | 2.988 | 150.63 | 3.18 | 156.906 | 17.64 | 894 | 69.714 | 4.272
2020-11-11 18:30:00 | 2.642 | 154.52 | 2.762 | 145.684 | 3.064 | 151.12 | 3.174 | 146.43 | 17.7 | 894 | 68.01 | 4.078
2020-11-11 18:45:00 | 2.854 | 153.4 | 2.98 | 145.723 | 3.256 | 150.026 | 3.377 | 146.467 | 17.68 | 894 | 67.03 | 4.566
2020-11-11 19:00:00 | 2.751 | 160.93 | 2.852 | 149.252 | 2.892 | 157.39 | 3.047 | 150.016 | 17.66 | 894 | 66.573 | 4.108
2020-11-11 19:15:00 | 2.708 | 157.78 | 2.842 | 155.845 | 2.987 | 154.31 | 3.161 | 156.641 | 17.64 | 894 | 67.487 | 3.778
2020-11-11 19:30:00 | 2.5493 | 160.14 | 2.6867 | 155.698 | 2.6907 | 156.9567 | 2.9147 | 156.4933 | 17.5 | 894 | 68.2653 | 3.21
2020-11-11 19:45:00 | 2.3727 | 156.9467 | 2.4847 | 150.292 | 2.476 | 153.362 | 2.6633 | 151.0607 | 17.2733 | 894 | 70.9727 | 2.908
2020-11-11 20:00:00 | 2.4467 | 160.7933 | 2.622 | 152.7047 | 2.7167 | 157.0087 | 2.9667 | 153.486 | 17.1133 | 894 | 73.3353 | 2.6753
2020-11-11 20:15:00 | 2.5573 | 163.14 | 2.7013 | 160.7173 | 2.674 | 159.5507 | 2.9113 | 161.5393 | 17.18 | 894 | 72.446 | 3.07
2020-11-11 20:30:00 | 2.456 | 162.38 | 2.534 | 160.45 | 2.526 | 158.808 | 2.656 | 161.27 | 17.3 | 894 | 71.976 | 2.924
2020-11-11 20:45:00 | 2.1978 | 168.6778 | 2.2378 | 157.5678 | 2.2467 | 164.9667 | 2.3111 | 158.3711 | 17.1222 | 894 | 71.976 | 2.0111
2020-11-11 21:00:00 | 2.282 | 175.52 | 2.388 | 162.112 | 2.44 | 171.288 | 2.62 | 162.941 | 17 | 895 | 74.448 | 2.166
2020-11-11 21:15:00 | 1.892 | 176.84 | 1.923 | 170.642 | 2.002 | 172.951 | 2.032 | 171.514 | 16.99 | 895 | 73.88 | 1.261
2020-11-11 21:30:00 | 1.693 | 167.7 | 1.693 | 176.568 | 1.837 | 164.012 | 1.796 | 177.471 | 16.86 | 895 | 72.989 | 0.624
2020-11-11 21:45:00 | 1.686 | 173.0533 | 1.7527 | 172.8187 | 1.824 | 169.084 | 1.9167 | 173.7033 | 16.7933 | 895 | 71.6033 | 0.396
2020-11-11 22:00:00 | 1.6773 | 174.64 | 1.742 | 170.7593 | 1.8247 | 170.798 | 1.906 | 171.632 | 16.8 | 895 | 69.6033 | 0.71667
2020-11-11 22:15:00 | 1.4567 | 159.8733 | 1.516 | 169.7473 | 1.638 | 156.3553 | 1.7027 | 170.6167 | 16.7867 | 895 | 66.7827 | 0.69533
2020-11-11 22:30:00 | 1.228 | 165.3933 | 1.2333 | 164.2387 | 1.228 | 161.7553 | 1.2373 | 165.0787 | 16.7467 | 895 | 66.2227 | 0.338
2020-11-11 22:45:00 | 0.94 | 161.82 | 0.946 | 181.71 | 0.918 | 158.258 | 0.934 | 182.64 | 16.8 | 895 | 66.216 | 0.138
2020-11-11 23:00:00 | 1.148 | 190.84 | 1.156 | 184.704 | 1.178 | 186.642 | 1.184 | 185.648 | 16.82 | 895 | 67.316 | 0
2020-11-11 23:15:00 | 0.895 | 186.59 | 0.908 | 173.508 | 0.913 | 182.485 | 0.931 | 174.395 | 16.9 | 895 | 68.071 | 0.052
2020-11-11 23:30:00 | 0.875 | 195.51 | 0.919 | 196.461 | 0.915 | 191.285 | 0.976 | 197.465 | 16.82 | 895 | 66.856 | 0
2020-11-11 23:45:00 | 0.891 | 190.52 | 0.915 | 181.212 | 0.868 | 185.146 | 0.918 | 182.14 | 16.85 | 895 | 67.024 | 0.063