## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-12 00:00:00 | 0.674 | 203.62 | 0.692 | 170.503 | 0.674 | 199.141 | 0.71 | 171.376 | 16.92 | 895 | 67.94 | 0.273
2020-11-12 00:15:00 | 0.646 | 223.2 | 0.652 | 203.208 | 0.774 | 218.29 | 0.75 | 204.244 | 16.84 | 895 | 68 | 0.216
2020-11-12 00:30:00 | 0.52 | 249.19 | 0.543 | 207.696 | 0.514 | 243.706 | 0.559 | 208.76 | 16.96 | 895 | 67.585 | 0.686
2020-11-12 00:45:00 | 0.646 | 250.6 | 0.658 | 222.856 | 0.795 | 245.087 | 0.775 | 223.994 | 16.84 | 895 | 67.25 | 0.608
2020-11-12 01:00:00 | 0.30533 | 269.94 | 0.32533 | 220.826 | 0.53133 | 264.0013 | 0.50333 | 221.9553 | 16.98 | 895 | 69.0053 | 0.748
2020-11-12 01:15:00 | 0.244 | 299.08 | 0.28 | 188.97 | 0.5 | 292.5 | 0.496 | 189.934 | 17.02 | 895 | 69.222 | 0.726
2020-11-12 01:30:00 | 0.545 | 324.89 | 0.628 | 303.241 | 0.696 | 317.82 | 0.813 | 304.79 | 17.1 | 895 | 68.797 | 0.371
2020-11-12 01:45:00 | 0.668 | 327.84 | 0.75 | 273.615 | 0.826 | 320.628 | 0.933 | 275.014 | 17 | 895 | 71.775 | 0.208
2020-11-12 02:00:00 | 0.628 | 332.8 | 0.724 | 312.884 | 0.876 | 325.478 | 0.984 | 314.484 | 17 | 895 | 72.816 | 0
2020-11-12 02:15:00 | 0.84 | 179.63 | 0.926 | 339.394 | 0.999 | 175.679 | 1.117 | 341.13 | 16.92 | 895 | 73.915 | 0
2020-11-12 02:30:00 | 1.084 | 255.2467 | 1.128 | 334.1573 | 1.53 | 249.6313 | 1.482 | 335.8653 | 16.7067 | 895 | 69.7473 | 0
2020-11-12 02:45:00 | 1.172 | 144.26 | 1.235 | 329.565 | 1.548 | 141.087 | 1.557 | 331.252 | 16.79 | 895 | 67.622 | 0
2020-11-12 03:00:00 | 1.192 | 339.11 | 1.258 | 329.205 | 1.539 | 331.65 | 1.563 | 330.887 | 16.84 | 895 | 67.494 | 0
2020-11-12 03:15:00 | 1.234 | 343.98 | 1.344 | 325.146 | 1.518 | 336.412 | 1.644 | 326.806 | 16.66 | 895 | 68.026 | 0
2020-11-12 03:30:00 | 1.375 | 311.37 | 1.462 | 332.93 | 1.755 | 304.52 | 1.812 | 334.633 | 16.4 | 894.3 | 69.008 | 0
2020-11-12 03:45:00 | 1.378 | 344.8 | 1.492 | 331.856 | 1.606 | 337.214 | 1.75 | 333.552 | 16.5 | 894 | 69.834 | 0
2020-11-12 04:00:00 | 1.479 | 39.8 | 1.588 | 332.335 | 1.759 | 38.925 | 1.885 | 334.034 | 16.53 | 894 | 75.614 | 0
2020-11-12 04:15:00 | 1.771 | 10.2 | 1.897 | 346.954 | 2.149 | 9.975 | 2.276 | 348.727 | 16.48 | 894 | 78.827 | 0
2020-11-12 04:30:00 | 1.924 | 214.68 | 2.056 | 1.818 | 2.174 | 209.956 | 2.362 | 1.826 | 16.4 | 894 | 79.414 | 0
2020-11-12 04:45:00 | 1.931 | 75.86 | 2.022 | 344.287 | 2.261 | 74.192 | 2.338 | 346.046 | 16.4 | 894 | 79.299 | 0
2020-11-12 05:00:00 | 1.986 | 279.88 | 2.101 | 336 | 2.253 | 273.723 | 2.393 | 337.72 | 16.29 | 894 | 79.305 | 0
2020-11-12 05:15:00 | 1.6707 | 100.0133 | 1.7893 | 340.3827 | 1.9013 | 97.8127 | 2.056 | 342.1227 | 16.3533 | 894 | 76.8887 | 0
2020-11-12 05:30:00 | 1.724 | 9.99 | 1.815 | 274.142 | 1.954 | 9.868 | 2.058 | 275.544 | 16.32 | 894 | 76.875 | 0
2020-11-12 05:45:00 | 1.687 | 41.16 | 1.8 | 336.55 | 1.984 | 40.254 | 2.112 | 338.271 | 16.48 | 894 | 77.591 | 0
2020-11-12 06:00:00 | 1.6453 | 145.42 | 1.7413 | 186.322 | 1.922 | 142.2207 | 2.0233 | 187.274 | 16.4867 | 894 | 77.1167 | 0
2020-11-12 06:15:00 | 1.568 | 285.08 | 1.612 | 336.412 | 1.758 | 278.808 | 1.794 | 338.134 | 16.42 | 894 | 77.648 | 0
2020-11-12 06:30:00 | 1.735 | 346.48 | 1.843 | 242.357 | 1.98 | 338.857 | 2.114 | 243.597 | 16.35 | 894 | 78.469 | 0
2020-11-12 06:45:00 | 1.818 | 311.93 | 1.942 | 275.453 | 2.186 | 305.069 | 2.31 | 276.859 | 16.06 | 894 | 79.487 | 0
2020-11-12 07:00:00 | 1.979 | 244.92 | 2.113 | 338.752 | 2.368 | 239.533 | 2.508 | 340.483 | 16.06 | 894 | 79.525 | 0
2020-11-12 07:15:00 | 2.451 | 333.41 | 2.579 | 319.944 | 2.792 | 326.075 | 2.934 | 321.58 | 15.71 | 894 | 81.66 | 0.12
2020-11-12 07:30:00 | 2.616 | 328.48 | 2.6873 | 312.5627 | 3.1173 | 321.2527 | 3.1107 | 314.1607 | 15.4 | 894.1333 | 79.5627 | 1.3613
2020-11-12 07:45:00 | 2.676 | 327.1 | 2.676 | 320.86 | 3.212 | 319.906 | 3.056 | 322.502 | 15.3 | 895 | 75.852 | 2.048
2020-11-12 08:00:00 | 2.33 | 269.12 | 2.282 | 324.303 | 2.783 | 263.199 | 2.563 | 325.964 | 15.43 | 895 | 75.403 | 1.628
2020-11-12 08:15:00 | 2.556 | 182.89 | 2.557 | 339.992 | 2.994 | 178.866 | 2.87 | 341.729 | 15.26 | 895 | 74.46 | 1.571
2020-11-12 08:30:00 | 2.294 | 279.62 | 2.388 | 328.647 | 2.515 | 273.469 | 2.626 | 330.328 | 15.39 | 895 | 74.454 | 0.539
2020-11-12 08:45:00 | 2.287 | 216.96 | 2.392 | 322.319 | 2.815 | 212.187 | 2.861 | 323.968 | 15.38 | 895 | 75.851 | 0
2020-11-12 09:00:00 | 2.147 | 343.55 | 2.234 | 318.964 | 2.605 | 335.991 | 2.639 | 320.596 | 15.42 | 895 | 77.1 | 0.047
2020-11-12 09:15:00 | 2.415 | 336.5 | 2.513 | 313.694 | 2.849 | 329.097 | 2.912 | 315.298 | 15.28 | 896 | 80.814 | 0.43
2020-11-12 09:30:00 | 2.1133 | 189.2933 | 2.1047 | 316.3767 | 2.462 | 185.13 | 2.35 | 317.9947 | 15.4133 | 896 | 83.6333 | 0.34667
2020-11-12 09:45:00 | 2.176 | 79.7733 | 2.1667 | 319.1667 | 2.4853 | 78.02 | 2.3847 | 320.798 | 15.5667 | 896 | 83.0933 | 0.37067
2020-11-12 10:00:00 | 1.9607 | 282.26 | 1.9153 | 313.3193 | 2.3033 | 276.0513 | 2.1227 | 314.9213 | 15.7267 | 896.1333 | 79.8767 | 0.44533
2020-11-12 10:15:00 | 2.238 | 281.38 | 2.172 | 315.798 | 2.782 | 275.192 | 2.502 | 317.41 | 15.72 | 897 | 75.936 | 0.644
2020-11-12 10:30:00 | 2.068 | 327.04 | 1.972 | 322.934 | 2.342 | 319.844 | 2.088 | 324.586 | 15.24 | 897 | 73.574 | 0.65
2020-11-12 10:45:00 | 2.115 | 306.49 | 2.074 | 324.031 | 2.409 | 299.747 | 2.246 | 325.688 | 15.23 | 897 | 71.916 | 0.891
2020-11-12 11:00:00 | 2.043 | 338.97 | 1.985 | 327.856 | 2.341 | 331.512 | 2.141 | 329.531 | 15.42 | 897 | 73.3 | 0.642
2020-11-12 11:15:00 | 1.937 | 138.76 | 1.869 | 321.341 | 2.192 | 135.708 | 1.997 | 322.984 | 15.69 | 897 | 73.527 | 0.736
2020-11-12 11:30:00 | 2.266 | 314.77 | 2.283 | 331.161 | 2.318 | 307.846 | 2.34 | 332.852 | 15.75 | 897 | 74.275 | 0.614
2020-11-12 11:45:00 | 1.886 | 283.1 | 1.938 | 328.217 | 1.99 | 276.871 | 2.061 | 329.895 | 15.86 | 897 | 72.885 | 0.073
2020-11-12 12:00:00 | 1.656 | 295.04 | 1.7 | 296.775 | 1.788 | 288.551 | 1.834 | 298.291 | 16.05 | 897 | 70.886 | 0
2020-11-12 12:15:00 | 1.403 | 319.84 | 1.383 | 333.019 | 1.418 | 312.804 | 1.378 | 334.721 | 16.47 | 897 | 70.762 | 0
2020-11-12 12:30:00 | 1.411 | 335.2 | 1.481 | 300.764 | 1.56 | 327.827 | 1.651 | 302.303 | 16.77 | 896.3 | 71.97 | 0
2020-11-12 12:45:00 | 1.193 | 322 | 1.29 | 205.869 | 1.363 | 314.916 | 1.498 | 206.921 | 17.01 | 896 | 72.575 | 0
2020-11-12 13:00:00 | 0.94 | 313.24 | 0.984 | 131.385 | 1.115 | 306.349 | 1.142 | 132.055 | 17.4 | 896 | 71.277 | 0
2020-11-12 13:15:00 | 0.665 | 289.86 | 0.726 | 141.712 | 0.912 | 283.484 | 0.955 | 142.438 | 17.62 | 896 | 68.718 | 0
2020-11-12 13:30:00 | 0.697 | 326.15 | 0.715 | 107.286 | 0.827 | 318.976 | 0.826 | 107.834 | 17.76 | 896 | 67.078 | 0
2020-11-12 13:45:00 | 0.489 | 168.3 | 0.5 | 144.645 | 0.56 | 164.596 | 0.565 | 145.385 | 18.02 | 896 | 68.07 | 0
2020-11-12 14:00:00 | 0.773 | 172.16 | 0.829 | 164.226 | 0.615 | 168.371 | 0.769 | 165.065 | 17.88 | 895.3 | 67.452 | 0
2020-11-12 14:15:00 | 0.772 | 213.22 | 0.855 | 189.224 | 0.605 | 208.529 | 0.815 | 190.191 | 17.99 | 895 | 65.707 | 0
2020-11-12 14:30:00 | 0.721 | 235 | 0.749 | 182.808 | 0.827 | 229.83 | 0.849 | 183.741 | 18.03 | 895 | 63.282 | 0
2020-11-12 14:45:00 | 0.705 | 218.38 | 0.724 | 191.67 | 0.72 | 213.575 | 0.754 | 192.648 | 18.04 | 895 | 61.06 | 0
2020-11-12 15:00:00 | 0.752 | 203.5 | 0.781 | 168.361 | 0.97 | 199.023 | 0.964 | 169.224 | 17.97 | 895 | 61.738 | 0
2020-11-12 15:15:00 | 0.863 | 240.6 | 0.93 | 203.188 | 1.012 | 235.305 | 1.096 | 204.229 | 18.02 | 895 | 61.517 | 0
2020-11-12 15:30:00 | 0.928 | 227.5133 | 0.978 | 205.0153 | 0.92733 | 222.5067 | 1.0213 | 206.0627 | 17.88 | 895 | 60.1027 | 0
2020-11-12 15:45:00 | 1.058 | 226.2933 | 1.0947 | 202.8047 | 1.104 | 221.8553 | 1.1567 | 203.8413 | 17.7867 | 895 | 62.5393 | 0
2020-11-12 16:00:00 | 1.2367 | 221.0333 | 1.2547 | 193.8867 | 1.3087 | 216.17 | 1.3213 | 194.8767 | 17.7 | 894.8667 | 64.8167 | 0
2020-11-12 16:15:00 | 1.0987 | 218.54 | 1.1493 | 195.6007 | 1.1167 | 213.7313 | 1.2067 | 196.5993 | 17.6867 | 894 | 65.8933 | 0
2020-11-12 16:30:00 | 1.104 | 214.56 | 1.17 | 205.556 | 1.056 | 209.838 | 1.194 | 206.608 | 17.7 | 894 | 67.124 | 0
2020-11-12 16:45:00 | 0.826 | 225.32 | 0.92 | 228.794 | 0.978 | 220.228 | 1.114 | 229.962 | 17.66 | 894 | 66.776 | 0
2020-11-12 17:00:00 | 0.796 | 241.14 | 0.876 | 244.462 | 0.576 | 235.834 | 0.79 | 245.712 | 17.66 | 894 | 62.906 | 0.004
2020-11-12 17:15:00 | 0.75222 | 305.7889 | 0.78222 | 268.1133 | 0.85889 | 299.0633 | 0.87889 | 269.4822 | 17.5889 | 894 | 64.4633 | 0
2020-11-12 17:30:00 | 0.563 | 290.74 | 0.596 | 238.622 | 0.616 | 284.343 | 0.662 | 239.843 | 17.62 | 894 | 70.39 | 0
2020-11-12 17:45:00 | 0.509 | 233.96 | 0.5 | 230.025 | 0.675 | 228.814 | 0.607 | 231.201 | 17.5 | 894 | 68.971 | 0
2020-11-12 18:00:00 | 0.637 | 214.34 | 0.724 | 267.492 | 0.874 | 209.626 | 0.968 | 268.86 | 17.49 | 894 | 71.501 | 0
2020-11-12 18:15:00 | 0.935 | 144.06 | 1.021 | 313.254 | 1.084 | 140.891 | 1.202 | 314.856 | 17.06 | 894 | 73.304 | 0
2020-11-12 18:30:00 | 1.162 | 43.61 | 1.153 | 310.564 | 1.395 | 42.651 | 1.314 | 312.152 | 16.94 | 894 | 71.206 | 0
2020-11-12 18:45:00 | 0.964 | 149.4 | 0.959 | 242.485 | 1.184 | 146.114 | 1.11 | 243.724 | 17.06 | 894 | 68.302 | 0
2020-11-12 19:00:00 | 0.42 | 13.59 | 0.405 | 274.485 | 0.533 | 13.291 | 0.474 | 275.89 | 17.11 | 894 | 69.783 | 0
2020-11-12 19:15:00 | 0.273 | 21.97 | 0.264 | 210.651 | 0.235 | 21.486 | 0.227 | 211.728 | 17.25 | 894 | 70.418 | 0
2020-11-12 19:30:00 | 0.081 | 146.38 | 0.086 | 175.856 | 0.07 | 143.16 | 0.082 | 176.753 | 17.37 | 894 | 71.079 | 0
2020-11-12 19:45:00 | 0.17467 | 164.14 | 0.18133 | 131.9147 | 0.20867 | 160.53 | 0.214 | 132.5873 | 17.4267 | 894 | 70.908 | 0
2020-11-12 20:00:00 | 0.09 | 115.48 | 0.092 | 102.73 | 0.102 | 112.94 | 0.1 | 103.252 | 17.4 | 894 | 70.082 | 0
2020-11-12 20:15:00 | 0.178 | 176.81 | 0.168 | 319.396 | 0.153 | 172.921 | 0.14 | 321.028 | 17.38 | 894 | 68.716 | 0
2020-11-12 20:30:00 | 0.243 | 262.18 | 0.248 | 306.221 | 0.404 | 256.41 | 0.365 | 307.786 | 17.37 | 894 | 68.088 | 0
2020-11-12 20:45:00 | 0.558 | 320.25 | 0.565 | 269.401 | 0.852 | 313.205 | 0.779 | 270.777 | 17.27 | 894 | 67.484 | 0
2020-11-12 21:00:00 | 0.788 | 215.68 | 0.781 | 74.779 | 0.977 | 210.935 | 0.906 | 75.161 | 17.15 | 894 | 68.505 | 0
2020-11-12 21:15:00 | 0.817 | 141.79 | 0.777 | 13.683 | 0.918 | 138.671 | 0.815 | 13.752 | 17.03 | 894 | 75.98 | 0
2020-11-12 21:30:00 | 0.76 | 178.66 | 0.731 | 14.465 | 0.719 | 174.73 | 0.676 | 14.539 | 16.89 | 894 | 75.591 | 0
2020-11-12 21:45:00 | 0.718 | 146.42 | 0.717 | 15.042 | 0.725 | 143.199 | 0.724 | 15.119 | 16.84 | 894 | 75.106 | 0
2020-11-12 22:00:00 | 0.78643 | 9.4429 | 0.79857 | 25.4414 | 0.93643 | 9.2357 | 0.91786 | 25.5714 | 16.8571 | 894 | 77.3393 | 0
2020-11-12 22:15:00 | 0.55533 | 62.56 | 0.58933 | 52.5113 | 0.62933 | 61.184 | 0.66933 | 52.7807 | 16.9133 | 894 | 77.8793 | 0
2020-11-12 22:30:00 | 0.332 | 8.6 | 0.334 | 97.742 | 0.44 | 8.412 | 0.414 | 98.242 | 16.9 | 894 | 77.948 | 0
2020-11-12 22:45:00 | 0.322 | 10.98 | 0.352 | 66.854 | 0.332 | 10.738 | 0.384 | 67.198 | 16.8 | 894 | 78.142 | 0
2020-11-12 23:00:00 | 0.16111 | 129.7667 | 0.16556 | 115.49 | 0.16333 | 126.9122 | 0.16778 | 116.08 | 16.8 | 895 | 77.4467 | 0
2020-11-12 23:15:00 | 0.181 | 158.31 | 0.184 | 179.58 | 0.213 | 154.826 | 0.204 | 180.499 | 16.7 | 894.2 | 75.154 | 0
2020-11-12 23:30:00 | 0.18 | 164.5 | 0.175 | 159.492 | 0.162 | 160.881 | 0.154 | 160.306 | 16.85 | 894.3 | 73.597 | 0
2020-11-12 23:45:00 | 0.499 | 119.06 | 0.48 | 160.615 | 0.376 | 116.44 | 0.371 | 161.438 | 16.81 | 894.8 | 74.162 | 0