## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-13 00:00:00 | 0.374 | 136.87 | 0.352 | 155.13 | 0.307 | 133.859 | 0.288 | 155.924 | 16.64 | 894 | 72.721 | 0
2020-11-13 00:15:00 | 0.75133 | 143.0133 | 0.78333 | 161.0187 | 0.724 | 139.868 | 0.79133 | 161.8413 | 16.6467 | 894 | 75.7047 | 0
2020-11-13 00:30:00 | 0.655 | 150.29 | 0.632 | 155.678 | 0.679 | 146.983 | 0.629 | 156.473 | 16.58 | 894 | 75.579 | 0
2020-11-13 00:45:00 | 0.976 | 129.3 | 1.039 | 147.551 | 0.955 | 126.455 | 1.083 | 148.305 | 16.45 | 894 | 74.905 | 0.026
2020-11-13 01:00:00 | 1.159 | 120.05 | 1.24 | 147.53 | 1.141 | 117.41 | 1.3 | 148.285 | 16.56 | 894 | 74.396 | 0
2020-11-13 01:15:00 | 1.164 | 124.03 | 1.24 | 143.433 | 1.199 | 121.447 | 1.326 | 144.166 | 16.49 | 894 | 75.096 | 0.022
2020-11-13 01:30:00 | 1.2593 | 128.2533 | 1.342 | 135.5107 | 1.21 | 125.4307 | 1.3833 | 136.2047 | 16.5 | 894 | 74.264 | 0
2020-11-13 01:45:00 | 1.432 | 136.42 | 1.532 | 139.698 | 1.53 | 133.42 | 1.696 | 140.412 | 16.5 | 894 | 73.796 | 0
2020-11-13 02:00:00 | 1.427 | 136.92 | 1.462 | 136.704 | 1.355 | 133.907 | 1.446 | 137.403 | 16.45 | 894 | 73.818 | 0
2020-11-13 02:15:00 | 1.164 | 133.23 | 1.225 | 137.848 | 1.197 | 130.25 | 1.298 | 138.554 | 16 | 894 | 74.202 | 0
2020-11-13 02:30:00 | 1.552 | 135.79 | 1.594 | 125.143 | 1.5 | 132.803 | 1.593 | 125.785 | 16.4 | 894 | 76.102 | 0.039
2020-11-13 02:45:00 | 1.562 | 135.26 | 1.626 | 132.266 | 1.556 | 132.284 | 1.676 | 132.94 | 16.28 | 894 | 76.392 | 0.148
2020-11-13 03:00:00 | 1.6067 | 133.02 | 1.6967 | 131.384 | 1.5867 | 130.094 | 1.764 | 132.0567 | 16 | 893.8667 | 79.348 | 0.24933
2020-11-13 03:15:00 | 1.667 | 133.89 | 1.77 | 139.687 | 1.7 | 130.943 | 1.89 | 140.401 | 15.8 | 893 | 79.701 | 0.448
2020-11-13 03:30:00 | 1.714 | 128.22 | 1.764 | 130.506 | 1.734 | 125.4 | 1.82 | 131.172 | 15.8 | 893 | 78.424 | 0.566
2020-11-13 03:45:00 | 1.667 | 134 | 1.695 | 148.245 | 1.691 | 131.051 | 1.744 | 149.003 | 15.74 | 893 | 79.208 | 1.217
2020-11-13 04:00:00 | 1.606 | 134.58 | 1.659 | 142.143 | 1.696 | 131.62 | 1.775 | 142.87 | 15.48 | 893 | 79.82 | 1.754
2020-11-13 04:15:00 | 1.648 | 165.3333 | 1.6927 | 159.1593 | 1.8593 | 161.696 | 1.8793 | 159.9733 | 15.2067 | 893 | 80.3413 | 1.9267
2020-11-13 04:30:00 | 1.7227 | 165.96 | 1.7527 | 162.994 | 1.8733 | 162.3087 | 1.8887 | 163.8247 | 15.1467 | 893 | 81.72 | 2.3
2020-11-13 04:45:00 | 1.9173 | 165.5667 | 1.992 | 158.5073 | 1.9907 | 161.9253 | 2.1113 | 159.318 | 15.24 | 893 | 82.68 | 3.406
2020-11-13 05:00:00 | 2.038 | 164.36 | 2.12 | 155.11 | 2.158 | 160.744 | 2.284 | 155.904 | 15.24 | 892.6 | 82.8 | 4.456
2020-11-13 05:15:00 | 2.268 | 155.11 | 2.333 | 148.949 | 2.454 | 151.787 | 2.521 | 149.712 | 15.24 | 892 | 83.32 | 4.593
2020-11-13 05:30:00 | 2.384 | 165.57 | 2.434 | 145.839 | 2.416 | 161.928 | 2.504 | 146.585 | 15.38 | 892 | 83.69 | 4.362
2020-11-13 05:45:00 | 2.515 | 168.53 | 2.52 | 144.772 | 2.594 | 164.822 | 2.586 | 145.514 | 15.32 | 892 | 79.446 | 5.1
2020-11-13 06:00:00 | 2.167 | 171.91 | 2.194 | 150.954 | 2.241 | 168.128 | 2.275 | 151.727 | 15.17 | 892 | 76.28 | 3.962
2020-11-13 06:15:00 | 2.0607 | 176.3933 | 2.062 | 156.9367 | 2.0193 | 172.512 | 2.0353 | 157.738 | 15.2333 | 892 | 74.268 | 3.936
2020-11-13 06:30:00 | 1.998 | 172.12 | 1.994 | 158.198 | 1.966 | 168.332 | 1.976 | 159.01 | 15.3 | 892.4 | 74.004 | 2.916
2020-11-13 06:45:00 | 2.186 | 179.41 | 2.256 | 159.893 | 2.236 | 175.463 | 2.353 | 160.71 | 14.91 | 893 | 73.883 | 4.181
2020-11-13 07:00:00 | 1.933 | 181.17 | 1.976 | 159.482 | 1.933 | 176.087 | 2.021 | 160.298 | 14.75 | 893 | 74.798 | 3.614
2020-11-13 07:15:00 | 2.317 | 182.47 | 2.373 | 164.088 | 2.337 | 178.455 | 2.442 | 164.927 | 15.12 | 893 | 77.409 | 4.303
2020-11-13 07:30:00 | 2.386 | 178.28 | 2.45 | 154.201 | 2.312 | 174.359 | 2.459 | 154.988 | 15.12 | 893 | 76.967 | 3.984
2020-11-13 07:45:00 | 2.245 | 170.81 | 2.318 | 157.633 | 2.218 | 167.053 | 2.366 | 158.438 | 15.2 | 893 | 75.952 | 3.756
2020-11-13 08:00:00 | 2.326 | 161.18 | 2.372 | 149.888 | 2.217 | 157.633 | 2.339 | 150.655 | 15.34 | 893 | 74.625 | 2.825
2020-11-13 08:15:00 | 1.79 | 125.88 | 1.794 | 140.326 | 1.66 | 123.112 | 1.706 | 141.04 | 15.38 | 893 | 75.846 | 1.95
2020-11-13 08:30:00 | 1.456 | 183.18 | 1.548 | 177.372 | 1.638 | 179.15 | 1.756 | 178.278 | 15.04 | 894 | 75.476 | 1.662
2020-11-13 08:45:00 | 0.978 | 194.35 | 0.976 | 180.548 | 1.01 | 190.073 | 0.996 | 181.471 | 15.33 | 894 | 77.495 | 1.45
2020-11-13 09:00:00 | 1.312 | 191.6 | 1.373 | 189.009 | 1.478 | 187.387 | 1.542 | 189.974 | 15.64 | 894 | 83.04 | 1.819
2020-11-13 09:15:00 | 1.335 | 208.45 | 1.369 | 193.839 | 1.404 | 203.863 | 1.449 | 194.832 | 15.71 | 894.2 | 77.668 | 2.022
2020-11-13 09:30:00 | 1.214 | 204.58 | 1.23 | 194.701 | 1.377 | 200.012 | 1.357 | 195.695 | 15.81 | 895 | 74.87 | 1.632
2020-11-13 09:45:00 | 1.194 | 201.06 | 1.22 | 190.377 | 1.306 | 196.509 | 1.321 | 191.351 | 15.62 | 895 | 74.034 | 1.816
2020-11-13 10:00:00 | 1.355 | 199.14 | 1.364 | 190.613 | 1.46 | 194.758 | 1.452 | 191.588 | 15.65 | 895 | 77.194 | 2.2
2020-11-13 10:15:00 | 1.622 | 196.74 | 1.668 | 182.24 | 1.848 | 192.412 | 1.872 | 183.171 | 15.75 | 895 | 81.76 | 2.518
2020-11-13 10:30:00 | 1.6707 | 185.94 | 1.704 | 172.558 | 1.8953 | 181.8487 | 1.8967 | 173.4413 | 15.8933 | 895.1333 | 76.8607 | 2.558
2020-11-13 10:45:00 | 2.1167 | 173.1133 | 2.18 | 172.9627 | 2.2073 | 169.304 | 2.3013 | 173.846 | 15.8 | 896 | 72.0627 | 3.5167
2020-11-13 11:00:00 | 2.566 | 168.3867 | 2.688 | 159.232 | 2.636 | 164.682 | 2.8493 | 160.044 | 15.8533 | 896 | 70.096 | 4.7047
2020-11-13 11:15:00 | 2.33 | 154.26 | 2.462 | 168.08 | 2.328 | 150.864 | 2.582 | 168.938 | 16.2 | 896 | 67.902 | 4.722
2020-11-13 11:30:00 | 1.938 | 154.82 | 1.962 | 139.404 | 2.008 | 151.414 | 2.04 | 140.116 | 16.36 | 896 | 71.766 | 4.036
2020-11-13 11:45:00 | 2.342 | 177.02 | 2.448 | 157.142 | 2.574 | 173.126 | 2.71 | 157.948 | 16.6 | 896 | 70.91 | 4.302
2020-11-13 12:00:00 | 2.51 | 188.72 | 2.596 | 157.828 | 2.426 | 184.568 | 2.618 | 158.638 | 16.96 | 896 | 64.788 | 3.714
2020-11-13 12:15:00 | 2.532 | 178.3 | 2.626 | 166.142 | 2.64 | 174.377 | 2.787 | 166.992 | 17.45 | 895.8 | 60.758 | 3.859
2020-11-13 12:30:00 | 2.627 | 173.32 | 2.741 | 151.893 | 2.824 | 169.508 | 2.985 | 152.669 | 16.87 | 895.7 | 62.119 | 4.673
2020-11-13 12:45:00 | 2.546 | 175.79 | 2.655 | 165.273 | 2.806 | 171.922 | 2.938 | 166.116 | 17.03 | 895 | 63.105 | 3.486
2020-11-13 13:00:00 | 2.14 | 170.23 | 2.249 | 153.751 | 2.464 | 166.485 | 2.579 | 154.537 | 17.52 | 895 | 60.707 | 2.616
2020-11-13 13:15:00 | 1.992 | 177.24 | 2.058 | 154.133 | 2.375 | 173.341 | 2.387 | 154.92 | 17.63 | 895 | 60.99 | 2.224
2020-11-13 13:30:00 | 2.028 | 162.67 | 2.073 | 136.812 | 2.295 | 159.091 | 2.303 | 137.512 | 17.67 | 895 | 60.84 | 1.305
2020-11-13 13:45:00 | 2.022 | 154.88 | 2.162 | 142.496 | 2.423 | 151.472 | 2.572 | 143.223 | 17.86 | 894.8 | 62.412 | 1.137
2020-11-13 14:00:00 | 1.69 | 173.8 | 1.715 | 132.656 | 1.947 | 162.397 | 1.897 | 133.335 | 18.06 | 894 | 59.813 | 0.705
2020-11-13 14:15:00 | 1.595 | 161.5 | 1.665 | 150.905 | 1.678 | 157.946 | 1.791 | 151.676 | 17.96 | 894 | 60.166 | 0.744
2020-11-13 14:30:00 | 1.406 | 186.43 | 1.454 | 156.137 | 1.522 | 182.328 | 1.583 | 156.937 | 17.9 | 894 | 60.764 | 0.081
2020-11-13 14:45:00 | 1.522 | 205.85 | 1.596 | 162.661 | 1.881 | 201.322 | 1.922 | 163.492 | 17.82 | 893.8 | 62.247 | 0.03
2020-11-13 15:00:00 | 1.219 | 209.43 | 1.371 | 145.518 | 1.638 | 204.822 | 1.802 | 146.26 | 18.03 | 893 | 63.239 | 0.034
2020-11-13 15:15:00 | 1.332 | 189.12 | 1.456 | 166.231 | 1.582 | 185.3 | 1.74 | 167.081 | 18.16 | 893 | 61.429 | 0
2020-11-13 15:30:00 | 1.87 | 209.15 | 1.976 | 175.209 | 2.223 | 202.544 | 2.312 | 176.104 | 18.03 | 893 | 61.134 | 0
2020-11-13 15:45:00 | 1.908 | 212.86 | 2.111 | 177.174 | 2.28 | 208.178 | 2.559 | 178.08 | 18.17 | 893 | 60.899 | 0.169
2020-11-13 16:00:00 | 1.9179 | 208.6857 | 2.09 | 153.0921 | 2.3286 | 204.0957 | 2.5357 | 153.8743 | 18.1429 | 893 | 58.5086 | 0.18333
2020-11-13 16:15:00 | 1.622 | 207.9067 | 1.738 | 178.44 | 1.96 | 203.5473 | 2.0847 | 179.3533 | 18.0333 | 893 | 58.7 | 0.076
2020-11-13 16:30:00 | 1.524 | 189.8733 | 1.6427 | 172.3553 | 1.8047 | 185.698 | 1.946 | 173.236 | 17.86 | 893 | 58.6233 | 0
2020-11-13 16:45:00 | 1.812 | 183.18 | 1.922 | 156.004 | 2.17 | 179.052 | 2.2873 | 157.0513 | 17.6133 | 893 | 61.0233 | 0
2020-11-13 17:00:00 | 1.85 | 191.9467 | 1.99 | 154.694 | 2.2807 | 187.724 | 2.4187 | 155.484 | 17.4133 | 892.8667 | 63.4467 | 0.071333
2020-11-13 17:15:00 | 1.856 | 186.58 | 1.982 | 149.028 | 2.328 | 182.476 | 2.434 | 149.79 | 17.38 | 892 | 65.046 | 0.31
2020-11-13 17:30:00 | 1.94 | 188.6 | 2.026 | 180.066 | 2.148 | 184.454 | 2.254 | 180.99 | 17.44 | 892 | 66.91 | 0.662
2020-11-13 17:45:00 | 2.196 | 192.04 | 2.326 | 179.914 | 2.386 | 187.814 | 2.584 | 180.832 | 17.24 | 892 | 66.504 | 0.844
2020-11-13 18:00:00 | 1.993 | 178.81 | 2.07 | 172.109 | 2.266 | 174.875 | 2.337 | 172.988 | 17.14 | 892 | 65.744 | 1.294
2020-11-13 18:15:00 | 1.878 | 190.06 | 1.995 | 156.764 | 2.052 | 185.88 | 2.221 | 157.565 | 17 | 892 | 67.169 | 1.407
2020-11-13 18:30:00 | 1.995 | 182.4 | 2.059 | 166.015 | 2.183 | 178.388 | 2.253 | 166.863 | 16.97 | 892 | 69.347 | 1.272
2020-11-13 18:45:00 | 1.882 | 185.6 | 1.996 | 166.934 | 2.087 | 181.517 | 2.245 | 167.787 | 16.9 | 892 | 71.192 | 1.087
2020-11-13 19:00:00 | 2.189 | 188.3 | 2.332 | 176.861 | 2.378 | 184.372 | 2.598 | 177.766 | 17.09 | 892 | 71.652 | 1.213
2020-11-13 19:15:00 | 2.117 | 182.63 | 2.2 | 172.588 | 2.369 | 178.612 | 2.454 | 173.47 | 17.11 | 892 | 72.693 | 1.514
2020-11-13 19:30:00 | 1.945 | 186.02 | 2.027 | 172.206 | 2.022 | 182.22 | 2.155 | 173.087 | 17.1 | 892 | 73.49 | 1.113
2020-11-13 19:45:00 | 1.59 | 180.72 | 1.685 | 177.781 | 1.657 | 176.746 | 1.821 | 178.69 | 17.1 | 892 | 74.369 | 0.468
2020-11-13 20:00:00 | 1.401 | 161.7 | 1.483 | 162.172 | 1.596 | 158.143 | 1.701 | 163.002 | 16.85 | 892.7 | 73.909 | 0.139
2020-11-13 20:15:00 | 1.5247 | 171.7133 | 1.596 | 147.5593 | 1.644 | 167.238 | 1.7413 | 148.5293 | 16.5667 | 893 | 73.874 | 0.26667
2020-11-13 20:30:00 | 1.7573 | 192.58 | 1.8813 | 179.9587 | 1.7167 | 188.3427 | 1.9627 | 180.878 | 16.78 | 893 | 72.3173 | 0.36533
2020-11-13 20:45:00 | 1.9927 | 192.8067 | 2.1087 | 175.0747 | 2.0813 | 188.5653 | 2.282 | 175.9693 | 16.92 | 893 | 71.6333 | 0.37267
2020-11-13 21:00:00 | 1.8793 | 188.78 | 1.9693 | 181.4533 | 1.886 | 184.06 | 2.0553 | 182.3793 | 16.9267 | 893 | 71.8773 | 0.32267
2020-11-13 21:15:00 | 1.69 | 183.66 | 1.772 | 175.882 | 1.558 | 179.62 | 1.756 | 176.78 | 16.98 | 893 | 72.652 | 0.328
2020-11-13 21:30:00 | 1.574 | 186.26 | 1.652 | 179.422 | 1.448 | 182.162 | 1.64 | 180.34 | 16.92 | 893 | 72.32 | 0.388
2020-11-13 21:45:00 | 1.491 | 189.76 | 1.546 | 179.942 | 1.283 | 185.586 | 1.452 | 180.861 | 16.85 | 893 | 70.892 | 0.315
2020-11-13 22:00:00 | 1.339 | 195.38 | 1.391 | 178.319 | 1.171 | 191.081 | 1.322 | 179.23 | 16.81 | 893 | 70.542 | 0.148
2020-11-13 22:15:00 | 1.238 | 189.79 | 1.315 | 181.625 | 1.203 | 185.615 | 1.359 | 182.553 | 16.8 | 893 | 71.093 | 0.253
2020-11-13 22:30:00 | 1.063 | 184.77 | 1.126 | 184.423 | 1.002 | 180.704 | 1.141 | 185.364 | 16.73 | 893 | 72.021 | 0.125
2020-11-13 22:45:00 | 0.759 | 186.37 | 0.759 | 195.668 | 0.636 | 182.269 | 0.671 | 196.668 | 16.73 | 893 | 73.246 | 0
2020-11-13 23:00:00 | 0.784 | 168.57 | 0.757 | 199.121 | 0.601 | 164.863 | 0.608 | 200.138 | 16.75 | 893 | 73.36 | 0
2020-11-13 23:15:00 | 0.452 | 141.44 | 0.395 | 202.709 | 0.319 | 138.329 | 0.246 | 203.744 | 16.53 | 893 | 73.855 | 0
2020-11-13 23:30:00 | 0.551 | 173.6 | 0.526 | 202.623 | 0.483 | 169.782 | 0.456 | 203.658 | 16.5 | 893 | 74.622 | 0.039
2020-11-13 23:45:00 | 0.44429 | 184.2714 | 0.44286 | 203.2557 | 0.34786 | 180.2179 | 0.375 | 204.2957 | 16.4857 | 893 | 74.2971 | 0