## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-15 00:00:00 | 2.313 | 148.81 | 2.399 | 144.236 | 2.495 | 145.537 | 2.609 | 144.972 | 15.58 | 890.3 | 66.466 | 2.876
2020-11-15 00:15:00 | 2.26 | 150.66 | 2.352 | 144.96 | 2.496 | 147.346 | 2.604 | 145.698 | 15.48 | 890 | 66.39 | 2.432
2020-11-15 00:30:00 | 2.344 | 147.63 | 2.421 | 150.201 | 2.681 | 144.381 | 2.728 | 150.97 | 15.26 | 890 | 66.09 | 2.956
2020-11-15 00:45:00 | 2.197 | 138.58 | 2.212 | 147.561 | 2.558 | 135.53 | 2.487 | 148.315 | 15.24 | 890 | 65.151 | 3.027
2020-11-15 01:00:00 | 2.035 | 161.38 | 2.061 | 146.397 | 2.35 | 157.83 | 2.307 | 147.145 | 15.41 | 890 | 65.508 | 2.526
2020-11-15 01:15:00 | 1.9 | 178.86 | 1.934 | 154.544 | 2.042 | 174.924 | 2.066 | 155.334 | 15.64 | 890 | 64.478 | 2.69
2020-11-15 01:30:00 | 2.218 | 181.18 | 2.268 | 153.625 | 2.271 | 177.193 | 2.35 | 154.41 | 15.73 | 890 | 65.742 | 3.435
2020-11-15 01:45:00 | 2.412 | 174.27 | 2.483 | 156.891 | 2.5 | 170.436 | 2.613 | 157.692 | 15.68 | 890 | 66.393 | 3.691
2020-11-15 02:00:00 | 2.304 | 170.34 | 2.354 | 158.438 | 2.29 | 166.594 | 2.39 | 159.248 | 15.74 | 890 | 67.03 | 3.158
2020-11-15 02:15:00 | 1.982 | 177.83 | 2.006 | 158.69 | 1.978 | 173.917 | 2.029 | 159.501 | 15.71 | 890 | 66.395 | 2.616
2020-11-15 02:30:00 | 1.995 | 167.12 | 2.053 | 151.385 | 2.06 | 163.444 | 2.155 | 152.159 | 15.47 | 890 | 65.608 | 2.785
2020-11-15 02:45:00 | 2.052 | 159.14 | 2.094 | 150.79 | 2.136 | 155.638 | 2.188 | 151.558 | 15.4 | 890 | 64.74 | 2.662
2020-11-15 03:00:00 | 1.976 | 168.19 | 2.069 | 156.343 | 2.079 | 164.49 | 2.231 | 157.142 | 15.24 | 890 | 64.426 | 2.136
2020-11-15 03:15:00 | 1.75 | 179.68 | 1.895 | 174.229 | 1.967 | 175.991 | 2.182 | 175.121 | 15.07 | 890 | 64.67 | 1.377
2020-11-15 03:30:00 | 1.748 | 186.24 | 1.82 | 184.744 | 1.778 | 182.144 | 1.912 | 185.688 | 15.12 | 890 | 65.09 | 1.258
2020-11-15 03:45:00 | 1.858 | 146.27 | 1.923 | 161.585 | 2.056 | 143.052 | 2.122 | 162.411 | 15.5 | 890 | 64.013 | 1.339
2020-11-15 04:00:00 | 1.914 | 153.9533 | 1.9287 | 161.8927 | 2.0273 | 150.566 | 2.0247 | 162.7207 | 15.4867 | 890 | 63.8553 | 1.1987
2020-11-15 04:15:00 | 1.726 | 180.71 | 1.772 | 169.487 | 1.716 | 176.734 | 1.808 | 170.354 | 15.47 | 890 | 64.184 | 0.529
2020-11-15 04:30:00 | 1.742 | 178.77 | 1.824 | 191.717 | 1.884 | 174.836 | 2.001 | 192.698 | 15.5 | 890 | 63.876 | 0.454
2020-11-15 04:45:00 | 1.549 | 193.39 | 1.661 | 197.528 | 1.663 | 189.135 | 1.841 | 198.537 | 15.49 | 890 | 62.285 | 0.162
2020-11-15 05:00:00 | 1.083 | 213.98 | 1.116 | 204.803 | 1.11 | 209.273 | 1.168 | 205.851 | 15.52 | 890 | 62.48 | 0.059
2020-11-15 05:15:00 | 0.74467 | 222.2467 | 0.73067 | 210.3687 | 0.77067 | 217.3567 | 0.73667 | 211.4433 | 15.5133 | 890 | 63.1787 | 0.11
2020-11-15 05:30:00 | 0.646 | 232.02 | 0.61 | 209.158 | 0.62 | 226.914 | 0.566 | 210.226 | 15.54 | 890 | 63.646 | 0.18
2020-11-15 05:45:00 | 0.604 | 276.98 | 0.597 | 220.626 | 0.565 | 270.885 | 0.563 | 221.753 | 15.56 | 890 | 65.628 | 0.142
2020-11-15 06:00:00 | 0.722 | 234.11 | 0.756 | 229.204 | 0.78 | 228.96 | 0.832 | 230.375 | 15.49 | 890 | 67.452 | 0
2020-11-15 06:15:00 | 0.632 | 305.58 | 0.618 | 257.116 | 0.718 | 298.858 | 0.672 | 258.43 | 15.5 | 890 | 68.99 | 0.002
2020-11-15 06:30:00 | 0.664 | 291.56 | 0.667 | 256.021 | 0.883 | 285.146 | 0.828 | 257.33 | 15.55 | 890 | 69.767 | 0
2020-11-15 06:45:00 | 0.546 | 266.27 | 0.572 | 289.087 | 0.766 | 260.411 | 0.751 | 290.565 | 15.29 | 890 | 70.952 | 0
2020-11-15 07:00:00 | 0.782 | 281.41 | 0.773 | 324.325 | 1.059 | 275.288 | 0.968 | 325.983 | 14.97 | 890 | 71.109 | 0
2020-11-15 07:15:00 | 1.514 | 320.16 | 1.5373 | 321.8873 | 2.1473 | 313.7827 | 2.0107 | 323.532 | 14.88 | 890 | 70.332 | 0
2020-11-15 07:30:00 | 1.836 | 315.84 | 1.868 | 329.138 | 2.382 | 308.89 | 2.288 | 330.818 | 14.86 | 890 | 70.71 | 0
2020-11-15 07:45:00 | 2.426 | 330.35 | 2.529 | 327.541 | 2.98 | 323.083 | 3.013 | 329.216 | 14.57 | 890 | 71.382 | 0.856
2020-11-15 08:00:00 | 2.893 | 348.06 | 3.021 | 337.565 | 3.372 | 340.402 | 3.482 | 339.291 | 14.24 | 890 | 71.676 | 1.991
2020-11-15 08:15:00 | 2.937 | 241.55 | 2.952 | 331.798 | 3.417 | 236.236 | 3.31 | 333.493 | 14.16 | 890 | 72.756 | 2.073
2020-11-15 08:30:00 | 2.7673 | 275.04 | 2.836 | 328.1 | 3.404 | 268.9887 | 3.3513 | 329.7773 | 14.0267 | 890.8 | 73.6127 | 2.7953
2020-11-15 08:45:00 | 2.788 | 192.82 | 2.826 | 330.798 | 3.36 | 188.578 | 3.266 | 332.488 | 13.96 | 891 | 73.39 | 2.382
2020-11-15 09:00:00 | 2.4133 | 235.9556 | 2.4333 | 331.9756 | 2.9811 | 230.7644 | 2.8567 | 333.6756 | 14.0778 | 891 | 73.0233 | 1.563
2020-11-15 09:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 891 | 71.971 | 1.781
2020-11-15 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 891 | 71.792 | 1.832
2020-11-15 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 71.196 | 1.576
2020-11-15 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 68.024 | 2.096
2020-11-15 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.2 | 66.19 | 1.322
2020-11-15 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 65.934 | 0
2020-11-15 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 66.562 | 0
2020-11-15 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 68.2813 | 0
2020-11-15 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 67.1347 | 0
2020-11-15 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.2 | 64.3993 | 0
2020-11-15 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.4667 | 61.788 | 0
2020-11-15 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 59.7747 | 0
2020-11-15 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 893 | 62.208 | 0
2020-11-15 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892.3333 | 61.6911 | 0
2020-11-15 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 892 | 57.842 | 0.048
2020-11-15 13:00:00 | 0.409 | 34.62 | 0.418 | 24.782 | 0.49 | 33.858 | 0.484 | 24.909 | 3.47 | 892 | 52.882 | 0
2020-11-15 13:15:00 | 1.907 | 184.73 | 1.957 | 147.199 | 2.294 | 180.666 | 2.278 | 147.951 | 17.35 | 892 | 53.904 | 0.072
2020-11-15 13:30:00 | 2.006 | 176.1 | 2.098 | 152.831 | 2.177 | 171.181 | 2.316 | 153.614 | 17.46 | 892 | 52.696 | 0
2020-11-15 13:45:00 | 1.989 | 171.75 | 2.074 | 140.285 | 1.966 | 167.971 | 2.134 | 141.001 | 17.48 | 891.8 | 51.278 | 0
2020-11-15 14:00:00 | 1.498 | 172.79 | 1.558 | 137.948 | 1.703 | 165.694 | 1.747 | 138.651 | 17.75 | 891 | 50.066 | 0
2020-11-15 14:15:00 | 1.248 | 192.32 | 1.352 | 144 | 1.521 | 188.09 | 1.639 | 144.738 | 17.95 | 891 | 49.073 | 0
2020-11-15 14:30:00 | 1.647 | 177.35 | 1.7 | 151.131 | 1.838 | 173.447 | 1.883 | 151.902 | 18.34 | 891 | 48.744 | 0
2020-11-15 14:45:00 | 1.384 | 166.5 | 1.379 | 144.568 | 1.626 | 162.836 | 1.542 | 145.307 | 18.51 | 890.2 | 46.681 | 0
2020-11-15 15:00:00 | 1.5613 | 205.84 | 1.6867 | 142.9327 | 1.78 | 201.312 | 1.9573 | 143.6633 | 18.6667 | 890.2 | 46.854 | 0
2020-11-15 15:15:00 | 1.6513 | 197.3467 | 1.724 | 195.6127 | 2.0487 | 193.0047 | 2.0733 | 196.6133 | 18.5133 | 890 | 47.014 | 0
2020-11-15 15:30:00 | 1.6573 | 195.9133 | 1.6913 | 186.6407 | 2.0013 | 191.6033 | 1.9687 | 187.5953 | 18.2267 | 890 | 48.45 | 0
2020-11-15 15:45:00 | 1.548 | 192.8933 | 1.614 | 186.4327 | 1.8053 | 188.6493 | 1.8567 | 187.3867 | 18.1267 | 890 | 50.838 | 0
2020-11-15 16:00:00 | 1.604 | 222.32 | 1.694 | 192.626 | 1.79 | 217.43 | 1.906 | 193.612 | 18.14 | 890 | 51.672 | 0
2020-11-15 16:15:00 | 1.715 | 204.83 | 1.843 | 179.315 | 2.071 | 200.323 | 2.21 | 180.232 | 17.96 | 890 | 55.271 | 0
2020-11-15 16:30:00 | 1.761 | 215.31 | 1.941 | 199.199 | 2.096 | 210.574 | 2.339 | 200.218 | 17.92 | 889.3 | 55.039 | 0
2020-11-15 16:45:00 | 2.075 | 204.74 | 2.243 | 194.874 | 2.501 | 200.236 | 2.695 | 195.871 | 17.71 | 889 | 56.333 | 0.152
2020-11-15 17:00:00 | 2.166 | 202.87 | 2.339 | 196.255 | 2.569 | 199.404 | 2.764 | 197.259 | 17.62 | 889 | 56.818 | 0.77
2020-11-15 17:15:00 | 2.406 | 190.63 | 2.589 | 183.357 | 2.812 | 186.436 | 3.048 | 184.294 | 17.58 | 889 | 54.786 | 1.621
2020-11-15 17:30:00 | 2.092 | 187.72 | 2.238 | 179.423 | 2.491 | 183.591 | 2.656 | 180.341 | 17.43 | 889 | 53.499 | 1.244
2020-11-15 17:45:00 | 2.045 | 176.85 | 2.184 | 184.068 | 2.431 | 172.96 | 2.588 | 185.01 | 17.28 | 889 | 54.358 | 1.518
2020-11-15 18:00:00 | 2.225 | 185.96 | 2.354 | 174.212 | 2.51 | 181.868 | 2.673 | 175.102 | 17.13 | 889 | 55.986 | 0.992
2020-11-15 18:15:00 | 2.466 | 170.5133 | 2.5687 | 166.828 | 2.83 | 166.7613 | 2.922 | 167.6807 | 17.1533 | 889 | 56.786 | 2.316
2020-11-15 18:30:00 | 2.45 | 165.5667 | 2.5113 | 160.672 | 2.7827 | 162.5093 | 2.8067 | 161.494 | 17.1133 | 889 | 56.7693 | 2.7333
2020-11-15 18:45:00 | 2.426 | 168.76 | 2.482 | 157.792 | 2.794 | 165.048 | 2.8 | 158.598 | 17.08 | 889 | 58.534 | 2.692
2020-11-15 19:00:00 | 2.392 | 165.19 | 2.449 | 160.313 | 2.75 | 161.556 | 2.755 | 161.133 | 16.94 | 889 | 61.285 | 2.608
2020-11-15 19:15:00 | 2.351 | 163.76 | 2.419 | 156.539 | 2.572 | 160.158 | 2.637 | 157.339 | 16.99 | 889 | 61.96 | 2.401
2020-11-15 19:30:00 | 2.098 | 158.87 | 2.152 | 153.42 | 2.237 | 155.376 | 2.302 | 154.204 | 16.79 | 889 | 62.818 | 1.937
2020-11-15 19:45:00 | 1.886 | 155.12 | 1.932 | 149.203 | 2.099 | 151.707 | 2.126 | 149.966 | 16.51 | 889 | 64.576 | 1.222
2020-11-15 20:00:00 | 1.884 | 165.53 | 1.967 | 154.545 | 2.13 | 161.887 | 2.217 | 155.334 | 16.42 | 889 | 65.754 | 1.165
2020-11-15 20:15:00 | 2.0079 | 169 | 2.12 | 156.2693 | 2.2229 | 165.2843 | 2.3793 | 157.0686 | 16.35 | 890 | 66.2933 | 1.6886
2020-11-15 20:30:00 | 2.302 | 171.8933 | 2.4073 | 163.1107 | 2.5753 | 168.1107 | 2.6987 | 163.9447 | 16.34 | 890 | 66.446 | 2.81
2020-11-15 20:45:00 | 2.56 | 162.56 | 2.658 | 158.26 | 2.95 | 158.984 | 3.02 | 159.07 | 16.4 | 890 | 66.144 | 3.798
2020-11-15 21:00:00 | 2.46 | 169.31 | 2.559 | 166.269 | 2.815 | 165.585 | 2.902 | 167.118 | 16.34 | 890 | 65.448 | 4.109
2020-11-15 21:15:00 | 2.41 | 185.7 | 2.442 | 173.233 | 2.693 | 181.616 | 2.675 | 174.118 | 16.39 | 890 | 65.363 | 4.168
2020-11-15 21:30:00 | 2.316 | 185.2067 | 2.384 | 167.6287 | 2.462 | 181.132 | 2.5493 | 168.4867 | 16.2933 | 890 | 65.58 | 3.45
2020-11-15 21:45:00 | 2.482 | 181.88 | 2.5407 | 166.5993 | 2.6807 | 177.8773 | 2.736 | 167.4513 | 16.26 | 890 | 66.3787 | 3.2813
2020-11-15 22:00:00 | 2.194 | 174.5267 | 2.242 | 165.568 | 2.3767 | 170.688 | 2.4187 | 166.414 | 16.1133 | 890 | 66.0327 | 2.6553
2020-11-15 22:15:00 | 2.166 | 170.5 | 2.196 | 166.572 | 2.266 | 167.532 | 2.294 | 167.424 | 16.22 | 890 | 65.94 | 1.984
2020-11-15 22:30:00 | 1.775 | 157.14 | 1.781 | 171.882 | 1.94 | 153.684 | 1.907 | 172.763 | 16.08 | 890 | 65.11 | 1.324
2020-11-15 22:45:00 | 1.488 | 157.21 | 1.548 | 166.163 | 1.728 | 153.753 | 1.774 | 167.012 | 15.95 | 890 | 63.952 | 1.032
2020-11-15 23:00:00 | 1.53 | 147.8 | 1.632 | 148.275 | 1.834 | 144.549 | 1.938 | 149.032 | 15.84 | 890 | 63.509 | 0.733
2020-11-15 23:15:00 | 1.566 | 143.17 | 1.658 | 137.719 | 1.804 | 140.02 | 1.91 | 138.425 | 15.74 | 890 | 63.071 | 0.705
2020-11-15 23:30:00 | 1.7833 | 140.2933 | 1.8587 | 142.866 | 1.9753 | 137.2067 | 2.0633 | 143.596 | 15.7467 | 890 | 63.0253 | 0.99067
2020-11-15 23:45:00 | 1.688 | 145.06 | 1.77 | 144.978 | 1.936 | 141.868 | 2.026 | 145.722 | 15.8 | 890 | 63.292 | 0.962