## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-16 00:00:00 | 1.447 | 138.3 | 1.533 | 158.3 | 1.642 | 135.259 | 1.749 | 159.108 | 15.78 | 890 | 63.026 | 0.644
2020-11-16 00:15:00 | 1.485 | 134.85 | 1.573 | 148.44 | 1.764 | 131.882 | 1.85 | 149.201 | 15.76 | 890 | 63.178 | 0.633
2020-11-16 00:30:00 | 1.482 | 143.38 | 1.556 | 140.518 | 1.726 | 140.224 | 1.808 | 141.236 | 15.7 | 890 | 63.384 | 0.59
2020-11-16 00:45:00 | 1.375 | 146.4 | 1.428 | 138.505 | 1.651 | 143.179 | 1.673 | 139.214 | 15.63 | 889 | 63.961 | 0.424
2020-11-16 01:00:00 | 1.652 | 144.2133 | 1.76 | 150.8853 | 1.808 | 141.0407 | 1.9673 | 151.658 | 15.64 | 889 | 65.2293 | 0.35
2020-11-16 01:15:00 | 1.624 | 161.92 | 1.756 | 154.056 | 1.9 | 158.356 | 2.074 | 154.842 | 15.64 | 889 | 64.926 | 0.288
2020-11-16 01:30:00 | 1.693 | 152.34 | 1.804 | 156.059 | 1.825 | 148.988 | 1.995 | 156.857 | 15.64 | 889 | 64.644 | 0.374
2020-11-16 01:45:00 | 1.642 | 136.2733 | 1.7353 | 146.3147 | 1.7907 | 134.95 | 1.9227 | 147.062 | 15.5267 | 889 | 63.206 | 0.54533
2020-11-16 02:00:00 | 1.863 | 151.55 | 1.926 | 159.56 | 1.942 | 148.215 | 2.046 | 160.376 | 15.63 | 889 | 62.964 | 0.589
2020-11-16 02:15:00 | 1.5427 | 144.42 | 1.6453 | 159.0613 | 1.706 | 141.244 | 1.8513 | 159.8753 | 15.4933 | 889 | 64.2613 | 0.89667
2020-11-16 02:30:00 | 1.898 | 156.39 | 2.001 | 161.692 | 2.063 | 152.95 | 2.208 | 162.519 | 15.56 | 889 | 65.079 | 1.038
2020-11-16 02:45:00 | 1.8067 | 155.8267 | 1.8747 | 154.8627 | 2.0227 | 152.3987 | 2.0867 | 155.654 | 15.7133 | 889 | 64.422 | 1.2967
2020-11-16 03:00:00 | 1.878 | 165.63 | 1.956 | 155.736 | 2.044 | 161.984 | 2.143 | 156.533 | 15.58 | 889 | 65.84 | 1.77
2020-11-16 03:15:00 | 1.872 | 133.77 | 1.96 | 160.031 | 1.961 | 130.827 | 2.103 | 160.848 | 15.59 | 888 | 73.45 | 1.788
2020-11-16 03:30:00 | 1.898 | 148.14 | 1.992 | 155.816 | 2.024 | 144.88 | 2.172 | 156.61 | 15.44 | 888 | 75.474 | 1.3
2020-11-16 03:45:00 | 1.898 | 148.14 | 1.992 | 155.816 | 2.024 | 144.88 | 2.172 | 156.61 | 15.44 | 888 | 75.474 | 1.3
2020-11-16 04:00:00 | 1.617 | 174.92 | 1.697 | 163.609 | 1.806 | 171.071 | 1.906 | 164.446 | 14.9 | 888 | 65.084 | 1.556
2020-11-16 04:15:00 | 1.712 | 179.76 | 1.7987 | 169.5593 | 1.7913 | 175.804 | 1.9333 | 170.4253 | 14.8667 | 888 | 66.734 | 1.8913
2020-11-16 04:30:00 | 1.7833 | 165.0333 | 1.8622 | 163.6956 | 1.9156 | 161.4033 | 2.0289 | 164.5311 | 14.7556 | 888 | 66.63 | 1.778
2020-11-16 04:45:00 | 1.825 | 134.56 | 1.972 | 154.134 | 2.075 | 131.599 | 2.282 | 154.921 | 14.4 | 888 | 67.176 | 1.807
2020-11-16 05:00:00 | 1.7233 | 134 | 1.8107 | 157.516 | 1.992 | 131.0527 | 2.078 | 158.322 | 14.66 | 887.2 | 64.7733 | 1.538
2020-11-16 05:15:00 | 1.626 | 122.6 | 1.748 | 165.398 | 1.928 | 119.904 | 2.078 | 166.244 | 14.7 | 887 | 64.174 | 1.758
2020-11-16 05:30:00 | 1.397 | 137.34 | 1.485 | 165.184 | 1.684 | 134.318 | 1.769 | 166.028 | 14.86 | 887 | 65.241 | 1.631
2020-11-16 05:45:00 | 1.43 | 155.64 | 1.47 | 167.12 | 1.553 | 152.069 | 1.588 | 167.977 | 15 | 887 | 65.605 | 1.735
2020-11-16 06:00:00 | 1.3147 | 167.3667 | 1.352 | 173.1187 | 1.3927 | 163.5527 | 1.4333 | 174.004 | 15.0133 | 887 | 65.8607 | 1.8213
2020-11-16 06:15:00 | 0.963 | 176.77 | 1.001 | 178.504 | 1.011 | 172.881 | 1.073 | 179.417 | 14.84 | 887 | 66.008 | 1.949
2020-11-16 06:30:00 | 1.3647 | 176.4067 | 1.3907 | 174.8073 | 1.3 | 172.5253 | 1.3707 | 175.6993 | 14.9667 | 887 | 65.6693 | 2.0227
2020-11-16 06:45:00 | 1.3611 | 175.3556 | 1.4211 | 177.0611 | 1.4489 | 171.4978 | 1.5389 | 177.9678 | 14.8889 | 887 | 65.36 | 2.1578
2020-11-16 07:00:00 | 1.512 | 169.36 | 1.638 | 180.138 | 1.503 | 165.633 | 1.742 | 181.058 | 14.86 | 887 | 69.642 | 1.955
2020-11-16 07:15:00 | 1.352 | 166.0667 | 1.4287 | 178.3153 | 1.4067 | 162.414 | 1.536 | 179.2273 | 14.7733 | 887 | 77.1507 | 2.0753
2020-11-16 07:30:00 | 1.3356 | 156.2556 | 1.4411 | 182.6578 | 1.3689 | 152.8178 | 1.5622 | 183.5922 | 14.6778 | 887 | 78.78 | 2.005
2020-11-16 07:45:00 | 1.064 | 153.52 | 1.157 | 177.457 | 1.13 | 150.142 | 1.289 | 178.366 | 14.55 | 887 | 78.216 | 1.62
2020-11-16 08:00:00 | 1.438 | 152.38 | 1.461 | 172.089 | 1.545 | 149.027 | 1.557 | 172.969 | 14.6 | 887 | 76.719 | 2.233
2020-11-16 08:15:00 | 1.373 | 137.96 | 1.413 | 178.797 | 1.414 | 135.043 | 1.472 | 179.711 | 14.4 | 887 | 75.35 | 2.844
2020-11-16 08:30:00 | 0.946 | 133.47 | 0.972 | 165.684 | 0.895 | 129.518 | 0.961 | 166.529 | 14.53 | 887 | 76.059 | 2.497
2020-11-16 08:45:00 | 0.45667 | 108.46 | 0.47067 | 155.972 | 0.528 | 106.074 | 0.53133 | 156.7687 | 14.5533 | 887 | 77.0153 | 2.2747
2020-11-16 09:00:00 | 0.364 | 134.86 | 0.352 | 155.504 | 0.452 | 131.89 | 0.398 | 156.298 | 14.56 | 887 | 78.262 | 1.83
2020-11-16 09:15:00 | 1.116 | 146.64 | 1.062 | 191.668 | 1.344 | 143.413 | 1.179 | 192.648 | 14.57 | 887 | 79.034 | 1.737
2020-11-16 09:30:00 | 0.948 | 204.14 | 0.933 | 208.745 | 1.364 | 199.649 | 1.213 | 209.812 | 14.59 | 887 | 78.232 | 2.003
2020-11-16 09:45:00 | 1.155 | 169.55 | 1.162 | 198.007 | 1.282 | 165.82 | 1.26 | 199.017 | 14.83 | 887 | 78.474 | 1.84
2020-11-16 10:00:00 | 1.171 | 188.24 | 1.189 | 190.396 | 1.238 | 184.097 | 1.253 | 191.37 | 14.67 | 887.7 | 77.939 | 1.705
2020-11-16 10:15:00 | 1.396 | 178.68 | 1.45 | 182.485 | 1.394 | 174.75 | 1.496 | 183.418 | 14.79 | 888 | 77.708 | 1.892
2020-11-16 10:30:00 | 1.1529 | 175.8857 | 1.2286 | 184.8764 | 1.235 | 172.0157 | 1.3536 | 185.8221 | 14.7286 | 888 | 77.5886 | 1.8713
2020-11-16 10:45:00 | 1.3753 | 181.14 | 1.4287 | 176.7827 | 1.3933 | 177.154 | 1.4913 | 177.6867 | 14.9467 | 888 | 77.3913 | 2.2387
2020-11-16 11:00:00 | 0.96 | 166.4067 | 1.062 | 165.7187 | 1.2087 | 162.334 | 1.328 | 166.5667 | 14.8533 | 888 | 77.348 | 2.0647
2020-11-16 11:15:00 | 0.93 | 146.34 | 0.984 | 169.682 | 1.224 | 143.122 | 1.246 | 170.552 | 14.9 | 888 | 77.412 | 1.974
2020-11-16 11:30:00 | 0.996 | 154.86 | 1.104 | 168.646 | 1.024 | 151.454 | 1.21 | 169.508 | 14.7 | 888 | 76.58 | 1.452
2020-11-16 11:45:00 | 1.196 | 195.32 | 1.256 | 187.053 | 1.334 | 191.023 | 1.414 | 188.009 | 14.88 | 888 | 76.508 | 1.309
2020-11-16 12:00:00 | 1.283 | 205.59 | 1.326 | 198.875 | 1.436 | 201.068 | 1.478 | 199.893 | 14.93 | 887.3 | 76.977 | 1.315
2020-11-16 12:15:00 | 1.757 | 191.25 | 1.864 | 190.142 | 2.033 | 187.042 | 2.156 | 191.114 | 15.01 | 887 | 76.962 | 1.443
2020-11-16 12:30:00 | 1.387 | 181.1 | 1.467 | 176.557 | 1.452 | 177.117 | 1.587 | 177.46 | 14.98 | 887 | 78.237 | 1.313
2020-11-16 12:45:00 | 1.272 | 164.45 | 1.393 | 142.983 | 1.427 | 160.831 | 1.606 | 143.715 | 15.02 | 887 | 77.884 | 1.214
2020-11-16 13:00:00 | 1.463 | 157.41 | 1.663 | 134.171 | 1.751 | 153.946 | 2.045 | 134.857 | 14.79 | 887 | 78.161 | 1.154
2020-11-16 13:15:00 | 1.463 | 162.54 | 1.621 | 133.937 | 1.691 | 158.963 | 1.921 | 134.622 | 14.68 | 886 | 77.969 | 1.214
2020-11-16 13:30:00 | 1.525 | 165.03 | 1.702 | 166.621 | 1.624 | 161.4 | 1.932 | 167.473 | 14.82 | 886 | 77.637 | 0.943
2020-11-16 13:45:00 | 1.594 | 175.82 | 1.771 | 160.168 | 2.048 | 171.952 | 2.25 | 160.985 | 15 | 885.8 | 77.48 | 1.011
2020-11-16 14:00:00 | 1.259 | 183.94 | 1.382 | 181.713 | 1.585 | 179.892 | 1.727 | 182.641 | 15.09 | 885 | 77.85 | 0.966
2020-11-16 14:15:00 | 1.1829 | 180.95 | 1.2164 | 166.5879 | 1.2386 | 176.9686 | 1.2871 | 167.4393 | 15.1857 | 885 | 76.74 | 1.116
2020-11-16 14:30:00 | 0.83333 | 164.9933 | 0.854 | 182.038 | 0.85267 | 161.3633 | 0.88867 | 182.97 | 15.3267 | 885 | 76.2033 | 1.3733
2020-11-16 14:45:00 | 0.844 | 173.92 | 0.88133 | 166.8407 | 0.826 | 170.094 | 0.90467 | 167.692 | 15.3667 | 884.5333 | 76.0927 | 1.358
2020-11-16 15:00:00 | 1.0233 | 159.7133 | 1.0867 | 173.6853 | 1.0227 | 156.1993 | 1.142 | 174.574 | 15.32 | 884 | 77.1573 | 1.266
2020-11-16 15:15:00 | 0.966 | 163.02 | 1.08 | 170.114 | 1.02 | 159.434 | 1.222 | 170.982 | 15.3 | 884 | 76.632 | 0.972
2020-11-16 15:30:00 | 1.294 | 199.48 | 1.374 | 178.914 | 1.3 | 195.09 | 1.45 | 179.83 | 15.26 | 884 | 76.61 | 0.682
2020-11-16 15:45:00 | 1.411 | 207.8 | 1.495 | 191.296 | 1.528 | 203.229 | 1.658 | 192.273 | 15.23 | 884 | 77.985 | 1.172
2020-11-16 16:00:00 | 1.538 | 223.45 | 1.599 | 202.261 | 1.61 | 218.535 | 1.703 | 203.294 | 15.32 | 884 | 79.439 | 0.986
2020-11-16 16:15:00 | 1.502 | 214.61 | 1.513 | 198.377 | 1.53 | 209.889 | 1.543 | 199.389 | 15.39 | 884 | 79.617 | 0.66
2020-11-16 16:30:00 | 1.098 | 232.4 | 1.087 | 219.551 | 1.327 | 227.287 | 1.245 | 220.673 | 15.15 | 884 | 80.37 | 0.46
2020-11-16 16:45:00 | 0.833 | 243.46 | 0.878 | 294.182 | 1.126 | 238.574 | 1.12 | 295.688 | 14.71 | 883.8 | 80.52 | 0.399
2020-11-16 17:00:00 | 1.11 | 170.21 | 1.066 | 310.399 | 1.437 | 166.571 | 1.27 | 311.984 | 14.24 | 883 | 80.76 | 0.118
2020-11-16 17:15:00 | 1.791 | 168.56 | 1.721 | 336.394 | 2.285 | 164.853 | 2.015 | 338.114 | 13.73 | 883 | 80.44 | 0.164
2020-11-16 17:30:00 | 1.742 | 285.52 | 1.684 | 325.929 | 2.293 | 279.239 | 2.025 | 327.595 | 13.52 | 883 | 79.923 | 0.458
2020-11-16 17:45:00 | 1.6733 | 325.1267 | 1.6567 | 327.904 | 2.24 | 317.9727 | 2.044 | 329.5793 | 13.4733 | 882 | 80.8133 | 0.43067
2020-11-16 18:00:00 | 1.826 | 308.0333 | 1.7913 | 308.1547 | 2.342 | 301.256 | 2.124 | 309.7307 | 13.3467 | 882 | 81.66 | 0.57267
2020-11-16 18:15:00 | 2.27 | 341.98 | 2.276 | 331.268 | 2.83 | 334.066 | 2.68 | 332.962 | 13.36 | 882 | 82.44 | 0.978
2020-11-16 18:30:00 | 2.102 | 214.22 | 2.04 | 316.796 | 2.76 | 209.508 | 2.456 | 318.414 | 12.9 | 882 | 82.96 | 1.342
2020-11-16 18:45:00 | 2.138 | 45.78 | 2.026 | 318.674 | 2.72 | 44.774 | 2.34 | 320.3 | 12.94 | 882 | 82.3 | 1.76
2020-11-16 19:00:00 | 2.286 | 259.17 | 2.256 | 320.716 | 2.884 | 255.278 | 2.657 | 322.355 | 12.85 | 882 | 82.89 | 2.194
2020-11-16 19:15:00 | 2.331 | 319.19 | 2.256 | 321.84 | 3.048 | 312.167 | 2.705 | 323.484 | 12.92 | 882 | 82.94 | 2.485
2020-11-16 19:30:00 | 2.479 | 325.05 | 2.455 | 317.087 | 3.245 | 317.898 | 2.984 | 318.708 | 13.1 | 882 | 83 | 2.596
2020-11-16 19:45:00 | 2.603 | 302.19 | 2.645 | 316.384 | 3.263 | 295.542 | 3.153 | 318.002 | 13 | 882 | 82.9 | 2.746
2020-11-16 20:00:00 | 2.298 | 290.37 | 2.215 | 313.144 | 3.047 | 283.982 | 2.675 | 314.747 | 12.91 | 882 | 83.22 | 2.594
2020-11-16 20:15:00 | 2.652 | 329.2 | 2.615 | 323.992 | 3.552 | 321.958 | 3.225 | 325.649 | 12.81 | 882 | 84.18 | 3.544
2020-11-16 20:30:00 | 3.048 | 334.2867 | 3.1107 | 322.4067 | 3.8293 | 326.9333 | 3.724 | 324.0553 | 12.6467 | 882 | 84.8333 | 3.938
2020-11-16 20:45:00 | 2.7873 | 326.9 | 2.772 | 321.9833 | 3.532 | 319.7087 | 3.2907 | 323.63 | 12.62 | 882 | 84.92 | 3.6913
2020-11-16 21:00:00 | 2.556 | 287.46 | 2.528 | 325.876 | 3.2893 | 281.136 | 3.0247 | 327.5433 | 12.7067 | 882 | 85.62 | 3.19
2020-11-16 21:15:00 | 2.45 | 324.88 | 2.45 | 319.726 | 3.172 | 317.734 | 2.97 | 321.362 | 12.62 | 882 | 85.8 | 2.516
2020-11-16 21:30:00 | 2.511 | 307.75 | 2.405 | 314.711 | 3.22 | 300.98 | 2.816 | 316.319 | 12.54 | 882 | 85.6 | 3.172
2020-11-16 21:45:00 | 2.732 | 313.69 | 2.655 | 320.069 | 3.53 | 306.791 | 3.16 | 321.705 | 12.5 | 882 | 85.82 | 4.138
2020-11-16 22:00:00 | 2.76 | 320.49 | 2.757 | 321.663 | 3.514 | 313.44 | 3.289 | 323.308 | 12.43 | 882 | 86.66 | 4.112
2020-11-16 22:15:00 | 2.572 | 295.24 | 2.529 | 325.293 | 3.361 | 288.746 | 3.058 | 326.955 | 12.37 | 882 | 87 | 3.794
2020-11-16 22:30:00 | 2.169 | 307.31 | 2.068 | 322.103 | 2.896 | 300.549 | 2.498 | 323.752 | 12.6 | 882 | 87.07 | 3.001
2020-11-16 22:45:00 | 2.307 | 276.35 | 2.24 | 322.916 | 3.1 | 270.27 | 2.739 | 324.567 | 12.66 | 882 | 87.26 | 3.384
2020-11-16 23:00:00 | 2.391 | 300.2 | 2.261 | 319.464 | 3.12 | 293.596 | 2.671 | 321.098 | 12.4 | 881.3 | 87.6 | 3.362
2020-11-16 23:15:00 | 2.5927 | 312.5 | 2.502 | 318.5013 | 3.3573 | 305.6253 | 2.966 | 320.1313 | 12.2133 | 881 | 88.0267 | 4.0327
2020-11-16 23:30:00 | 2.8553 | 306.54 | 2.7907 | 315.9653 | 3.8347 | 299.796 | 3.4293 | 317.5807 | 12.0867 | 881 | 88.7 | 5.7393
2020-11-16 23:45:00 | 2.926 | 257.86 | 2.852 | 318.73 | 3.862 | 252.186 | 3.45 | 320.36 | 12.02 | 881 | 88.9 | 6.758