## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-17 00:00:00 | 3.101 | 315.77 | 3.054 | 323.69 | 3.935 | 308.824 | 3.603 | 325.344 | 11.9 | 881 | 89.13 | 6.785
2020-11-17 00:15:00 | 3.436 | 335.22 | 3.386 | 318.165 | 4.326 | 327.845 | 3.976 | 319.788 | 11.84 | 880 | 89 | 7.674
2020-11-17 00:30:00 | 3.64 | 321.18 | 3.654 | 318.22 | 4.612 | 314.114 | 4.36 | 319.846 | 11.82 | 880 | 88.96 | 8.102
2020-11-17 00:45:00 | 3.551 | 297.89 | 3.486 | 320.334 | 4.569 | 294.416 | 4.147 | 321.971 | 11.88 | 880 | 88.9 | 8.117
2020-11-17 01:00:00 | 3.921 | 327.23 | 3.915 | 323.571 | 4.876 | 320.03 | 4.588 | 325.224 | 11.6 | 880 | 89.06 | 11.442
2020-11-17 01:15:00 | 4.016 | 286.9533 | 4.042 | 325.7067 | 4.8667 | 280.6407 | 4.6753 | 327.372 | 11.4733 | 879.5333 | 89.62 | 12.1647
2020-11-17 01:30:00 | 4.222 | 329.28 | 4.25 | 319.1 | 5.116 | 322.036 | 4.912 | 320.732 | 11.5 | 879 | 89.74 | 12.878
2020-11-17 01:45:00 | 4.205 | 334.17 | 4.25 | 320.482 | 5.185 | 326.819 | 4.988 | 322.12 | 11.6 | 879 | 89.88 | 14.274
2020-11-17 02:00:00 | 4.3913 | 305.0467 | 4.4787 | 325.8373 | 5.4453 | 298.3373 | 5.3087 | 327.5027 | 11.3867 | 879 | 89.9867 | 15.032
2020-11-17 02:15:00 | 4.454 | 298.81 | 4.512 | 319.414 | 5.55 | 292.235 | 5.343 | 321.047 | 11.47 | 879 | 90.24 | 14.467
2020-11-17 02:30:00 | 4.721 | 333.32 | 4.901 | 319.356 | 5.859 | 325.986 | 5.873 | 320.988 | 11.34 | 879 | 90.42 | 16.645
2020-11-17 02:45:00 | 4.622 | 332.52 | 4.759 | 319.875 | 5.755 | 325.205 | 5.686 | 321.508 | 11.34 | 879 | 90.58 | 16.869
2020-11-17 03:00:00 | 4.034 | 327.3 | 4.07 | 329.272 | 5.04 | 320.098 | 4.824 | 330.954 | 11.38 | 878.6 | 90.5 | 14.224
2020-11-17 03:15:00 | 4.3 | 331.04 | 4.406 | 323.796 | 5.32 | 323.758 | 5.228 | 325.452 | 11.26 | 878 | 90.5 | 15.06
2020-11-17 03:30:00 | 4.65 | 331.34 | 4.834 | 317.614 | 5.738 | 324.05 | 5.772 | 319.24 | 11.16 | 878 | 90.74 | 17.114
2020-11-17 03:45:00 | 4.8333 | 337.7867 | 5.0493 | 316.9627 | 5.8987 | 330.354 | 5.9987 | 318.5847 | 11.2133 | 878 | 90.9467 | 17.306
2020-11-17 04:00:00 | 4.799 | 335.47 | 5.055 | 319.042 | 5.964 | 328.09 | 6.101 | 320.674 | 11.08 | 878 | 91.4 | 18.296
2020-11-17 04:15:00 | 4.9 | 342 | 5.152 | 315.62 | 5.976 | 332.596 | 6.136 | 314.482 | 11.08 | 878 | 91.2 | 19.66
2020-11-17 04:30:00 | 4.917 | 338.84 | 5.164 | 322.945 | 6.056 | 331.386 | 6.2 | 324.594 | 11.02 | 877 | 91.1 | 19.408
2020-11-17 04:45:00 | 4.782 | 341.48 | 5.054 | 322.604 | 5.806 | 333.968 | 6.024 | 324.252 | 10.9 | 877 | 92.76 | 18.544
2020-11-17 05:00:00 | 4.852 | 333.91 | 5.115 | 318.593 | 6.021 | 328.285 | 6.184 | 320.222 | 10.81 | 877 | 94.82 | 19.1
2020-11-17 05:15:00 | 4.993 | 334.4 | 5.236 | 321.87 | 6.149 | 327.042 | 6.276 | 323.516 | 10.78 | 877 | 94.33 | 19.977
2020-11-17 05:30:00 | 4.939 | 337.49 | 5.182 | 323.248 | 6.139 | 330.066 | 6.253 | 324.902 | 10.7 | 877 | 94.26 | 21.026
2020-11-17 05:45:00 | 5.25 | 338.44 | 5.61 | 326.612 | 6.32 | 330.994 | 6.692 | 328.284 | 10.7 | 877 | 94.2 | 24.496
2020-11-17 06:00:00 | 5.278 | 336.07 | 5.633 | 324.198 | 6.331 | 328.676 | 6.704 | 325.855 | 10.57 | 877 | 94.52 | 24.674
2020-11-17 06:15:00 | 6.047 | 339.95 | 6.471 | 323.669 | 7.197 | 332.471 | 7.667 | 325.323 | 10.45 | 877 | 96.81 | 29.672
2020-11-17 06:30:00 | 5.8907 | 337.6667 | 6.3267 | 327.5253 | 6.8867 | 330.2373 | 7.422 | 329.202 | 10.3067 | 877 | 97.8133 | 30.8267
2020-11-17 06:45:00 | 5.832 | 341.74 | 6.308 | 325.77 | 6.91 | 334.222 | 7.5 | 327.436 | 10.22 | 877 | 98 | 29.594
2020-11-17 07:00:00 | 5.998 | 340.38 | 6.401 | 321.291 | 7.15 | 332.89 | 7.584 | 322.934 | 10.07 | 877 | 99.03 | 29.789
2020-11-17 07:15:00 | 5.984 | 334.44 | 6.383 | 318.308 | 7.172 | 327.084 | 7.588 | 319.937 | 10.05 | 877 | 99.59 | 29.24
2020-11-17 07:30:00 | 6.36 | 339.44 | 6.898 | 322.702 | 7.428 | 330.974 | 8.14 | 324.35 | 10.04 | 877 | 100 | 27.332
2020-11-17 07:45:00 | 6.512 | 338.58 | 7.002 | 318.084 | 7.848 | 331.132 | 8.386 | 319.712 | 10 | 877 | 100 | 28.566
2020-11-17 08:00:00 | 6.887 | 340.21 | 7.469 | 326.475 | 8.155 | 332.489 | 8.898 | 328.145 | 9.97 | 877 | 100 | 31.509
2020-11-17 08:15:00 | 6.906 | 335.3 | 7.457 | 324.228 | 7.907 | 327.922 | 8.658 | 325.883 | 9.97 | 877 | 100 | 32.951
2020-11-17 08:30:00 | 7.0753 | 341.2933 | 7.7053 | 329.1567 | 8.2253 | 333.7847 | 9.0853 | 330.8393 | 9.9667 | 877 | 100 | 32.6627
2020-11-17 08:45:00 | 7.5513 | 340.1067 | 8.2027 | 325.766 | 8.8147 | 332.624 | 9.686 | 327.4313 | 10.02 | 877 | 100 | 34.8233
2020-11-17 09:00:00 | 7.47 | 336.72 | 8.078 | 329.978 | 8.448 | 329.31 | 9.324 | 331.666 | 10.06 | 877 | 100 | 34.072
2020-11-17 09:15:00 | 7.5711 | 339.9 | 8.2267 | 328.7822 | 8.7867 | 332.4222 | 9.68 | 330.4644 | 10.0889 | 877 | 100 | 37.0111
2020-11-17 09:30:00 | 7.596 | 337.36 | 8.233 | 323.639 | 8.744 | 329.939 | 9.627 | 325.295 | 10.1 | 877 | 100 | 36.66
2020-11-17 09:45:00 | 7.395 | 337.09 | 8.052 | 326.192 | 8.295 | 329.673 | 9.282 | 327.86 | 10.15 | 877 | 100 | 37.846
2020-11-17 10:00:00 | 7.685 | 334.48 | 8.332 | 324.451 | 8.75 | 327.121 | 9.663 | 326.109 | 10.19 | 877.7 | 100 | 39.278
2020-11-17 10:15:00 | 7.793 | 339.11 | 8.393 | 325.771 | 8.75 | 331.651 | 9.61 | 327.436 | 10.09 | 877 | 100 | 39.933
2020-11-17 10:30:00 | 7.901 | 338.13 | 8.529 | 325.096 | 8.998 | 330.69 | 9.87 | 326.758 | 10.16 | 877 | 100 | 39.536
2020-11-17 10:45:00 | 7.601 | 340.5 | 8.26 | 327.367 | 8.887 | 333.008 | 9.765 | 329.04 | 10.31 | 877 | 100 | 38.575
2020-11-17 11:00:00 | 8.202 | 338.57 | 8.879 | 325.644 | 9.44 | 331.119 | 10.365 | 327.309 | 10.29 | 877 | 100 | 38.152
2020-11-17 11:15:00 | 7.7953 | 343.92 | 8.3827 | 325.12 | 8.5387 | 336.354 | 9.4367 | 326.782 | 10.3 | 877 | 100 | 40.4993
2020-11-17 11:30:00 | 8 | 342.16 | 8.588 | 323.29 | 8.68 | 333.574 | 9.606 | 324.942 | 10.4 | 877 | 100 | 41.056
2020-11-17 11:45:00 | 8.053 | 340.59 | 8.671 | 324.657 | 8.703 | 333.097 | 9.681 | 326.316 | 10.4 | 877 | 100 | 42.127
2020-11-17 12:00:00 | 8.253 | 347.04 | 8.859 | 325.547 | 8.969 | 339.406 | 9.914 | 327.212 | 10.39 | 877 | 100 | 43.413
2020-11-17 12:15:00 | 8.2227 | 344.46 | 8.794 | 330.0493 | 8.9873 | 336.6993 | 9.8553 | 331.7367 | 10.4533 | 877 | 100 | 42.6167
2020-11-17 12:30:00 | 8.3087 | 345.9267 | 8.976 | 327.93 | 9.1627 | 338.3167 | 10.1807 | 329.6067 | 10.54 | 876.2 | 100 | 43.812
2020-11-17 12:45:00 | 8.344 | 341.94 | 8.958 | 325.968 | 9.062 | 334.416 | 10.032 | 327.632 | 10.54 | 876 | 100 | 46.158
2020-11-17 13:00:00 | 8.386 | 347.88 | 8.992 | 325.652 | 9.306 | 340.224 | 10.182 | 327.32 | 10.58 | 876 | 100 | 47.366
2020-11-17 13:15:00 | 8.42 | 333.28 | 8.996 | 323.406 | 9.01 | 325.948 | 9.938 | 325.06 | 10.86 | 876 | 100 | 48.684
2020-11-17 13:30:00 | 8.437 | 304.95 | 8.957 | 321.793 | 8.954 | 298.601 | 9.794 | 323.436 | 10.86 | 876 | 100 | 49.658
2020-11-17 13:45:00 | 8.953 | 312.34 | 9.552 | 323.286 | 9.827 | 305.469 | 10.713 | 324.94 | 10.81 | 875 | 100 | 50.78
2020-11-17 14:00:00 | 8.741 | 305.16 | 9.334 | 326.701 | 9.677 | 298.446 | 10.533 | 328.371 | 10.8 | 875 | 100 | 53.59
2020-11-17 14:15:00 | 8.633 | 346.84 | 9.256 | 326.896 | 9.332 | 339.208 | 10.317 | 328.568 | 10.77 | 875 | 100 | 54.074
2020-11-17 14:30:00 | 8.616 | 343.92 | 9.241 | 329.059 | 9.631 | 336.354 | 10.52 | 330.74 | 10.72 | 875 | 100 | 54.926
2020-11-17 14:45:00 | 8.899 | 341.03 | 9.63 | 326.477 | 9.816 | 333.527 | 10.936 | 328.145 | 10.71 | 875 | 100 | 56.104
2020-11-17 15:00:00 | 9.693 | 340.55 | 10.37 | 327.258 | 10.619 | 333.058 | 11.634 | 328.931 | 10.57 | 875 | 100 | 57.762
2020-11-17 15:15:00 | 9.379 | 307.21 | 10.021 | 329.097 | 10.442 | 300.452 | 11.356 | 330.78 | 10.71 | 875 | 100 | 57.257
2020-11-17 15:30:00 | 9.489 | 341.34 | 10.156 | 323.211 | 10.467 | 333.829 | 11.446 | 324.863 | 10.87 | 875 | 100 | 58.124
2020-11-17 15:45:00 | 9.08 | 346.43 | 9.77 | 328.394 | 9.513 | 339.855 | 10.716 | 330.071 | 10.82 | 875 | 100 | 57.542
2020-11-17 16:00:00 | 9.325 | 349.31 | 9.966 | 327.719 | 10.199 | 341.625 | 11.167 | 329.393 | 10.76 | 875 | 100 | 58.435
2020-11-17 16:15:00 | 9.1793 | 346.8533 | 9.7733 | 330.8647 | 9.6933 | 339.2233 | 10.6767 | 332.5553 | 10.96 | 875 | 100 | 59.328
2020-11-17 16:30:00 | 9.136 | 342.6733 | 9.8153 | 326.6833 | 9.824 | 335.1347 | 10.9167 | 328.354 | 10.88 | 875 | 100 | 59.1793
2020-11-17 16:45:00 | 8.8067 | 344.1333 | 9.4873 | 310.3707 | 9.954 | 336.8487 | 10.9173 | 311.9573 | 10.74 | 875 | 100 | 58.9887
2020-11-17 17:00:00 | 8.732 | 350.04 | 9.518 | 332.812 | 10.27 | 342.34 | 11.312 | 334.514 | 10.7 | 875 | 100 | 59.208
2020-11-17 17:15:00 | 8.848 | 278.3 | 9.606 | 327.376 | 10.204 | 272.178 | 11.236 | 329.05 | 10.72 | 875 | 100 | 58.488
2020-11-17 17:30:00 | 8.892 | 285.68 | 9.652 | 330.682 | 10.292 | 279.396 | 11.328 | 332.37 | 10.82 | 875 | 100 | 61.204
2020-11-17 17:45:00 | 9.8178 | 344.8111 | 10.6256 | 323.3478 | 10.9678 | 337.2244 | 12.1689 | 325.0022 | 10.7556 | 875 | 100 | 60.911
2020-11-17 18:00:00 | 9.604 | 340.68 | 10.38 | 329.938 | 10.873 | 334.447 | 11.999 | 331.625 | 10.74 | 875 | 100 | 61.116
2020-11-17 18:15:00 | 10.053 | 312.7 | 10.74 | 334.604 | 11.327 | 305.82 | 12.263 | 336.313 | 10.83 | 875.2 | 100 | 61.035
2020-11-17 18:30:00 | 9.883 | 311.17 | 10.677 | 325.774 | 11.239 | 304.324 | 12.354 | 327.437 | 10.9 | 876 | 100 | 61.254
2020-11-17 18:45:00 | 9.838 | 280.7 | 10.677 | 322.936 | 11.373 | 274.524 | 12.519 | 324.585 | 11 | 876 | 100 | 60.484
2020-11-17 19:00:00 | 10.605 | 347.23 | 11.452 | 328.637 | 12.201 | 339.592 | 13.35 | 330.317 | 11.2 | 876 | 100 | 60.975
2020-11-17 19:15:00 | 11.053 | 275.17 | 12.01 | 292.205 | 12.834 | 269.117 | 14.249 | 293.7 | 11.38 | 876 | 100 | 61.746
2020-11-17 19:30:00 | 10.453 | 309.91 | 11.349 | 332.404 | 11.861 | 303.091 | 13.149 | 334.103 | 11.52 | 876 | 100 | 61.213
2020-11-17 19:45:00 | 10.598 | 304.02 | 11.419 | 336.176 | 12.027 | 297.332 | 13.17 | 337.896 | 11.84 | 877 | 100 | 61.437
2020-11-17 20:00:00 | 11.0253 | 342.6533 | 11.9453 | 305.4627 | 12.7747 | 335.1147 | 14.0133 | 307.0227 | 11.58 | 877 | 100 | 60.182
2020-11-17 20:15:00 | 10.8927 | 274.74 | 11.7433 | 310.1567 | 12.6733 | 268.6933 | 13.768 | 311.7413 | 11.54 | 877 | 99.94 | 60.094
2020-11-17 20:30:00 | 10.7973 | 320 | 11.6013 | 311.2593 | 12.4213 | 314.2127 | 13.4627 | 312.8493 | 11.54 | 877 | 97.9333 | 59.996
2020-11-17 20:45:00 | 11.108 | 282.4 | 11.726 | 330.114 | 12.896 | 276.188 | 13.552 | 331.802 | 11.54 | 877 | 96.04 | 60.884
2020-11-17 21:00:00 | 11.236 | 348.9 | 12.176 | 265.998 | 12.844 | 341.226 | 14.162 | 267.356 | 11.36 | 877 | 92.38 | 58.958
2020-11-17 21:15:00 | 11.12 | 285.26 | 11.976 | 276.792 | 12.714 | 278.986 | 13.878 | 278.21 | 11.34 | 877 | 89.96 | 56.734
2020-11-17 21:30:00 | 12.004 | 310.01 | 12.931 | 230.913 | 13.975 | 303.191 | 15.162 | 232.095 | 11.17 | 877 | 87.38 | 55.827
2020-11-17 21:45:00 | 11.776 | 275.85 | 12.76 | 234.193 | 13.868 | 269.781 | 15.128 | 235.39 | 11.04 | 877 | 85.92 | 51.245
2020-11-17 22:00:00 | 12.245 | 279.44 | 13.175 | 275.278 | 14.274 | 273.293 | 15.448 | 276.684 | 11.01 | 877 | 82.85 | 54.133
2020-11-17 22:15:00 | 12.48 | 280.03 | 13.455 | 235.552 | 14.65 | 270.818 | 15.816 | 236.756 | 10.94 | 877 | 80.84 | 51.612
2020-11-17 22:30:00 | 12.445 | 242.24 | 13.314 | 303.589 | 14.366 | 236.911 | 15.46 | 305.143 | 10.94 | 877 | 78.6 | 47.406
2020-11-17 22:45:00 | 12.607 | 245.23 | 13.51 | 333.04 | 14.608 | 239.835 | 15.742 | 334.742 | 10.86 | 877 | 77.18 | 44.179
2020-11-17 23:00:00 | 12.421 | 316.72 | 13.33 | 301.332 | 14.459 | 309.752 | 15.587 | 302.872 | 10.82 | 877.7 | 75.379 | 45.566
2020-11-17 23:15:00 | 12.328 | 181.5 | 13.293 | 269.167 | 14.257 | 177.507 | 15.524 | 270.542 | 10.74 | 878 | 72.954 | 45.48
2020-11-17 23:30:00 | 12.204 | 245.01 | 13.251 | 258.64 | 14.344 | 239.621 | 15.704 | 259.964 | 10.78 | 878 | 72.535 | 44.956
2020-11-17 23:45:00 | 11.218 | 244.56 | 12.097 | 301.528 | 13.171 | 239.179 | 14.269 | 303.069 | 10.82 | 878 | 71.422 | 46.889