## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-18 00:00:00 | 11.737 | 313.8 | 12.644 | 326.026 | 13.594 | 306.897 | 14.778 | 327.694 | 10.79 | 878 | 69.803 | 50.179
2020-11-18 00:15:00 | 11.8627 | 233.6267 | 12.6973 | 287.59 | 13.9607 | 228.4867 | 14.9367 | 289.0613 | 10.8267 | 878 | 68.5533 | 49.1787
2020-11-18 00:30:00 | 11.598 | 280.6 | 12.521 | 336.724 | 13.784 | 274.427 | 14.9 | 338.445 | 10.83 | 878 | 67.047 | 50.28
2020-11-18 00:45:00 | 11.098 | 243.94 | 11.798 | 241.869 | 13.19 | 238.574 | 13.916 | 243.105 | 10.98 | 878 | 65.462 | 50.637
2020-11-18 01:00:00 | 11.4347 | 212.9867 | 12.346 | 336.8293 | 13.376 | 208.3 | 14.5407 | 338.552 | 11.0933 | 878 | 63.0027 | 49.8947
2020-11-18 01:15:00 | 11.278 | 347.52 | 12.25 | 330.916 | 13.416 | 339.872 | 14.628 | 332.608 | 11.14 | 878 | 61.6 | 50.54
2020-11-18 01:30:00 | 11.747 | 309.08 | 12.682 | 303.004 | 13.417 | 302.281 | 14.707 | 304.552 | 11.22 | 878 | 59.958 | 45.776
2020-11-18 01:45:00 | 10.321 | 312.98 | 11.184 | 235.611 | 12.366 | 306.094 | 13.405 | 236.815 | 11.3 | 879 | 58.56 | 47.64
2020-11-18 02:00:00 | 10.759 | 247.19 | 11.545 | 267.464 | 12.805 | 241.751 | 13.701 | 268.83 | 11.3 | 879 | 56.56 | 49.678
2020-11-18 02:15:00 | 11.0013 | 259.0733 | 11.9067 | 294.9 | 13.0453 | 253.3713 | 14.17 | 296.4073 | 11.38 | 879 | 54.9027 | 47.4333
2020-11-18 02:30:00 | 10.48 | 212.96 | 11.196 | 272.08 | 11.706 | 208.272 | 12.71 | 273.47 | 11.34 | 879 | 53.958 | 48.284
2020-11-18 02:45:00 | 11.745 | 246.96 | 12.636 | 273.841 | 13.466 | 241.526 | 14.662 | 275.24 | 11.31 | 878.8 | 52.936 | 45.783
2020-11-18 03:00:00 | 11.6 | 278.64 | 12.522 | 342.204 | 13.664 | 272.508 | 14.82 | 343.95 | 11.38 | 878 | 51.564 | 44.942
2020-11-18 03:15:00 | 11.563 | 278.61 | 12.602 | 266.036 | 13.409 | 272.483 | 14.839 | 267.396 | 11.32 | 878 | 50.867 | 46.302
2020-11-18 03:30:00 | 12.034 | 211.42 | 12.904 | 267.286 | 13.886 | 206.926 | 15.07 | 268.652 | 11.4 | 878 | 49.104 | 48.606
2020-11-18 03:45:00 | 11.046 | 319.2133 | 11.87 | 311.2647 | 12.6333 | 312.1907 | 13.7333 | 312.8553 | 11.2133 | 878 | 49.4293 | 48.24
2020-11-18 04:00:00 | 11.822 | 345.1 | 12.834 | 329.978 | 13.928 | 337.506 | 15.236 | 331.666 | 11.18 | 878.4 | 49.778 | 47.936
2020-11-18 04:15:00 | 10.472 | 279.98 | 11.163 | 331.267 | 12.12 | 273.819 | 12.95 | 332.96 | 11.08 | 879 | 49.04 | 46.506
2020-11-18 04:30:00 | 10.6807 | 302.4533 | 11.48 | 306.1327 | 12.2073 | 295.7993 | 13.306 | 307.698 | 11.12 | 879 | 50.166 | 45.826
2020-11-18 04:45:00 | 10.954 | 272 | 11.704 | 332.322 | 12.838 | 266.018 | 13.712 | 334.024 | 11.1 | 879 | 48.97 | 43.964
2020-11-18 05:00:00 | 11.919 | 341.51 | 12.537 | 324.11 | 13.126 | 333.997 | 13.954 | 325.767 | 11.27 | 879 | 48.361 | 42.829
2020-11-18 05:15:00 | 12.205 | 239.41 | 12.562 | 330.906 | 13.261 | 234.144 | 13.638 | 332.599 | 11.35 | 879 | 46.989 | 44.36
2020-11-18 05:30:00 | 12.029 | 275.84 | 12.586 | 332.47 | 13.214 | 269.773 | 13.931 | 334.171 | 11.35 | 879 | 45.964 | 44.111
2020-11-18 05:45:00 | 11.9887 | 277.9867 | 12.606 | 307.886 | 13.366 | 271.872 | 14.138 | 309.4613 | 11.2733 | 879 | 46.562 | 47.058
2020-11-18 06:00:00 | 11.394 | 211.32 | 12.11 | 204.146 | 12.902 | 206.67 | 13.82 | 205.192 | 11.28 | 879 | 46.136 | 47.784
2020-11-18 06:15:00 | 12.051 | 339.73 | 12.845 | 332.99 | 13.316 | 331.67 | 14.499 | 334.693 | 11.2 | 879 | 45.296 | 46.836
2020-11-18 06:30:00 | 11.557 | 342.78 | 12.272 | 333.283 | 12.882 | 336.225 | 13.828 | 334.985 | 11.12 | 879 | 45.489 | 46.216
2020-11-18 06:45:00 | 10.419 | 242.84 | 11.029 | 297.243 | 11.584 | 237.498 | 12.405 | 298.763 | 11.12 | 879.2 | 44.041 | 47.205
2020-11-18 07:00:00 | 9.634 | 268.8 | 10.334 | 264.042 | 11.176 | 262.886 | 12.058 | 265.392 | 11.16 | 880 | 43.876 | 46.54
2020-11-18 07:15:00 | 10.535 | 179.62 | 10.771 | 299.942 | 11.716 | 175.669 | 11.829 | 301.475 | 11.15 | 879.8 | 43.767 | 49.706
2020-11-18 07:30:00 | 11.156 | 278.44 | 11.518 | 265.594 | 12.847 | 272.929 | 12.954 | 266.953 | 11.11 | 879 | 44.214 | 46.31
2020-11-18 07:45:00 | 11.647 | 311.5 | 12.18 | 327.836 | 12.85 | 304.647 | 13.517 | 329.513 | 10.99 | 880 | 43.73 | 46.152
2020-11-18 08:00:00 | 10.217 | 277.65 | 11.015 | 263.083 | 12.006 | 271.54 | 12.999 | 264.426 | 10.82 | 880 | 44.003 | 46.702
2020-11-18 08:15:00 | 10.248 | 312.06 | 11.19 | 296.372 | 12.262 | 305.644 | 13.443 | 297.889 | 10.77 | 880 | 45.533 | 46.763
2020-11-18 08:30:00 | 9.96 | 207.72 | 10.725 | 334.084 | 11.923 | 203.15 | 12.806 | 335.792 | 10.86 | 880.7 | 44.209 | 50.441
2020-11-18 08:45:00 | 10.6633 | 299.02 | 11.354 | 331.164 | 11.9513 | 292.442 | 12.892 | 332.8573 | 10.96 | 881 | 42.86 | 50.588
2020-11-18 09:00:00 | 10.9927 | 344.3733 | 11.684 | 305.096 | 12.5807 | 336.7987 | 13.434 | 306.6567 | 11.0067 | 881.8 | 42.1193 | 52.252
2020-11-18 09:15:00 | 11.612 | 345.17 | 12.159 | 331.473 | 12.685 | 337.578 | 13.422 | 333.168 | 11.04 | 882 | 41.39 | 51.317
2020-11-18 09:30:00 | 11.107 | 343.88 | 11.707 | 330.593 | 12.449 | 336.315 | 13.202 | 332.284 | 11.18 | 882.7 | 40.888 | 54.43
2020-11-18 09:45:00 | 10.061 | 240.4 | 10.691 | 265.663 | 11.547 | 235.111 | 12.309 | 267.022 | 11.36 | 883 | 40.715 | 54.333
2020-11-18 10:00:00 | 10.432 | 312.59 | 10.805 | 327.914 | 11.453 | 305.713 | 11.868 | 329.589 | 11.57 | 883.7 | 39.323 | 53.81
2020-11-18 10:15:00 | 10.436 | 235.02 | 10.938 | 261.849 | 11.832 | 229.851 | 12.381 | 263.19 | 11.76 | 884 | 38.808 | 54.157
2020-11-18 10:30:00 | 9.805 | 240.92 | 10.104 | 327.063 | 10.965 | 235.62 | 11.201 | 328.734 | 11.95 | 884 | 38.474 | 50.933
2020-11-18 10:45:00 | 8.603 | 179.99 | 9.081 | 268.589 | 10.246 | 176.029 | 10.681 | 269.961 | 12.16 | 884 | 37.79 | 53.85
2020-11-18 11:00:00 | 8.968 | 217.38 | 9.482 | 167.286 | 10.183 | 212.597 | 10.802 | 168.143 | 12.41 | 884 | 37.56 | 53.275
2020-11-18 11:15:00 | 8.636 | 344.27 | 8.919 | 295.18 | 9.74 | 336.696 | 9.966 | 296.689 | 12.62 | 883 | 37.627 | 54.709
2020-11-18 11:30:00 | 8.712 | 171.77 | 8.843 | 326.379 | 9.297 | 167.992 | 9.379 | 328.045 | 12.74 | 883 | 36.486 | 53.281
2020-11-18 11:45:00 | 8.1567 | 190.8533 | 8.288 | 307.3 | 8.9693 | 186.6547 | 8.9893 | 308.8713 | 13.04 | 884 | 36.7387 | 53.572
2020-11-18 12:00:00 | 8.1593 | 277.8133 | 8.4133 | 327.742 | 8.8613 | 271.7013 | 9.1427 | 329.4153 | 13.16 | 884 | 36.124 | 54.482
2020-11-18 12:15:00 | 7.7713 | 143.9667 | 7.864 | 327.8893 | 8.4907 | 140.7993 | 8.4633 | 329.5667 | 13.3133 | 883.5333 | 35.8207 | 53.8367
2020-11-18 12:30:00 | 7.978 | 280.3467 | 7.9933 | 327.8707 | 8.588 | 251.5153 | 8.454 | 329.5473 | 13.3133 | 883 | 35.1307 | 52.026
2020-11-18 12:45:00 | 7.4347 | 148.3267 | 7.592 | 323.588 | 8.318 | 144.9987 | 8.3787 | 325.242 | 13.5133 | 883 | 34.7753 | 51.594
2020-11-18 13:00:00 | 7.4247 | 280.28 | 7.838 | 309.8367 | 8.6393 | 274.1147 | 9.07 | 311.4213 | 13.7867 | 883 | 34.2573 | 51.5267
2020-11-18 13:15:00 | 7.1353 | 251.7933 | 7.5253 | 289.194 | 8.4993 | 246.2533 | 8.846 | 290.6733 | 14.0067 | 883 | 33.7233 | 53.0127
2020-11-18 13:30:00 | 6.5687 | 311.7533 | 7.0547 | 292.1227 | 7.8753 | 304.392 | 8.436 | 293.6147 | 14.3133 | 883 | 33.184 | 49.56
2020-11-18 13:45:00 | 6.228 | 211.98 | 6.42 | 265.606 | 7.09 | 207.318 | 7.21 | 266.964 | 14.42 | 883 | 31.884 | 48.614
2020-11-18 14:00:00 | 7.23 | 336.64 | 7.482 | 274.564 | 8.13 | 329.236 | 8.35 | 275.966 | 14.38 | 883 | 32.564 | 49.072
2020-11-18 14:15:00 | 7.084 | 208 | 7.422 | 272.178 | 8.092 | 203.424 | 8.438 | 273.57 | 14.4 | 883 | 32.428 | 50.964
2020-11-18 14:30:00 | 6.732 | 218.02 | 7.148 | 341.518 | 7.83 | 213.224 | 8.304 | 343.264 | 14.8 | 883 | 32.504 | 47.376
2020-11-18 14:45:00 | 7.342 | 346.36 | 7.78 | 304.099 | 8.143 | 338.652 | 8.764 | 305.654 | 14.83 | 882 | 31.874 | 49.184
2020-11-18 15:00:00 | 6.986 | 280.76 | 7.316 | 267.424 | 7.835 | 274.583 | 8.222 | 268.793 | 15.04 | 882 | 31.947 | 50.816
2020-11-18 15:15:00 | 6.909 | 278.87 | 7.351 | 208.188 | 8.136 | 272.735 | 8.613 | 209.251 | 15.05 | 882 | 32.486 | 49.068
2020-11-18 15:30:00 | 7.465 | 245.82 | 7.895 | 306.623 | 8.296 | 240.412 | 8.874 | 308.19 | 15.13 | 882 | 33.504 | 49.072
2020-11-18 15:45:00 | 7.2667 | 168.5533 | 7.8033 | 339.4 | 8.3553 | 164.8447 | 9.058 | 341.1347 | 14.9467 | 882 | 33.6167 | 47.8413
2020-11-18 16:00:00 | 6.7613 | 232.6333 | 7.182 | 291.9913 | 7.5867 | 204.5127 | 8.1413 | 293.4853 | 15.14 | 882 | 33.694 | 47.6193
2020-11-18 16:15:00 | 6.588 | 208.76 | 7.038 | 336.374 | 7.698 | 204.166 | 8.232 | 338.094 | 15 | 882 | 33.33 | 47.404
2020-11-18 16:30:00 | 6.452 | 210.58 | 6.774 | 267.404 | 7.284 | 205.946 | 7.662 | 268.77 | 15.08 | 882 | 35.098 | 45.424
2020-11-18 16:45:00 | 6.144 | 348.74 | 6.53 | 339.678 | 6.854 | 341.066 | 7.382 | 341.416 | 15.1 | 882 | 39.358 | 45.48
2020-11-18 17:00:00 | 6.066 | 351.34 | 6.352 | 338.426 | 6.818 | 343.61 | 7.14 | 340.156 | 15.06 | 882 | 39.326 | 45.634
2020-11-18 17:15:00 | 7.637 | 174.84 | 8.132 | 309.381 | 8.411 | 170.992 | 9.123 | 310.962 | 15.32 | 881.8 | 38.4 | 50.111
2020-11-18 17:30:00 | 7.659 | 180.56 | 8.261 | 341.127 | 8.448 | 176.589 | 9.361 | 342.87 | 15.27 | 881 | 38.849 | 49.939
2020-11-18 17:45:00 | 7.37 | 182.09 | 7.907 | 339.766 | 8.206 | 178.085 | 8.986 | 341.505 | 15.13 | 881 | 38.049 | 49.842
2020-11-18 18:00:00 | 6.596 | 210.14 | 7.049 | 335.561 | 7.28 | 205.517 | 7.946 | 337.277 | 14.9 | 881 | 38.928 | 48.289
2020-11-18 18:15:00 | 6.282 | 183.65 | 6.801 | 339.396 | 7.256 | 179.61 | 7.962 | 341.13 | 14.77 | 881 | 39.396 | 43.902
2020-11-18 18:30:00 | 6.772 | 180.15 | 7.214 | 273.968 | 7.901 | 176.06 | 8.383 | 275.369 | 14.78 | 881 | 38.756 | 45.687
2020-11-18 18:45:00 | 5.814 | 210 | 6.1153 | 329.7493 | 6.5027 | 205.38 | 6.8747 | 331.434 | 14.78 | 881.4667 | 39.2773 | 40.1473
2020-11-18 19:00:00 | 5.6967 | 341.7733 | 5.9927 | 330.604 | 6.2313 | 333.74 | 6.64 | 332.2927 | 14.72 | 882 | 38.19 | 40.118
2020-11-18 19:15:00 | 6.218 | 340.58 | 6.558 | 315.092 | 6.842 | 333.088 | 7.312 | 316.704 | 14.74 | 882 | 39.236 | 42.242
2020-11-18 19:30:00 | 6.772 | 335.5 | 7.144 | 327.75 | 7.422 | 328.118 | 7.944 | 329.422 | 14.6 | 882 | 39.02 | 48.006
2020-11-18 19:45:00 | 6.658 | 344.28 | 7.067 | 326.162 | 7.297 | 336.704 | 7.883 | 327.83 | 14.67 | 882 | 38.69 | 47.491
2020-11-18 20:00:00 | 6.802 | 341.75 | 7.339 | 321.439 | 7.505 | 334.232 | 8.325 | 323.083 | 14.58 | 882 | 40.406 | 47.157
2020-11-18 20:15:00 | 6.96 | 343.07 | 7.458 | 321.586 | 7.688 | 335.874 | 8.424 | 323.229 | 14.48 | 882 | 40.464 | 47.866
2020-11-18 20:30:00 | 7.014 | 270.23 | 7.468 | 325.615 | 7.874 | 264.284 | 8.49 | 327.28 | 14.54 | 882.7 | 39.853 | 50.812
2020-11-18 20:45:00 | 7.298 | 342.13 | 7.781 | 324.452 | 8.037 | 334.603 | 8.734 | 326.11 | 14.51 | 883 | 40.115 | 54.101
2020-11-18 21:00:00 | 6.987 | 282.46 | 7.544 | 333.41 | 8.013 | 276.246 | 8.773 | 335.115 | 14.21 | 883 | 40.04 | 51.48
2020-11-18 21:15:00 | 7.249 | 211.5 | 7.652 | 302.544 | 8.234 | 206.847 | 8.715 | 304.09 | 14.26 | 883 | 41.363 | 53.667
2020-11-18 21:30:00 | 7.284 | 277.19 | 7.851 | 300.833 | 8.542 | 271.092 | 9.253 | 302.373 | 14.16 | 883 | 40.395 | 52.863
2020-11-18 21:45:00 | 6.386 | 301.6333 | 6.7807 | 330.9407 | 7.194 | 294.9973 | 7.7107 | 332.6347 | 14.3533 | 883 | 38.2207 | 50.1773
2020-11-18 22:00:00 | 6.7387 | 304.1933 | 7.2007 | 310.69 | 7.6607 | 297.5013 | 8.2693 | 312.2787 | 14.26 | 883 | 38.3047 | 51.83
2020-11-18 22:15:00 | 5.7387 | 250.36 | 6.0367 | 330.01 | 6.4173 | 244.8513 | 6.7873 | 331.696 | 14.2733 | 883.4667 | 39.2413 | 39.6887
2020-11-18 22:30:00 | 5.3893 | 322.6133 | 5.706 | 326.424 | 5.9773 | 315.516 | 6.412 | 328.0927 | 14.22 | 884 | 38.4533 | 33.5827
2020-11-18 22:45:00 | 5.95 | 346.12 | 6.224 | 324.248 | 6.58 | 338.506 | 6.914 | 325.906 | 14.32 | 884 | 39.49 | 41.352
2020-11-18 23:00:00 | 6.32 | 343.36 | 6.662 | 331.17 | 6.94 | 335.806 | 7.41 | 332.864 | 14.34 | 884 | 39.478 | 45.512
2020-11-18 23:15:00 | 6.118 | 246.79 | 6.482 | 302.838 | 6.75 | 241.361 | 7.256 | 304.386 | 14.22 | 884 | 39.021 | 46.427
2020-11-18 23:30:00 | 5.371 | 241.42 | 5.653 | 331.23 | 6.117 | 236.109 | 6.43 | 332.922 | 14 | 884 | 40.471 | 39.879
2020-11-18 23:45:00 | 5.129 | 308.43 | 5.415 | 320.685 | 5.474 | 301.645 | 5.921 | 322.324 | 14.05 | 884 | 38.51 | 33.347