## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-19 00:00:00 | 4.834 | 310.19 | 4.951 | 323.561 | 5.365 | 303.365 | 5.435 | 325.215 | 14.36 | 884 | 37.436 | 30.797
2020-11-19 00:15:00 | 4.936 | 269.02 | 5.044 | 324.108 | 5.114 | 263.572 | 5.25 | 325.766 | 14.4 | 884 | 37.5 | 29.602
2020-11-19 00:30:00 | 4.992 | 313.63 | 5.099 | 322.671 | 5.291 | 306.975 | 5.416 | 324.322 | 14.28 | 884 | 38.354 | 26.369
2020-11-19 00:45:00 | 5.796 | 304.76 | 5.99 | 330.486 | 6.074 | 298.055 | 6.363 | 332.174 | 14.19 | 884 | 38.967 | 33.052
2020-11-19 01:00:00 | 5.581 | 304.51 | 5.819 | 298.505 | 5.836 | 297.81 | 6.217 | 300.031 | 14 | 884 | 39.72 | 36.577
2020-11-19 01:15:00 | 5.8033 | 319.0467 | 6.048 | 310.1367 | 6.4087 | 312.0273 | 6.6993 | 311.7213 | 13.88 | 884 | 40.662 | 42.986
2020-11-19 01:30:00 | 5.82 | 270.36 | 6.126 | 336.47 | 6.258 | 264.41 | 6.716 | 338.192 | 13.72 | 884 | 41.344 | 42.956
2020-11-19 01:45:00 | 5.858 | 310.3 | 6.103 | 302.016 | 6.403 | 303.473 | 6.711 | 303.559 | 13.6 | 884 | 40.597 | 40.637
2020-11-19 02:00:00 | 6.385 | 280.01 | 6.737 | 302.682 | 7.103 | 273.849 | 7.564 | 304.229 | 13.5 | 884 | 40.377 | 41.529
2020-11-19 02:15:00 | 6.402 | 280.68 | 6.726 | 332.502 | 7.102 | 274.506 | 7.522 | 334.198 | 13.34 | 884 | 40.364 | 45.526
2020-11-19 02:30:00 | 6.822 | 339.82 | 7.266 | 333.312 | 7.442 | 332.345 | 8.109 | 335.018 | 13.36 | 884 | 40.867 | 48.576
2020-11-19 02:45:00 | 6.86 | 324.7733 | 7.3153 | 291.0067 | 7.5647 | 317.6287 | 8.228 | 292.4953 | 13.48 | 884 | 41.28 | 52.486
2020-11-19 03:00:00 | 6.305 | 310.38 | 6.77 | 329.977 | 7.147 | 303.073 | 7.782 | 331.664 | 13.27 | 884 | 43.448 | 50.485
2020-11-19 03:15:00 | 5.934 | 344.4 | 6.452 | 320.078 | 6.506 | 336.824 | 7.326 | 321.716 | 13.38 | 884 | 43.036 | 46.6
2020-11-19 03:30:00 | 6.747 | 340.7 | 7.255 | 325.438 | 7.447 | 333.205 | 8.212 | 327.102 | 13.33 | 884 | 41.748 | 49.13
2020-11-19 03:45:00 | 7.298 | 335.64 | 7.763 | 326.222 | 7.989 | 328.255 | 8.668 | 327.891 | 13.41 | 884 | 42.371 | 51.792
2020-11-19 04:00:00 | 7.398 | 331.05 | 7.783 | 320.305 | 8.03 | 323.767 | 8.587 | 321.942 | 13.58 | 884 | 43.684 | 50.046
2020-11-19 04:15:00 | 6.996 | 340.8133 | 7.4313 | 326.8727 | 7.504 | 333.3153 | 8.1813 | 328.544 | 13.16 | 884 | 45.92 | 48.892
2020-11-19 04:30:00 | 6.862 | 337.8 | 7.362 | 324.068 | 7.434 | 330.37 | 8.214 | 325.726 | 12.68 | 884 | 48.154 | 49.866
2020-11-19 04:45:00 | 7.16 | 340.3 | 7.58 | 326.006 | 7.75 | 332.814 | 8.378 | 327.672 | 12.96 | 884 | 48.79 | 51.896
2020-11-19 05:00:00 | 7.325 | 348.74 | 7.897 | 331.365 | 8.023 | 341.067 | 8.903 | 333.06 | 12.75 | 884 | 47.084 | 50.666
2020-11-19 05:15:00 | 6.813 | 273.25 | 7.338 | 295.317 | 7.424 | 267.24 | 8.243 | 296.826 | 12.55 | 884 | 47.738 | 47.542
2020-11-19 05:30:00 | 7.304 | 346.19 | 7.903 | 326.702 | 8.128 | 338.574 | 9.028 | 328.371 | 12.47 | 884 | 47.382 | 52.37
2020-11-19 05:45:00 | 7.3613 | 325.6467 | 7.9133 | 328.5567 | 8.1627 | 318.482 | 8.9827 | 330.234 | 12.5333 | 883.5333 | 45.6473 | 51.822
2020-11-19 06:00:00 | 7.19 | 340.82 | 7.69 | 326.122 | 7.724 | 333.322 | 8.52 | 327.788 | 12.56 | 883 | 46.386 | 49.476
2020-11-19 06:15:00 | 7.548 | 336.96 | 8.074 | 338.252 | 7.866 | 329.546 | 8.778 | 339.98 | 12.78 | 884 | 46.762 | 54.16
2020-11-19 06:30:00 | 7.27 | 311.85 | 7.698 | 331.435 | 7.825 | 304.989 | 8.479 | 333.129 | 12.48 | 883.3 | 46.889 | 51.514
2020-11-19 06:45:00 | 6.991 | 343.65 | 7.472 | 328.423 | 7.599 | 334.917 | 8.313 | 330.1 | 12.2 | 883 | 47.788 | 51.413
2020-11-19 07:00:00 | 7.298 | 344.71 | 7.756 | 322.937 | 7.89 | 337.126 | 8.588 | 324.588 | 12.23 | 883 | 46.899 | 51.394
2020-11-19 07:15:00 | 7.427 | 311.44 | 7.857 | 325.665 | 8.173 | 304.588 | 8.772 | 327.329 | 12.42 | 883 | 45.929 | 51.081
2020-11-19 07:30:00 | 6.244 | 279.31 | 6.541 | 327.747 | 6.755 | 273.164 | 7.173 | 329.424 | 12.14 | 883.7 | 45.5 | 46.444
2020-11-19 07:45:00 | 6.3107 | 317.48 | 6.5747 | 326.254 | 6.7947 | 311.1913 | 7.162 | 327.2547 | 12.4 | 884 | 45.3407 | 41.518
2020-11-19 08:00:00 | 6.142 | 337.7 | 6.412 | 324.072 | 6.496 | 330.72 | 6.916 | 325.726 | 12.52 | 884 | 45.662 | 38.27
2020-11-19 08:15:00 | 6.368 | 311.9 | 6.685 | 327.687 | 6.936 | 305.174 | 7.367 | 329.365 | 12.36 | 884 | 47.498 | 43.729
2020-11-19 08:30:00 | 6.086 | 244.23 | 6.351 | 332.715 | 6.704 | 238.857 | 7.033 | 334.417 | 12.12 | 884.7 | 46.96 | 44.406
2020-11-19 08:45:00 | 6.11 | 271.46 | 6.367 | 298.574 | 6.8 | 265.489 | 7.098 | 300.101 | 12.16 | 885 | 47.259 | 44.383
2020-11-19 09:00:00 | 6.019 | 314.21 | 6.318 | 334.74 | 6.706 | 307.297 | 7.074 | 336.452 | 12.29 | 885 | 48.724 | 41.044
2020-11-19 09:15:00 | 5.616 | 214.16 | 5.885 | 334.857 | 6.179 | 209.449 | 6.527 | 336.569 | 12.33 | 885 | 47.479 | 37.41
2020-11-19 09:30:00 | 6.0207 | 323.22 | 6.3273 | 325.6733 | 6.5607 | 316.1087 | 6.9873 | 327.3387 | 12.6267 | 885 | 45.6333 | 36.0113
2020-11-19 09:45:00 | 6.052 | 341.62 | 6.3653 | 321.052 | 6.6587 | 334.104 | 7.078 | 322.6927 | 12.6 | 885 | 43.1933 | 36.4693
2020-11-19 10:00:00 | 6.28 | 346 | 6.588 | 320.394 | 6.402 | 339.188 | 6.944 | 322.034 | 12.74 | 885.4 | 42.306 | 38.358
2020-11-19 10:15:00 | 6.692 | 339.1 | 7.016 | 327.922 | 6.97 | 331.64 | 7.512 | 329.602 | 12.74 | 886 | 44.128 | 38.564
2020-11-19 10:30:00 | 6.772 | 304.46 | 7.173 | 333.811 | 7.497 | 297.762 | 8.048 | 335.519 | 12.71 | 886 | 44.838 | 40.587
2020-11-19 10:45:00 | 6.308 | 339.46 | 6.746 | 329.333 | 6.779 | 331.992 | 7.477 | 331.014 | 12.71 | 886 | 44.884 | 38.471
2020-11-19 11:00:00 | 6.522 | 340.6 | 6.99 | 329.675 | 7.162 | 333.108 | 7.861 | 331.36 | 12.7 | 886 | 43.953 | 37.407
2020-11-19 11:15:00 | 6.37 | 276.05 | 6.759 | 327.463 | 7.028 | 269.976 | 7.575 | 329.138 | 12.83 | 886 | 43.252 | 34.775
2020-11-19 11:30:00 | 5.826 | 341.18 | 6.178 | 324.265 | 6.622 | 333.675 | 7.06 | 325.924 | 12.89 | 886 | 44.193 | 26.495
2020-11-19 11:45:00 | 4.975 | 335.68 | 5.132 | 322.466 | 5.683 | 328.296 | 5.776 | 324.115 | 13.02 | 886 | 44.297 | 19.622
2020-11-19 12:00:00 | 4.863 | 308.92 | 5.106 | 326.437 | 5.296 | 302.124 | 5.633 | 328.105 | 13.2 | 886 | 44.167 | 15.278
2020-11-19 12:15:00 | 4.615 | 333.55 | 4.828 | 321.714 | 5.113 | 326.212 | 5.373 | 323.357 | 13.44 | 886 | 42.784 | 15.092
2020-11-19 12:30:00 | 4.658 | 267.92 | 4.8893 | 327.662 | 5.0967 | 262.0247 | 5.4087 | 329.336 | 13.96 | 886 | 40.4513 | 14.288
2020-11-19 12:45:00 | 4.4267 | 340.3133 | 4.596 | 327.48 | 4.8687 | 332.6367 | 5.066 | 329.1547 | 13.9933 | 886 | 38.494 | 11.76
2020-11-19 13:00:00 | 4.414 | 331.3733 | 4.616 | 323.1567 | 4.768 | 323.678 | 5.0467 | 324.8093 | 14.0933 | 886 | 38.8507 | 10.8253
2020-11-19 13:15:00 | 4.116 | 329.02 | 4.2567 | 323.7307 | 4.5293 | 321.7807 | 4.6813 | 325.3847 | 14.1667 | 885.5333 | 39.3153 | 9.796
2020-11-19 13:30:00 | 3.896 | 334.84 | 4.112 | 327.962 | 4.422 | 327.474 | 4.682 | 329.638 | 14.24 | 885 | 39.18 | 8.97
2020-11-19 13:45:00 | 3.818 | 328.44 | 4.024 | 326.574 | 4.276 | 321.214 | 4.538 | 328.244 | 14.4 | 885 | 39.05 | 7.28
2020-11-19 14:00:00 | 3.668 | 264.82 | 3.846 | 332.128 | 4.164 | 258.992 | 4.354 | 333.826 | 14.8 | 885 | 37.138 | 6.618
2020-11-19 14:15:00 | 3.291 | 321.42 | 3.438 | 320.461 | 3.535 | 314.349 | 3.74 | 322.099 | 15.23 | 885 | 35.688 | 4.271
2020-11-19 14:30:00 | 3.196 | 317.66 | 3.397 | 262.171 | 3.447 | 310.673 | 3.758 | 263.513 | 15.58 | 885 | 35.642 | 3.496
2020-11-19 14:45:00 | 2.688 | 312.04 | 2.812 | 293.488 | 3.13 | 305.175 | 3.237 | 294.988 | 15.87 | 884 | 33.956 | 1.212
2020-11-19 15:00:00 | 2.102 | 311.68 | 2.219 | 328.226 | 2.482 | 304.824 | 2.593 | 329.904 | 16.39 | 884 | 33.258 | 0
2020-11-19 15:15:00 | 1.454 | 316.27 | 1.513 | 291.19 | 1.699 | 309.312 | 1.742 | 292.68 | 17.09 | 884 | 32.241 | 0
2020-11-19 15:30:00 | 1.05 | 293.41 | 1.082 | 256.794 | 1.217 | 286.955 | 1.228 | 258.105 | 17.32 | 884 | 32.775 | 0
2020-11-19 15:45:00 | 0.562 | 292.84 | 0.638 | 202.718 | 0.796 | 286.398 | 0.875 | 203.757 | 17.96 | 884 | 33.021 | 0
2020-11-19 16:00:00 | 0.7 | 164.3 | 0.811 | 177.33 | 0.687 | 160.687 | 0.899 | 178.238 | 18.51 | 884 | 34.528 | 0
2020-11-19 16:15:00 | 1.3313 | 172.78 | 1.3913 | 164.6293 | 1.3033 | 168.978 | 1.424 | 165.4727 | 17.5867 | 884 | 31.9093 | 0
2020-11-19 16:30:00 | 1.556 | 185.4667 | 1.6167 | 190.8347 | 1.7327 | 181.3873 | 1.7953 | 191.8093 | 17.5133 | 884 | 35.602 | 0
2020-11-19 16:45:00 | 1.3247 | 182.66 | 1.386 | 181.1453 | 1.382 | 179.0213 | 1.4693 | 182.0713 | 17.4067 | 884 | 38.744 | 0
2020-11-19 17:00:00 | 1.014 | 196.62 | 1.082 | 176.92 | 1.044 | 192.296 | 1.164 | 177.824 | 17.48 | 883.6 | 40.766 | 0
2020-11-19 17:15:00 | 1.206 | 179.52 | 1.258 | 158.808 | 1.206 | 176.354 | 1.274 | 159.618 | 17.28 | 883 | 41.834 | 0
2020-11-19 17:30:00 | 0.978 | 188.32 | 1.032 | 177.624 | 1.048 | 184.176 | 1.128 | 178.532 | 16.88 | 883 | 43.372 | 0
2020-11-19 17:45:00 | 1.166 | 208.67 | 1.232 | 188.988 | 1.227 | 204.079 | 1.333 | 189.955 | 16.61 | 883 | 42.873 | 0
2020-11-19 18:00:00 | 0.714 | 223.83 | 0.772 | 231.209 | 0.674 | 218.906 | 0.799 | 232.391 | 16.64 | 883 | 41.465 | 0
2020-11-19 18:15:00 | 1.006 | 254.13 | 1.012 | 308.001 | 1.341 | 248.539 | 1.254 | 309.576 | 16.38 | 883 | 42.702 | 0
2020-11-19 18:30:00 | 1.972 | 337.15 | 2.074 | 141.467 | 2.576 | 329.732 | 2.594 | 142.192 | 15.95 | 883 | 43.864 | 0
2020-11-19 18:45:00 | 2.167 | 236.22 | 2.204 | 208.745 | 2.582 | 231.023 | 2.533 | 209.812 | 15.89 | 883 | 45.235 | 0
2020-11-19 19:00:00 | 2.411 | 311.34 | 2.536 | 338.349 | 2.941 | 304.492 | 3.022 | 340.079 | 15.67 | 883 | 45.614 | 0.938
2020-11-19 19:15:00 | 2.672 | 309.58 | 2.829 | 338.144 | 3.262 | 302.77 | 3.391 | 339.871 | 15.46 | 883 | 46.509 | 2.373
2020-11-19 19:30:00 | 2.894 | 346.62 | 3.0433 | 337.4227 | 3.4513 | 338.9953 | 3.576 | 339.148 | 15.1933 | 883.8 | 48.9587 | 3.2233
2020-11-19 19:45:00 | 2.63 | 338.3867 | 2.732 | 323.6867 | 3.314 | 330.942 | 3.312 | 325.3407 | 15.0333 | 884 | 49.954 | 2.372
2020-11-19 20:00:00 | 2.326 | 342.18 | 2.38 | 322.114 | 2.882 | 334.652 | 2.828 | 323.762 | 14.9 | 884 | 50.89 | 1.082
2020-11-19 20:15:00 | 1.295 | 268.06 | 1.28 | 255.856 | 1.846 | 262.162 | 1.659 | 257.163 | 14.99 | 884 | 49.57 | 0
2020-11-19 20:30:00 | 0.938 | 89.88 | 0.993 | 287.287 | 1.344 | 87.902 | 1.329 | 288.757 | 15.13 | 884 | 48.688 | 0
2020-11-19 20:45:00 | 0.801 | 78.4 | 0.829 | 72.439 | 1.055 | 79.726 | 1.034 | 72.812 | 15.29 | 884.2 | 48.399 | 0
2020-11-19 21:00:00 | 1.3 | 133.51 | 1.365 | 119.727 | 1.359 | 130.572 | 1.464 | 120.338 | 15.24 | 885 | 48.42 | 0
2020-11-19 21:15:00 | 0.795 | 103.86 | 0.818 | 115.696 | 0.961 | 101.574 | 0.952 | 116.289 | 15.05 | 885 | 49.212 | 0
2020-11-19 21:30:00 | 0.585 | 66.97 | 0.646 | 99.502 | 0.713 | 65.497 | 0.79 | 100.01 | 14.99 | 885 | 49.942 | 0
2020-11-19 21:45:00 | 0.712 | 68.2 | 0.722 | 125.176 | 0.865 | 66.114 | 0.832 | 125.815 | 14.83 | 885 | 52.66 | 0
2020-11-19 22:00:00 | 0.789 | 64 | 0.889 | 59.032 | 0.81 | 62.594 | 0.992 | 59.333 | 14.57 | 885 | 56.501 | 0
2020-11-19 22:15:00 | 0.57267 | 107.7467 | 0.67467 | 112.144 | 0.542 | 105.3753 | 0.746 | 112.7173 | 14.5733 | 885 | 57.2573 | 0
2020-11-19 22:30:00 | 1.5053 | 133.5133 | 1.636 | 124.27 | 1.602 | 130.576 | 1.8227 | 124.9067 | 14.2733 | 885 | 56.918 | 0
2020-11-19 22:45:00 | 2.21 | 117.28 | 2.324 | 122.738 | 2.338 | 114.7 | 2.516 | 123.368 | 14.02 | 885 | 56.634 | 0
2020-11-19 23:00:00 | 1.314 | 146.54 | 1.324 | 90.68 | 1.336 | 143.318 | 1.346 | 91.144 | 14.2 | 885 | 55.022 | 0
2020-11-19 23:15:00 | 0.901 | 136.8 | 1.091 | 89.486 | 1.081 | 133.871 | 1.383 | 89.944 | 14.6 | 885 | 55.945 | 0
2020-11-19 23:30:00 | 0.453 | 168.69 | 0.478 | 122.161 | 0.507 | 165.566 | 0.536 | 122.787 | 14.62 | 885 | 56.018 | 0
2020-11-19 23:45:00 | 0.566 | 161.98 | 0.591 | 136.518 | 0.577 | 158.417 | 0.622 | 137.217 | 14.67 | 885 | 56.705 | 0