## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-21 00:00:00 | 8.742 | 210.1 | 9.308 | 293.652 | 9.992 | 205.476 | 10.704 | 295.155 | 8.02 | 884 | 87.66 | 57.13
2020-11-21 00:15:00 | 9.02 | 244.39 | 9.627 | 330.906 | 10.521 | 239.012 | 11.238 | 332.599 | 8 | 884 | 87.18 | 55.375
2020-11-21 00:30:00 | 9.05 | 347.72 | 9.788 | 336.588 | 10.566 | 340.072 | 11.524 | 338.31 | 7.98 | 884 | 86.72 | 54.262
2020-11-21 00:45:00 | 8.719 | 276.17 | 9.292 | 333.711 | 10.042 | 238.007 | 10.759 | 335.42 | 7.95 | 884 | 86.38 | 55.268
2020-11-21 01:00:00 | 8.874 | 282.46 | 9.453 | 332.656 | 10.044 | 276.245 | 10.804 | 334.357 | 7.92 | 884 | 85.68 | 55.786
2020-11-21 01:15:00 | 8.431 | 317.24 | 9.031 | 303.875 | 9.926 | 309.372 | 10.643 | 303.974 | 7.95 | 884 | 85.08 | 55.349
2020-11-21 01:30:00 | 9.042 | 280.14 | 9.76 | 334.122 | 10.306 | 273.976 | 11.302 | 335.83 | 7.94 | 884 | 84.76 | 55.522
2020-11-21 01:45:00 | 8.693 | 280.01 | 9.204 | 335.316 | 9.761 | 273.498 | 10.434 | 337.031 | 7.97 | 883 | 84.4 | 55.296
2020-11-21 02:00:00 | 8.297 | 247.31 | 8.85 | 336.588 | 9.478 | 241.869 | 10.18 | 338.309 | 8.06 | 883 | 83.93 | 55.942
2020-11-21 02:15:00 | 7.778 | 216.16 | 8.386 | 269.166 | 9.15 | 211.404 | 9.9 | 270.54 | 8.18 | 883 | 84.1 | 54.994
2020-11-21 02:30:00 | 8.581 | 310.31 | 9.114 | 328.874 | 9.784 | 303.484 | 10.448 | 330.554 | 8.1 | 884 | 82.52 | 55.428
2020-11-21 02:45:00 | 9.312 | 349.98 | 10.11 | 343.668 | 10.77 | 342.28 | 11.854 | 345.428 | 8.18 | 884 | 82.62 | 54.128
2020-11-21 03:00:00 | 9.973 | 281.63 | 10.64 | 300.383 | 11.407 | 275.433 | 12.26 | 301.918 | 8.15 | 884 | 81.5 | 56.143
2020-11-21 03:15:00 | 9.94 | 286.96 | 10.62 | 271.922 | 11.334 | 279.316 | 12.228 | 268.93 | 8.16 | 883 | 80.8 | 56.7
2020-11-21 03:30:00 | 10.3233 | 279.0067 | 11.1547 | 290.3813 | 11.9393 | 272.868 | 13.0493 | 291.8647 | 8.02 | 883.3333 | 81.24 | 56.412
2020-11-21 03:45:00 | 10.836 | 244.57 | 11.655 | 302.69 | 12.625 | 239.191 | 13.659 | 304.239 | 7.98 | 883.8 | 81.74 | 55.427
2020-11-21 04:00:00 | 10.452 | 275.44 | 11.176 | 328.216 | 12.17 | 269.382 | 13.04 | 329.894 | 8.02 | 883.4 | 80.76 | 56.602
2020-11-21 04:15:00 | 10.801 | 244.27 | 11.43 | 308.461 | 12.122 | 238.895 | 12.931 | 310.038 | 8 | 884 | 78.837 | 55.798
2020-11-21 04:30:00 | 10.4133 | 300.1133 | 11.148 | 333.544 | 11.882 | 293.51 | 12.8507 | 335.2493 | 7.9333 | 883.8667 | 77.0473 | 55.3567
2020-11-21 04:45:00 | 10.462 | 275.96 | 11.274 | 334.846 | 12.088 | 269.89 | 13.156 | 336.56 | 7.9 | 883 | 76.26 | 56.53
2020-11-21 05:00:00 | 10.784 | 277.43 | 11.475 | 302.074 | 12.267 | 269.947 | 13.148 | 303.62 | 7.8 | 883 | 74.772 | 55.828
2020-11-21 05:15:00 | 10.737 | 279.29 | 11.349 | 303.512 | 12.28 | 273.144 | 12.996 | 305.063 | 7.74 | 883 | 74.324 | 54.221
2020-11-21 05:30:00 | 10.0073 | 231.3733 | 10.688 | 309.1647 | 11.5387 | 226.916 | 12.3847 | 310.7447 | 7.6933 | 883.1333 | 74.0333 | 56.1073
2020-11-21 05:45:00 | 10.918 | 278.18 | 11.83 | 274.016 | 12.574 | 272.062 | 13.814 | 275.416 | 7.64 | 884 | 73.716 | 56.46
2020-11-21 06:00:00 | 10.411 | 277.15 | 11.171 | 300.029 | 12.041 | 271.052 | 13.01 | 301.566 | 7.7 | 884 | 72.014 | 54.767
2020-11-21 06:15:00 | 10.358 | 343.07 | 11.093 | 298.262 | 11.983 | 335.522 | 12.906 | 299.786 | 7.71 | 884 | 70.587 | 54.699
2020-11-21 06:30:00 | 10.5047 | 321.5733 | 11.2667 | 270.926 | 12.292 | 314.4987 | 13.216 | 272.31 | 7.6867 | 884 | 68.9147 | 54.5753
2020-11-21 06:45:00 | 10.94 | 208.02 | 11.694 | 344.472 | 13.102 | 203.444 | 13.906 | 346.232 | 7.68 | 884 | 67.708 | 55.208
2020-11-21 07:00:00 | 10.822 | 344.71 | 11.563 | 337.391 | 12.605 | 337.125 | 13.497 | 339.115 | 7.59 | 884 | 66.463 | 54.798
2020-11-21 07:15:00 | 10.88 | 346.53 | 11.681 | 332.178 | 12.553 | 338.907 | 13.585 | 333.876 | 7.41 | 884.2 | 65.612 | 49.446
2020-11-21 07:30:00 | 10.991 | 248.3 | 11.754 | 330.721 | 12.738 | 242.838 | 13.683 | 332.412 | 7.38 | 885 | 65.118 | 48.324
2020-11-21 07:45:00 | 10.653 | 312.88 | 11.436 | 305.593 | 12.458 | 305.995 | 13.422 | 307.157 | 7.38 | 885 | 64.342 | 48.851
2020-11-21 08:00:00 | 10.2267 | 277.6067 | 10.906 | 329 | 11.9967 | 271.4993 | 12.768 | 330.6807 | 7.2133 | 885 | 63.9033 | 54.1407
2020-11-21 08:15:00 | 10.024 | 208.05 | 10.671 | 297.968 | 11.783 | 205.4 | 12.508 | 299.491 | 7.19 | 885 | 63.924 | 53.54
2020-11-21 08:30:00 | 9.959 | 248.42 | 10.558 | 296.255 | 11.647 | 242.956 | 12.293 | 297.771 | 7.1 | 885 | 63.832 | 50.992
2020-11-21 08:45:00 | 10.645 | 280.33 | 11.145 | 293.467 | 12.022 | 274.162 | 12.576 | 294.969 | 6.93 | 886 | 64.35 | 53.672
2020-11-21 09:00:00 | 11.295 | 246.28 | 11.834 | 323.522 | 12.738 | 240.861 | 13.354 | 325.176 | 6.77 | 886 | 64.116 | 51.303
2020-11-21 09:15:00 | 10.4253 | 319.22 | 11.1253 | 328.6607 | 11.8533 | 312.1967 | 12.7633 | 330.3413 | 6.6467 | 886 | 65.492 | 51.0033
2020-11-21 09:30:00 | 10.2893 | 302.1933 | 10.8373 | 331.1907 | 11.5973 | 295.74 | 12.2487 | 332.8833 | 6.52 | 886.6667 | 65.844 | 50.6387
2020-11-21 09:45:00 | 9.998 | 278.8067 | 10.774 | 223.1147 | 11.656 | 272.6733 | 12.6487 | 224.256 | 6.4267 | 886.4667 | 67.808 | 50.164
2020-11-21 10:00:00 | 9.876 | 305.2733 | 10.6613 | 292.5987 | 11.7067 | 298.5573 | 12.662 | 294.0927 | 6.4 | 887 | 67.374 | 50.864
2020-11-21 10:15:00 | 10.314 | 342.04 | 11.154 | 262.22 | 12.336 | 334.512 | 13.34 | 263.562 | 6.4 | 887 | 66.878 | 49.594
2020-11-21 10:30:00 | 10.62 | 276.84 | 11.378 | 331.754 | 12.33 | 270.748 | 13.274 | 333.452 | 6.32 | 887 | 66.318 | 49.49
2020-11-21 10:45:00 | 9.979 | 242.39 | 10.743 | 301.399 | 11.422 | 237.057 | 12.452 | 302.941 | 6.37 | 887 | 65.184 | 53.814
2020-11-21 11:00:00 | 9.312 | 313.05 | 9.965 | 298.281 | 10.923 | 306.163 | 11.698 | 299.806 | 6.36 | 887 | 64.188 | 53.162
2020-11-21 11:15:00 | 9.737 | 240.36 | 10.46 | 331.316 | 11.08 | 235.237 | 12.091 | 333.011 | 6.33 | 887.8 | 64.173 | 53.108
2020-11-21 11:30:00 | 10.021 | 247.9 | 10.75 | 329.185 | 11.542 | 275.276 | 12.498 | 330.87 | 6.45 | 887 | 63.365 | 51.13
2020-11-21 11:45:00 | 10.709 | 311.86 | 11.651 | 298.875 | 12.165 | 304.998 | 13.53 | 300.404 | 6.39 | 887 | 62.7 | 52.769
2020-11-21 12:00:00 | 10.766 | 310.15 | 11.428 | 325.656 | 12.193 | 303.327 | 13.034 | 327.32 | 6.3 | 887 | 63.097 | 53.101
2020-11-21 12:15:00 | 10.326 | 277.96 | 10.902 | 327.397 | 11.823 | 271.843 | 12.487 | 329.068 | 6.21 | 887 | 62.782 | 54.661
2020-11-21 12:30:00 | 10.668 | 282.17 | 11.143 | 326.426 | 11.911 | 275.963 | 12.458 | 328.097 | 6.13 | 887 | 62.713 | 53.16
2020-11-21 12:45:00 | 10.843 | 276.34 | 11.359 | 299.003 | 11.996 | 270.407 | 12.656 | 300.532 | 6.04 | 887 | 63.232 | 51.479
2020-11-21 13:00:00 | 10.921 | 242.4 | 11.403 | 329.703 | 12.189 | 237.066 | 12.74 | 331.387 | 6.06 | 887 | 63.25 | 53.369
2020-11-21 13:15:00 | 10.715 | 278.63 | 11.608 | 303.933 | 12.374 | 273.097 | 13.617 | 305.488 | 6.05 | 887 | 62.456 | 52.253
2020-11-21 13:30:00 | 10.7 | 320.8067 | 11.5093 | 311.532 | 12.2233 | 313.748 | 13.3153 | 313.124 | 6 | 887 | 62.4613 | 51.292
2020-11-21 13:45:00 | 11.4047 | 274.2067 | 12.194 | 272.496 | 12.868 | 268.1747 | 13.94 | 273.89 | 5.92 | 886.5333 | 62.6527 | 52.3053
2020-11-21 14:00:00 | 11.364 | 279.5333 | 12.106 | 250.4053 | 12.898 | 273.964 | 13.856 | 251.6873 | 5.9 | 886 | 62.4953 | 53.302
2020-11-21 14:15:00 | 11.274 | 298.82 | 11.9847 | 272.692 | 12.6933 | 292.246 | 13.638 | 274.0873 | 5.8867 | 886 | 62.1447 | 53.7953
2020-11-21 14:30:00 | 12.554 | 342.86 | 13.464 | 278.928 | 13.914 | 335.316 | 15.254 | 280.352 | 5.84 | 886 | 62.196 | 53.906
2020-11-21 14:45:00 | 10.638 | 278.8 | 11.409 | 238.72 | 12.071 | 272.538 | 13.111 | 239.94 | 5.86 | 886 | 61.946 | 54.281
2020-11-21 15:00:00 | 11.557 | 269.58 | 12.413 | 204.94 | 13.324 | 263.65 | 14.434 | 205.989 | 5.96 | 886 | 61.354 | 55.865
2020-11-21 15:15:00 | 11.019 | 213.8 | 11.727 | 273.46 | 12.38 | 209.096 | 13.33 | 274.857 | 5.96 | 886 | 61.178 | 56.938
2020-11-21 15:30:00 | 11.399 | 274.78 | 12.189 | 307.042 | 12.924 | 268.735 | 13.981 | 308.613 | 6 | 886 | 61.515 | 56.003
2020-11-21 15:45:00 | 10.77 | 175.09 | 11.372 | 240.102 | 11.805 | 171.238 | 12.649 | 241.327 | 5.96 | 886.2 | 60.908 | 56.596
2020-11-21 16:00:00 | 11.306 | 309.5 | 12.057 | 271.012 | 12.707 | 302.692 | 13.726 | 272.4 | 5.99 | 887 | 60.742 | 57.465
2020-11-21 16:15:00 | 10.92 | 346.31 | 11.573 | 238.71 | 12.354 | 338.693 | 13.178 | 239.932 | 5.95 | 887 | 60.452 | 55.128
2020-11-21 16:30:00 | 10.99 | 311.33 | 11.747 | 338.818 | 12.497 | 304.48 | 13.501 | 340.55 | 6 | 887 | 59.824 | 56.266
2020-11-21 16:45:00 | 10.941 | 245.86 | 11.756 | 202.376 | 12.456 | 240.452 | 13.56 | 203.411 | 6.02 | 887 | 59.937 | 54.335
2020-11-21 17:00:00 | 10.839 | 319.35 | 11.654 | 269.79 | 12.36 | 312.325 | 13.468 | 271.172 | 5.93 | 887 | 59.672 | 55.42
2020-11-21 17:15:00 | 11.0733 | 275.46 | 11.7753 | 316.964 | 12.5953 | 269.3987 | 13.4893 | 318.5833 | 5.94 | 887 | 59.4673 | 56.6773
2020-11-21 17:30:00 | 11.1407 | 259 | 11.89 | 295.506 | 12.7293 | 253.302 | 13.6887 | 297.016 | 5.9067 | 887.8 | 60.1473 | 55.5567
2020-11-21 17:45:00 | 10.9513 | 211.96 | 11.7407 | 295.598 | 12.6773 | 207.2973 | 13.674 | 297.108 | 5.8867 | 888 | 59.9127 | 53.6053
2020-11-21 18:00:00 | 11.6267 | 206.8333 | 12.536 | 296.0153 | 13.2647 | 202.7073 | 14.42 | 297.5273 | 5.8933 | 888 | 59.2307 | 54.8007
2020-11-21 18:15:00 | 11.1867 | 209.8933 | 11.948 | 249.084 | 12.778 | 205.276 | 13.758 | 250.3573 | 5.8133 | 888 | 58.8 | 55.4273
2020-11-21 18:30:00 | 11.362 | 353.26 | 12.236 | 138.66 | 12.97 | 345.488 | 14.168 | 139.37 | 5.8 | 888 | 58.91 | 54.706
2020-11-21 18:45:00 | 11.3867 | 344.9111 | 12.2022 | 337.4544 | 12.9644 | 338.5944 | 14.0433 | 339.1789 | 5.7 | 889 | 58.83 | 53.7722
2020-11-21 19:00:00 | 11.195 | 246.58 | 11.856 | 306.378 | 12.758 | 241.156 | 13.609 | 307.945 | 5.69 | 889 | 58.489 | 51.885
2020-11-21 19:15:00 | 12.322 | 282.33 | 13.201 | 339.601 | 14.151 | 276.118 | 15.289 | 341.336 | 5.68 | 889 | 58.568 | 55.426
2020-11-21 19:30:00 | 11.73 | 208.38 | 12.454 | 308.421 | 13.243 | 203.795 | 14.185 | 309.999 | 5.6 | 889 | 58.629 | 53.198
2020-11-21 19:45:00 | 11.409 | 279.23 | 12.204 | 206.709 | 12.969 | 273.086 | 14.038 | 207.767 | 5.48 | 889.2 | 58.76 | 52.412
2020-11-21 20:00:00 | 11.102 | 240.69 | 11.779 | 340.862 | 12.82 | 236.677 | 13.576 | 342.606 | 5.49 | 890 | 58.707 | 52.23
2020-11-21 20:15:00 | 11.158 | 278.16 | 11.97 | 307.269 | 13.048 | 272.041 | 14.037 | 308.841 | 5.46 | 890 | 58.888 | 52.975
2020-11-21 20:30:00 | 11.751 | 273.8 | 12.649 | 303.716 | 13.562 | 267.776 | 14.745 | 305.27 | 5.4 | 890 | 58.91 | 51.825
2020-11-21 20:45:00 | 10.908 | 279.49 | 11.606 | 272.55 | 12.463 | 273.341 | 13.338 | 273.942 | 5.31 | 890 | 59.164 | 52.036
2020-11-21 21:00:00 | 11.774 | 348.55 | 12.652 | 302.984 | 13.587 | 340.882 | 14.726 | 304.533 | 5.34 | 890.7 | 59.459 | 49.314
2020-11-21 21:15:00 | 11.8807 | 257.2933 | 12.8207 | 269.6413 | 13.906 | 251.634 | 15.1053 | 271.018 | 5.28 | 891 | 59.152 | 49.0613
2020-11-21 21:30:00 | 11.1207 | 211.1 | 11.918 | 314.1593 | 13.042 | 206.4567 | 14.0047 | 315.7653 | 5.2 | 891 | 59.232 | 48.5
2020-11-21 21:45:00 | 11.382 | 276.4867 | 12.1427 | 270.3387 | 13.08 | 270.4033 | 14.03 | 271.7213 | 5.2 | 891 | 59.4607 | 47.5673
2020-11-21 22:00:00 | 11.438 | 324.2267 | 12.2233 | 271.642 | 13.1647 | 317.0933 | 14.1587 | 273.032 | 5.1933 | 891 | 60.0173 | 47.2807
2020-11-21 22:15:00 | 11.474 | 339.74 | 12.186 | 340.168 | 13.412 | 332.268 | 14.2 | 341.906 | 5.14 | 891 | 60.122 | 44.212
2020-11-21 22:30:00 | 12.22 | 282.64 | 13.026 | 331.66 | 14.008 | 276.422 | 15.014 | 333.358 | 5.1 | 891 | 59.674 | 39.974
2020-11-21 22:45:00 | 11.287 | 244.99 | 12.03 | 323.991 | 12.88 | 239.601 | 13.834 | 325.65 | 5.14 | 890.2 | 59.176 | 35.673
2020-11-21 23:00:00 | 10.642 | 244.3 | 11.236 | 292.079 | 12.348 | 238.924 | 12.985 | 293.573 | 5.1 | 891 | 59.102 | 35.842
2020-11-21 23:15:00 | 11.602 | 312.28 | 11.899 | 329.214 | 13.026 | 305.41 | 13.182 | 330.897 | 5.01 | 891 | 59.734 | 37.448
2020-11-21 23:30:00 | 10.42 | 205.78 | 10.556 | 329.431 | 11.756 | 201.253 | 11.634 | 331.114 | 4.9 | 891 | 60.238 | 36.53
2020-11-21 23:45:00 | 10.926 | 277.49 | 11.194 | 298.114 | 12.019 | 271.385 | 12.218 | 299.638 | 4.69 | 891 | 60.874 | 36.195