## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-22 00:00:00 | 11.927 | 242.45 | 12.216 | 328.285 | 12.889 | 237.117 | 13.172 | 329.964 | 4.47 | 891 | 61.509 | 35.707
2020-11-22 00:15:00 | 11.945 | 279.89 | 12.115 | 327.523 | 12.686 | 273.733 | 12.8 | 329.197 | 4.27 | 891 | 63.012 | 34.643
2020-11-22 00:30:00 | 11.782 | 295.72 | 12.0393 | 326.9327 | 12.4493 | 289.2133 | 12.754 | 328.604 | 3.9267 | 891.1333 | 64.7287 | 36.2627
2020-11-22 00:45:00 | 10.74 | 278.36 | 10.958 | 330.132 | 11.978 | 272.236 | 12.038 | 331.82 | 3.8 | 892 | 66.116 | 35.494
2020-11-22 01:00:00 | 10.866 | 338.22 | 11.296 | 327.864 | 11.912 | 330.778 | 12.428 | 329.54 | 3.72 | 892 | 68.248 | 38.475
2020-11-22 01:15:00 | 9.555 | 344.63 | 9.941 | 328.784 | 10.387 | 337.049 | 10.881 | 330.464 | 3.7 | 892 | 69.481 | 40.708
2020-11-22 01:30:00 | 9.254 | 204.36 | 9.676 | 323.582 | 10.414 | 199.862 | 10.884 | 325.236 | 3.7 | 892 | 69.79 | 42.608
2020-11-22 01:45:00 | 9.529 | 275.02 | 9.851 | 295.521 | 10.376 | 268.969 | 10.747 | 297.033 | 3.8 | 892 | 69.921 | 43.539
2020-11-22 02:00:00 | 9.885 | 273.78 | 10.075 | 323.141 | 10.772 | 267.758 | 10.883 | 324.792 | 3.73 | 892 | 69.255 | 46.283
2020-11-22 02:15:00 | 10.572 | 243.63 | 10.877 | 324.549 | 11.629 | 238.27 | 11.911 | 326.208 | 3.64 | 892 | 69.724 | 46.404
2020-11-22 02:30:00 | 10.232 | 245.81 | 10.563 | 326.319 | 11.194 | 240.402 | 11.55 | 327.986 | 3.58 | 892 | 69.447 | 45.741
2020-11-22 02:45:00 | 10.454 | 279.3 | 10.776 | 323.954 | 11.426 | 273.156 | 11.77 | 325.608 | 3.58 | 892 | 70.06 | 46.294
2020-11-22 03:00:00 | 10.205 | 275.02 | 10.519 | 329.526 | 11.106 | 268.969 | 11.45 | 331.212 | 3.49 | 891.3 | 70.53 | 46.007
2020-11-22 03:15:00 | 10.474 | 140.84 | 10.892 | 325.398 | 11.564 | 137.74 | 12.046 | 327.064 | 3.38 | 892 | 70.988 | 46.16
2020-11-22 03:30:00 | 9.465 | 252.0786 | 9.8964 | 308.5871 | 10.7871 | 246.5321 | 11.2243 | 310.1636 | 3.2429 | 891 | 72.2529 | 45.3547
2020-11-22 03:45:00 | 9.819 | 173.97 | 10.439 | 267.035 | 11.245 | 170.142 | 12.012 | 268.399 | 3.14 | 891 | 72.667 | 44.809
2020-11-22 04:00:00 | 9.652 | 276.95 | 10.267 | 302.321 | 11.077 | 305.721 | 11.822 | 303.865 | 3.01 | 891 | 73.15 | 43.057
2020-11-22 04:15:00 | 9.54 | 231.86 | 10.0507 | 292.414 | 11.0967 | 226.7593 | 11.6147 | 293.91 | 2.9933 | 891 | 73.7227 | 44.3
2020-11-22 04:30:00 | 9.94 | 217.62 | 10.592 | 210.758 | 11.268 | 212.832 | 12.12 | 211.834 | 2.9 | 891 | 74.446 | 44.284
2020-11-22 04:45:00 | 9.084 | 280.92 | 9.68 | 330.836 | 10.446 | 274.74 | 11.18 | 332.528 | 2.7 | 891 | 75.64 | 44.986
2020-11-22 05:00:00 | 8.958 | 315.38 | 9.623 | 304.98 | 10.292 | 308.441 | 11.169 | 306.539 | 2.68 | 891 | 76.444 | 44.753
2020-11-22 05:15:00 | 9.64 | 283.22 | 10.22 | 302.309 | 10.813 | 276.988 | 11.576 | 303.856 | 2.63 | 891 | 75.795 | 44.747
2020-11-22 05:30:00 | 9.028 | 275.81 | 9.712 | 270.289 | 10.738 | 269.744 | 11.54 | 271.672 | 2.55 | 891 | 74.675 | 45.177
2020-11-22 05:45:00 | 9.619 | 311.55 | 10.164 | 298.485 | 11.012 | 304.695 | 11.64 | 300.011 | 2.52 | 891 | 73.766 | 44.632
2020-11-22 06:00:00 | 9.377 | 242.56 | 9.943 | 297.488 | 10.824 | 237.223 | 11.481 | 299.009 | 2.5 | 891 | 74.125 | 45.958
2020-11-22 06:15:00 | 8.948 | 282.3067 | 9.4787 | 309.954 | 10.518 | 276.0967 | 11.0693 | 311.5393 | 2.4933 | 891 | 74.1007 | 44.5727
2020-11-22 06:30:00 | 9.036 | 208.24 | 9.66 | 329.724 | 10.626 | 203.658 | 11.348 | 331.408 | 2.48 | 891 | 74.154 | 44.928
2020-11-22 06:45:00 | 8.445 | 241.89 | 9.072 | 298.006 | 9.974 | 236.568 | 10.719 | 299.53 | 2.42 | 891 | 75.376 | 45.577
2020-11-22 07:00:00 | 9.465 | 277.29 | 10.174 | 265.144 | 10.832 | 271.189 | 11.781 | 266.501 | 2.33 | 891 | 76.761 | 45.592
2020-11-22 07:15:00 | 9.26 | 245.38 | 9.817 | 264.795 | 10.588 | 239.982 | 11.265 | 266.147 | 2.21 | 892 | 78.349 | 45.53
2020-11-22 07:30:00 | 8.9627 | 254.3467 | 9.5167 | 289.7813 | 10.3213 | 248.75 | 10.9787 | 291.2627 | 2.1533 | 892 | 79.0073 | 46.56
2020-11-22 07:45:00 | 8.9027 | 320.84 | 9.564 | 310.0453 | 10.3567 | 313.782 | 11.19 | 311.6313 | 1.96 | 892 | 80.4773 | 48.6747
2020-11-22 08:00:00 | 9.2193 | 342.8067 | 9.8673 | 312.5427 | 10.628 | 335.2647 | 11.45 | 314.14 | 1.7733 | 892 | 82.3133 | 49.2567
2020-11-22 08:15:00 | 8.536 | 212.8 | 9.216 | 334.122 | 9.788 | 208.116 | 10.71 | 335.834 | 1.68 | 892 | 82.8 | 49.052
2020-11-22 08:30:00 | 8.871 | 342.84 | 9.499 | 335.287 | 10.013 | 335.297 | 10.873 | 337.002 | 1.71 | 892 | 83.38 | 48.442
2020-11-22 08:45:00 | 8.583 | 313.66 | 9.138 | 330.564 | 9.84 | 306.758 | 10.531 | 332.254 | 1.57 | 892 | 86.07 | 48.78
2020-11-22 09:00:00 | 8.854 | 310.44 | 9.537 | 335.073 | 10.123 | 303.61 | 11.047 | 336.786 | 1.43 | 892 | 88.13 | 48.628
2020-11-22 09:15:00 | 8.6573 | 320.1867 | 9.2173 | 334.6967 | 9.902 | 313.1427 | 10.606 | 336.4093 | 1.3133 | 893 | 88.7733 | 49.164
2020-11-22 09:30:00 | 8.4167 | 299.96 | 9.014 | 288.5167 | 9.8053 | 293.3613 | 10.5327 | 289.992 | 1.2533 | 893 | 89.1867 | 48.6533
2020-11-22 09:45:00 | 8.412 | 346.12 | 8.836 | 261.322 | 9.63 | 338.504 | 10.078 | 262.658 | 1.2 | 893 | 90.12 | 48.386
2020-11-22 10:00:00 | 8.836 | 341.88 | 9.354 | 296.432 | 9.966 | 334.36 | 10.621 | 297.948 | 1.01 | 893.7 | 93.18 | 49.489
2020-11-22 10:15:00 | 8.687 | 339.43 | 9.255 | 333.958 | 9.732 | 331.962 | 10.511 | 335.667 | 0.95 | 894 | 94.21 | 50.25
2020-11-22 10:30:00 | 8.467 | 346.07 | 9.078 | 329.322 | 9.688 | 338.457 | 10.496 | 331.005 | 0.8 | 894 | 95.48 | 49.35
2020-11-22 10:45:00 | 8.089 | 307.31 | 8.711 | 334.328 | 9.34 | 300.55 | 10.151 | 336.039 | 0.63 | 894 | 96.36 | 50.455
2020-11-22 11:00:00 | 8.233 | 341.89 | 8.833 | 334.535 | 9.418 | 335.365 | 10.2 | 336.245 | 0.5 | 894 | 97.28 | 49.257
2020-11-22 11:15:00 | 8.451 | 339.41 | 8.982 | 289.917 | 9.623 | 331.943 | 10.291 | 291.4 | 0.45 | 894 | 97.98 | 49.926
2020-11-22 11:30:00 | 8.4293 | 310.7533 | 9.0253 | 327.3487 | 9.4413 | 303.9173 | 10.2807 | 329.024 | 0.42 | 894 | 98.6 | 51.0347
2020-11-22 11:45:00 | 8.4833 | 315.0067 | 9.0753 | 328.1447 | 9.3993 | 308.0753 | 10.2547 | 329.822 | 0.44667 | 893.5333 | 98.9067 | 51.928
2020-11-22 12:00:00 | 8.672 | 337.36 | 9.372 | 328.726 | 9.314 | 329.936 | 10.442 | 330.408 | 0.5 | 893 | 99.12 | 52.298
2020-11-22 12:15:00 | 8.292 | 308.06 | 8.909 | 327.524 | 9.237 | 301.283 | 10.128 | 329.197 | 0.54 | 893 | 99.42 | 51.608
2020-11-22 12:30:00 | 8.042 | 341.4 | 8.706 | 329.888 | 9.021 | 333.889 | 9.999 | 331.575 | 0.51 | 893 | 99.57 | 51.101
2020-11-22 12:45:00 | 8.104 | 344.8 | 8.742 | 331.006 | 9.098 | 337.214 | 10.022 | 332.696 | 0.43 | 892.8 | 99.7 | 50.89
2020-11-22 13:00:00 | 8.069 | 309.75 | 8.68 | 331.376 | 9.363 | 302.935 | 10.15 | 333.07 | 0.42 | 892 | 99.77 | 49.155
2020-11-22 13:15:00 | 8.127 | 344.54 | 8.744 | 332.08 | 9.315 | 336.96 | 10.138 | 333.775 | 0.51 | 892 | 99.8 | 50.238
2020-11-22 13:30:00 | 8.008 | 339.83 | 8.611 | 295.659 | 9.24 | 332.804 | 10.017 | 297.172 | 0.52 | 892 | 99.8 | 49.252
2020-11-22 13:45:00 | 8.041 | 343.59 | 8.659 | 331.366 | 9.316 | 336.216 | 10.115 | 333.06 | 0.59 | 892 | 99.88 | 49.776
2020-11-22 14:00:00 | 7.9393 | 343.6733 | 8.502 | 327.024 | 9.044 | 336.1127 | 9.788 | 328.6953 | 0.74 | 892 | 99.7067 | 49.94
2020-11-22 14:15:00 | 7.7 | 335.9 | 8.346 | 335.278 | 8.524 | 328.51 | 9.508 | 336.992 | 0.7 | 892 | 99.6 | 49.744
2020-11-22 14:30:00 | 8.182 | 337.98 | 8.734 | 332.87 | 9.088 | 330.544 | 9.886 | 334.574 | 0.68 | 891 | 99.5 | 49.314
2020-11-22 14:45:00 | 8.398 | 335 | 9.061 | 323.288 | 9.006 | 327.817 | 10.112 | 324.941 | 0.79 | 891 | 99.28 | 49.077
2020-11-22 15:00:00 | 8.275 | 336.28 | 8.849 | 322.407 | 8.985 | 328.882 | 9.874 | 324.055 | 0.92 | 891 | 99.13 | 49.952
2020-11-22 15:15:00 | 8.219 | 340.58 | 8.818 | 323.797 | 8.765 | 333.087 | 9.749 | 325.451 | 0.94 | 891 | 98.81 | 51.199
2020-11-22 15:30:00 | 8.742 | 339.67 | 9.286 | 324.892 | 9.53 | 331.266 | 10.324 | 326.553 | 0.97 | 891 | 98.3 | 50.888
2020-11-22 15:45:00 | 8.654 | 337.32 | 9.388 | 325.293 | 9.308 | 329.898 | 10.502 | 326.955 | 0.89 | 891 | 97.96 | 51.95
2020-11-22 16:00:00 | 8.746 | 336.29 | 9.448 | 325.781 | 9.439 | 330.085 | 10.569 | 327.446 | 0.92 | 891 | 97.9 | 52.058
2020-11-22 16:15:00 | 8.5827 | 337.88 | 9.214 | 325.034 | 9.308 | 330.6407 | 10.284 | 326.6973 | 0.93333 | 891 | 97.44 | 51.518
2020-11-22 16:30:00 | 8.33 | 339.0667 | 8.9253 | 322.4653 | 9.1573 | 331.6067 | 10.0487 | 324.1133 | 0.90667 | 891 | 97.26 | 50.7233
2020-11-22 16:45:00 | 8.518 | 336.7 | 9.128 | 327.708 | 9.202 | 329.294 | 10.158 | 329.386 | 1.04 | 891 | 96.88 | 51.282
2020-11-22 17:00:00 | 8.502 | 339.32 | 9.202 | 316.264 | 9.504 | 331.854 | 10.542 | 317.882 | 0.98 | 891 | 96.72 | 51.248
2020-11-22 17:15:00 | 8.27 | 342.23 | 8.895 | 323.22 | 9.216 | 334.701 | 10.127 | 324.872 | 0.81 | 891 | 97.2 | 50.819
2020-11-22 17:30:00 | 8.3 | 339.7 | 8.889 | 321.459 | 9.094 | 332.226 | 9.979 | 323.101 | 0.87 | 891 | 97.51 | 51.672
2020-11-22 17:45:00 | 8.657 | 340.06 | 9.331 | 324.462 | 9.383 | 331.973 | 10.476 | 326.12 | 0.99 | 891 | 97.96 | 51.784
2020-11-22 18:00:00 | 8.697 | 339.47 | 9.341 | 323.591 | 9.316 | 332.003 | 10.355 | 325.245 | 0.87 | 891 | 98.1 | 49.902
2020-11-22 18:15:00 | 8.752 | 336.59 | 9.455 | 323.923 | 9.59 | 329.077 | 10.74 | 325.579 | 0.78 | 891 | 98.49 | 50.11
2020-11-22 18:30:00 | 8.9633 | 339.04 | 9.686 | 315.1767 | 9.604 | 331.58 | 10.792 | 316.7887 | 0.64667 | 891.8 | 99.02 | 51.57
2020-11-22 18:45:00 | 9.33 | 336.02 | 10.07 | 322.76 | 10.174 | 328.626 | 11.334 | 324.41 | 0.68 | 892 | 99.2 | 52.84
2020-11-22 19:00:00 | 9.036 | 342.86 | 9.854 | 322.31 | 9.464 | 335.316 | 10.89 | 323.958 | 0.7 | 892 | 99.48 | 52.85
2020-11-22 19:15:00 | 9.317 | 342.15 | 10.075 | 323.463 | 9.96 | 334.622 | 11.213 | 325.118 | 0.77 | 892 | 99.82 | 53.801
2020-11-22 19:30:00 | 9.394 | 337.13 | 10.101 | 324.187 | 10.131 | 329.714 | 11.259 | 325.845 | 0.79 | 892 | 99.97 | 54.324
2020-11-22 19:45:00 | 9.235 | 343.32 | 9.918 | 326.415 | 9.922 | 335.766 | 11.021 | 328.085 | 0.93 | 892.2 | 100 | 53.354
2020-11-22 20:00:00 | 9.347 | 341.37 | 10.032 | 329.947 | 10.015 | 334.777 | 11.116 | 331.635 | 1.02 | 893 | 100 | 53.719
2020-11-22 20:15:00 | 9.402 | 340.6867 | 10.116 | 325.59 | 10.2887 | 333.74 | 11.4067 | 327.254 | 1.08 | 893 | 99.84 | 53.6373
2020-11-22 20:30:00 | 9.084 | 344.58 | 9.736 | 327.942 | 10.058 | 337 | 11.024 | 329.618 | 1.22 | 893 | 99.58 | 54.338
2020-11-22 20:45:00 | 9.01 | 340.47 | 9.773 | 333.723 | 9.968 | 332.979 | 11.138 | 335.43 | 1.07 | 893 | 98.8 | 53.59
2020-11-22 21:00:00 | 9.231 | 304.7 | 9.871 | 327.464 | 10.176 | 297.997 | 11.115 | 329.137 | 1.04 | 893 | 98.4 | 51.519
2020-11-22 21:15:00 | 9.149 | 344.45 | 9.757 | 328.15 | 10.085 | 336.872 | 10.965 | 329.826 | 1.07 | 893 | 98.01 | 51.462
2020-11-22 21:30:00 | 9.121 | 344.31 | 9.769 | 325.292 | 10.166 | 336.736 | 11.093 | 326.956 | 1.19 | 893 | 97.66 | 51.026
2020-11-22 21:45:00 | 8.292 | 338.92 | 8.889 | 330.467 | 9.38 | 331.463 | 10.195 | 332.155 | 1.11 | 893 | 97.12 | 50.163
2020-11-22 22:00:00 | 8.01 | 314.2267 | 8.6313 | 323.9727 | 9.012 | 307.6333 | 9.92 | 325.6273 | 1.2133 | 893.6667 | 96.22 | 49.47
2020-11-22 22:15:00 | 8.3307 | 294.3333 | 8.9087 | 329.4553 | 9.3553 | 287.8587 | 10.158 | 331.14 | 1.16 | 893.4667 | 95.6333 | 48.2147
2020-11-22 22:30:00 | 8.584 | 337.08 | 9.258 | 323.698 | 9.286 | 329.664 | 10.358 | 325.352 | 1.14 | 893.6 | 95.82 | 47.13
2020-11-22 22:45:00 | 7.307 | 275.91 | 7.974 | 327.318 | 8.657 | 269.84 | 9.524 | 328.989 | 1.05 | 893 | 96.1 | 46.901
2020-11-22 23:00:00 | 7.719 | 344.21 | 8.386 | 324.842 | 9.069 | 336.638 | 9.945 | 326.504 | 1.01 | 893 | 96.74 | 45.21
2020-11-22 23:15:00 | 8.243 | 335.6 | 8.994 | 329.694 | 9.386 | 328.216 | 10.477 | 331.381 | 1.06 | 893 | 96.98 | 45.332
2020-11-22 23:30:00 | 7.554 | 298.7733 | 8.166 | 330.042 | 8.7153 | 292.754 | 9.5373 | 331.73 | 1 | 893 | 96.8733 | 45.414
2020-11-22 23:45:00 | 7.5287 | 339.82 | 8.1067 | 324.886 | 8.6187 | 332.344 | 9.4027 | 326.5467 | 0.98 | 893 | 96.8533 | 44.77