## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-23 00:00:00 | 7.054 | 335.28 | 7.74 | 260.228 | 8.044 | 327.904 | 9.056 | 261.558 | 0.82 | 893 | 96.92 | 43.21
2020-11-23 00:15:00 | 8.012 | 339.5 | 8.645 | 324.568 | 8.615 | 332.03 | 9.64 | 326.229 | 0.86 | 893 | 97.32 | 43.882
2020-11-23 00:30:00 | 7.884 | 340.6 | 8.458 | 318.615 | 8.335 | 333.107 | 9.299 | 320.242 | 0.77 | 893 | 97.68 | 44.371
2020-11-23 00:45:00 | 7.8609 | 340.4727 | 8.4245 | 324.1718 | 8.1345 | 333.8282 | 9.1327 | 325.8273 | 0.66364 | 893 | 98.76 | 42.2482
2020-11-23 01:00:00 | 6.9311 | 341.9556 | 7.5678 | 323.6411 | 7.5233 | 334.4322 | 8.5622 | 325.2956 | 0.47778 | 893 | 99.3778 | 41.085
2020-11-23 01:15:00 | 7.007 | 340.25 | 7.666 | 321.107 | 7.529 | 332.764 | 8.632 | 322.749 | 0.45 | 893 | 99.86 | 39.444
2020-11-23 01:30:00 | 7.206 | 340.58 | 7.892 | 332.286 | 8.076 | 333.086 | 9.126 | 333.984 | 0.5 | 893 | 100 | 38.17
2020-11-23 01:45:00 | 7.543 | 343.59 | 8.115 | 325.067 | 7.884 | 336.031 | 8.869 | 326.731 | 0.48 | 892 | 100 | 37.421
2020-11-23 02:00:00 | 7.458 | 342.45 | 8.084 | 330.076 | 8.052 | 334.915 | 9.063 | 331.762 | 0.48 | 892 | 100 | 37.021
2020-11-23 02:15:00 | 6.698 | 340.66 | 7.42 | 335.534 | 7.344 | 333.164 | 8.522 | 337.246 | 0.54 | 892 | 100 | 36.744
2020-11-23 02:30:00 | 6.527 | 338.31 | 7.2 | 322.172 | 7.109 | 330.869 | 8.215 | 323.819 | 0.55 | 892 | 100 | 33.76
2020-11-23 02:45:00 | 6.8507 | 340.02 | 7.4333 | 326.2153 | 7.2653 | 332.5387 | 8.2547 | 327.8833 | 0.52667 | 892 | 100 | 36.506
2020-11-23 03:00:00 | 7.428 | 336.93 | 8.019 | 329.342 | 8.427 | 329.518 | 9.257 | 331.026 | 0.58 | 892 | 100 | 36.455
2020-11-23 03:15:00 | 7.18 | 338.6 | 7.956 | 327.356 | 8.388 | 331.15 | 9.502 | 329.028 | 0.68 | 892 | 100 | 36.536
2020-11-23 03:30:00 | 7.971 | 337.02 | 8.589 | 321.282 | 8.572 | 329.606 | 9.565 | 322.925 | 0.91 | 891 | 99.68 | 38.029
2020-11-23 03:45:00 | 7.944 | 331.58 | 8.528 | 320.96 | 8.6 | 324.286 | 9.52 | 322.602 | 0.94 | 891 | 99.22 | 36.926
2020-11-23 04:00:00 | 7.864 | 335.5 | 8.3807 | 323.054 | 8.5687 | 327.48 | 9.33 | 324.7047 | 1.0533 | 891.8 | 98.9933 | 37.97
2020-11-23 04:15:00 | 7.942 | 333.24 | 8.506 | 325.83 | 8.634 | 325.908 | 9.51 | 327.498 | 1.12 | 892 | 98.72 | 39.058
2020-11-23 04:30:00 | 7.775 | 340.43 | 8.386 | 324.274 | 8.589 | 332.94 | 9.514 | 325.932 | 1.03 | 892 | 98.3 | 38.858
2020-11-23 04:45:00 | 8.162 | 338.72 | 8.752 | 317.793 | 8.709 | 331.268 | 9.673 | 319.418 | 1.05 | 892 | 97.78 | 38.996
2020-11-23 05:00:00 | 8.205 | 301.83 | 8.801 | 330.416 | 8.98 | 295.189 | 9.885 | 332.106 | 0.94 | 892 | 97.46 | 39.834
2020-11-23 05:15:00 | 1.3553 | 0 | 1.4293 | 0 | 3.8107 | 0 | 3.2367 | 0 | 0 | 892 | 97.4733 | 39.1607
2020-11-23 05:30:00 | 1.3513 | 0 | 1.426 | 0 | 3.7993 | 0 | 3.2273 | 0 | 0 | 892 | 97.7 | 38.5833
2020-11-23 05:45:00 | 1.298 | 0 | 1.368 | 0 | 3.65 | 0 | 3.1 | 0 | 0 | 892 | 98.08 | 38.371
2020-11-23 06:00:00 | 1.486 | 0 | 1.568 | 0 | 4.175 | 0 | 3.548 | 0 | 0 | 892 | 98.36 | 38.842
2020-11-23 06:15:00 | 1.4593 | 0 | 1.5387 | 0 | 4.0973 | 0 | 3.4833 | 0 | 0 | 891 | 98.8067 | 38.3073
2020-11-23 06:30:00 | 2.496 | 69.44 | 2.7 | 64.098 | 4.57 | 67.912 | 4.352 | 64.426 | 0.04 | 891 | 99.02 | 37.292
2020-11-23 06:45:00 | 7.211 | 340.59 | 7.843 | 328.696 | 7.83 | 333.096 | 8.842 | 330.378 | 0.19 | 892 | 99.56 | 37.062
2020-11-23 07:00:00 | 7.043 | 339.17 | 7.722 | 330.722 | 7.82 | 331.708 | 8.878 | 332.41 | 0.01 | 892 | 99.67 | 38.842
2020-11-23 07:15:00 | 7.498 | 305.42 | 8.091 | 328.089 | 8.307 | 298.7 | 9.2 | 329.768 | 0.1 | 892 | 99.82 | 39.729
2020-11-23 07:30:00 | 7.1927 | 342.6333 | 7.7893 | 327.448 | 7.8933 | 335.0947 | 8.8187 | 329.1213 | 0.2 | 892 | 99.98 | 39.6013
2020-11-23 07:45:00 | 6.882 | 334.36 | 7.504 | 329.978 | 7.57 | 327.004 | 8.548 | 331.664 | 0.2 | 892 | 100 | 39.17
2020-11-23 08:00:00 | 6.398 | 305.6 | 6.968 | 331.14 | 7.306 | 298.878 | 8.12 | 332.832 | 0 | 892 | 100 | 36.062
2020-11-23 08:15:00 | 6.991 | 340.13 | 7.719 | 301.087 | 7.855 | 332.646 | 8.981 | 302.626 | 0.03 | 892 | 100 | 37.507
2020-11-23 08:30:00 | 7.601 | 343.43 | 8.308 | 296.502 | 8.633 | 335.875 | 9.675 | 298.016 | 0 | 892 | 100 | 38.838
2020-11-23 08:45:00 | 7.9707 | 339.9667 | 8.582 | 325.308 | 8.6747 | 332.4873 | 9.6287 | 326.9713 | 0 | 892 | 100 | 38.3707
2020-11-23 09:00:00 | 8.144 | 341.46 | 8.822 | 326.298 | 8.756 | 333.948 | 9.872 | 327.968 | 0 | 892 | 100 | 39.48
2020-11-23 09:15:00 | 8.251 | 338.41 | 8.859 | 327.268 | 9.008 | 330.964 | 9.942 | 328.941 | 0.19 | 892.2 | 100 | 39.126
2020-11-23 09:30:00 | 8.164 | 337.67 | 8.803 | 326.399 | 8.805 | 330.242 | 9.833 | 328.066 | 0.29 | 893 | 100 | 40.335
2020-11-23 09:45:00 | 7.944 | 335.57 | 8.555 | 321.458 | 8.558 | 328.187 | 9.533 | 323.101 | 0.39 | 893 | 100 | 40.759
2020-11-23 10:00:00 | 7.89 | 334.64 | 8.521 | 321.654 | 8.445 | 327.278 | 9.482 | 323.298 | 0.43 | 893 | 100 | 41.749
2020-11-23 10:15:00 | 7.809 | 305.45 | 8.415 | 322.867 | 8.166 | 298.731 | 9.212 | 324.518 | 0.64 | 894 | 99.96 | 40.858
2020-11-23 10:30:00 | 7.8433 | 341.0133 | 8.4627 | 327.2053 | 8.5807 | 333.5107 | 9.5413 | 328.878 | 0.83333 | 894 | 98.7667 | 38.796
2020-11-23 10:45:00 | 7.434 | 312.5867 | 8.026 | 327.2713 | 8.004 | 305.7093 | 8.9533 | 328.9453 | 1.0267 | 894 | 97.6 | 37.3007
2020-11-23 11:00:00 | 7.012 | 340.76 | 7.586 | 325.928 | 7.816 | 333.264 | 8.674 | 327.594 | 1.2 | 894 | 96.36 | 36.158
2020-11-23 11:15:00 | 6.96 | 335.13 | 7.577 | 323.268 | 7.644 | 327.757 | 8.614 | 324.923 | 1.44 | 894 | 93.54 | 34.997
2020-11-23 11:30:00 | 6.534 | 340.26 | 7.101 | 320.854 | 7.164 | 332.775 | 8.056 | 322.494 | 1.78 | 894 | 90.95 | 31.106
2020-11-23 11:45:00 | 6.567 | 340.22 | 7.058 | 323.951 | 7.245 | 332.735 | 7.981 | 325.608 | 2.02 | 894 | 90.67 | 30.701
2020-11-23 12:00:00 | 5.923 | 342.41 | 6.442 | 328.774 | 6.856 | 334.878 | 7.572 | 330.454 | 2.27 | 894 | 90.64 | 28.335
2020-11-23 12:15:00 | 5.828 | 306.97 | 6.33 | 325.126 | 6.733 | 300.217 | 7.423 | 326.789 | 2.46 | 893.8 | 87.47 | 27.992
2020-11-23 12:30:00 | 5.542 | 301.2 | 6.017 | 320.499 | 6.514 | 294.572 | 7.132 | 322.139 | 2.83 | 893 | 84.63 | 25.776
2020-11-23 12:45:00 | 4.913 | 338.03 | 5.338 | 302.358 | 5.791 | 330.594 | 6.343 | 303.905 | 3.6 | 893 | 81.79 | 21.187
2020-11-23 13:00:00 | 4.5247 | 315.8267 | 4.82 | 335.116 | 5.2633 | 308.8793 | 5.612 | 336.8273 | 3.7533 | 893 | 78.4793 | 14.672
2020-11-23 13:15:00 | 4.408 | 343.38 | 4.55 | 327.296 | 5.048 | 335.826 | 5.136 | 328.968 | 3.6 | 893 | 75.292 | 11.382
2020-11-23 13:30:00 | 4.416 | 334.68 | 4.748 | 327.842 | 4.88 | 327.318 | 5.376 | 329.522 | 3.98 | 893 | 74.46 | 11.556
2020-11-23 13:45:00 | 4.208 | 303.69 | 4.463 | 325.958 | 4.767 | 297.008 | 5.092 | 327.625 | 4.3 | 893 | 73.191 | 9.928
2020-11-23 14:00:00 | 4.084 | 305.8 | 4.335 | 323.249 | 4.608 | 299.072 | 4.93 | 324.901 | 4.25 | 893 | 72.796 | 10.02
2020-11-23 14:15:00 | 3.392 | 305.94 | 3.57 | 292.208 | 3.994 | 299.208 | 4.155 | 293.701 | 3.74 | 893 | 71.906 | 6.84
2020-11-23 14:30:00 | 3.317 | 295.22 | 3.551 | 271.699 | 3.928 | 288.089 | 4.196 | 273.089 | 4.36 | 893 | 70.672 | 5.424
2020-11-23 14:45:00 | 3.155 | 332.92 | 3.368 | 291.551 | 3.668 | 325.596 | 3.927 | 293.042 | 4.35 | 893 | 74.071 | 3.792
2020-11-23 15:00:00 | 2.856 | 327.09 | 3.053 | 203.863 | 3.547 | 319.894 | 3.716 | 204.907 | 4.56 | 893 | 75.236 | 3.683
2020-11-23 15:15:00 | 3.116 | 311.7333 | 3.348 | 310.808 | 3.73 | 304.8747 | 3.9933 | 312.3967 | 4.64 | 892 | 75.0667 | 4.2987
2020-11-23 15:30:00 | 3.5913 | 315.62 | 3.826 | 247.0233 | 4.1607 | 308.9893 | 4.4367 | 248.2867 | 4.46 | 892 | 75.466 | 6.7287
2020-11-23 15:45:00 | 3.502 | 338.3 | 3.698 | 271.2 | 4.162 | 330.856 | 4.342 | 272.586 | 4.48 | 892 | 75.96 | 7.198
2020-11-23 16:00:00 | 3.778 | 342.35 | 4.015 | 336.119 | 4.279 | 334.818 | 4.583 | 337.838 | 4.39 | 892 | 77.742 | 8.015
2020-11-23 16:15:00 | 3.513 | 298.56 | 3.747 | 333.077 | 3.906 | 291.99 | 4.237 | 334.78 | 4.37 | 891.8 | 79.244 | 7.272
2020-11-23 16:30:00 | 3.961 | 338.77 | 4.138 | 332.441 | 4.305 | 330.338 | 4.546 | 334.141 | 4.22 | 891 | 80.058 | 9.963
2020-11-23 16:45:00 | 3.983 | 339.9 | 4.209 | 331.346 | 4.317 | 332.421 | 4.649 | 333.039 | 3.95 | 891 | 80.59 | 10.052
2020-11-23 17:00:00 | 4.159 | 338.61 | 4.456 | 334.408 | 4.653 | 331.159 | 5.074 | 336.116 | 3.81 | 891 | 81.87 | 10.239
2020-11-23 17:15:00 | 4.272 | 344.45 | 4.565 | 338.162 | 4.623 | 336.872 | 5.082 | 339.891 | 3.79 | 891 | 82.44 | 12.202
2020-11-23 17:30:00 | 4.321 | 345.69 | 4.649 | 337.918 | 4.785 | 338.084 | 5.274 | 339.646 | 3.69 | 891 | 83.82 | 12.903
2020-11-23 17:45:00 | 4.156 | 345.14 | 4.5067 | 293.0147 | 4.59 | 337.546 | 5.1287 | 294.514 | 3.58 | 891 | 84.2 | 12.622
2020-11-23 18:00:00 | 3.98 | 339.04 | 4.348 | 333.988 | 4.628 | 331.58 | 5.136 | 335.694 | 3.48 | 891 | 84.84 | 11.998
2020-11-23 18:15:00 | 4.256 | 346.86 | 4.569 | 331.063 | 4.679 | 339.229 | 5.151 | 332.756 | 3.39 | 891 | 85.41 | 10.726
2020-11-23 18:30:00 | 4.18 | 345.06 | 4.493 | 332.002 | 4.58 | 337.47 | 5.058 | 333.699 | 3.29 | 891 | 84.92 | 11.334
2020-11-23 18:45:00 | 4.367 | 340.48 | 4.7 | 330.81 | 4.809 | 332.988 | 5.313 | 332.5 | 3.14 | 891 | 85.82 | 13.204
2020-11-23 19:00:00 | 4.435 | 338.09 | 4.763 | 323.259 | 4.819 | 330.652 | 5.331 | 324.912 | 3.21 | 891 | 85.95 | 11.885
2020-11-23 19:15:00 | 4.301 | 339.09 | 4.65 | 325.028 | 4.705 | 331.13 | 5.251 | 326.69 | 3.14 | 891 | 85.72 | 12.96
2020-11-23 19:30:00 | 4.567 | 337.34 | 4.863 | 331.698 | 4.932 | 329.919 | 5.39 | 333.394 | 3.12 | 891 | 85.86 | 12.342
2020-11-23 19:45:00 | 4.1593 | 338.4714 | 4.4579 | 329.8236 | 4.5529 | 331.0257 | 5.0086 | 331.5093 | 2.9929 | 892 | 86.4429 | 10.7347
2020-11-23 20:00:00 | 3.99 | 336.1467 | 4.3153 | 309.8567 | 4.5207 | 328.752 | 4.9827 | 311.4413 | 2.8667 | 892 | 87.9467 | 10.632
2020-11-23 20:15:00 | 3.896 | 342.18 | 4.252 | 330.134 | 4.43 | 334.65 | 4.952 | 331.822 | 2.74 | 892 | 88.3 | 10.22
2020-11-23 20:30:00 | 3.834 | 343.77 | 4.122 | 326.974 | 4.365 | 336.207 | 4.759 | 328.648 | 2.68 | 892 | 88.36 | 7.947
2020-11-23 20:45:00 | 3.298 | 335.53 | 3.53 | 323.11 | 3.741 | 328.149 | 4.051 | 324.763 | 2.73 | 892 | 89 | 3.779
2020-11-23 21:00:00 | 3.249 | 281.01 | 3.505 | 318.32 | 3.743 | 274.828 | 4.084 | 319.947 | 2.69 | 892 | 89.1 | 3.787
2020-11-23 21:15:00 | 2.662 | 282.23 | 2.881 | 321.518 | 3.037 | 276.02 | 3.345 | 323.163 | 2.7 | 892 | 89.32 | 1.443
2020-11-23 21:30:00 | 2.899 | 341 | 3.102 | 314.368 | 3.154 | 333.498 | 3.468 | 315.976 | 2.61 | 892 | 89.76 | 2.403
2020-11-23 21:45:00 | 3.571 | 339.06 | 3.784 | 320.491 | 3.89 | 331.599 | 4.202 | 322.13 | 2.56 | 892 | 91.68 | 5.19
2020-11-23 22:00:00 | 3.8567 | 335.3867 | 4.0927 | 325.9087 | 4.2673 | 328.0067 | 4.6007 | 327.5747 | 2.4867 | 892 | 93.26 | 8.1427
2020-11-23 22:15:00 | 4.162 | 337.84 | 4.442 | 325.204 | 4.618 | 330.408 | 5.012 | 326.866 | 2.36 | 892 | 93.2 | 10.584
2020-11-23 22:30:00 | 4.61 | 342.12 | 4.956 | 329.27 | 5.268 | 334.592 | 5.736 | 330.954 | 2.34 | 892 | 93.72 | 13.896
2020-11-23 22:45:00 | 5.27 | 333.52 | 5.659 | 325.34 | 5.963 | 326.183 | 6.502 | 327.005 | 2.21 | 892 | 94.36 | 21.769
2020-11-23 23:00:00 | 5.902 | 342.16 | 6.434 | 329.42 | 6.831 | 335.639 | 7.579 | 331.104 | 2.18 | 892 | 94.43 | 29.319
2020-11-23 23:15:00 | 5.715 | 337.6 | 6.199 | 325.919 | 6.66 | 330.171 | 7.302 | 327.586 | 2.16 | 892 | 94.06 | 27.436
2020-11-23 23:30:00 | 5.229 | 338.17 | 5.696 | 329.233 | 5.962 | 331.074 | 6.629 | 330.917 | 2.2 | 892 | 93.6 | 23.252
2020-11-23 23:45:00 | 5.013 | 342.64 | 5.412 | 327.415 | 5.821 | 335.102 | 6.347 | 329.088 | 2.22 | 891 | 93.46 | 19.512