## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-24 00:00:00 | 4.2047 | 340.5133 | 4.458 | 321.8787 | 5.012 | 333.022 | 5.258 | 323.5247 | 2.18 | 891 | 93.3867 | 11.2753
2020-11-24 00:15:00 | 3.6687 | 343.3067 | 3.8513 | 312.5227 | 4.3087 | 335.754 | 4.4713 | 314.1207 | 2.2067 | 891 | 93.4267 | 6.4613
2020-11-24 00:30:00 | 3.2333 | 345.4533 | 3.356 | 307.692 | 3.7173 | 337.8533 | 3.8093 | 309.2633 | 2.3467 | 891 | 93.4 | 3.606
2020-11-24 00:45:00 | 2.9087 | 305.2733 | 2.938 | 299.9007 | 3.512 | 298.5567 | 3.3947 | 301.434 | 2.4267 | 891 | 92.88 | 2.5013
2020-11-24 01:00:00 | 2.5413 | 308.2133 | 2.5453 | 310.3267 | 3.1827 | 301.4333 | 3.0073 | 311.9127 | 2.5133 | 891 | 92.8 | 2.2867
2020-11-24 01:15:00 | 2.7527 | 321.8933 | 2.794 | 313.6053 | 3.2593 | 314.812 | 3.1933 | 315.2093 | 2.3 | 891 | 93.5067 | 2.204
2020-11-24 01:30:00 | 3.304 | 338.72 | 3.4213 | 328.2487 | 4.08 | 331.268 | 4.0787 | 329.9287 | 2.1467 | 891 | 93.6733 | 5.578
2020-11-24 01:45:00 | 3.4907 | 293.26 | 3.658 | 333.206 | 4.0393 | 286.808 | 4.1987 | 334.9093 | 2.12 | 891 | 93.5467 | 5.8773
2020-11-24 02:00:00 | 3.53 | 314.44 | 3.6413 | 330.2833 | 4.1733 | 307.522 | 4.1987 | 331.972 | 2.08 | 891 | 93.9667 | 8.1687
2020-11-24 02:15:00 | 4.7847 | 329.4667 | 5.0733 | 315.574 | 5.462 | 322.218 | 5.8147 | 317.186 | 2.0933 | 891 | 94.28 | 13.1867
2020-11-24 02:30:00 | 4.128 | 337.6067 | 4.414 | 327.708 | 4.7767 | 330.1793 | 5.1333 | 329.384 | 1.92 | 890.8667 | 94.26 | 9.9627
2020-11-24 02:45:00 | 4.1027 | 337.0733 | 4.296 | 309.2767 | 5.0613 | 329.6587 | 5.15 | 310.858 | 1.8067 | 890 | 96.0667 | 10.92
2020-11-24 03:00:00 | 4.0347 | 306.8267 | 4.2253 | 315.3267 | 4.924 | 300.5653 | 5.0513 | 316.9393 | 1.7467 | 890 | 97.5867 | 9.9233
2020-11-24 03:15:00 | 4.0573 | 336.7 | 4.2473 | 330.5633 | 4.94 | 329.292 | 5.0447 | 332.2547 | 1.7133 | 890 | 98.2933 | 9.7327
2020-11-24 03:30:00 | 3.6987 | 312.2933 | 3.9253 | 328.164 | 4.4167 | 305.4213 | 4.638 | 329.8427 | 1.6467 | 890 | 98.64 | 7.6727
2020-11-24 03:45:00 | 3.6393 | 287.4467 | 3.7973 | 321.8467 | 4.62 | 281.122 | 4.6353 | 323.492 | 1.8067 | 890 | 98.8933 | 8.0693
2020-11-24 04:00:00 | 3.9993 | 327.18 | 4.2167 | 318.3633 | 5.0647 | 319.982 | 5.1693 | 319.992 | 1.78 | 890 | 99.0933 | 9.9667
2020-11-24 04:15:00 | 3.7627 | 332.2333 | 3.9887 | 318.3133 | 4.376 | 324.9227 | 4.6293 | 319.9407 | 1.76 | 890 | 99.2 | 8.6853
2020-11-24 04:30:00 | 3.4727 | 324.0333 | 3.6133 | 323.1247 | 4.3573 | 316.9047 | 4.3707 | 324.7753 | 1.8933 | 890 | 99.2 | 7.2387
2020-11-24 04:45:00 | 3.3433 | 332.9133 | 3.4327 | 322.9933 | 4.0673 | 325.5887 | 4.0293 | 324.6447 | 1.8 | 889.5333 | 99.1533 | 5.2787
2020-11-24 05:00:00 | 3.372 | 321.3067 | 3.4327 | 319.1933 | 4.3127 | 314.2373 | 4.156 | 320.8247 | 1.6933 | 889 | 99.1 | 6.2107
2020-11-24 05:15:00 | 3.6513 | 326.7533 | 3.7933 | 321.384 | 4.3887 | 319.564 | 4.444 | 323.0267 | 1.6733 | 889 | 99.1467 | 6.4407
2020-11-24 05:30:00 | 3.3833 | 322.42 | 3.4847 | 322.2707 | 4.0127 | 316.664 | 4.0233 | 323.9187 | 1.7733 | 889 | 99.1867 | 5.3587
2020-11-24 05:45:00 | 3.208 | 309.8067 | 3.292 | 318.078 | 3.962 | 302.9913 | 3.9067 | 319.7047 | 1.74 | 889 | 99.0533 | 3.82
2020-11-24 06:00:00 | 2.846 | 288.64 | 2.8873 | 313.0593 | 3.6067 | 283.1307 | 3.464 | 314.658 | 1.72 | 889 | 98.92 | 2.7553
2020-11-24 06:15:00 | 2.7887 | 313.5267 | 2.8167 | 316.3507 | 3.5393 | 306.6293 | 3.3793 | 317.9673 | 1.8067 | 889 | 98.9467 | 2.676
2020-11-24 06:30:00 | 2.9427 | 307.76 | 2.9873 | 323.0147 | 3.62 | 300.9887 | 3.5133 | 324.6653 | 1.74 | 889 | 99.12 | 3.5013
2020-11-24 06:45:00 | 2.9593 | 331.18 | 2.9973 | 319.924 | 3.67 | 323.8947 | 3.536 | 321.5593 | 1.6867 | 889 | 99.3933 | 3.5053
2020-11-24 07:00:00 | 3.378 | 330.02 | 3.4693 | 315.7833 | 4.3073 | 322.76 | 4.2133 | 317.398 | 1.6533 | 889 | 99.6733 | 5.7827
2020-11-24 07:15:00 | 3.194 | 289.5467 | 3.2807 | 318.9407 | 4.146 | 283.2533 | 4.018 | 320.5693 | 1.6733 | 889 | 99.8467 | 5.6993
2020-11-24 07:30:00 | 3.0713 | 291.7867 | 3.1033 | 324.7293 | 3.946 | 285.366 | 3.756 | 326.3887 | 1.6133 | 889.1333 | 99.98 | 4.818
2020-11-24 07:45:00 | 3.054 | 288.6 | 3.1087 | 320.3667 | 3.8453 | 282.252 | 3.7207 | 322.0033 | 1.6667 | 890 | 100 | 4.2053
2020-11-24 08:00:00 | 2.9733 | 332.6267 | 3.0427 | 326.654 | 3.7073 | 304.4053 | 3.606 | 328.322 | 1.82 | 890 | 100 | 3.912
2020-11-24 08:15:00 | 3.08 | 327.4 | 3.156 | 323.966 | 3.8947 | 320.1967 | 3.8033 | 325.622 | 1.9 | 890 | 100 | 4.11
2020-11-24 08:30:00 | 2.9587 | 329.4133 | 3.0327 | 323.294 | 3.6507 | 321.9647 | 3.5847 | 324.948 | 1.8533 | 890 | 100 | 3.418
2020-11-24 08:45:00 | 3.038 | 333.0533 | 3.132 | 323.0253 | 3.7187 | 325.7253 | 3.7 | 324.678 | 1.8733 | 890 | 100 | 3.1953
2020-11-24 09:00:00 | 3.1107 | 332.24 | 3.1847 | 324.4347 | 3.7787 | 324.93 | 3.7307 | 326.0947 | 1.9 | 890 | 100 | 3.9033
2020-11-24 09:15:00 | 3.234 | 307.7867 | 3.3407 | 324.3113 | 4.0193 | 301.0153 | 3.998 | 325.97 | 1.9067 | 890 | 100 | 5.0027
2020-11-24 09:30:00 | 3.0267 | 321.6267 | 3.06 | 324.1807 | 3.7967 | 314.5513 | 3.638 | 325.8387 | 2.0133 | 890 | 100 | 4.4587
2020-11-24 09:45:00 | 2.9227 | 323.28 | 2.9547 | 325.3873 | 3.43 | 317.1533 | 3.3487 | 327.0507 | 2.1533 | 890.4667 | 100 | 2.8053
2020-11-24 10:00:00 | 2.9247 | 332.8133 | 2.9433 | 321.0647 | 3.574 | 325.8893 | 3.4273 | 322.706 | 2.24 | 891 | 100 | 2.6787
2020-11-24 10:15:00 | 2.75 | 326.9467 | 2.7493 | 317.9533 | 3.3287 | 319.624 | 3.1553 | 319.3493 | 2.38 | 891 | 100 | 2.4053
2020-11-24 10:30:00 | 2.7493 | 295.1467 | 2.7607 | 315.9973 | 3.388 | 288.5827 | 3.218 | 317.612 | 2.3867 | 891 | 100 | 2.5267
2020-11-24 10:45:00 | 2.7547 | 310.4333 | 2.7293 | 324.8 | 3.408 | 282.4733 | 3.1767 | 326.462 | 2.4667 | 891 | 100 | 2.74
2020-11-24 11:00:00 | 3.062 | 325.0467 | 3.128 | 315.0273 | 3.6933 | 317.682 | 3.646 | 316.6393 | 2.6067 | 891 | 100 | 3.688
2020-11-24 11:15:00 | 3.0053 | 284.42 | 3.0127 | 325.484 | 3.8027 | 278.1627 | 3.5853 | 327.1487 | 2.5667 | 891 | 100 | 3.9313
2020-11-24 11:30:00 | 2.964 | 290.9867 | 2.9633 | 328.4313 | 3.6627 | 284.584 | 3.4667 | 330.1113 | 2.52 | 890.8667 | 100 | 3.9487
2020-11-24 11:45:00 | 3.0607 | 308.4 | 3.1193 | 327.1867 | 3.7313 | 301.6147 | 3.6533 | 328.8587 | 2.5667 | 890 | 100 | 3.6473
2020-11-24 12:00:00 | 2.776 | 327.42 | 2.792 | 321.0893 | 3.4933 | 318.496 | 3.3127 | 322.7307 | 2.6867 | 890 | 100 | 2.7013
2020-11-24 12:15:00 | 2.62 | 323.0133 | 2.6107 | 320.1327 | 3.228 | 315.9073 | 3.04 | 321.7673 | 2.76 | 890 | 100 | 1.9047
2020-11-24 12:30:00 | 2.5447 | 292.0133 | 2.5247 | 318.5933 | 3.188 | 285.5887 | 2.9647 | 320.2213 | 2.6933 | 890 | 100 | 1.6673
2020-11-24 12:45:00 | 2.4073 | 323.14 | 2.3807 | 317.29 | 2.9107 | 316.0307 | 2.7187 | 318.9107 | 2.7667 | 890 | 100 | 1.1107
2020-11-24 13:00:00 | 2.2733 | 318.0733 | 2.2907 | 320.5687 | 2.7233 | 311.0753 | 2.6233 | 322.2073 | 2.9267 | 889.2 | 100 | 1.0453
2020-11-24 13:15:00 | 2.3207 | 301.2133 | 2.3393 | 320.0607 | 2.9507 | 294.5867 | 2.8073 | 321.6967 | 3.0467 | 889 | 100 | 1.1553
2020-11-24 13:30:00 | 2.2087 | 283.34 | 2.18 | 310.3453 | 2.9473 | 277.1073 | 2.6813 | 311.932 | 3.2267 | 889 | 100 | 1.2453
2020-11-24 13:45:00 | 2.18 | 327.7867 | 2.174 | 326.8927 | 2.814 | 320.5747 | 2.6187 | 328.5653 | 3.16 | 889 | 100 | 1.0573
2020-11-24 14:00:00 | 2.0787 | 313.1667 | 2.0427 | 322.1473 | 2.682 | 306.278 | 2.4407 | 323.794 | 2.9867 | 889 | 100 | 0.67267
2020-11-24 14:15:00 | 2.3473 | 317.04 | 2.4307 | 322.4607 | 3.0313 | 310.066 | 2.994 | 324.1087 | 3.0667 | 889 | 100 | 1.1387
2020-11-24 14:30:00 | 2.3493 | 277.7067 | 2.436 | 318.1627 | 2.9807 | 271.598 | 2.9607 | 319.7887 | 3.1933 | 888.8667 | 100 | 1.5187
2020-11-24 14:45:00 | 2.4607 | 267.4533 | 2.478 | 321.3053 | 3.2047 | 261.5693 | 3.026 | 322.9493 | 3.26 | 888 | 100 | 1.964
2020-11-24 15:00:00 | 2.6247 | 326.3133 | 2.6927 | 322.4593 | 3.2767 | 319.134 | 3.2153 | 324.1093 | 3.2533 | 888 | 100 | 2.382
2020-11-24 15:15:00 | 2.8073 | 321.5333 | 2.8993 | 325.7127 | 3.4047 | 293.406 | 3.404 | 327.3793 | 3.1333 | 888 | 100 | 3.134
2020-11-24 15:30:00 | 3.1973 | 311.02 | 3.3247 | 326.0653 | 3.824 | 304.1773 | 3.8853 | 327.7313 | 3.12 | 888 | 100 | 4.6227
2020-11-24 15:45:00 | 3.2467 | 338.0333 | 3.4307 | 325.478 | 4.0113 | 330.596 | 4.1333 | 327.1427 | 3.1533 | 888 | 100 | 5.2773
2020-11-24 16:00:00 | 3.5907 | 335.9733 | 3.8373 | 327.6107 | 4.1687 | 328.5827 | 4.468 | 329.2853 | 3.02 | 887.2 | 100 | 6.6053
2020-11-24 16:15:00 | 3.7387 | 332.8733 | 3.9587 | 329.958 | 4.398 | 325.5487 | 4.6227 | 331.6447 | 3.0267 | 887 | 100 | 6.7913
2020-11-24 16:30:00 | 3.6347 | 322.24 | 3.8387 | 329.2607 | 4.182 | 315.1507 | 4.4133 | 330.9427 | 3.0533 | 887 | 100 | 6.1887
2020-11-24 16:45:00 | 3.798 | 318.04 | 4.0307 | 324.2907 | 4.4207 | 311.044 | 4.6807 | 325.9493 | 3.1067 | 887 | 100 | 6.5993
2020-11-24 17:00:00 | 3.754 | 333.8533 | 3.9573 | 324.918 | 4.5587 | 327.1213 | 4.718 | 326.5787 | 3.1467 | 887 | 100 | 6.952
2020-11-24 17:15:00 | 3.7707 | 341.3533 | 4.018 | 326.444 | 4.582 | 333.8427 | 4.816 | 328.112 | 3.1067 | 887 | 100 | 7.5387
2020-11-24 17:30:00 | 3.7873 | 315.72 | 4.0227 | 326.8213 | 4.6027 | 308.774 | 4.812 | 328.492 | 3.14 | 887 | 100 | 7.688
2020-11-24 17:45:00 | 3.8987 | 336.9667 | 4.1447 | 325.908 | 4.708 | 329.13 | 4.9433 | 327.5747 | 3.22 | 887.4667 | 100 | 8.4153
2020-11-24 18:00:00 | 4.264 | 339.9733 | 4.5527 | 327.408 | 5.0993 | 332.494 | 5.406 | 329.082 | 3.2533 | 888 | 100 | 10.1
2020-11-24 18:15:00 | 4.13 | 335.8 | 4.4107 | 322.0747 | 4.9773 | 328.4113 | 5.2653 | 323.7207 | 3.34 | 888 | 100 | 8.944
2020-11-24 18:30:00 | 3.8233 | 340.76 | 4.078 | 323.0007 | 4.6947 | 333.262 | 4.9213 | 324.6527 | 3.3067 | 888 | 100 | 7.5567
2020-11-24 18:45:00 | 3.8047 | 340.8467 | 4.144 | 332.012 | 4.4887 | 333.3473 | 4.9327 | 333.71 | 3.1533 | 888 | 100 | 8.1393
2020-11-24 19:00:00 | 3.7573 | 341.7067 | 4.0553 | 326.4827 | 4.37 | 334.188 | 4.7547 | 328.1527 | 3.2933 | 888 | 100 | 7.0627
2020-11-24 19:15:00 | 3.8027 | 338.6667 | 4.098 | 329.684 | 4.6013 | 331.216 | 4.9293 | 331.37 | 3.26 | 888 | 100 | 7.3847
2020-11-24 19:30:00 | 3.8473 | 339.3467 | 4.1487 | 332.3033 | 4.5833 | 331.8807 | 4.9407 | 334.0047 | 3.0733 | 888 | 100 | 8.0867
2020-11-24 19:45:00 | 4.1287 | 341.7067 | 4.4253 | 332.436 | 4.806 | 334.1887 | 5.1733 | 334.1353 | 2.9867 | 888 | 100 | 9.2953
2020-11-24 20:00:00 | 4.0353 | 342.2467 | 4.3447 | 328.0207 | 4.7673 | 334.718 | 5.142 | 329.6987 | 3.06 | 888 | 100 | 9.1647
2020-11-24 20:15:00 | 4.2053 | 340.1333 | 4.5153 | 330.0167 | 4.9633 | 332.652 | 5.3293 | 331.7027 | 3.0133 | 888 | 100 | 10.0907
2020-11-24 20:30:00 | 4.518 | 340.38 | 4.85 | 325.2893 | 5.3473 | 332.8907 | 5.738 | 326.952 | 2.8933 | 888 | 100 | 12.886
2020-11-24 20:45:00 | 4.4293 | 331.7933 | 4.7547 | 320.6613 | 5.4213 | 324.494 | 5.7533 | 322.3 | 2.8267 | 888.4667 | 100 | 11.9607
2020-11-24 21:00:00 | 4.6567 | 334.8333 | 4.9973 | 323.276 | 5.5113 | 328.562 | 5.906 | 324.9273 | 2.8267 | 889 | 100 | 13.582
2020-11-24 21:15:00 | 4.8747 | 339.6667 | 5.2367 | 325.1533 | 5.6927 | 332.136 | 6.144 | 326.8147 | 2.9267 | 889 | 100 | 16.0313
2020-11-24 21:30:00 | 4.9733 | 339.4267 | 5.364 | 322.9147 | 5.912 | 331.9593 | 6.3807 | 324.5673 | 2.9067 | 889 | 100 | 16.9687
2020-11-24 21:45:00 | 5.224 | 336.9933 | 5.644 | 327.1287 | 6.0633 | 329.58 | 6.6167 | 328.8007 | 2.9533 | 889 | 100 | 19.8607
2020-11-24 22:00:00 | 5.186 | 342.5733 | 5.6 | 325.4573 | 6.1073 | 334.9207 | 6.6227 | 327.1227 | 2.8467 | 889 | 100 | 19.9667
2020-11-24 22:15:00 | 5.3087 | 341.9533 | 5.728 | 326.808 | 6.3313 | 334.43 | 6.8293 | 328.4787 | 2.8067 | 889 | 100 | 21.4993
2020-11-24 22:30:00 | 5.3607 | 338.22 | 5.7627 | 324.592 | 6.2113 | 330.778 | 6.7313 | 326.2513 | 2.74 | 889 | 100 | 22.196
2020-11-24 22:45:00 | 5.4907 | 338.72 | 5.9233 | 324.4013 | 6.4213 | 331.268 | 6.9707 | 326.062 | 2.8067 | 889 | 100 | 24.318
2020-11-24 23:00:00 | 5.3867 | 342.0733 | 5.794 | 326.3 | 6.1473 | 334.5487 | 6.6967 | 327.9673 | 2.8667 | 889 | 100 | 23.6687
2020-11-24 23:15:00 | 5.1753 | 338.74 | 5.5973 | 319.3047 | 6.0113 | 330.884 | 6.5673 | 320.936 | 2.7533 | 889 | 100 | 23.138
2020-11-24 23:30:00 | 5.284 | 332.86 | 5.7253 | 319.5127 | 6.1107 | 325.5367 | 6.7073 | 321.146 | 2.7133 | 889 | 100 | 25.6013
2020-11-24 23:45:00 | 5.5147 | 333.8067 | 5.918 | 322.7273 | 6.4227 | 326.2273 | 6.92 | 324.3753 | 2.64 | 889 | 100 | 28.0533